Automated Waste Collection Systemen (AWCS) Amsterdam

Market consultation III

# 5 Market consultation questionnaire for ‘OAT Sluisbuurt district Amsterdam’

| Basic details |  |
| --- | --- |
| Company name |  |
| Address, Postcode and place |  |
| Contact person |  |
| Telephone & e-mail contact person |  |

- If a reply must be treated confidentially, please mark this fact explicitly and specifically with the answer in question.

- You can opt to only answer those questions which relate to your area of expertise.

|  | Scope and the project |  |
| --- | --- | --- |
| The scope of the assignment for the OAT in the future Sluisbuurt district consists of the design, building (during the phased development of the Sluisbuurt district, approx. 11 years) and management and maintenance (maintain) and operation (operate) of the OAT (for a maximum of 50 years), which shall be taken to include: 1. The main pipeline network 2. The connection from the building to the main pipeline network 3. The waste collection terminal 4. The shut-off valve (to shut off an entire building from the OAT) 5. The measurement and control installation in the buildings (electrical engineering component of the system in the buildings) 6. The market party will also be required to submit an offer for the design and implementation of the built-in facilities (in buildings) (with separated collection of four waste flows: 1. residual waste, 2. organic, 3. paper and cardboard, 4. plastic, metal, cardboard drink packaging) and to submit an offer for the management, maintenance and operation of these in-built facilities. There is still a possibility that the built-in facilities (in the buildings) will not be supplied by you as the Tendering party, but that the building owner/developer will purchase the built-in facilities from another party. The OAT (terminal, route and measurement and control systems in the buildings) are the responsibility of the contractor. The built-in facilities are the responsibility of the building developers. |  |  |
|  | The Client wants an OAT with a technical service life of at least 50 years, in accordance with the standard use appropriate for the specified number of homes. Are you in a position to submit an offer for the design and building of an OAT with a technical service life of at least 50 years? |  |
|  | An indicative implementation planning timetable appears in appendix 2 ‘Implementation planning timetable’. - In your view, is this planning timetable realistic in the framework of the implementation of the work? - If not, what suggestions can you make to make this planning timetable realistic/ viable. |  |
|  | The OAT will be tendered as a single, integrated system whereby the built-in facilities at the collection points must be offered, as an option, so that building owners/developers are in a position to take up this offer from the contractor. The building owners may also purchase these systems from a third party. For the management of the OAT installation at the collection point, facilities will have to be fitted at the collection point, to which the built-in system can be coupled, to ensure functioning of the OAT system. - On the basis of your system responsibility, how do you view this solution (e.g. in terms of risks)? Both if you supply the built-in OAT facilities and if they are purchased from a third party. - In your opinion are there other options? If so, which? - See appendix 1: demarcation. Can you supply the through feed through the facade and, given the settlement problems in Amsterdam, take responsibility for this passage? |  |
|  | In the requested solution and demarcation as outlined in appendix 1 (‘Overview of demarcation’) it has been assumed that as contractor, with the measurement and control systems you are required to install in the buildings, you will be able to guarantee correct functioning of the OAT and can accept responsibility for the systems you have supplied. - Can you confirm this? - If you are unable to confirm this, what are the conditions according to which you would be able to guarantee the correct functioning of the OAT, and accept responsibility for the systems you supply? |  |
|  | - Are the measurement and control systems you supply universally suitable for operating inlets from other suppliers? - If your answer is negative, what do you need to be able to control the built-in OAT facilities from (a) third party(ies) using your measurement and control systems? |  |
|  | The Client wishes as far as possible to guarantee the integrated nature of the OAT, and to place system responsibility with the contractor. In the implementation stage, communication and cooperation will be necessary with building owners/developers, for example for checking the built-in facilities that form part of the OAT system (and the accompanying space), the connection of built-in facilities to the pipeline route, the calibration of the measurement and control systems, etc. The Client plans to place the coordination/management task with the contractor. The operating principle is that the building owner applies for a connection, after which the remaining process is coordinated by the contractor. The operating principle here is that a time frame of 26 weeks must be maintained between the application for connection and definitive completion (commissioning) of the connection. - Are you able to carry out these coordination tasks? - What do you need to make this possible? (for example: information about the built-in facilities, planning timetable) |  |
|  | Before a contractor is contracted, in the framework of ensuring transport access to the Sluisbuurt district, it is possible that a small section of the route (at a number of bridge crossings) will be installed by a third party. The reason for this is that the construction of the route at these bridge crossing will no longer be possible at a later date. The crossings will take the form of a submerged construction beneath the bridge and the waterway, including an approx. 100-mm HDPE for the through feed of the cables and air pipe, which will subsequently no longer be accessible. The definitive specifications for the construction of this section of the route will be notified to you, in the agreement. For the time being, the external diameter of this pipeline is set at 406,4 mm. Enclosed is the principle design drawing, se Appendix 3 ‘Principle drawing bridge crossings’ a) Are you willing to take over responsibility for this section of the route, such that it becomes an integral part of your system? b) If not, what would you need to be prepared to accept responsibility? c) Can you make a connection to a pipeline of this diameter? |  |
|  | Before the contractor is contracted, the terminal pile foundations will be installed by a third party. This will help manage the risk relating to the already installed anchors for the Piet Hein tunnel, in such a way that these anchors will no longer influence the planning timetable for the OAT. The specifications for the installation of the pile foundations will be notified to you in the agreement. Enclosed is the principle design for the terminal location, see appendix 4 (‘Principle design terminal location’). - Are you willing to take over responsibility for the pile foundation in such a way that it becomes an integral part of your system for the maintain and operate phase? - If not, what would you need to be willing to accept this responsibility? |  |
|  | What do you see as the most important opportunities and hindrances (threats) to the completion of the OAT? |  |
|  | - Do you currently recognise specific risks given the scope/nature of this project? Please list your top 5 risks. - What risk management measures do you propose? - Who is best able to manage these risks? |  |
|  | Based on the proposed demarcation, in addition to the design and build elements, are you also able to manage, maintain and operate the OAT? |  |
|  | One of the design principles for the OAT is that the management, maintenance and operation can at any time be taken over by a third party. In building the technical systems (including the software), it is possible that a vendor lock-in will be created, or built in by the contractor To what extent and how will you prevent such a vendor lock-in, such that the management, maintenance and operation can at any time be transferred to a third party? |  |

|  | Tendering and contract |  |
| --- | --- | --- |
|  | We plan to request reference projects for the following core competences: - the implementation and handover on time (including any extensions granted) in an expert and regular manner of at least one implementation design for an underground waste transport system; - the completion and handover on time (including any extensions granted) in an expert and regular manner of at least one underground waste transport system. - the implementation in an expert and regular manner of at least one assignment, which includes the management and maintenance of an underground waste transport system for a contract period of at least two years. - The implementation and timely handover (including any extensions granted) in an expert and regular manner of at least one underground pipe system in an area subject to ground subsidence with a total length of at least 100 metres (total length of the pipe system). In respect of the first three core competences, the project must involve an underground waste transport system whereby (separated) waste is/was compacted and collected at a terminal (central location). All these competences must have been implemented or have been in implementation during the past five years prior to the final date for registration. - Are you able to satisfy these competences? - If not, why not? |  |
|  | Can you provide a (reference) description of the materials and dimensions for the OAT project already completed by you? |  |
|  | For the OAT, the Client plans to enter into a long-term agreement. The Client wishes to match the term of the agreement to the intended useful life of the OAT. To guarantee the functioning of the OAT, management, maintenance and operation will also be entrusted to the contractor. The Tendering service plans to entrust the management, maintenance and operation to the contractor for 25 years (see also question 18). These 25 years will consist of between 11 and 15 years implementation work during the area development of the Sluisbuurt district, and approx. 10 years management and maintenance. In addition, if the Client wishes to make use of its unilateral extension options (see also question 19), the contractor will be required to accept responsibility for maintaining the OAT (in a condition still to be defined) for a maximum period of 50 years. Is this an acceptable and manageable timeframe for you? If not, please explain why this timeframe is unacceptable and/or unmanageable, for you. |  |
|  | For the period after the first 25 years, the Tendering service will take up extension options for five periods of five years (see also question 19). These extension options can be taken up unilaterally by the client. Is this acceptable and workable for you? If not, please explain why not |  |

|  | Price |  |
| --- | --- | --- |
|  | To ensure the manageability of the development risks for market parties, the Client intends to pay the price for the terminal and routes as follows: - Contract fee design and building of terminal, payable following handover (fixed); - Contract fee design and building of route, payable following handover (fixed prices for the components will be settled on the basis of the actual purchase) Can you make a suitable offer on this basis? |  |
|  | The Client intends to tender a fixed price for the management, maintenance and a fixed price for operation for a period of not more than 25 years, that will be annually indexed. The start date is planned after the first connection(s) has/have been commissioned. The planned end date will be fixed for the entire area, so that the first connections will have been under your management for longer than the connections that for example are only completed in year 10. Is it possible for you to make a specified offer on this basis? |  |
|  | For the second 25 years, the Client plans to call in an independent cost expert every five years, to assess the price for the management, maintenance and operation, in order to arrive at healthy price development. This may result in an (upward or downward) adjustment to the prices. - Do you consider this system workable? - If not, in your opinion what would be a workable system for developing the management, maintenance and operation price? |  |
|  | Together with the tender for the OAT, the tender will also take place for the completion of the first building. By way of option, the contractor will be asked to submit a price for a construction of the built-in facilities, such that the building developer can decide on that basis whether or not to purchase the built-in facilities from the contractor. The contractor will also be asked to submit a price (as an option) for the management and maintenance of the built-in facilities, such that the building developer can decide on that basis whether or not to purchase the built-in facilities from the contractor. Do you consider this acceptable? |  |
|  | This price information will be too late for the first building. Appendix 5 Principle design for the built-in section of the first building shows the scope of built-in facilities and the number of metres of pipeline required. For the management/control of these built-in facilities, the requirements as listed in question 31 in respect of access to the system will apply. - Can you provide a cost indication for the construction of the built-in section of the OAT for the first building? - Can you provide a cost indication for the annual management and maintenance costs for the built-in section of the OAT for the first building? If your answer to the above questions is affirmative, please provide your cost indication together with your reply document. |  |
|  | Requirements will be imposed on contractors in the implementation of the assignment (maintain and operate phase of the agreement). Appendix 6 Legislation and standards lists a number of standards with which the contractor must comply during implementation (being certified) or with which the OAT must comply (legislation and standards). The NEN-ISO 55001:2014 certificate is only required at the moment that phase one of implementation is completed. - Are you conversant with the legislation and standards appearing in appendix 6 ? - Are you capable of achieving these certifications? For each standard/ certification, please indicate what is achievable for you or if applicable, which standard/certificate you already comply with. - Are you able to build the OAT in accordance with the legislation and regulations and standards? |  |

|  | Technical and/or functional requirements |  |
| --- | --- | --- |
|  | Do you have any suggestions for the schedule of requirements still to be drawn up, to ensure that both parties can complete the project as successfully as possible? |  |
|  | During the operation phase (in other words also during the phased implementation), the Client is aiming for an OAT that offers maximum availability to ensure correct waste collection. In that connection, the Client plans to include an availability requirement of 99% (calculated over a year) for the OAT system as a whole and even higher availability requirements on certain elements. - Do you consider availability of 99% (on a yearly basis) achievable? - For certain elements of the OAT system (pipeline, systems at OAT terminal), a maximum limit of 4 hours will apply. Is this technically/organisationally achievable? |  |
|  | Appendix 7 lists location principles. - Do you consider these principles logical? - Do you see opportunities for further optimisation? If so, what opportunities do you see? - Do you have any suggestions for these principles? |  |
|  | In the Sluisbuurt and Baaibuurt districts, there are specific soil conditions (by way of indication: 10 to 25 metres of clay/peat). These soil conditions lead to risks of settlement (in accordance with the previous market consultation: approx. 200 to 300 mm) in the public area in relation to the constructions (terminal, Piet Hein tunnel, bridges, buildings) which have been/will be built on foundations. This brings with it the possibility that the OAT will subside with the settlements in public areas, while the constructions will not subside. See appendix 8 Soundings - Are you able to manage this risk? - How do you plan to manage this risk? |  |
|  | At present, the Client has identified several options for the collection of cardboard. The Client wishes to have cardboard collected via the OAT, by installing a shredder. - Are you able to offer this option? - Are there possible alternatives for collecting cardboard (larger than A4) via the OAT? |  |
|  | The OAT will have to be connected to the buildings via a through passage in the outside wall. The specifications with which the through feed (pipe) in the wall must comply will be provided to the building developer and the building developer will be responsible for the through feed. Appendix 5 also contains the principles applicable for this through feed. The risk of leaks at this through feed during use is an important point for attention. The access to this part of the OAT is another important point for attention. Although these aspects are the responsibility of the building developer, please indicate which measures you are able to take to make a positive contribution to these issues. See appendix 1 – Overview demarcation |  |

|  | Technical developments and Innovation |  |
| --- | --- | --- |
|  | To what extent can the solution you propose keep up with continued technological innovations? Please submit additional explanation to the Client. |  |
|  | How can market parties be challenged to implement and guarantee innovations and technological developments throughout the contract period? |  |
|  | Amsterdam is considering the way in which access to the building (inlets area) and the inlets themselves can be controlled. Amsterdam has identified three possible variants: Variant 1; OAT inlet tag readers for both residents and companies connected directly to the OAT system. Variant 2; OAT inlet tag readers for both residents and companies connected to the building access control system. Variant 3; OAT inlet tag readers for residents connected to the building access control system, OAT inlet tag readers for companies and a separate OAT tag reader connected directly to the OAT. In that respect, Municipality of Amsterdam has the following questions: - Are you able, from your OAT (measurement & control systems) management software to release the inlet doors (which are locked in the standard situation) using RFID technology? - Are you at all times able to comply with the hardware and software requirements for the entire in-built purchased set (from inlets to facade) if provided by (any) other OAT supplier? In this situation, assume that you supply just one measurement & control system cabinet in the building, that is capable of managing this entire purchase set from your section of the OAT. - If yes, what aspects need to be taken into account (risks, requirements, protocols, etc.) - If no, how do you plan to manage this situation? - If the inlet doors are connected to the building access control system, via measurement and control systems, are you able to keep the inlet doors locked, with your management software, at the moment that the buffer is being emptied? - Using your OAT (measurement & control system) management software, are you able to release the inlet doors (locked in the standard situation) using RFID technology, with a tag reader exclusively for commercial parties, which operates alongside a tag reader exclusively for residents? The tag reader for residents is (possibly) itself connected to the building access control system. In all these cases, question 5 should also be taken into account. - Are you able to register and authorise passes based on RFID technology in simple manner from your OAT (measurement & control systems) on a large scale (around 20.000 passes)? - Are you able, using your OAT (measurement & control systems) management software to authorise and register RFID passes (also for the OAT inlet release) that are already registered and authorised on other software (than your own)? If not, why not? - If so, do you already manage OATs in which this system is operational? - Are you able to structure and manage the data generated by RFID technology (registration, authorisation and user data) in accordance with privacy legislation? - Are you willing and able to do this on the basis of the requirements/wishes of the Municipality of Amsterdam and if required, to release this? - Are you willing and able to alter/adjust the data release on the basis of future changes in waste management? - How complex is this? Please provide a detailed explanation. - Are you able to automate any necessary data release/transfer? Possibilities include the monthly statement for the disposal of commercial waste per hospitality business spread over multiple residual waste inlets, even possibly spread over multiple inlets in different buildings. - Do you have other ideas or methods for dealing with these inlet release and data registration issues? If yes, please provide a detailed explanation. |  |
|  | The Tendering service plans to deploy a number of OAT inlet locations for both private and commercial use. Private use will be charged via the waste disposal charge (fixed amount) payable by the user. Commercial use will have to be based on actual consumption. - What is your opinion of combined use (private and commercial)? - Can you issue invoices on behalf of the municipality? - How will costs be charged to commercial users? Or is this a task for the municipality? - Do you have solutions for optimum service provision to both parties, taking account of the different settlement methods for the costs by users? |  |
|  | For managing the operating system, the Client uses a red and green light, to indicate whether the system can be used. - Please describe the various possibilities for managing the built-in facilities from the control room. - What possibilities are there for shutting off the system for a single building or a section (with several buildings) in the event of problems? - How is it possible to determine numbers of reports (per group or per user)? |  |
|  | Is there any demand for the possibility of stacking containers at the terminal? What added value would this generate for the operational reliability of the OAT? |  |
|  | The option is being considered of planting a row of trees over the OAT network, following completion of the OAT network. Connections to buildings will have to be built between 2 trees, together with the maintenance access points. This will make it impossible to reach the pipes by open excavation, in the event of breakdown/maintenance. Are you still able to manage/maintain the system in this situation? |  |

|  | Your recommendations/comments. What would you like to let us know? |  |
| --- | --- | --- |

|  | Finally |  |
| --- | --- | --- |
|  | If invited by the Municipality of Amsterdam, are you willing to further explain your answers to the questionnaire in a face to face meeting? |  |

Thank you for taking the time to participate in this market consultation.