## Blad1
TCA Instruments & Equipment for LIMS
HPLC-pomp iso 6 | Jasco | PU2087 | chromnav | RS232
UV detector iso 6 | Jasco | UV2075 | chromnav | 1 V signal
HPLC-pomp iso 3 | Jasco | PU1587 | chromnav | RS232
Radiodetector iso 6 | home build |  |  | 1 V signal
Radiodetector iso 3 | home build |  |  | 1 V signal
Radiodetector QC Biologicals | home build |  |  | 1 V signal
Balans | Mettler | XS105DU |  | RS232
Balans isolator 1 | Sartorius | LA120S |  | RS232
pH meter lab E3 | QC lab | Schott LAB870 |  | unknown
Bovenweger | Sartorius | BL3100 |  | unknown
Bovenweger | Sartorius | BL3100 |  | unknown
HPLC-pomp iso 5 | Jasco | PU1587 | chromnav | RS232
Radiodetector iso 5 | home build |  |  | 1 V signal
UV-detector | Jasco | PU2075 | chromnav | 1 V signal
pH meter ISFET G6 | Orion | Star A211 |  | unknown
Thermomixer compact | Eppendorf | Thermomixer compact |  | unknown
HPLC prep pump | Jasco | PU2080 | chromnav | RS232
Balans isolator 2 | Sartorius | CP124S |  | unknown
Thermomixer Biologicals iso02 | Eppendorf | Thermomixer comfort |  | unknown
Endosafe endotoxine tester | Charles River | PTS |  | unknown
UV Detector Jasco 2075 | Jasco | UV2075 | Laura | 1 V signal
HPLC QC, pomp | Jasco | PU2080 | Laura | RS232
HPLC autosampler | Agilent | AS1200 | Laura | unknown
HPLC UV detector | Jasco | UV2075 | Laura | 1 V signal
HPLC BetaRAM | LabLogic |  | Laura | unknown
HPLC pomp iso 13 | Jasco | PU2087 | chromnav | RS232
UV Detector iso 13 | Jasco | UV2075 | chromnav | 1 V signal
Radiodetector iso 13 | home build |  |  | 1 V signal
HPLC pomp iso 14 | Jasco | PU2087 | chromnav | RS232
UV Detector iso 14 | Jasco | UV2075 | chromnav | 1 V signal
Radiodetector iso 14 | home build |  |  | 1 V signal
HPLC GRAD pomp iso 15 | Jasco | PU2087 | chromnav | RS232
UV Detector iso 15 | Jasco | UV2075 | chromnav | 1 V signal
Radiodetector iso 15 | home build |  |  | 1 V signal
Microbalans | Mettler | XP26DR |  | unknown
Bovenweger | Mettler | MS6001S/01 |  | unknown
Bovenweger | Mettler | MS6001S/01 |  | unknown
Bovenweger | Mettler | MS6001S/01 |  | unknown
Verwarmingsoven | home build
QC Systeem 1 | Dionex |  | Chromeleon | pdf import to petra
QC Systeem 1; Radiodetector | Canberra |  | Chromeleon | pdf import to petra
QC Systeem 2 | Dionex |  | Chromeleon | pdf import to petra
QC Systeem 2; Radiodetector | Canberra |  | Chromeleon | pdf import to petra
Digitale HPLC flowmeter | GJC Instruments | 502500 |  | unknown
Thermomixer GMP2 iso 10 | Eppendorf | Thermomixer comfort |  | unknown
Balans isolator 10 | Mettler | MS104S |  | unknown
Balans | Mettler | MS104S |  | unknown
pH meter | Sentron | SI600 |  | unknown
Filtertester Safira | Elysia Raytest | Safira | GINA | pdf import to petra
Bovenweger Sartorius GMP1 D12 | Sartorius | TE6101 |  | unknown
Analytische balans D4 | Mettler | XA105DU |  | unknown
UV Detector prep HPLC, iso 5 | Jasco | PU2075 | chromnav | 1 V signal
QC Systeem 3 lab V2 | Agilent | 1260 | chemstation | pdf import to petra
GC Restoplosmiddelen Agilent | Agilent | 6850A | chemstation | pdf import to petra
ORA Neptis Synthesizer | ORA | Neptis |  | pdf import to petra
Knauer HPLC pomp bij Neptis | Knauer | 4.1S | controlled by neptis
Knauer UV Detector bij Neptis | Knauer | Smartline 2520 | controlled by neptis
Reflectometer | Merck | RQFlex10 |  | unknown
Bovenweger Sartorius | Sartorius | Entris5201I |  | unknown
pH meter QC lab Biologicals | Schott | Lab870 |  | unknown
Thermometer + thermocouple | Kimo | SolomatMPM500e
Particle counter | Lighthouse | Solair3100
Air-sampler | Lighthouse | µB sampler
Bovenweger Sartorius | Sartorius | Entris5201I |  | unknown
Beta-scintillation counter | Hidex |  |  | unknown
Endosafe endotoxine tester (Nexgen) | Charles River | NexGen |  | unknown
QC System 3; Biologicals | Dionex |  |  | pdf import to petra
Gamma-counter Hidex | Hidex |  |  | unknown
Gamma-counter Wizard | Perkin Elmer | 2470 or 2480 |  | unknown
Osmometer | Advanced instruments | 3320 |  | unknown
Lutetium Thermomixer | Eppendorf | Thermomixer comfort
Lutetium uitvulunit | home build
Neptis 2 Synthesizer | ORA | Neptis | controlled by neptis | pdf import to petra
Knauer HPLC pomp bij Neptis 2 | Knauer | 4.1S Azura | controlled by neptis
Knauer UV Detector bij Neptis 2 | Knauer | Smartline 2520 | controlled by neptis
pH meter met printer | SI Analytics | Lab875P
Thermomixer | Eppendorf | Thermomixer compact
Reflectometer (2) | Merck | RQFlex10
Ge-Li MCA detector |  |  |  | pdf import to petra
Bovenweger Sartorius | Sartorius | Entris5201I
Bovenweger Sartorius | Sartorius | Entris5201I
Bovenweger Sartorius met Printer | Sartorius | Entris5201I
pH meter met printer | SI Analytics | Lab875P
pH meter met printer | SI Analytics | Lab875P
pH meter Sentron (2) | Sentron | SI600
Gaschromatograph residuals | Shimadzu | GC2030 |  | pdf import to petra
Air-sampler SAS180 | Merck |  |  | In hotlab
Safira filtertester (2) | Elysia Raytest | Safira | GINA | pdf import to petra
Air-sampler Active Count 100 | Lighthouse
Air-sampler Active Count 100 | Lighthouse
Cis-Platin synthesizer | home build |  |  | pdf import to petra
QC Systeem 4; Biologicals | Dionex |  |  | pdf import to petra
Radiodector QC4 | Elysia Raytest |  |  | pdf import to petra
Dosecalibrator Isolator 1 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 2 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 6 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 7 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 8 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 9 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 10 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 11 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 12 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 13 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 14 | MED | Isomed2010 |  | unknown
Dosecalibrator Isolator 15 | MED | Isomed2010 |  | unknown
HPLC prep pomp | Knauer | Blueshadow 40P | data apex | unknown
HPLC UV Detector | Knauer | UV Dtector 40 | data apex | unknown