## Lot 1
Response form Lot 1 - Program of Requirements and awarding criteria
Awarding criteria - Lot 1: Borehole station | [6 empty] | Answer the following questions with regard to the corresponding criteria | Tenderer's response
Type | # | Sensor quality consisting of: | Yes/No / Max. points | Answer tenderer | Score | % Total score | Please answer all questions even if you checked "No" of any of the knockout criteria. This is your chance to explain why you checked "No". | Fill out details
KO | S1 | Orthogonal/Symmetric triaxial borehole/posthole seismic sensor (XYZ or UVW) | Y-N |  | Not applicable |  | What type of sensor is offered?
KO | S2 | Suitable for installation in a steel-cased borehole with an inner diameter of 101 milimeters at a depth ranging from 250 meters - 300 meters Borehole axis does not deviate more than 4° from vertical | Y-N |  | Not applicable |  | What is the diameter and depth rating of the sensor?
KO | S3 | Flat instrument response to ground velocity from 0.05 Hz to 40 Hz wider is better (see S12), narrower is a knockout | Y-N |  | Not applicable |  | What is the frequency band over which the instrument response is flat?
KO | S4 | Self-noise that is below the NLNM from 0.1 Hz to 5 Hz wider is better (see S13), narrower is a knockout | Y-N |  | Not applicable |  | What is the frequency band in which the self-noise is below the NLNM?
KO | S5 | Dynamic range of at least 135 dB @ 1 Hz higher is better (see S14), lower is a knockout | Y-N |  | Not applicable |  | What is the dynamic range of the sensor at 1 Hz?
KO | S6 | Seismic velocity output | Y-N |  | Not applicable
KO | S7 | Operating temperatures -20°C to 60°C | Y-N |  | Not applicable
KO | S8 | IP68 equivalent or higher rating | Y-N |  | Not applicable |  | What is the the Ingress Protection Code (or equivalent) rating of the sensor? To what depth?
KO | S9 | Compatible with the proposed datalogger | Y-N |  | Not applicable
KO | S10 | Full datasheet with specifications, factory instrument response, and self noise level curves is submitted | Y-N |  | Not applicable
W | S11 | Low power consumption, optimally up to 1.5 Watt less than 1.5 Watt - 10 points 1.5 Watt to 3 Watt - 5 points more than 3 Watt - 0 points | 10 |  | 0 |  | What is the power consumption of the sensor?
W | S12 | Flat instrument response over a wider range (see S3) from below 0.01 Hz to above 50 Hz - 25 points 0.01 Hz to 50 Hz - 12 points 0.05 Hz to 40 Hz - 0 points | 25 |  | 0
W | S13 | Self-noise that is below the NLNM over a wider range (see S4) from below 0.08 Hz to above 10 Hz - 25 points 0.08 Hz to 10 Hz - 12 points 0.1 Hz to 5Hz - 0 points | 25 |  | 0
W | S14 | Dynamic range > 140 dB @ 1 Hz (see S5) more than 150 dB - 10 points 140 dB to 150 dB - 5 points 135 dB to 140 dB - 0 points | 10 |  | 0
|  | Total score S: (if all knockout criteria are met) | 70 |  | 0 | 10.94%
Type | # | Datalogger quality consisting of: | Yes/No / Max. points | Answer tenderer | Score | % Total score
KO | D1 | Simultaneous sampling on all channels | Y-N |  | Not applicable
KO | D2 | Resolution of at least 24 bit @ 100 sps higher is better (see D14), lower is a knockout | Y-N |  | Not applicable |  | What is the sampling resolution?
KO | D3 | At least 3 channel input more is better (see D15), less is a knockout | Y-N |  | Not applicable |  | How many input channels are supported?
KO | D4 | Continuous recording with MiniSEED support | Y-N |  | Not applicable
KO | D5 | Continuous data streaming, seismic and state-of-health with SeedLink support | Y-N |  | Not applicable
KO | D6 | Automatic data backfill for when communication is interrupted | Y-N |  | Not applicable
KO | D7 | Time accuracy < 5 µs via internal GNSS receiver and external antenna | Y-N |  | Not applicable |  | What is the time accuracy with GNSS?
KO | D8 | Internal storage of at least 8 GB and support for removable storage more internal storage is better (see D16), less is a knockout | Y-N |  | Not applicable
KO | D9 | File transfer via Ethernet | Y-N |  | Not applicable
KO | D10 | Self diagnostics, tests, calibration, mass centering in combination with the offered sensor | Y-N |  | Not applicable
KO | D11 | Operating temperatures -20°C to 60°C | Y-N |  | Not applicable
KO | D12 | IP67 equivalent or higher rating | Y-N |  | Not applicable
KO | D13 | Full datasheet with specifications is submitted | Y-N |  | Not applicable
W | D14 | Resolution > 24 bit @ 100 sps | 10 |  | 0
W | D15 | Extra channels with support for some or all of the following (see D3): 3C surface seismometer, Geophone sensors, Strong motion accelerometers, Microbarometers, Meteorological Sensors more than 3 extra channel - 30 points 2 to 3 exta channels - 15 points 1 extra channel - 5 points no extra channel - 0 points | 30 |  | 0 |  | Can the datalogger accommodate a 3C broadband surface seismometer? What other sensors can be connected?
W | D16 | Internal storage > 8 GB | 5 |  | 0 |  | What is the volume of the internal storage?
W | D17 | Field-swappable storage with no data loss during continuous recording | 5 |  | 0 |  | Which storage media are supported?
W | D18 | Downloadable full digitizer + sensor response file StationXML/Dataless-SEED/RESP format | 10 |  | 0 |  | Which formats are suported?
W | D19 | Low power consumption, optimally up to 1.5 Watt (3 ch) 1.5 Watt to 3 Watt - 5 points more than 3 Watt - 0 points | 5 |  | 0 |  | What is the power consumption of the datalogger?
W | D20 | Bluetooth and/or WiFi connectivity | 5 |  | 0
|  | Total score D: (if all knockout criteria are met) | 70 |  | 0 | 10.94%
Type | # | Other criteria: | Max. points | Answer tenderer | Score
KO | O1 | Delivery time up to 90 calendar days faster is better (see O5), longer is a knockout |  |  | Not applicable |  | Can you garantee delivery within 30, 60, or 90 calendar days? Please specify.
KO | O2 | Environmental Awareness (see Mandatory forms - Annex ...) |  |  | Not applicable
KO | O3 | Proof of experience (see Mandatory forms - Annex 2) |  |  | Not applicable
KO | O4 | Warrenty Free of charge replacment of faulty components for (at least) 12 months a component is deemed faulty if it causes the station to deviate from the knockout criteria |  |  | Not applicable |  | What is the warrenty period?
KO | O5 | Installation of borehole stations will be under the resposibility of the Contractor (awarded party) |  |  | Not applicable |  | Will you perform the installation or will you sub-contract it to a third party?
W | O6 | Faster delivery upto 30 days - 30 points 60 days - 15 points 90 days - 0 point | 30 |  | 0
W | O7 | Longer warranty period more than 36 months - 10 points more than 12 months upto 36 months - 5 points upto 12 months - 0 points | 10 |  | 0 |  | What period?
|  | Total score O: (if all knockout criteria are met) | 40 |  | 0 | 6.25%
Type | # | Price | Max. points
W | P0 | The Tenderer with the lowest total price (excluding VAT), that also complies with all knockout criteria, will receive the maximum score. All other Tenderers will recive points according to the following formula: max_points * (1.5 * min_price - tenderer_price)/(1.5 * min_price - min_price) Provide price per station and a use open cost accounting to demonstrate the cost structure per product to be delivered. | 460 | Tenderer is asked to include the price in Annex Quotation | Tenderer is asked to include the price in Annex Quotation
|  | Total score P: (if all knockout criteria are met) | 460 |  |  | 71.88%
|  | Total score Tenderer (S + D + O) |  |  | 0
|  | Total score (S + D + O + P) | 640 |  |  | 100%

## Blad1 (hidden)
Yes
No
S11
0-1.5 | 10 points
1.5-3 | 5 points
>3 | 0 points
S12 (Hz)
<0.01->50 | 25 points
>0.01-<50 | 12 points
0.05 Hz to 40 Hz | 0 points
S13
≤0.08≥10 | 20 points
>0.08<10 | 10 points
0.1 Hz to 5 Hz | 0 points
S14
>150
140≤150
135 dB to 140 dB | 0 points
D14
Resolution > 24 bit @ 100 sps
≤24 | 0 points
>24 | 10 points
D15
>3 | 30 points
2-3 | 10 points
1 | 5 points
0 | 0 points
D16
Yes | 5 points
No | 0 points
D17
Yes | 5 points
No | 0 points
D18
Yes | 10 points
No | 0 points
D19
1.5-3 | 5 points
>3 | 0 points
W06
0≤30 | 30 points
31≤60 | 15 points
61≤90 | 0 points
W07
≥36 | 10 points
>12<36 | 5 points
≤12 | 0 points