## Price form
APPENDIX D. PRICE FORM
Instructions:
Tenderer is required to fill in all yellow shaded cells;
Tenderer must quote prices for A.1 - A.3, B.1 - B.6 and D.1 - D.4. Otherwise, the Tender is invalid and will be set aside.
All prices must be quoted in EUR excluding VAT;
All prices are non-negotiable;
The total price for the base configuration of the 3 gliders (A.4) may not exeed EUR 580,000.00 excluding VAT;
If one or more options (items C) or equivalents are not available, Tenderer must fill in N/A;
If the Tenderer offers one or more equivalent options (C.4; C.5; C.6), the equivalence must be substantiated by the Tenderer.
Please see worksheet 'Requirements & Options' for an overview of the minimum technical requirements for the base configuration of the 3 gliders and the technical options.
This price form should be uploaded on TenderNed in both Excel as well as in PDF format; the PDF format must signed by an authorized person of the Tenderer
A | Base configuration (excluding options) |  |  | Prices in EUR (excluding VAT)
|  | A.1 | Glider 1 | 0
|  | A.2 | Glider 2 | 0
|  | A.3 | Glider 3 | 0
|  | A.4 | Total price base configuration 3 gliders | 0
B | Costs of services (lifespan 10 years) |  |  | Prices in EUR (excluding VAT)
|  | B.1 | 12 x Regular maintenance inspection at your service centre (4x per glider) | 0
|  | B.2 | 8 x Replacement of extended primary lithium batteries at your service centre (4x per glider for glider 1 & 2) | 0
|  | B.3 | 1 x Replacement of rechargeable lithium batteries at your service centre (glider 3) | 0
|  | B.4 | 12 x Calibration costs of CTD sensor, at your service centre (4x per glider) | 0
|  | B.5 | 12 x Calibration costs of Optode sensor, at your service centre (4x per glider) | 0
|  | B.6 | 12 x Calibration costs of Ecopuck sensor, at your service centre (4x per glider) | 0
|  | B.7 | Total costs of services | 0
C | Options |  |  | Prices in EUR (excluding VAT)
|  | C.1 | 2 x Acoustic modems (gliders 1 & 2) | 0
|  | C.2 | 1 x Nose recovery system (glider 3) | 0
|  | C.3 | 1 x Auxiliary thruster (glider 3) | 0
|  | C.4 | 1 x Nitrate sensor, SBE Suna or equivalent (glider 3) | 0
|  | C.5 | 1 x Micro turbulence sensor including probes and thermistors, RSI Microrider-1000 or equivalent (glider 3) | 0
|  | C.6 | 1 x pH sensor, SBE ISFET or equivalent (glider 3) | 0
|  | C.7 | 3 x Strobe lights for easy recovery (all 3 gliders) | 0
|  | C.8 | 2 x Shore side data management of acoustic data recovery (gliders 1 & 2) | 0
|  | C.9 | Calibration costs of pH sensor, at your service centre (glider 3) | 0
|  | C.10 | Calibration costs of nitrate sensor, at your service centre (glider 3) | 0
|  | C.11 | Calibration costs of micro turbulance sensor, at your service centre (glider 3) | 0
|  | C.12 | 2 years extended warranty (all gliders) | 0
D | Additional costs |  |  | Prices in EUR (excluding VAT)
|  | D.1 | Costs of CIF transport, operational delivery, installation (all gliders) | 0
|  | D.2 | FAT tests, including reporting (all gliders) | 0
|  | D.3 | SAT tests (all gliders) - PER DAY | 0
|  | D.4 | 24/7 helpdesk service | 0
|  | D.5 | Costs of operational training for 3 NIOZ employees and maintenance training for 2 NIOZ employees at the premises of the manufacturer | 0
|  | D.6 | Hourly rate technician | 0
|  | D.7 | Hourly rate software engineer | 0
Company name Tenderer
Date
Name
Position
Signature (must be signed by an authorized person)

## Requirements & options
|  | Specification § |  | Gliders 1 & 2 | Glider 3
Minimum technical requirements for the base configuration of the 3 gliders | 1 | §4 | Minimum depth rating: 1,000 metres | X | X
| 2 | §4.1.a | Primary lithium batteries | X
| 3 | §4.1.b | An extended battery bay including batteries enabling an extended endurance | X
| 4 | §4.2.a | Rechargeable lithium batteries, including charger and charger cables |  | X
| 5 | §4.1.c-e §4.2.d-f | Sensors: - Non pumped CTD, RBR Legato3 or equivalent - Oxygen optode, Aanderaa 4831 or equivalent - Ecopuck, measuring chlorophyll, turbidity and CDOM, Wetlabs FLBBCD or equivalent | X | X
| 6 | §4.3.a-j | Equipment: - Iridium telemetry, GPS and altimeter - Glider management and piloting software for use on a desktop computer and, if possible, a mobile phone - Software for making endurance and range calculations - All required cables, tooling, ballasting weights, additional buoyancy, etc. - Argos backup tracking pinger - The quotation shall specify requirements for data communication and hardware - Transit case - A custom cart - 2 year spare parts kit - Software licenses for a minimum duration of two years | X | X
| 7 | §4.3 | Capability of using both primary lithium batteries and rechargeable batteries | X | X
| 8 | §4.3.k | Documentation: - System description - User manual - Piloting manual - Maintenance manual and sensor manuals - For each glider: one paper version and one digital version | X | X
| 9 | §8 | FAT tests including reporting SAT tests including reporting | X | X
| 10 | §9 | 24/7 helpdesk service | X | X
Technical options | 1 | §4.1.f | Acoustic modem, low frequency, broad antenna pattern, for acoustic data recovery from a subsea mooring, Benthos ATM-900 or equal. The interface from the glider OS to the modem should be included | X
| 2 | §4.2.b | Nose recovery system |  | X
| 3 | §4.2.c | Auxiliary thruster |  | X
| 4 | §4.2.g §4.2.h §4.2.i | Sensors: - Nitrate, SBE Suna or equivalent - Micro turbulence including probes and thermistors, RSI Microrider-1000 or equivalent - pH, SBE ISFET or equivalent |  | X
| 5 | §6 | The shore-side data management system and a dock server for acoustic data-recovery will be included. The system will contain: sorting of received files, a master file per mooring, the tracking of missed records, etc. | X
| 6 | §4.3 | Strobe light for easy recovery | X | X