## Sheet1
Appendix A05, Prescribed format for notification of preferences and options Guidelines for the multiple limited tender for an E-Beam Evaporator, ref. TNO 2021 FPL-INK 114, dated 26-08-2021.
The Tenderer demonstrates the ability to meet the preferences by means of his answers to the various questions/preferences, which must be structured in accordance with the instructions given in Chapter 6 and 8.
Preference | Decription | Tenderer declares that he is able to meet the Preference | Reference in Tenderer's documentation where Tenderer indicates in which way he can fulfil the preference | Remark
Preference 8.2.6 | The chamber has an integrated heating system for wall bake-out. With such a system, TNO wants to minimize sorption of water vapour from atmospheric air (during loading/unloading) and achieve a stable deposition process. Please specify the heating/cooling position(s) and type of your system and give information on how the heating system improves pump down times, removal of water vapor etc. The entire answer should be no more than two (2) A4 pages. If the answer exceeds two A4 pages, the additional pages will be disregarded | Click the drop-down box to select
Preference 8.2.16 | Chamber Cleaning / Particle Generation TNO’s processes are sensitive to particles. Therefore, TNO wants to minimize particle generation Additional data on the generation of particles by rotating and moving parts and their deposition onto the substrate is preferred. Please describe a cleaning and maintenance procedure and show its effectiveness on minimizing the number of particles. The entire answer should be no more than three (3) A4 pages. If the answer exceeds three A4 pages, the additional pages will be disregarded. | Click the drop-down box to select
Preference 8.3.3 | Pump down time. Please specifiy the pump down time separately, and be committed to this specification. | Click the drop-down box to select
Preference 8.4.3 | The system is preferably equipped with a second E-gun, including all necessary components such as control system, sensors, shutters, etc. for co-evaporation. Please specifiy if the requested option is available separately. | Click the drop-down box to select
Preference 8.5.5 | The sample holder can be continuously rotated up to 20 rpm or higher. Please specify the requested rotation, and be committed to this specification | Click the drop-down box to select
Preference 8.6.3 | TNO wants to deposit a very low amount of iron, corresponding to 1 nm layer thickness of iron, if it was a closed layer, homogeneously and reproducibly. Please specify on how to achieve this demand with your system, and commit to achieving it. The entire answer should be no more than two (2) A4 pages. If the answer exceeds two A4 pages, the additional pages will be disregarded. | Click the drop-down box to select
Preference 8.7.6 | The control system preferably includes a logging feature so that important system parameters can be followed over time. Please specify this separately, and be committed to this specification | Click the drop-down box to select
Preference 8.8.3 | Confirmation of receipt of maintenance within warranty – or service request or complaint within warranty: Within 4 hours* - 50 pts Service request – Machine down – within warranty: Next day at site - 50 pts *within office hours and regular workdays. Please specify separately, and be committed to this specification | Click the drop-down box to select
Preference 8.8.9 | TNO prefers thedelivery to take place within 7 months after submitting the order/contract. There is a bonus to be earned, if delivery, including approved SAT, is within 6 months (4000€). Please specify your delivery time, and be committed to this delivery time. | Click the drop-down box to select