Annex 4A Response to Quality Award Criteria

European Tender

Toxicology Tests on Human Hair Fragments

The Netherlands Forensic Institute

Version   0.1

Attribute IUC DJI/IENEA/RR/2021-03

- Competence and experience of laboratory and experts

- Your experience and knowledge with regard to carrying out the required testing and your experience with forensic investigation.

<your answer>

- The competence level of your expert witness toxicologists who draw up the Expert Witness Statement. Please enclose two, anonymized, CV’s as an annex to your answer.

- The delivery time of reporting on the results of analyzing a hair fragment (preferably within 21 calender days) and how you will achieve this.

<your answer>

2.2	Quality of methods

- Describe the method(s) for sample pre-processing (including segmentation, washing, extraction) or enclose an SOP in which this is described.

<your answer>

- Indicate which analytical techniques you use to analyse trugs and medicines. State the limits of detection (LOD) and quantification (LLOQ).

<your answer>

- Indicate whether you can distinguish between incidental and chronic exposure.

<your answer>

- Indicate whether you can align poorly sampled hair strains to allow analysis of segments.

<your answer>

- State whether the methods have been validated and according to which quality standard the methods have been accredited.

<your answer>

- State whether the screening method is performed according to SOHT recommendations (an appropriate method validation including calibrators and controls in a hair matrix must be performed, and analytes of interest must be identified to minimize false negatives). Please provide your screening procedure.

<your answer>

3 		Expert Witness Stament

- Indicate whether you can provide a clear and elaborate toxicological interpretation (Expert Witness Statement) and enclose an example report.

<your answer>