## 1. Front page
Appendix A04: Schedule of Prices and Costs
Belongs to the Public Procurement Guidelines for the European public procurement for the delivery of two (2) glovebox systems
2022 FPL-INK 035
Date:
Tenderer company name:
Name:
Signature:

## 2. Instructions
Instructions | sittingduck
Secur | The white boxes are secur and Tenderer can not change these fields.
Entry box | The light bleu boxes within Tab "price page" Tenderer is requested to enter, and are part of Price (TP) (also the fields on the front page: Date, Tenderer Company Name and Name)
Entry box | The Yellow boxes within Tab "price page" Tenderer is requested to enter, and are NOT part of Price (TP)
Price (TP) | The Light Green box is the price (TP) offered by the Tenderer

## 3. Price page
Appendix A04, Schedule of Prices and Costs
Guidelines for the European Public procurement tender for the delivery of two glovebox systems Ref. Nr. 2022 FPL-INK 035 date 04-03-2022
Items quoted for price (TP), Tenderer is permitted to add any additional necessary items and price. Priced items quoted in this part of the price sheet will be part of the tender price and purchased by TNO.
Line Number |  | Description | Price each | Quantity | Total amount
1 |  | Price TP - "GB system no. 1” This subject of this tender includes: - minimum requirements and offered preferences (if included in TP); - two Year Warranty; - factory acceptance test; - freight and shipping (DDP incoterms 2020); - start up on site, excluding hook up; - site acceptance test; - manual and documentations; - installation and operator training. | 0 | 1 | 0
2 |  | Price TP - "GB system no. 2” This subject of this tender includes: - minimum requirements and offered preferences (if included in TP); - two Year Warranty; - factory acceptance test; - freight and shipping (DDP incoterms 2020); - start up on site, excluding hook up; - site acceptance test; - manual and documentations; - installation and operator training. | 0 | 1 | 0
Price quotation preference items. Tenderer is requested to quote line numbers 3 till 18 (if the preference doesn't lead to an additional cost for TNO, please enter '0' (zero))
Line Number | Preference ID | Description | Price each | Quantity | Total amount
3 | Preference 8.1.8.1 | Glovebox controls - The controls are redundantly set up to be able to control certain functions without taking your hands out of the gloves (like start evacuation cycle, start box purge). | 0 | 1 | 0
4 | Preference 8.1.9 | Logging - The history of the O2, H2O and box pressure can be logged for a minimum of 18 hours and can be graphically displayed. | 0 | 1 | 0
5 | Preference 8.2.1.3 | Big antechamber - The AC cycle of the big AC can also be started without taking your hands out of the gloves. | 0 | 1 | 0
6 | Preference 8.3.2.1 | Solvents - The solvent filter has enough capacity to reduce solvent levels (used solvents listed in appendix C05) to a minimum at a replacement rate of 3 months or longer. | 0 | 1 | 0
7 | Preference 8.3.3 | Solvent sensor - The system will have a solvent sensor for measuring ppm levels of the solvents listed in Appendix C05. The solvents sensor can be calibrated for a predefined solvent. | 0 | 1 | 0
8 | Preference 8.3.3.1 | Solvent sensor - The solvent sensor can trigger an additional solvent reduction system (for instance: an automatic box purge). | 0 | 1 | 0
9 | Preference 8.3.4.2 | N2 filter quality and capacity - We are looking for a durable and low maintenance (cost) solution. For the offered nitrogen filter (req. 8.3.4.1), specify the (yearly) maintenance costs and provide a calculation example of expected lifetime of the filter (e.g., the time between filter replacement = the capacity of the filter charge / the expected amount of N2 that leaks into the box over time). Also, we want to know what it costs to replace a saturated filter charge. | 0 | 1 | 0
10 | Preference 8.4.2.1 | Automatic box purge - If the system has an O2 or H2O level above the user set ppm level the box purge is started automatically until levels of O2 or H2O are below the user set ppm level again and circulation through the purifier is resumed. | 0 | 1 | 0
11 | Preference 8.5.8.1 | Glovebox controls - The controls are redundantly set up to be able to control certain functions without taking your hands out of the gloves (like start evacuation cycle, start box purge). | 0 | 1 | 0
12 | Preference 8.5.9. | Logging - The history of the O2, H2O and box pressure can be logged for a minimum of 18 hours and can be graphically displayed. | 0 | 1 | 0
13 | Preference 8.6.1.3 | Big antechamber - The AC cycle of the big AC can also be started without taking your hands out of the gloves. | 0 | 1 | 0
14 | Preference 8.7.2.1 | Solvents - The solvent filter has enough capacity to reduce solvent levels (used solvents listed in appendix C05) to a minimum at a replacement rate of 3 months or longer. | 0 | 1 | 0
15 | Preference 8.7.3 | Solvent sensor - The system will have a solvent sensor for measuring ppm levels of the solvents listed in Appendix C05. The solvents sensor can be calibrated for a predefined solvent. | 0 | 1 | 0
16 | Preference 8.7.3.1 | Solvent sensor - The solvent sensor can trigger an additional solvent reduction system (for instance: an automatic box purge). | 0 | 1 | 0
17 | Preference 8.8.2.1 | Automatic box purge - If the system has an O2 or H2O level above the user set ppm level the box purge is started automatically until levels of O2 or H2O are below the user set ppm level again and circulation through the purifier is resumed. | 0 | 1 | 0
18 | Preference 8.9.2 | Delivery time – It is preferred by TNO that delivery takes place within 20 weeks, after TNO submitted a purchase order. | 0 | 1 | 0
Price (TP) |  |  |  |  | 0
Price quotation optional items. Tenderer is requested to quote line numbers 19 till 31 Tenderer is permitted to quote any other opptional needed items which are not mentioned by TNO.
Line Number |  | Description | Price each | Quantity | Total amount
19 | paragraph 1.3.1.1 | All-Inclusive maintenance/services contract - duration: 1 Year | 0 | 1 | 0
20 | paragraph 1.3.1.1 | All-Inclusive maintenance/services contract - duration: 2 Years | 0 | 1 | 0
21 | paragraph 1.3.1.1 | All-Inclusive maintenance/services contract - duration: 3 Years | 0 | 1 | 0
22 | paragraph 1.3.1.1 | Basic maintenance/services contract - duration: 1 Year | 0 | 1 | 0
23 | paragraph 1.3.1.1 | Basic maintenance/services contract - duration: 2 Years | 0 | 1 | 0
24 | paragraph 1.3.1.1 | Basic maintenance/services contract - duration: 3 Years | 0 | 1 | 0
25 | paragraph 1.3.1 | Option for TNO, to buy a third glovebox with similar requirements/preferences, within a period of one (1) year | 0 | 1 | 0
26 | paragraph 1.3.1 | Option for TNO, to buy a third glovebox with similar requirements/preferences, within a period of two (2) years | 0 | 1 | 0
27 | paragraph 1.3.1 | Option for TNO, to buy a third glovebox with similar requirements/preferences, within a period of three (3) years | 0 | 1 | 0
28 | Optional 8.1.9.1 | Logging - The logging history can be exported through USB. | 0 | 1 | 0
29 | Optional 8.1.15 | Bigger (capacity) vacuum pump - System can be delivered with two ACP28G or similar (e.g. purge port, corrosion resistance). | 0 | 1 | 0
30 | Optional 8.5.9.1 | Logging - The logging history can be exported through USB. | 0 | 1 | 0
31 | Optional 8.5.15 | Bigger (capacity) vacuum pump - System can be delivered with an ACP28G or similar (e.g. purge port, corrosion resistance). | 0 | 1 | 0
32 |  |  | 0 | 1 | 0
33 |  |  | 0 | 1 | 0
34 |  |  | 0 | 1 | 0
35 |  |  | 0 | 1 | 0
36 |  |  | 0 | 1 | 0
37 |  |  | 0 | 1 | 0
38 |  |  | 0 | 1 | 0
39 |  |  | 0 | 1 | 0
40 |  |  | 0 | 1 | 0