## Appendix A06
Appendix A06, Prescribed format for answering questions_notification of preferences Guidelines for the European Public Tender for two glovebox systems, ref. TNO 2022 FPL-INK 035, dated 04-03-2022
The Tenderer demonstrates the ability to meet the preferences by means of his answers to the various questions/preferences, which must be structured in accordance with the instructions given in Chapter 6 and 8.
Preference | Decription | Tenderer declares that he is able to meet the Preference | Reference in Tenderer's documentation where Tenderer indicates in which way he can fulfil the preference | Remark
Preference 8.1.8.1 | Glovebox controls - The controls are redundantly set up to be able to control certain functions without taking your hands out of the gloves (like start evacuation cycle, start box purge). | Click the drop-down box to select
Preference 8.1.9 | Logging - The history of the O2, H2O and box pressure can be logged for a minimum of 18 hours and can be graphically displayed. | Click the drop-down box to select
Preference 8.2.1.3 | Big antechamber - The AC cycle of the big AC can also be started without taking your hands out of the gloves. | Click the drop-down box to select
Preference 8.3.2.1 | Solvents - The solvent filter has enough capacity to reduce solvent levels (used solvents listed in appendix C05) to a minimum at a replacement rate of 3 months or longer. | Click the drop-down box to select
Preference 8.3.3 | Solvent sensor - The system will have a solvent sensor for measuring ppm levels of the solvents listed in Appendix C05. The solvents sensor can be calibrated for a predefined solvent. | Click the drop-down box to select
Preference 8.3.3.1 | Solvent sensor - The solvent sensor can trigger an additional solvent reduction system (for instance: an automatic box purge). | Click the drop-down box to select
Preference 8.3.4.2 | N2 filter quality and capacity - We are looking for a durable and low maintenance (cost) solution. For the offered nitrogen filter (req. 8.3.4.1), specify the (yearly) maintenance costs and provide a calculation example of expected lifetime of the filter (e.g., the time between filter replacement = the capacity of the filter charge / the expected amount of N2 that leaks into the box over time). Also, we want to know what it costs to replace a saturated filter charge. | Click the drop-down box to select
Preference 8.4.2.1 | Automatic box purge - If the system has an O2 or H2O level above the user set ppm level the box purge is started automatically until levels of O2 or H2O are below the user set ppm level again and circulation through the purifier is resumed. | Click the drop-down box to select
Preference 8.5.8.1 | Glovebox controls - The controls are redundantly set up to be able to control certain functions without taking your hands out of the gloves (like start evacuation cycle, start box purge). | Click the drop-down box to select
Preference 8.5.9. | Logging - The history of the O2, H2O and box pressure can be logged for a minimum of 18 hours and can be graphically displayed. | Click the drop-down box to select
Preference 8.6.1.3 | Big antechamber - The AC cycle of the big AC can also be started without taking your hands out of the gloves. | Click the drop-down box to select
Preference 8.7.2.1 | Solvents - The solvent filter has enough capacity to reduce solvent levels (used solvents listed in appendix C05) to a minimum at a replacement rate of 3 months or longer. | Click the drop-down box to select
Preference 8.7.3 | Solvent sensor - The system will have a solvent sensor for measuring ppm levels of the solvents listed in Appendix C05. The solvents sensor can be calibrated for a predefined solvent. | Click the drop-down box to select
Preference 8.7.3.1 | Solvent sensor - The solvent sensor can trigger an additional solvent reduction system (for instance: an automatic box purge). | Click the drop-down box to select
Preference 8.8.2.1 | Automatic box purge - If the system has an O2 or H2O level above the user set ppm level the box purge is started automatically until levels of O2 or H2O are below the user set ppm level again and circulation through the purifier is resumed. | Click the drop-down box to select
Preference 8.9.2 | Delivery time – It is preferred by TNO that delivery takes place within 20 weeks, after TNO submitted a purchase order. | Click the drop-down box to select
Preference 8.9.8 | Maintenance contract Tenderer shall include a ‘basic’ and a ‘all-inclusive’, maintenance contract proposal (see also paragraph 1.3.1 and 1.3.1.1), which also must state the reaction times of the Tenderer (or third party contracted by the Tenderer for maintenance) in case of malfunctioning of the machine. TNO wants to prevent malfunctions of the GB systems as much as possible, and when the warranty period is over, TNO might intend to ensure this with a maintenance contract. In this respect, Tenderer must elaborate on the following subjects: - Describe in your response how you register service requests, or how TNO can report service requests. - Describe your response time online. - Describe your response time onsite. - Describe what kind of maintenance/service support you can provide for each type of contract, and at what cost. The maintenance contract will be under Appendix C03 General Purchasing Conditions – February 2022. | Click the drop-down box to select
Questions | Decription | Answer to question
Question 8.12.1 | Corporate Social Responsibility is becoming increasingly important in our own organization and in the future TNO will also ask more from our suppliers to play a part in this. What possibilities have you already initiated and where do you see opportunities for yourself and for TNO?
Question 8.12.2 | As you're aware, ISO 20400 is an international standard that provides guidelines on sustainable procurement. The standard can be used by any organization that intends to improve their social, economic, and environmental sustainability. Considering the growing awareness with regard to sustainable business practices, nationally and internationally, whether required by laws and regulations, promoted by the UN Sustainable Development Goals, or even by the changing societal expectations – there are a myriad of reasons in today’s world that drive organizations to be more sustainable, including TNO. Do you embrace the ISO 20400 guideline, and if so, how do you implement it in your own organisation?
Question 8.12.3 | Laboratory instruments that TNO uses for its scientific research consume a lot of power and also consist of very high-quality raw materials. For the benefit of the corporate social responsibility (CSR), are you making or willing to make technological investments to reduce power consumption during the use of the instrument, without negatively affecting the technical application of the instrument?
Question 8.12.4 | Biobased Goods are made of materials derived from fully renewable sources. TNO is considering to require in future Goods that devices be made (in part) from biobased materials. Can you give TNO some insight into whether this is feasible for the Goods in your portfolio, and if so, which biobased Goods do you think could be used as alternative Goods?
Question 8.12.5 | What is the negative impact of the current Covid-19 pandemic on your supply chain and what measures have you taken, for example, to ensure that you can meet the agreed delivery deadline?

## validatie (hidden)
Click the drop-down box to select
Yes, Tenderer is able to meet Preference
No, Tenderer is not able to meet Preference
note: dit blad 'verbergen' indien je dit gaat delen intern/extern (behoudens aan inkoop collega's)