## Sheet1
Annex 1: Questions regarding Market Consultation on Radars for Water levels and Wave heights
Questions about the radar you are offering
1 | For which of the 4 sensor types in H2 are you offering a suitable radar type? Please complete the table below with some basic specifications of these radar types.
- If you have more than one suitable type, please indicate this.
- If not all specifications are known to you, these may be left open.
|  | Sensor type A | Sensor type B | Sensor type C | Sensor type D
Radar type(s) in your product range
Range
Blanking
Radar signal transmission frequency
Sample
frequency
Measurement uncertainty
| Suitable for wave measurement (wave period 30 s – 1.5 s) |  |  | n/a | n/a
| Suitable for waves up to … m in height |  |  |  | n/a
| Beam angle |  |  |  | n/a
| Power consumption |  |  |  | n/a
Specifications and performance questions
2 | Please indicate whether the definitions you use differ from our definitions as described in Chapter 3.
3 | If you can offer a radar for sensor type C (stilling well radar for pipe diameter 30 cm), is this a standard product or do you modify a product to fit onto this diameter?
4 | Various transmission frequencies are used among the range of radars. Can you explain why your radar operates at the particular transmission frequency and what benefit this provides in comparison to other transmission frequencies?
5 | Which technical advantages does your radar type(s) have compared to other radars?
Questions on installation qualities
6 | When measuring water levels it is important to be able to relate the distance measurement to a mounting height relative to a known height of the measurement set-up. For this purpose, it is necessary to know which reference plane the radar uses. Can you specify whether:
a. The reference plane for each individual device is located at exactly the same height.
b. The reference plane is different for each individual device, but it is known and remains the same for its service life.
c. The reference plane for each device changes over time and must regularly be redetermined.
d. The reference plane is not known and must be determined with a measurement after installation.
7 | Please indicate whether it is possible to have the radar show a height relative to a preset installation height (as, in our case, an altitude above NAP or MSL)?
8 | Is a separate control unit required or is the radar fitted as a single integral unit?
9 | Is the required cable sensor specific or just a common installation cable? Is twisted pair suitable for this purpose? Is there separate cabling for power and data?
10 | Which accessories, included in the supply, are required to be able to apply the radar you have offered? These could be cables, interfacing, mounting brackets, tools, software or controls, etc.
Questions about wave measurements
11 | Do you offer a radar that is suitable for wave measurements as well as water level measurements on wavy water? If so, please explain for which range of waves it is suitable: which wave period and/or wave height range. Is this specification dependent on the mounting height? Based on your know-how, could you indicate which radar features are relevant for wave measurements?
12 | RWS uses its own wave processing to process data from various sensor types in a comparable way. The current wave processing is based on a sample frequency of 2.56 Hz. Can the radar that you are offering be set to a sampling frequency of 2.56 Hz? Or are you able to modify the product to make this possible? If not, which settings are available?
Questions about verification of specifications
13 | RWS would like to determine the relevant suitability for the envisaged measurements of water levels and wave heights before the radars are actually ordered and implemented on a large scale in the monitoring network. Has the performance of your product previously been demonstrated and are you able to show proof of this, or should this be part of this call for tenders?
14 | Do you have any recommendations on how best to verify the performance? Could this, in your opinion, be done based on a number of essential specifications (on paper)? Or is it necessary to conduct a test, and if so, what points should be taken into consideration?
Questions on service life, maintenance, and services
15 | Please indicate approximately for how long the currently offered radar has already been available and how long it will still be available for? Are updated versions already in the making? Please indicate (if applicable) whether there is a distinction between functionally equivalent or exactly the same radar type. When tendering, for what length of time would you be able to contractually honour a price for a (functional) radar type?
16 | RWS would like to get a better understanding of the management expenses over the entire life cycle. Are preventive actions required (such as calibration)? Are there things that need to be replaced regularly or that are the first ones to be faulty? What percentage of the costs are these in general comparison with the total system?
17 | Where is the location where maintenance (such as repairs) will be carried out? Does this take place directly at RWS’s contractor or at a manufacturer?
18 | Do you offer a substantive support service? And what response time is realistic in this respect?
Questions about having an interest in the contract
19 | What could be reasons for you to participate or not to participate in the tender procedure?
20 | Would you use the chosen subdivision in sensor types (A, B, C, D) or do you have a proposal for an adapted subdivision in the sensor types?
21 | Do you prefer a structure in lots for each sensor type, or in fact a single contract for all the sensor types together?
22 | Are you familiar with of the government’s general terms and conditions used by RWS? Do you pre-emptively notice any parts in these terms and conditions which your company or parent organisation cannot meet? If so, please specify and explain this?
Questions on refining the procurement strategy
23 | In what capacity would you like to register: as a dealer; as a manufacturer? Do you purchase systems from multiple suppliers or do you act as a sales department for one specific manufacturer?
24 | Please indicate how many employees work in your company and generally what your business activities are all about?
25 | The follow-up question is whether you can supply multiple sensor types/brands? And if that is not the case now, are you prepared to do so in the future? If necessary, would you be prepared to organise any type of cooperation in the market?
26 | Please indicate the approximate costs of the sensor (possibly in bandwidths) and a breakdown of these costs (if applicable to separate components)?
27 | You have noticed our preference for a contract duration of 15 years with a further maintenance period of 10 years. What is your preferred contract duration and can you please elaborate it?
28 | Is your company ISO9001 certified or similar?
Question on sustainability and impact
29 | RWS wants all procurements to be on a sustainable basis and has formulated ambitions to that effect. One of these ambitions relates to energy consumption of the entire production process: to what extent can you give an insight into the total consumption of the production process?
30 | Furthermore, we want to optimise logistics movements within the LMW. To gain an insight into this, we have the following questions:
1. What is a mean time between failures (MTBF) of your radar? The longer, the less frequently the radar needs to be replaced/repaired.
2. What diagnostic info could help us to avoid site visits?
31 | We also want to investigate in advance whether the materials and raw materials of sensors satisfy the criteria for our sustainability ambitions. Could you please answer the following questions:
a. To what extent can you give an insight into the origin of materials used / use of critical raw materials (CRMs)?
b. With regard to circular design: is the sensor always (modular) repairable?
c. Do you see opportunities in the reusability of components (refurbished)?
32 | Finally, in the market of suppliers of radars for measuring water levels and wave heights, we want to find out to what extent social aspects are taken into account. In this respect, consider having in your employ or employing people who are distanced from the labour market. Also consider social entrepreneurship such as offering traineeships for vocational training courses, providing workshops or teaching modules, using a sheltered workshop for repetitive activities. To what extent do you or are you able to address these social aspects from within your company?
In closing
33 | Do you have any other ideas, suggestions or comments or what opportunities and risks do you envisage for RWS with regard to the proposed call for tenders?