Response document Market consultation Gas Chromatographs

Company: …
Contact person: …

Questions:
1. What types of GC’s is respondent able to deliver which comply (best) with the MSM-05-E? Please elaborate on the deviations to MSM-05-E in the sheet MSM-05-E compliance in the Excel file “Consultation GC’s Response excel”.
(please note response in Excel)
2. Is there one type able to measure the 3 variants mentioned in MSM-05-E p15, Table 2: GC configurations? Please fill in the table in the sheet GC configurations in the Excel file “Consultation GC’s Response excel”.
(please note response in Excel)
3. Are there possibilities to analyse the 3 variant without the use of Helium as carrier gas? If yes, please explain the analysing method.
Answer:

4. What possibilities does respondent offer to minimize emissions of gas?
Answer:

5. [bookmark: _Hlk110952853]Gasunie now makes use of an own multi-level calibration and verification system. If applicable to meet the uncertainties, does respondent offer ‘multi-level calibration and verification’ as a service? What additional services do you provide?
Answer:

6. Is live-Z communication possible between GC and Electronic Volume Correction devices such as Krohne Summit8800? If yes, please describe how this is realized and which flow computers are supported.
Answer:

7. What is the expected lifecycle of the GC(‘s). What is the status of the GC in its product lifecycle roadmap (active, mature, limited, obsolete).
Answer:

8. What software can be provided with the GC and at what costs? Please describe the functions the software offers?
Answer:

9. Please describe what standards respondents follows and which measures have been taken to make the GC control-unit cyber secure.
Answer:

10. How does your GC differ from the rest of the market and what are the advantages for Gasunie?
Answer:


11. Through which delivery channels you serve the Dutch market? Is respondent manufacturer or trading company?
Answer:


12. What recommendations do you have for Gasunie for the upcoming tendering process?
Answer:


13. Which question did you expect in this questionnaire which we did not include?
Answer:


14. Please attach product datasheets of the relevant GC’s with the following parts highlighted:
a. Atex marking;
b. Uncertainties/stability;
c. Data communication network and protocol;
d. Emission
(please attach sheets).

Inventory of possible time slot for Presentation meeting (via Teams and only if respondent is willing to participate):
	Date
	Time (CEST)
	Possible (Y/N)

	Mon 10th Oct
	14:00 – 15:15
	

	Mon 10th Oct
	15:30 – 16:45
	

	Tue 11th Oct
	15:00 – 16.15
	

	Fri 14th Oct
	10.00 – 11.15
	

	Fri 14th Oct
	11.30 – 12.45
	

	Fri 14th Oct
	13.00 – 14.15
	

	Fri 14th Oct
	14.30 – 14.45
	

	Fri 14th Oct
	15.00 – 16.15
	


 Time slots based on 75 mins per presentation. Gasunie reserves the right to shorten the length if needed.
