Response document Market consultation Gas Chromatographs

Company: …

Contact person: …

Questions:

- What types of GC’s is respondent able to deliver which comply (best) with the MSM-05-E? Please elaborate on the deviations to MSM-05-E in the sheet MSM-05-E compliance in the Excel file “Consultation GC’s Response excel”.

(please note response in Excel)

- Is there one type able to measure the 3 variants mentioned in MSM-05-E p15, Table 2: GC configurations? Please fill in the table in the sheet GC configurations in the Excel file “Consultation GC’s Response excel”.

(please note response in Excel)

- Are there possibilities to analyse the 3 variant without the use of Helium as carrier gas? If yes, please explain the analysing method.

Answer:

- What possibilities does respondent offer to minimize emissions of gas?

Answer:

- Gasunie now makes use of an own multi-level calibration and verification system. If applicable to meet the uncertainties, does respondent offer ‘multi-level calibration and verification’ as a service? What additional services do you provide?

Answer:

- Is live-Z communication possible between GC and Electronic Volume Correction devices such as Krohne Summit8800? If yes, please describe how this is realized and which flow computers are supported.

Answer:

- What is the expected lifecycle of the GC(‘s). What is the status of the GC in its product lifecycle roadmap (active, mature, limited, obsolete).

Answer:

- What software can be provided with the GC and at what costs? Please describe the functions the software offers?

Answer:

- Please describe what standards respondents follows and which measures have been taken to make the GC control-unit cyber secure.

Answer:

- How does your GC differ from the rest of the market and what are the advantages for Gasunie?

Answer:

- Through which delivery channels you serve the Dutch market? Is respondent manufacturer or trading company?

Answer:

- What recommendations do you have for Gasunie for the upcoming tendering process?

Answer:

- Which question did you expect in this questionnaire which we did not include?

Answer:

- Please attach product datasheets of the relevant GC’s with the following parts highlighted:

  - Atex marking;

  - Uncertainties/stability;

  - Data communication network and protocol;

  - Emission

(please attach sheets).

Inventory of possible time slot for Presentation meeting (via Teams and only if respondent is willing to participate):

| Date | Time (CEST) | Possible (Y/N) |
| --- | --- | --- |
| Mon 10th Oct | 14:00 – 15:15 |  |
| Mon 10th Oct | 15:30 – 16:45 |  |
| Tue 11th Oct | 15:00 – 16.15 |  |
| Fri 14th Oct | 10.00 – 11.15 |  |
| Fri 14th Oct | 11.30 – 12.45 |  |
| Fri 14th Oct | 13.00 – 14.15 |  |
| Fri 14th Oct | 14.30 – 14.45 |  |
| Fri 14th Oct | 15.00 – 16.15 |  |

Time slots based on 75 mins per presentation. Gasunie reserves the right to shorten the length if needed.