## HLMR
Downloaded | Device Naam | Vendor | Model | Current Version | Current Patch | Recommended Version | Newest patches | Advice | Upgrade | Opmerking
| AC6005 | Huawei | AC6005-8 | V200R019C00SPC500 | V200R019C00SPH505 | V200R019C00SPC500 | V200R019C00SPH510 |  | nee
| PLD-M01-WC01 | Huawei | AirEngine9700-M | V200R019C00SPC500 | V200R019C00SPH505 | V200R019C00SPC500 | V200R019C10SPH009 |  | nee
| RAA-M01-WC01 | Huawei | AirEngine9700-M | V200R019C00SPC500 | V200R019C00SPH505 | V200R019C10SPC300 | V200R019C10SPH009 |  | nee
| DC1-SW1-001 | Huawei | CE6810-32T16S4Q-LI | V200R019C10SPC800 | V200R019SPH015 | V200R019C10SPC800 | V200R019SPH020 |  | nee
| DC2-SW1-001 | Huawei | CE6810-32T16S4Q-LI | V200R019C10SPC800 | V200R019SPH015 | V200R019C10SPC800 | V200R019SPH020 |  | nee
| DC2-CR1-001 | Huawei | CE8860-4C-EI | V200R019C10SPC800 | V200R019SPH015 | V200R019C10SPC800 | V200R019SPH020 |  | nee
| DC1-CR1-001 | Huawei | CE8860-4C-EI | V200R019C10SPC800 | V200R019SPH015 | V200R019C10SPC800 | V200R019SPH020 |  | nee
| DC-FW1-001 | Fortigate | Fortigate 1500D | 6.4.7 | X | 6.4.8 | X |  | nee
| NFWBOS | Fortigate | Fortigate 200E | 6.2.9 | X | 6.4.8 | X |  | nee
| NFWNVP | Fortigate | Fortigate 200E | 6.2.9 | X | 6.4.8 | X |  | nee
| NFWHNS | Fortigate | Fortigate 201E | 6.2.9 | X | 6.4.8 | X |  | nee
| PLD-M01-FW01 | Fortigate | Fortigate 601E | 6.2.9 | X | 6.4.8 | X |  | nee
| RAA-M01-FW01 | Fortigate | Fortigate 601E | 6.2.9 | X | 6.4.8 | X |  | nee
| NFW-MRT | Fortigate | Fortigate 92D | 6.2.9 | X | 6.2.10 | X |  | nee
| PLD-M01-CR01 | Huawei | S12700E-4 | V200R019C10SPC500 | S12700 V200R019SPH025 | V200R019C10SPC500 | S12700 V200R019SPH038 |  | nee
| RAA-M01-CR01 | Huawei | S12700E-4 | V200R019C10SPC500 | S12700 V200R019SPH025 | V200R019C10SPC500 | S12700 V200R019SPH038 |  | nee
| SW-BOS00-s01 | Huawei | S5700-52X-PWR-LI-AC | V200R011C10SPC600 | V200R011SPH027 | V200R011C10SPC600 | V200R011SPH033 |  | ja
| SW-NVP00-s01 | Huawei | S5700-52X-PWR-LI-AC | V200R011C10SPC600 | V200R011SPH027 | V200R011C10SPC600 | V200R011SPH033 |  | ja
| sw-sch00-s01 | Huawei | S5700-52X-PWR-LI-AC | V200R011C10SPC600 | V200R011SPH027 | V200R011C10SPC600 | V200R011SPH033 |  | ja
| sw-sch01-s01 | Huawei | S5700-52X-PWR-LI-AC | V200R011C10SPC600 | V200R011SPH027 | V200R011C10SPC600 | V200R011SPH033 |  | ja
| SW-HNS01-S01 | Huawei | S5720-52X-PWR-LI-AC | V200R011C10SPC600 | V200R011SPH027 | V200R011C10SPC600 | V200R011SPH033 |  | ja
| RAA-RAADSZAAL-S5700A-01 | Huawei | S5720I-12X-PWH-SI-DC | V200R019C10SPC500 | S5700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| SW-HNS00-S01 | Huawei | S5730-60C-PWH-HI | V200R019C10SPC500 | S5700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| PDL-M01-AS01 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| PDL-M01-AS02 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| PDL-M01-AS03 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| PDL-M01-AS04 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS01 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS02 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS03 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-M01-AS04 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS05 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS10 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-M01-AS11 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S01-AS02 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S01-AS03 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S01-AS04 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-S01-AS05 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-S01-AS06 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-S02-AS01 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S02-AS02 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S02-AS03 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S02-AS04 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-S03-AS01 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| RAA-S03-AS02 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee | Uitgeschakeld ivm Projects
| RAA-S01-AS01 | Huawei | S6720-56C-PWH-SI | V200R019C10SPC500 | S6700 V200R019SPH025 | V200R019C10SPC500 | S5700 V200R019SPH038 |  | nee
| AP5030DN |  |  | V200R019C00SPC903 | NVT | V200R019C00SPC903 | NVT |  | nee
| AP7060DN |  |  | V200R019C00SPC903 | NVT | V200R019C00SPC903 | NVT |  | nee
| AP8130DN |  |  | V200R019C00SPC903 | NVT | V200R019C00SPC903 | NVT |  | nee
| nibssc002 | Infoblox |  | 8.3.8 |  | 8.5.4 |  |  | ja

## Bronnen
Type | Bron
S5720-52X-PWR-SI-AC | https://support.huawei.com/enterprise/en/switches/s5720-52x-pwr-si-ac-pid-22347192/software
S6720-26Q-LI-24S-AC | https://support.huawei.com/enterprise/en/switches/s6720-26q-li-24s-ac-pid-22403904/software?offeringId=6691593
Fortigate 501E | https://support.fortinet.com/Download/AvNidsDownload.aspx