Soil Investigations Wind Farm Sites

Annex 6 - Section IV

Scope of Work Geotechnical Survey

Investigation Areas IJmuiden Ver Wind Farm Zone, Nederwiek Wind Farm Zone and Hollandse Kust (west) Wind Farm Zone

Colophon

| Project name | Investigation Areas IJmuiden Ver Wind Farm Zone, Nederwiek Wind Farm Zone and Hollandse Kust (west) Wind Farm Zone |
| --- | --- |
| Project number | 202206073 |
| Version | Final |
| File name | IJ56_GT_Annex [6] Section IV Scope of Work_F.docx |
| Project Manager | Joep Bronkhorst |
| Annex(es) |  |
| Author(s) | H. Falepin, M. Faber |
| Reviewed | J. Bronkhorst, P. Lebbink, F. Vantomme |
| Approved | M. Brijder |

References

ASTM D6528-17		Standard Test Method for Consolidated Undrained Direct Simple Shear Testing of Fine Grain Soils, ASTM International, 2017.

ASTM D5311-13	Standard Test Method for Load Controlled Cyclic Triaxial Strength of Soil, ASTM International, 2013.

ASTM D7400-19		Standard Test Methods for Downhole Seismic Testing, ASTM International, 2019.

BS 1377	Soils for civil engineering purposes Part 1 to 9. British Standard, 1990 to 2022 depending on the section (latest version of each part to be considered).

BS 5930:2015+A1:2020	Code of practice for ground investigation, British Standard, 2020.

EN ISO 9001:2015		Quality management systems — Requirements. International Organization for Standardization (ISO), 2015.

EN ISO 14688-1:2017		Geotechnical investigation and testing — Identification and classification of soil — Part 1: Identification and description. International Organization for Standardization (ISO), 2017.

EN ISO 14688-2:2017		Geotechnical investigation and testing — Identification and classification of soil — Part 2: Principles for a classification. International Organization for Standardization (ISO), 2017.

EN ISO 19901-8:2014	Petroleum and natural gas industries — Specific requirements for offshore structures — Part 8: Marine soil investigations. International Organization for Standardization (ISO), 2014.

EN ISO 22475-1:2021		Geotechnical investigation and testing Sampling methods and groundwater measurements — Part 1: Technical principles for the sampling of soil, rock and groundwater

EN ISO 22476-1:2012		Geotechnical investigation and testing — Field testing — Part 1: Electrical cone and piezocone penetration test. International Organization for Standardization (ISO), 2012.

Eurocode EN 1997-2:2007	Eurocode 7 - Geotechnical design - Part 2: Ground investigation and testing. European Committee for Standardisation (CEN), 2007.

Eurocode EN 1998-&:2004		Eurocode 8: Design of structures for earthquake resistance – Part 1: General rules, Seismic actions and rules for buildings. European Committee for Standardisation (CEN), 2004.

ISO/IEC80000	Quantities and Units – Part 1: General. Organization for Standardization (ISO), 2009.

ISSMGE		International Reference Test Procedure for the Cone Penetration Test (CPT) and the Cone Penetration Test with pore pressure (CPTU). International Society of Soil Mechanics and Geotechnical Engineering, 2001.

LIST OF ABBREVIATIONS

| CPT | Cone Penetration Test |
| --- | --- |
| fs | sleeve friction |
| Gmax | small strain shear modulus |
| GGM | Geological Ground Model |
| GIS | Geographic Information System |
| GP | Geophysical Contractor |
| GT | Geotechnical Contractor |
| GIR | Geotechnical Interpretative Report |
| HKWWFZ | Hollandse Kust (west) Wind Farm Zone |
| IA | Investigation Area |
| IGM | Integrated Ground Model |
| IJVWFZ | IJmuiden Ver Wind Farm Zone |
| LTAF | Laboratory Test Assignment Form |
| LAT | Lowest Astronomical Tide |
| MW | Mega Watt or 106 Watt |
| MIC | Microbially Induced Corrosion |
| NWWFZ | Nederwiek Wind Wind Farm Zone |
| PSD | Particle Size Distribution |
| PCPT | Piezo Cone Penetration Test |
| PGM | Preliminary Ground Model |
| PEP | Project Execution Plan |
| PQP | Project Quality Plan |
| QA | Quality Assurance |
| QC | Quality Control |
| QI | Quantitative Interpretation |
| qt | corrected cone resistance |
| SCPT | Seismic Cone Penetration Test |
| SBP | Sub Bottom Profiler |
| TCPT | Temperature Cone Penetration Test |
| u2 | pore pressure as measured by the PCPT |
| VC | Vibrocore |
| WFZ | Wind Farm Zone |
| WPM | Work Progress Meeting |

Contents

1	Introduction & Background	8

1.1	Scope document	8

1.2	Background	8

1.3	Objective of Geotechnical Survey	8

1.4	Objective of Lot 1 and Lot 2	9

1.5	Site description	10

1.6	Investigation Area (IA)	12

1.7	Execution of the investigation	18

1.8	Planning of the investigation	18

1.9	Interfaces	18

1.10	Responsibilities	20

1.11	Available information	22

1.12	Certification	23

2	Scope of Work	24

2.1	Activities	24

2.2	Requirements of geotechnical survey works	25

2.3	Preparation	28

2.4	Mobilisation	29

2.5	Execution of Seabed CPT, Vibrocores and Ecological Samples (Lot 1)	32

2.6	Data processing and reporting for seabed CPT and vibrocores (Lot 1)	40

2.7	Execution of Boreholes (Lot 2)	44

2.8	Data processing and reporting for boreholes (Lot 2)	56

2.9	BRO Requirements	61

2.10	Documents and Reporting	61

2.11	Answering additional questions	62

2.12	Webinar	62

2.13	Offshore Representation	63

2.14	Risk mitigation for COVID 19 and other diseases	63

3	SCHEDULE OF KEY DATES	64

# Introduction & Background

## Scope document

This document details the scope of the WORK as part of the AGREEMENT that CLIENT has awarded to CONTRACTOR for carrying out geotechnical investigations at three distinct Investigation Areas (IA) in IJmuiden Ver Wind Farm Zone (IJVWFZ), Nederwiek Wind Farm Zone (NWWFZ) and Hollandse Kust (west) Wind Farm Zone (HKWWFZ).

## Background

The Ministry of Economic Affairs and Climate Policy is responsible for the legislative framework for the development of offshore wind farms in the Netherlands. Within this framework (a) (concession) tender(s) for construction and operation of (a) wind farm(s) will be organized under the Offshore Wind Energy Act. As part of the tender documentation, the participants will receive an information package in which detailed information on the offshore site is included, including detailed information on the soil conditions at the sites.

## Objective of Geotechnical Survey

The overall objective of the geotechnical soil investigation is to collect factual geotechnical data that enables the creation of a Geotechnical Interpretive Report and Ground Model in order to improve the geological and geotechnical understanding of the Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ, suitable to progress the design and installation requirements for offshore wind farm including, but not limited to foundations and cables.

The objective of the investigation and laboratory testing programme is to:

- Determine the vertical and lateral variability in soil conditions;

- Provide relevant factual geotechnical data for the design including, but not limited to foundations and cables;

- Provide information on the ecological conditions at Investigation Areas NWWFZ and HKWWFZ;

- Where applicable, supplement the findings of the geological desk study and the geophysical survey; and

- Contribute to an Integrated Ground Model and Geotechnical Interpretative Report.

Note that the interpretation of the collected geotechnical data and integration into the Preliminary Ground model with delivery of the associated Geotechnical Interpretative Report and Integrated Ground Model will be dealt with under separate contracts. The GT CONTRACTOR(S) shall cooperate fully with the GM contractor(s) in order to allow both GT and GM contractor to achieve their respective goals. To achieve this, RVO will facilitate joined workshops and interface meetings with both contractors. Refer to Section 1.9 for further details.

The laboratory test programme for determination of soil strength and deformation properties are to include different types and quantities of tests, but should permit preliminary foundation design to be performed and to establish a design basis for the detailed foundation design. The type and quantity of the laboratory tests is provided in Annex [4a] and [4b] for each of the investigation areas. The GT CONTRACTOR shall execute the laboratory testing program which shall be proposed by the GT CONTRACTOR based on a laboratory strategy framework which will be be specified by the CLIENT in conjunction with the Ground Model contractor (further details in Sections 1.9 and 2).

The Geotechnical Survey WORK is divided into two lots:

- Lot 1 contains a seabed in situ testing (PCPT, SCPT, thermal conductivity) and sampling (vibrocoring, box coring) campaign inclusive of standard laboratory testing (advanced testing if required) and reporting. Lot 1 covers three distinct Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ. Lot 1 also includes supplementary ecological survey at NWWFZ and HKWWFZ. For IJVWFZ no ecological survey is requested; and

- Lot 2 contains a borehole campaign comprising borehole sampling, downhole in-situ testing and inclusive of all standard and advanced laboratory testing and reporting. Lot 2 covers three distinct Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ.

## Objective of Lot 1 and Lot 2

Lot 1

The shallow geotechnical investigation must provide relevant information about the soils at Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ in terms of stratigraphy, lateral variability and geotechnical properties. The Lot 1 investigations must provide detailed information which will be used as input into an integrated geological model which ultimately seeks to improve the geological and geotechnical understanding of the sites in support of the design and installation of wind turbines and their support structures. In addition, the investigation must provide high resolution information of the shallow seabed soils as input for cable design and installation (burial) assessments.

The shallow geotechnical investigations shall consist of a combination of sampling with subsequent laboratory testing and in situ testing. Both data acquisition techniques must provide geotechnical insights and should include, but not be limited to, the following assessments for all relevant stratigraphic layers:

- Soil description and classification;

- Index classification tests;

- In situ conditions such as strength parameters;

- Thermal capacity and conductivity properties;

- Seismic properties; and

- Age dating and archaeological dating analyses.

The laboratory test programme for determination of the properties of the soil shall cover a set of different test types and test quantities to aid foundation and cable design.

For NWWFZ and HKWWFZ an ecological survey comprising of shallow soil and water sampling is required in order to provide base line information of the sites. For IJVWFZ an ecological survey is not part of this scope.

Lot 2

The borehole geotechnical investigation must provide relevant information, beyond the depths achieved during the Lot 1 shallow seabed investigation, to a depth below which the possible existence of weak formations will not influence the safety or performance of the wind turbine and their support structure. Additionally, CONTRACTOR is also requested to provide a price to prepare a separate geotechnical report for a future platform location at NWWFZ and HKWWFZ, which may be installed to collect and export the produced wind energy. The geotechnical investigation required for these platform locations considers the installation of a piled jacket platform.

The borehole geotechnical investigation of Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ shall consist of a combination of sampling and in situ testing followed by laboratory testing. Both data acquisition techniques must provide geotechnical insights and should include, but not be limited to, the following assessments for all relevant stratigraphic layers:

- Soil description and index classification;

- In situ conditions such as strength parameters;

- Strength parameters (monotonic and cyclic, interface);

- Deformation properties;

- Seismic properties; and

- Age dating analyses.

The laboratory test programme for determination of soil strength and deformation properties shall cover a set of different test types and test quantities and will complement the data set acquired in Lot 1.

The complete data set (Lot 1 and Lot 2) will be suitable for input into an Integrated Ground Model suitable for extracting relevant geotechnical parameters for wind turbine foundation and cable design and installation.

## Site description

The geotechnical Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ are indicated in Figure 1.

After the Borssele WFZ, Hollandse Kust (zuid, noord and west) WFZs and Ten noorden van de Waddeneilanden WFZs, investigations shall be executed within the IJVWFZ, NWWFZ and HKWWFZ as part of the Offshore Wind Energy Roadmap 2030+.

The IJmuiden Ver Wind Farm Zone (IJVWFZ) will see offshore wind farm concession tenders, scheduled for 2023 and 2025, with a total capacity of 6 GW. The Investigation Area IJVWFZ, relevant for this tender will have a capacity of 2 GW and is indicated in Figure 1.

The Nederwiek Wind Farm Zone is planned to contain a total capacity of 6 GW divided over 3 sites of 2 GW each.  The wind farm concession tender is divided in two phases and scheduled to be held between 2025 and 2026. Investigation Area in Nederwiek Wind Farm Zone is planned to comprise the first phase within the Wind Farm Zone, its location is indicated on Figure 1.

The Hollandse Kust (west) Wind Farm Zone is planned to contain a total capacity of 2.1 GW divided over 3 sites of 0.7 GW each. The wind farm concession tender is divided in two phases, the first phase being tendered in 2022 and the latter scheduled to be tendered in 2027. Investigation Area Hollandse Kust (west) Wind Farm Zone is planned to be the final phase within the Wind Farm Zone and its location is indicated on Figure 1.

Figure 1 Vicinity map of IA in IJVWFZ, NWWFZ and HKWWFZ.

## Investigation Area (IA)

The geotechnical Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ are illustrated in Figure 2, Figure 3 and Figure 4.

Figure 2 Map of the IJVWFZ, showing the IA in the north of the WFZ.

Figure 3 Map of the southern part of the NWWFZ. The IA is indicated with a dashed black line.

Figure 4 Map of HKWWFZ. Geotechnical IA is indicated with dashed black line in the south of the WFZ.

The Investigation Area sizes are approximately 242 km2 (IA IJVWFZ), 273 km2 (IA NWWFZ), 80 km2 (IA HKWWFZ). The coordinates of the geotechnical investigation areas are provided in Table 1 for IJVWFZ, Table 2 for NWWFZ, and Table 3 for HKWWFZ.

Table 1 Coordinates of the IA IJmuiden Ver Wind Farm Zone

| IJmuiden Ver Wind Farm Site V coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing | Point No. | Easting | Northing |
| IA_01 | 553840 | 5864629 | IA_17 | 560996 | 5873238 |
| IA_02 | 544570 | 5872588 | IA_18 | 561723 | 5872967 |
| IA_03 | 555339 | 5881786 | IA_19 | 561003 | 5872341 |
| IA_04 | 555370 | 5881011 | IA_20 | 557030 | 5868886 |
| IA_05 | 555466 | 5880241 | IA_21 | 543802 | 5873248 |
| IA_06 | 555626 | 5879482 | IA_22 | 535372 | 5880486 |
| IA_07 | 555849 | 5878739 | IA_23 | 537146 | 5884508 |
| IA_08 | 556134 | 5878018 | IA_24 | 537853 | 5884419 |
| IA_09 | 556478 | 5877323 | IA_25 | 538565 | 5884384 |
| IA_10 | 556877 | 5876658 | IA_26 | 539278 | 5884405 |
| IA_11 | 557332 | 5876030 | IA_27 | 539986 | 5884481 |
| IA_12 | 557838 | 5875441 | IA_28 | 540687 | 5884611 |
| IA_13 | 558391 | 5874898 | IA_29 | 541443 | 5884816 |
| IA_14 | 558988 | 5874402 | IA_30 | 541485 | 5881716 |
| IA_15 | 559624 | 5873959 | IA_31 | 550145 | 5881716 |
| IA_16 | 560295 | 5873571 | IA_32 | 553775 | 5881765 |
| Coordinate system: ETRS_1989_UTM_Zone_31N |  |  |  |  |  |
| WKID: 25831 Authority: EPSG |  |  |  |  |  |

Table 2 Coordinates of the IA Nederwiek Wind Farm Zone

| Nederwiek Wind Farm Zone South |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  |  |  |
| IA_01 | 513136 | 5865490 | IA_06 | 518517 | 5887992 |
| IA_02 | 511262 | 5861912 | IA_07 | 519912 | 5886661 |
| IA_03 | 504989 | 5898196 | IA_08 | 518524 | 5881972 |
| IA_04 | 504552 | 5900695 | IA_09 | 517978 | 5880125 |
| IA_05 | 506513 | 5900729 | IA_10 | 513136 | 5865490 |
| Coordinate system: ETRS_1989_UTM_Zone_31N |  |  |  |  |  |
| WKID: 25831 Authority: EPSG |  |  |  |  |  |

Table 3 Coordinates of the IA Hollandse Kust (west) Wind Farm Zone

| Hollandse Kust (west) Wind Farm Site VIII coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Point No. | Easting | Northing |  |  |  |
| IA_01 | 538831 | 5817477 | IA_06 | 546895 | 5826295 |
| IA_02 | 536107 | 5816157 | IA_07 | 545921 | 5824420 |
| IA_03 | 537761 | 5826739 | IA_08 | 545615 | 5822570 |
| IA_04 | 538642 | 5827794 | IA_09 | 546054 | 5820781 |
| IA_05 | 548418 | 5827011 | IA_10 | 545487 | 5820703 |
|  |  |  | IA_11 | 538831 | 5817477 |
| Coordinate system: ETRS_1989_UTM_Zone_31N |  |  |  |  |  |
| WKID: 25831 Authority: EPSG |  |  |  |  |  |

For each Investigation Area the CLIENT has provided indicative quantities for Lot 1 and Lot 2 investigations and laboratory testing. These are specified in Annex [4a] (Lot 1) and [4b] (Lot 2). A separate Annex worksheet is provided for each of the Investigation Areas. The quantities should be considered as indicative. The CLIENT reserves the right to adjust these in accordance with the provisions of the Contract.

In this context, Lot 1 and Lot 2 geotechnical reports will be required for each of the Investigation Areas.

For Lot 1 this means the following:

- Seabed In Situ Testing Report for IA IJVWFZ;

- Seabed Sampling Report for IA IJVWFZ;

- Seabed In Situ Testing Report for IA NWWFZ;

- Seabed Sampling Report for IA NWWFZ, including ecological sampling;

- Seabed In Situ Testing Report for IA HKWWFZ; and

- Seabed Sampling Report for IA HKWWFZ, including ecological sampling.

For Lot 2 this means the following:

- BH Locations Report for IA IJVWFZ;

- Advanced Cyclic Laboratory Testing Report for IA IJVWFZ;

- BH Locations Report for IA NWWFZ ;

- BH Locations Report for IA NWWFZ sub-station (optional);

- Advanced Cyclic Laboratory Testing Report for IA NWWFZ ;

- BH Locations Report for IA HKWWFZ;

- BH Locations Report for IA HKWWFZ sub-station (optional); and

- Advanced Cyclic Laboratory Testing Report for IA HKWWFZ.

In the context of IA NWWFZ and IA HKWWFZ it is at this stage unknown if and where a sub-station will be developed. For these two IA a provision is included in Annex [4b] to provide a separate borehole locations report should, during the course of the project, it become clear that geotechnical investigations for a sub-station are required. For pricing purposes, the tenderer should assume that for each IA, five designated boreholes up to 80m are to be included in the report. These boreholes may contain various types of in situ testing and sampling techniques.

## Execution of the investigation

CONTRACTOR shall take into account that alignment on the survey planning (timing and location across the zone where the survey is carried out) shall be performed with other contractors working at the site, if required.

## Planning of the investigation

The offshore soil investigation campaign for Lot 1 (investigation in seabed mode) is foreseen to be carried out in Q1 and Q2 of 2023. For IA NWWFZ and IA HKWWFZ an ecological survey will be supplementary to the geotechnical seabed investigation. The Lot 1 investigations are required to commence at IA IJVWFZ to enable timely input into the integrated ground model for this area. It is anticipated that following completion of IJVWFZ, the survey will then continue with the execution of the seabed investigations at IA NWWFZ followed by IA HKWWFZ. However, the CONTRACTOR is free to optimise the investigation at the three areas, provided that the reporting milestones as defined in Annex [4a] and [4b] are met. Note that the Lot 1 CONTRACTOR cannot commence the geotechnical acquisition at IA NWWFZ before May 2023 in order to enable geophysical data acquisition to take place prior. This will be arranged under a, yet to be appointed, separate contract.

The offshore soil investigation campaign for Lot 2 (downhole) will follow on from the seabed investigations. Therefore, it is anticipated that the downhole investigations can commence at IJVWFZ in Q2 2023. Lot 2 CONTRACTOR can only commence at a borehole location once the Lot 1 CONTRACTOR is finished. Following the completion of the downhole scope at IA IJVWFZ, it is anticipated that the downhole scope at IA NWWFZ will be required to be completed next in order to meet the required completion date of the overall site investigations. It is anticipated that the field execution will be in Q3 2023. The boreholes scope at IA HKWWFZ is potentially to be completed last. It is anticipated that the execution will be in Q4 2023 to Q1 2024.

For both Lot 1 and Lot 2 the scope includes the onshore laboratory testing of soil samples. As part of the tender submission, tenderers shall provide a letter from their nominated onshore laboratory confirming that they have sufficient reserved capacity to meet the proposed standard and advanced laboratory testing schedule(s).

## Interfaces

Lot 1 and Lot 2 CONTRACTORS shall fully cooperate with certification body contracted by CLIENT. The aim of contracted certification body is to issue for the deliverables, as specified in Sections 2.6 and 2.8, a Certification Report that the report has been drawn up using best practice, according to applicable norms and industry standards (e.g. DNV GL-SE-0190:2015-12 or equal or better), (Section 1.12).

Lot 1 and Lot 2 CONTRACTORS shall cooperate in the process towards this Certification Report. The CONTRACTOR shall make available time to adjust its deliverables after review rounds of both CLIENT and certification body.

Lot 1 and Lot 2 CONTRACTORS shall fully cooperate with other actors involved in the works of the CLIENT. The main requirements for the Lot 1 CONTRACTOR are described in Section 2.5, and the main requirements for Lot 2 CONTRACTOR are described in Section 2.7. CONTRACTOR(S) shall include time for all cooperation efforts. The cooperation efforts shall be performed by senior personnel of CONTRACTOR.

Lot 1 and Lot 2 CONTRACTORS shall cooperate with the IGM CONTRACTOR in provision of all information and data necessary to develop a comprehensive Geotechnical Interpretation Report and Integrated Ground Model. CLIENT encourages co-creation between all parties during all processes to optimise the workflow and promote implementation of novel innovations such as may be forthcoming. The Lot 2 CONTRACTOR shall cooperate fully with the IGM CONTRACTOR in order to progress the planning and execution of the advanced laboratory testing programme.  Cooperation shall include but not be limited to overall planning, sample selection, batching of samples, development of testing parameters and pressures and advice on any testing deviation from the expected path. Lot 2 CONTRACTOR shall further be expected to suggest innovative and state of the art procedures which may not be known to CLIENT in order to deliver state of the art results.

For the IA IJVWFZ an IGM CONTRACTOR has been appointed. For Investigation Areas NWWFZ and HKWWFZ an IGM CONTRACTOR is yet to be appointed. Therefore, it is a possibility that the Lot 1 and Lot 2 CONTRACTOR has an interface with two different IGM CONTRACTORS. Therefore, the Lot 2 CONTRACTOR shall allow for monthly meetings with up to two IGM CONTRACTORS for the duration of the project.

Both Lot 1 and Lot 2 CONTRACTOR shall allow for weekly progress meetings in the Tender proposal for the projected duration of the contract. Two additional kick-off meetings shall be allowed for. One at the start of the contract and one at commencement of the laboratory testing programme.

Lot 2 CONTRACTOR shall be expected to deliver (for each investigation area) a Geotechnical Borehole Report containing basic testing and advanced testing and an Advanced Cyclic Laboratory Testing Report within CLIENT timeframes. The main interfaces are described below:

- The requirements of the IGM CONTRACTOR / CLIENT shall be communicated to all relevant parties in sufficient time for actions to be implemented;

- The Lot 1 CONTRACTOR and Lot 2 CONTRACTOR will provide independent checks on the geotechnical investigation locations proposed by the IGM CONTRACTOR as part of the location clearance process and in order to verify the viability of the location from an operational perspective;

- Should any outstanding issues still exist, a meeting will then be organised with IGM CONTRACTOR, CLIENT experts and Lot 1 and Lot 2 CONTRACTORS as appropriate to discuss and determine the final target locations. These meetings shall be included in the Scope of Work of the ground investigation CONTRACTOR. CONTRACTOR shall further cooperate fully to ensure that the CLIENT reporting timescales and deliverables are met;

- If CLIENT awards Lot 1 and Lot 2 to two different contractors, then Lot 2 CONTRACTOR will assess the Lot 1 CPT locations (“seabed CPTs”) as the corresponding borehole locations. The final borehole locations will be available upon completion of the Lot 1 CPT phase for each designated Investigation Area;

- Ecological sampling locations required at NWWFZ IA and HKWWFZ IA will be proposed by CLIENT. Lot 1 CONTRACTOR will provide an independent check on the ecological investigation locations as part of the location clearance process and in order to verify the viability of the location from an operational perspective;

- Lot 1 and Lot 2 CONTRACTORS are required to provide a regular transfer of data to the IGM Contractor.  This data transfer shall occur during both the offshore survey and onshore reporting phases of the operations at regular time intervals as described in Section 2. During the laboratory testing, delivery of digital data of final results are required on a monthly basis;

- Lot 1 CONTRACTOR will provide Seabed PCPT campaign Reports and Vibrocore Campaign Reports as base geotechnical information for developing the Borehole campaign. It is anticipated that one meeting per Investigation Area is required to align with the Lot 2 CONTRACTOR and IGM CONTRACTOR. These meetings shall also be allowed for by the Lot 2 CONTRACTOR. Lot 1 and Lot 2 CONTRACTORS shall cooperate fully to ensure that the CLIENT reporting timescales and deliverables are met;

- Lot 2 CONTRACTOR shall cooperate fully with all the IGM CONTRACTOR and CLIENT experts during the planning and execution of the borehole phase, subsequent standard laboratory testing, and both be receptive to, and provide proposals and technical notes such as are required to inform the project at various stages of the Cycle Times. Lot 2 CONTRACTOR shall also be available to discuss and provide input into the overall testing schedules. These meetings and discussions shall be allowed for by the Lot 2 CONTRACTOR. Lot 2 CONTRACTOR shall further cooperate fully to ensure that the CLIENT reporting timescales and deliverables are adhered to. The Lot 2 CONTRACTOR shall be responsible for proposing the standard laboratory testing schedule based on a laboratory testing framework strategy provided by the CLIENT. The laboratory testing schedule shall be reviewed by the IGM CONTRACTOR and CLIENT prior to execution;

- During the execution of the laboratory testing for Lot 1 and Lot 2, and as required, a laboratory representative shall be attending the weekly progress meetings with CLIENT to provide technical and schedule updates of the testing programme;

- For the Lot 2 laboratory programme, the advanced testing programme shall be proposed by the IGM CONTRACTOR and reviewed by CLIENT before implementation. Lot 2 CONTRACTOR and IGM CONTRACTOR shall be expected to cooperate fully on all aspects of the testing programme;

- The IGM Contractor shall be responsible for developing the advanced testing programme with the assistance of the Lot 2 CONTRACTOR. Lot 2 CONTRACTOR shall provide an overview of available samples with appropriate location ID, sample type and depth notation, which the IGM CONTRACTOR will use to indicate the required tests;

- Once the type and quantity of tests are assigned to relevant samples, Lot 2 CONTRACTOR will provide a template, if required, where test specifications can be assigned by the IGM CONTRACTOR. These specifications may include, but are not limited to consolidation pressures, consolidation times, shear rates, failure criteria, loading conditions and load steps;

- IGM CONTRACTOR shall advise on all laboratory test programmes and planning required for the Lot 1 and Lot 2 CONTRACTORS to progress such laboratory testing as has been scheduled. CONTRACTORS are expected to cooperate fully on all matters relating to the successful progression and completion of the onshore testing programme; and

- Through award of a separate contract, CLIENT will conduct an archaeological assessment using some of the geotechnical results acquired by the Lot 1 contractor. CONTRACTORS shall allow to attend two meetings that shall form part of the monthly interface meetings.

## Responsibilities

The following presents the envisaged responsibilities of the various parties presented as a matrix (Table 4) to indicate where the various interfaces and limits of requirements are.

Table 4 CONTRACTOR Responsibilities Matrix

| Responsibility | Party / Contractor |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | CLIENT | Geophysical CONTRACTOR | CONTRACTOR Lot 1 | CONTRACTOR Lot 2 | IGM Contractor |
| Preliminary Ground Model | - | S | - | - | - |
| CPT Coordinates | S | - | A | - | S |
| Vibrocore Coordinates | S | - | A | - | S |
| Vibrocore Laboratory Schedules | S | - | A | - | S |
| Ecological sampling locations | S | - | A | - | - |
| BH Coordinates | S | - | - | A | S |
| Standard Laboratory Schedules | A | - | - | S | A |
| Clearance of CPT/VC locations | - | - | S | - | - |
| Clearance of BH locations | - | - | - | S | - |
| Dating Analysis | A | - | - | A | S |
| Sample Batching Schedule (for Advanced Lab Tests) | A | - | - | A | S |
| Advanced Laboratory Schedules | A | - | - | A | S |
| Advanced Test conditions | A | - | - | A | S |

“S” 	Denotes responsibility for “selecting” locations, populating schedules, performing selected tasks etc.

“A” 	Denotes responsibility for providing “advice”, reviews and recommendations

## Available information

The following studies will be provided by CLIENT separately to the CONTRACTOR before start of the works:

- Geological desk study for IJVWFZ, available on the RVO website;

- Geological desk study for HKWWFZ, available on the RVO website;

- UXO desk study for IJVWFZ, available on the RVO website;

- UXO desk study for HKWWFZ, available on the RVO website;

- Persistence tables for IJmuiden Ver WFZ, Nederwiek WFZ and Hollandse Kust (west) WFZ included in Annex [4a] (Lot 1) and 4b (Lot 2);

- Base maps (MPK) containing information on the Investigation Areas;

- Geophysical survey reports HKWWFZ executed by Fugro. Available from the RVO website; and

- Geophysical survey reports IJVWFZ executed by GEOxyz, outside the IA IJVWFZ. Available from the RVO website.

Note that at the time of preparing this tender document, no project specific geophysical or geotechnical data is available for the NWWFZ.

Further, for information only, the results of the geophysical and geotechnical surveys carried out for Borssele, Hollandse Kust (zuid, west and noord) and Ten noorden van de Waddeneilanden WFZs are available at http://offshorewind.rvo.nl/. Note that the scope of work for the surveys carried out by the CLIENT for the previous surveys may deviate from this Scope of Work.

## Certification

It is intended that selected results and deliverables from the offshore geotechnical campaign be certified by an independent certifying body such that the data to be made (publicly) available to prospective developers is certified as being comprehensive and derived using best practice and according to applicable norms and industry standards (e.g. DNV GL-SE-0190:2015-12) or better. CONTRACTOR is required to co-operate fully with the certifying body should they have questions or require clarifications on submitted deliverables.

# Scope of Work

The scope of work described below is applicable to all three Investigation Areas in IJVWFZ, NWWFZ and HKWWFZ, unless otherwise specified.

## Activities

The activities that need to be carried out to obtain the information detailed in section 1.3 are the following:

Preparation

- All preparatory works required for the geotechnical survey, including preparation of all plans that need to be provided (and approved) before the works can start.

Seabed sampling and in situ testing in the wind farm zones (Lot 1)

- Seabed cone penetration tests (CPT) using standard piezocones (PCPT) and seismic cones (SCPT);

- Dissipation tests during seabed PCPT;

- Thermal conductivity testing using a thermal cone penetrometer, FIELAX Vibroheat or similar as proposed by the CONTRACTOR;

- Vibrocore sampling;

- Ecological soil and water sampling at IA NWWFZ and one for IA HKWWFZ;

- Associated factual reporting (results to be presented in “Seabed Sampling Report” and “Seabed In Situ Testing Report”, each of which covers the whole site. One report is required per wind farm site i.e. one report for IA IJVWFZ, one for IA NWWFZ and one for IA HKWWFZ); and

- Delivery of associated digital data.

Borehole sampling and in situ testing in the wind farm zones (Lot 2)

- Boreholes with a combination of downhole sampling, downhole PCPT and downhole SCPT;

- P-S suspension logging, density logging, spectral gamma ray logging, and downhole magnetic resonance logging tests in completed boreholes;

- Associated reporting (One report is required per wind farm site: i.e. one report for IA IJVWFZ, one for IA NWWFZ and one for IA HKWWFZ; and

- Delivery of associated digital data.

Standard laboratory testing (Lot 1)

- Standard laboratory test programme (including classification testing, static strength tests and thermal and electrical conductivity tests);

- Associated reporting (results to be presented in the respective “Seabed Sampling Report” prepared for each site); and

- Delivery of associated digital data.

Standard laboratory testing (Lot 2)

- Standard laboratory test programme (including classification testing, static strength testing, stiffness testing and compressibility testing);

- Associated reporting (results to be presented in the respective “Geotechnical Borehole Report” prepared for each site);

- Delivery of monthly digital data during laboratory testing phase; and

- Delivery of all associated digital data with interim and final report(s).

Advanced Laboratory testing (Lot 2)

- Advanced laboratory test programme (including static reference strength testing and cyclic tests);

- Associated reporting (results to be presented in the respective “Advanced Laboratory Testing Report” prepared for each site);

- Delivery of monthly digital data during laboratory testing phase; and

- Delivery of associated digital data with interim and final report(s).

Data processing and Interpretation

- Process the data obtained throughout the geotechnical survey;

- Produce derived parameters including interpretation; and

- Delivery of associated digital data.

Reporting

- Create final digital data packages with QA elements;

- Present the results in clear reports and drawings; and

- Delivery of associated digital data (all data), including the intermediate digital data deliveries and the deliveries part of the factual reports, are to be provided in one consistent format throughout the project. A pilot of data exchange will be setup at the beginning of the project.

Delivery

- Products of the survey are to be delivered as a coherent and integrated data package with clear documentation.

This scope of work is designed to provide a minimum specification. The description of the survey targets should inform the Tenderer for preparing their proposal which should clearly describe their suggested specification suitable for achieving the survey objectives. Proposals of higher specification than the minimum may receive net higher scores if this is justified against a relevant performance improvement (i.e. a better chance of achieving the survey objectives to an appropriate quality level). A specification deemed to be of lower quality than the minimum will receive lower scores.

It should be recognised that the results of the survey are to be integrated with other products and made available to multiple parties as part of the information associated with the wind farm permit tender process described in section 1.2. The deliverable products of the survey must allow third parties receiving data packages to evaluate, reprocess, reinterpret, or otherwise rework the data to fit the needs of their processes. To this end, it is emphasised that raw data, positioning information, reporting and metadata are important elements of the deliverable package including a clear description of the data provision chain.

As part of the tender submission CONTRACTOR shall be required to clarify the limitations of performing each test type (seismic cone, P-S logging, dissipation testing, thermal conductivity testing) in the respective modes (downhole, seabed) and detail any perceived advantages in changing the anticipated deployment method.

## Requirements of geotechnical survey works

### General requirements for both lots and all three Investigation Areas:

- Obtaining all necessary permissions and / or notifications;

- Familiarising oneself with the anticipated ground conditions before start of site operations;

- Carrying out an independent UXO risk assessment for the proposed borehole and seabed CPT locations and undertake any required additional measures in order to reduce the risk to as low as reasonably practicable (ALARP);

- Preparation of the geotechnical survey and pre-mobilisation plans that need to be provided (and approved by CLIENT) before the offshore works can start;

- Preparing the necessary laboratory testing specifications and schedules for GM Contractor and CLIENT review and approval;

- Performing the laboratory testing on obtained soil samples;

- The currently anticipated quantities of investigations and tests are specified in Annex [4a] and [4b] for each of the Investigation Areas. These quantities should be considered indicative. The CLIENT may adjust these in accordance with the provisions in the Contract;

- Target coordinates of boreholes, seabed CPT and vibrocores will be provided by CLIENT at the date specified in Schedule of Key Dates;

- Inform the CLIENT on the progress of the works; and

- Process the data obtained throughout the geotechnical survey and provide preliminary results (for QC and definition of subsequent tests).

### Specific requirements for Lot 1

The specific requirements for Lot 1 and all three wind farm sites are as follows:

- Carry out seabed CPT with a target depth of 60m, using either a standard piezocone penetrometer (PCPT) or a seismic cone (SCPT), as specified in the CPT Plan. CONTRACTOR shall have sufficient length of CPT rods mounted within the seabed unit to physically achieve at least 25m corrected vertical penetration including allowance for rod deviation from vertical. It should be noted that the CONTRACTOR has been incentivised to reach target depth using the best available system by the bonus payment structure shown in Annex [4a]. The CPT rate per m will be double for penetrations greater than 50 metres;

- Seismic seabed CPTs (SCPT) shall be carried out to a target depth of 60m in order to obtain standard cone data, however the seismic tests may be stopped at the depth at which the seismic signal is no longer strong enough for providing reliable shear wave velocity data. This decision will be made by the CLIENT OFFSHORE REPRESENTATIVE after consulting the CONTRACTOR. The seismic cone should include dual geophones (set approximately 0.5-1.0m apart) to enable an accurate measurement of the shear wave velocity over the associated soil interval. The seismic tests should be performed at depth intervals of approximately 1-2m, as directed by the CLIENT OFFSHORE REPRESENTATIVE;

- Perform in situ thermal conductivity tests using a cone (or similar method approved by CLIENT) at selected locations across the zone, for the purpose of subsea electrical cable design. At each location tests should be carried out at approx. 1m depth intervals to target depth of 6 m bsf. N.B. The CONTRACTOR should have both a temperature cone and thermal probe available onboard vessel (or similar equipment approved by CLIENT);

- Perform dissipation tests during seabed PCPT tests at locations and depths to be agreed with CLIENT OFFSHORE REPRESENTATIVE;

- Perform vibrocores at selected locations to obtain a minimum of 3m recovery below the base of the seabed (using 6 m core barrel) for the purpose of subsea electrical cable design;

- Perform additional vibrocores at selected locations to a target depth of 6m with a minimum recovery of 3m for the primary purpose of seabed morphodynamic assessment. These vibrocores may be located in groups of 5 along transects perpendicular to selected sandwaves. The locations will be specified by the CLIENT. These are only required for the IA HKWWFZ and the IA NWWFZ;

- Perform additional vibrocores at selected locations to a target depth of 6m with a minimum recovery of 3m for the purpose of archaeological assessment; and

- Ecological soil and water samples are required to be collected to provide base line information at IA HKWWFZ and the IA NWWFZ.

Please note that for the purpose of tendering all quantities for the above items are presented in Annex [4a] of the Invitation to Tender.

### Specific requirements for Lot 2

The specific activities that need to be carried out to obtain the information detailed in section 1.3 are the following for Lot 2:

- Drilling boreholes with a combination of sampling, downhole piezocone penetration tests (PCPT) and downhole seismic cone penetration tests (SCPT) to a target depth of between 60m and 80m. These boreholes can be sub-divided into three types, as follows:

  - Type 1 - where the sampling/testing regime consists of quasi-continuous sampling from seabed to a predetermined depth following by a combination of sampling and PCPT to a target depth of 60-80m. This may include oversampling of a PCPT stroke in order to verify the material type, as directed by the CLIENT OFFSHORE REPRESENTATIVE. The main purpose of the Type 1 borehole is to obtain general soil data (i.e. samples and PCPT) for developing geological and engineering soil models. Type 1 boreholes will be located adjacent to one of the deep seabed CPTs from Lot 1;

  - Type 2 – where the sampling/testing regime consists of quasi-continuous SCPTs carried out to a target depth of 60m or the depth at which the seismic signal is no longer strong enough to provide reliable results. The main purpose of the Type 2 borehole is to obtain in situ shear wave velocity measurements for deriving the small-strain shear modulus. The SCPT system shall include dual geophones (set approx. 0.5-1.0m apart) to enable an accurate measurement of the shear wave velocity over the associated soil interval. The seismic tests shall be performed at depth intervals of approximately 1-2m, as directed by the CLIENT OFFSHORE REPRESENTATIVE. Oversampling of selected SCPT strokes may be required, as directed by the CLIENT OFFSHORE REPRESENTATIVE. A Type 2 borehole will be located adjacent to a selected Type 1 borehole for correlation with the relevant laboratory test results;

  - Type 3 – these boreholes will be drilled purely for the purpose of extending a seabed CPT from Lot 1 to a depth of 60m because of the shallow refusal depth of the seabed CPT. Between seabed and a fixed distance (approx. 2m) above the seabed CPT termination depth, occasional samples will be required in units of engineering significance. Below this depth, quasi-continuous downhole PCPT shall commence with occasional sampling/oversampling as directed by the CLIENT OFFSHORE REPRESENTATIVE. A Type 3 borehole will be located adjacent to a selected seabed CPT from Lot 1;

- P-S logging is to be performed in selected Type 1 boreholes for cross-correlation/verification with either adjacent seabed SCPT or adjacent downhole SCPT results. This should involve drilling-out the Type 1 borehole to a sufficient depth beyond 60m so that the first P-S logging test can be performed at 60m below seabed. P-S logging tests should be undertaken at depth intervals of approximately 1m, or as directed by the CLIENT OFFSHORE REPRESENTATIVE;

- Density logging, spectral gamma ray logging and downhole magnetic resonance logging is to be performed in selected Type 1 boreholes. Note that the density logging is considered optional scope. A unit price is requested to carry out the tests for a limited number of boreholes as stated in Annex 4b.

- In some of the Type 1 or Type 3 boreholes, selected downhole PCPTs may be replaced with downhole SCPTs. Any such replacements will be notified by the CLIENT OFFSHORE REPRESENTATIVE in advance of moving to the relevant borehole location;

- For any of the borehole types, oversampling of a PCPT or SCPT stroke may be requested by the CLIENT OFFSHORE REPRESENTATIVE in order to verify the soil material type being tested; and

- Preparation of borehole log and borehole laboratory testing schedule for approval within 48 hours of borehole completion.

For the purpose of tendering, estimated quantities of the different borehole types and the associated samples/tests are presented in Annex [4b].

## Preparation

### Scrutinise available information

CONTRACTOR shall scrutinise the information that has been made available by CLIENT. Information that is relevant for carrying out the WORK shall be taken into account while preparing the WORK.

### Preparations

Permits

CONTRACTOR shall obtain and arrange all necessary permissions and/or notifications to perform the survey (including all permissions and fees necessary for access and safety arrangements to harbours and offshore positions).

Project Plans

CONTRACTOR shall prepare all project plans as required by the CONTRACT. These documents are included in the list of CONTRACTOR reports and deliverables, and shall include, but not be limited to:

- Project Execution Plan, (PEP) (including applicable Method Statements, Risk Assessments and vessel layout diagrams);

- Project Quality Plan/Quality Manual, (PQP, QM);

- Health, Safety and Environment Plan, (HSE); and

- Emergency Response Plans (ERP).

Risks will be discussed with CONTRACTOR on a weekly basis during the progress meetings. The Project Quality Plan shall be issued according to EN ISO 9001:2015. CONTRACTOR shall only commence the WORK when all project plans have been reviewed by CLIENT and CLIENT has confirmed to have no further comments.  All project plans shall be approved as final seven (7) calendar days prior the Start of Mobilisation, as defined in Schedule of Key Dates (Section 3).

### UXO risk assessment and measures

CONTRACTOR shall carry out an independent UXO risk assessment for the proposed borehole and seabed PCPT locations and undertake any required additional measures in order to reduce the risk to as low as reasonably practicable (ALARP). The approach shall be described in the Project Execution Plan.

Geophysical investigation data is available for IA at IJVWFZ and HKWWFZ. At the IA for NWWFZ geophysical data is yet to be acquired and will be available for UXO assessment from the beginning of May 2023.

CONTRACTOR shall first consult the available project documentation/data prior to undertaking any assessments.

## Mobilisation

### Mobilisation

Mobilisation of the vessel(s) to the site, complete with all necessary geotechnical equipment and personnel. CONTRACTOR shall include sufficient consumables and equipment spares in the mobilisation plan to allow for any foreseeable events. CONTRACTOR shall indicate the proposed port of mobilisation/demobilisation as well as the number of port calls foreseen during the survey.

The CLIENT requires a port call every four weeks (as a minimum) for CLIENT OFFSHORE REPRESENTATIVE crew changes (applies to Lots 1 and 2).

The CLIENT requires a regular transport of soil samples to laboratory, typically biweekly, (applies to Lots 1 and 2). In addition, CONTRACTOR shall make use of any periods of weather standby to undertake such port calls to facilitate offload and transport of samples.

The harbour to be used for mobilisation of survey vessel(s), equipment and personnel shall be approved by the CLIENT.

Mobilisation commences with the installation of equipment, continues through the performance of harbour and offshore trials (e.g. positioning/navigational equipment), and finishes with the completion of equipment calibrations, transit to the site and positioning on the first location. A detailed mobilisation checklist shall be presented in the Project Execution Plan and be approved by CLIENT OFFSHORE REPRESENTATIVE prior to departure to the site.

Mobilisation is deemed complete:

- After all trials and calibrations have been completed to the approval of the CLIENT OFFSHORE REPRESENTATIVE and the CONTRACTOR REPRESENTATIVE. Notice of approval shall be in writing and shall be incorporated in the Mobilisation Report; and

- When the vessel(s) is (are) at the first investigation location, ready to deploy the seabed frame/rig to perform the WORKS.

For the avoidance of doubt, WAITING ON WEATHER will only apply when the mobilisation is deemed complete as described above.

The CONTRACTOR MUST provide a Mobilisation Report within two (2) days of the CLIENT’s acceptance of mobilisation, which must document but is not limited to the following:

- Equipment mobilised on board and any deviation from the CONTRACTOR procedures;

- Equipment trials and calibrations;

- Equipment calibration certificates;

- Load / MPI tests certificates of installed equipment;

- Vessel Safety Audit not older than 6 months before Start of Mobilisation;

- POB list;

- Any non-critical defects; and

- Verification report of the testing of the internet speed upload/download carried out to show that the required internet speed onboard each of the site investigating vessels meets the specification given in 2.13.

### Positioning

The location of survey vessel(s) (a minimum of DP2) and testing devices shall be determined using at least two independent Differential GPS (DGPS) systems.

GPS system accuracy shall be:

•	10 cm accuracy in x & y direction; and

•	20 cm accuracy in z direction.

Independence between DGPS systems implies that both segments are at least two independent systems. RVO has a preference for tertiary and quaternary systems for added positioning redundancy. The secondary system shall be available both as a backup for the primary system and for online quality assurance. Additional systems shall be used as independent checks on the primary systems.

The independent secondary system (i.e. independent in all respects except satellites) must be operated in parallel with the primary system, so as to provide full real time redundancy. A continuous comparison between the position solutions derived from the primary and secondary systems must be made throughout the survey. Any differences of more than 1 metre between the primary and the secondary system must be investigated; survey operations must be suspended until the source of discrepancy is found and solved.

The elevation of the CPT / drilling equipment (with reference to the seabed level) shall be accurately measured during the execution of the WORKS. Any settlement of the equipment is to be recorded and reported to the CLIENT OFFSHORE REPRESENTATIVE. CONTRACTOR shall provide detailed methodologies on how the settlement of the seabed frame into the seabed shall be measured along with measurement of frame inclination. At least two independent methods to assess sinkage should be applied on site by CONTRACTOR in order that cross-comparison can be made.  A settlement gauge is preferred for all Lot 1 and Lot 2 deployments. For Lot 2, (downhole campaign) the drill string or the casing (if any) can be used to control the elevation of the deck or reference datum for sampling. The elevation of strata changes within boreholes is established relative to seabed and to the specified reference level.

The CONTRACTOR shall set up the required equipment (e.g. echosounder) to check the water depth. Water depth data both measured and reduced to the specified datum shall be made available to the CLIENT OFFSHORE REPRESENTATIVE and shall be included on the measured and interpreted logs.

Accuracy of water depth measurement: 10 cm.

For each location, a CTD probe profile or equivalent CLIENT approved methods is established to determine at least the water depth and the water temperature at seafloor.

The exact position of the measurements must be recorded with an acoustic tracking system such as a USBL, giving the position of the equipment underwater relative to the vessel surface position.

The acoustic underwater positioning system must be used to provide X, Y and Z offset to all seabed deployed systems. The offset to each sensor is used in real time to provide an absolute position coordinate and logged together with all raw data relative to a common GPS time base.

USBL system accuracy: 0.5 % of Slant Range

The CONTRACTOR must provide calibration certificates for the system(s), where the certificate is not older than 1year from the date of the investigation and calibration was performed in water depts ≥100m. The certificates are to be provided as part of the pre-mobilisation documents (see section 2.10.1).

All measurements should be positioned within a 5m radius of the target coordinates. If re-positioning is required the seabed frame should be positioned as close to the target coordinates as possible. If an obstruction is encountered on the seabed or the seabed slope exceeds 5-10 degrees (depending on availability of a levelling system), the seabed CPT shall be re-positioned to avoid the obstruction or excess slope whilst keeping the CPT location as close to the target co-ordinates as possible.

Repositioning is to be confirmed and approved by the CLIENT OFFSHORE REPRESENTATIVE.

### Coordinate reference system and datum

SI units (ISO/IEC8000) are applicable for any activities carried out at the Wind Farm Zone. All positioning data shall be collected in the European Terrestrial Reference System 1989 (ETRS89) and projected using ETRS89 Transverse Mercator Coordinate Reference System (UTM Zone 31N).

The vertical datum for the survey is Lowest Astronomical Tide (LAT). The methodology and height reduction model used to reduce the data to LAT shall be described in the CONTRACTOR’s Project Execution Plan and reports. The reduction method used should be well-established and proven, e.g. BLAST method. A test coordinate for approval must be provided in the project documentation.

### Seabed Frames for Seabed CPT and Boreholes

Although there might be sand waves in the investigation areas, it is normally possible to avoid the more onerous seabed gradients by micrositing the seabed CPTs or boreholes.  However, the CLIENT prefers the CONTRACTOR to provide a system that allows for some adjustment in the level of the seabed frame in order to increase flexibility. It is noted that skirts could be helpful in this respect. CONTRACTOR is requested to propose practical methods to attain a level seabed frame for vertical alignment of the cone rods or drill-string, including for drill-string re-entry purposes. CLIENT will prefer practical and proven methods of attaining a level and stable re-entry platform.  CONTRACTOR shall provide detailed methodologies on how the tilt and settlement of the seabed frame into the seabed shall be measured in case of scour during CPT/drilling operations, along with measurement of frame inclination.

### Repositioning on Location (Bump Over)

At many of the geotechnical investigation locations, more than one seabed test (Lot 1) or borehole (Lot 2) will be carried out.

For Lot 1, the cost of transiting to location, positioning and setting-up for the first seabed CPT (PCPT or SCPT) at each location is covered by Items 2 in Annex [4a]. If there are any other seabed CPT carried out afterwards before the vessel transits to another location, the additional cost of “bumping over” (re-positioning) and setting-up for each of these other tests is covered by separate line items in Items 2 in Annex [4a]. The costs for the initial and any additional seabed thermal conductivity tests (Lot 1) and vibrocores (Lot 1) are covered in a similar manner. The positioning and set-up for the first seabed thermal conductivity test will be covered by Item 2.11 regardless of whether or not any other type of test (e.g. seabed CPT or vibrocore) has just been undertaken at the same location.  The same applies to the other types of tests i.e. seabed CPT and vibrocoring.

For Lot 2, the cost of transiting to, positioning and setting-up for the first borehole at each location is covered by Item 2.1 in Annex [4b].  If there are any other boreholes (including re-drills) carried out afterwards before the vessel transits to another location, the additional cost of “bumping over” (re-positioning) and setting-up for each of these other boreholes is covered by Item 2.2 in Annex [4b].

The initial seabed test or borehole at a given investigation location should be positioned within a radius of 5m from the target co-ordinates, preferably along a seismic line that passes through the target co-ordinates.  Any other tests or boreholes carried out at the same location should also be positioned within 5m of the target co-ordinates, also preferably along a seismic line that passes through the target co-ordinates. In addition, the spacing between each test or borehole should not be less than 3m to avoid any interference.  The CLIENT acknowledges that these preferences may not be practical in all cases, especially if the total number of separate tests/boreholes at a given location exceeds four (4).

There may be some locations where the seabed gradient is found to exceed the maximum allowable limit for the equipment, despite a prior desk study clearance of the location.  In this case, the closest acceptable position is likely to be greater than 5m from the original target co-ordinates.  This “micro-siting” process will inevitably involve some additional time to find a suitable alternative location, the associated costs for which are covered by Item 2.17 in Annex [4a] (Lot 1) and Item 2.15 in Annex [4b] (Lot 2).

## Execution of Seabed CPT, Vibrocores and Ecological Samples (Lot 1)

### Executing seabed CPTs

The seabed CPT system shall include a minimum 20 tonne thrust reaction and at least a cone tip capacity of 100kN or 150kN, depending on the cone tip area (see below).

CONTRACTOR should have both 36mm and 44mm rods, and a friction reducer available in order to increase the chances of achieving a greater test depth. CONTRACTOR is permitted to use rods of other configurations with written CLIENT approval but should describe in the offer how and whether they can reach the target depth and why the method is deemed by the CONTRACTOR to be suitable. References, data sheets and other supporting documentation including examples of previous results shall be included to justify deviation from convention.

The tests shall be carried out in full accordance with ISSMFE Reference Test Procedures, EN ISO 22476-1, and Eurocode EN 1997-2 2007. In particular, the cone penetration rate shall be between 15mm/s and 25mm/s with a target of 20mm/s, except if a deviation from this range is accepted by the CLIENT in advance for some specific cases.

At the start of an individual PCPT, the tip and friction sleeve readings shall be zeroed and the pore pressure reading checked to confirm compliance with the water depth. Calibration of PCPT should not be older than 3 months before Start of Mobilisation.  CONTRACTOR shall provide the calibration certificates for CLIENT review and approval before Start of Mobilisation.

The seabed elevation at each test location shall be registered by pressure transducers mounted on the seabed frame and corrected for specific gravity of the water column at the location Water depths shall be reduced to LAT.

The specifications of the seabed CPT equipment shall include:

- A minimum thrust capacity of 200kN (20 tonnes);

- Cones with projected areas of 10cm2 and 15cm2;

- A target penetration depth of 60m; and

- Cone tip capacity of 100kN (10 tons for a 10cm2 cone) (or 150kN if using 15cm2 cone).

The typical parameters that define refusal of the seabed CPT are as follows:

- Total thrust equals nominal reaction provided;

- Cone tip load is 100% of the cone tip capacity;

- Sleeve friction is more than 15% of the cone tip capacity or 1.5MPa;

- Cone deviation is greater than fifteen (15) degrees from absolute vertical over the test depth (i.e. between seabed and the cone tip);

- Cone deviation increases by more than three (3) degrees over a penetration length of one metre or less; and

- The CONTRACTOR operator judges that further penetration would damage the equipment, in which case an explanation shall be provided within 24 hours.

The PCPT accuracy class should be a minimum of class 2 or preferably class 1 as detailed in ISO 22476-1:2012.

As part of CONTRACTOR tender submission, evidence shall be provided to demonstrate performance of proposed equipment in similar ground conditions, including the physical ability to reach a target depth of 60m below seabed. Limitations of the equipment are to be stated clearly by the CONTRACTOR within the proposal. Reports summarising ground conditions in the general area of investigation is available at http://offshorewind.rvo.nl/ for Borssele and HKZ, HKN and the adjacent HKW WFZ.

CONTRACTOR is required to produce preliminary CPT plots for measured and derived parameters within 24 hours of the test completion for distribution to CLIENT along with digital (ASCII) data.

### Seismic cone penetration tests (SCPT)

Although the seabed CPTs using the SCPT shall be carried out to a target depth of 60m in order to obtain at least the standard cone data, the seismic tests may be stopped at the depth at which the seismic signal is no longer strong enough for providing reliable shear wave velocity data.

CONTRACTOR shall perform seismic cone tests in seabed CPT mode to the refusal depth or the depth at which the seismic signal is no longer strong enough for providing reliable shear wave velocity data, as directed by the CLIENT OFFSHORE REPRESENTATIVE. The seismic cone shall be deployed in seabed CPT mode using dual array x, y, z receivers mounted behind a conventional 10cm2 or 15cm² cone.

Further specifications are given in section 2.5.1.

CLIENT and IGM Contractor shall select the preferred locations based on the results of the geophysical survey and the initial results of the Lot 1 survey as and if available. The seismic source shall be mounted on a seabed frame. Acquisition, and processing methods and procedures shall be in accordance with ISO 19901-8:2014, ASTM D7400-08 or equivalent CLIENT approved methods. Full details of the proposed methodology, processing and data presentation shall be presented as part of the CONTRACTOR tender submission.

CLIENT, IGM Contractor and Lot 1 CONTRACTOR will agree on the preferred SCPT locations based on the results of the geophysical survey and the initial CPT results if available.  CLIENT shall approve ALL locations.

Seismic tests shall be performed at intervals of 1-2m, as directed by the onboard CLIENT OFFSHORE REPRESENTATIVE. Signals shall be stacked in order to achieve an acceptable signal to noise ratio to be agreed with the CLIENT OFFSHORE REPRESENTATIVE. CLIENT OFFSHORE REPRESENTATIVE has the right to reject any or all of the stacked signals or components thereof.

Plots shall include measured s-wave velocities (and, where available, p-wave) for presentation as part of the final report. CONTRACTOR shall allow for provision of raw and processed digital SCPT data as a deliverable to CLIENT within the proposal.

CONTRACTOR is required to produce preliminary SCPT plots for measured and derived parameters within 48 hours of the test completion for distribution to CLIENT along with digital (ASCII) data.

### Dissipation Testing

CONTRACTOR will be required to perform dissipation tests in specific layers at certain locations across the site. These tests shall be performed with the PCPT in seabed mode. Testing and reporting shall be in accordance with ISO 19901-8:2014, ISSMFE Reference Test Procedures or CLIENT approved standards and procedures. CONTRACTOR shall allow for dissipations of 50 percent in all tested soils. Testing shall be in accordance with ISO 19901-8:2014, ISSMFE Reference Test Procedures or CLIENT approved equivalent. Full details of the proposed methodology shall be presented as part of the CONTRACTOR submission.

CONTRACTOR is required to produce preliminary dissipation plots for measured and derived parameters within 24 hours of the test completion for distribution to CLIENT.

### Thermal Conductivity

For the purposes of cable burial CONTRACTOR shall propose a method to measure the in situ thermal conductivity of the shallow soils using a cone or similar method approved by CLIENT. CONTRACTOR should assume testing at 1 metre intervals to a maximum of 6m depth below seabed.  Depending on the actual soil conditions a temperature cone (ideal for dense sands or stiff clays where frictional heat is easily generated during penetration) or a thermal probe cone (uses electrically generated heat) shall be used and shall be available on the vessel(s). The results will be used by the wind farm tenderers to inform the design basis for inter array cable installation in conjunction with onshore laboratory tests.

CONTRACTOR shall provide full details of the proposed method including deployment and recovery of the proposed unit, methods of calculation of thermal conductivity and specific heat capacity of the soil, and presentation of the results.

CONTRACTOR should also consider the merits of performing in situ thermal conductivity tests at the same time as the Vibrocore sampling (e.g. FIELAX “Vibroheat”), where required.  CONTRACTOR is encouraged to propose alternative novel solutions for measuring the in situ thermal properties of the soils, if they are backed-up with supportive field evidence.

CONTRACTOR is required to produce preliminary thermal conductivity plots for measured and derived parameters within 48 hours of the test completion for distribution to CLIENT.

### Vibrocoring

In situ sampling for geotechnical and morphological characterisation

To allow for geotechnical characterisation of the shallow soil, vibrocores shall be taken. The vibrocores must be able to achieve a maximum penetration depth of 6m. The inner diameter of the liner should be 100mm however smaller diameters (e.g. 86mm) are permitted if the CONTRACTOR ensures an equivalent quality of the recovered material when compared to the 100mm system. A minimum of three (3) m recovery is required per location and if requested by CLIENT REPRESENTATIVE, CONTRACTOR shall undertake a maximum of one (1) re-test per location at no cost to CLIENT. Once recovered, the filled core liner is to be cut into one metre long segments, described and tested at top/bottom, capped, sealed, labelled, preserved and stored for onshore testing.

Field tests at the base of each core liner segment shall contain the following:

- Natural water (moisture) content;

- Bulk density; and

- Index strength tests in cohesive soils (torvane and pocket penetrometer).

In situ sampling for archaeological characterisation

Vibrocore samples are required for the archaeological assessment of shallow subsoil. The following quantities are foreseen:

- Seven vibrocores at IJVWFZ IA;

- Four vibrocores at NWWFZ IA; and

- Two vibrocores at HKWWFZ IA.

All vibrocores have a target depth of 6m. The exact locations will be determined by CLIENT and advised by a specialist archaeological consultant. Lot 1 CONTRACTOR shall allow for two interface meetings with the archaeological consultant. The vibrocores will be inspected by the specialist consultant at the GT Contractor’s storage area. In case this is not possible, for example due to travel restrictions, Client requests the Lot 1 CONTRACTOR to conduct archaeological logging on the vibrocores (13 in total). As such, a line item, based on a metre rate, has been included in Annex 4a to cover this task.

Archaeological logging shall be in accordance with the ‘Standaard Boor Beschrijvingsmethode’ (SBB53), which translates to ‘Standard Sample Description Method’.

The SBB53 contains parameters of NEN 5104, but also provides additional terms to characterize the sediment samples. These terms offer the opportunity to describe phenomena like sedimentary structures, layer boundary characteristics and sedimentary trends observed within a layer in a standardized manner. Also, geological and soil interpretations, and anthropogenic admixtures including archaeological finds are described. The SBB has been incorporated in the archaeological process as the method to be used for the description of sediment samples.

Laboratory Testing

All onshore laboratory testing on vibrocores shall be carried out at an approved geotechnical laboratory. Any subcontracted testing shall require the approval of CLIENT. All core logging and soil testing shall be carried out to Eurocode EN 1997-2:2007, ISO 19901-8:2014, BS 5930, and BS 1377 or CLIENT approved equivalent, as and where applicable. The CONTRACTOR shall ensure that the CONTRACTOR laboratories and any subcontracted laboratories, are accredited to the newest issues of standards. If the CONTRACTOR deviates from the latest standards a detailed statement is expected from the CONTRACTOR. The borehole logs shall be compiled under the terms of EN ISO 14688-1 and EN ISO 14688-2. All test data shall be presented in ASCII format for easy manipulation, data transfer, and integration.

CONTRACTOR shall be required to demonstrate a system to prove that every sample is photographed during analysis onshore to a standard to be accepted by CLIENT.  All images are to be recorded on hard storage media and backed up. Examples shall be provided to nominated CLIENT expert CLIENT for approval prior to photography commencing.

As a general guideline, the following types of tests will normally be required for the different material types expected. The testing programme shall be proposed by CONTRACTOR, and approved by CLIENT.

Granular Soil

- Natural water (moisture) content;

- Bulk density;

- Particle density;

- Particle size analysis (sieve);

- Particle size analysis (using sieve and pipette method for fines fraction);

- Carbonate tests;

- Organic tests (dichromate);

- Organic tests (loss on ignition);

- Total Carbon (TIC) (dry air combustion);

- Determination of thermal conductivity and specific heat capacity (needle probes, hot discs);

- Electrical resistivity; and

- Pore water salinity.

Cohesive Soil

- Natural water (moisture) content;

- Bulk density;

- Particle density;

- Particle size analysis (using pipette method for fines and if applicable sieve);

- Atterberg limits (plastic and liquid limits, fall cone test);

- Organic tests (dichromate);

- Organic tests (loss on ignition);

- Total Carbon (TIC) (dry air combustion);

- Unconsolidated undrained (UU) triaxial compression tests on undisturbed samples;

- Determination of permeability and porosity;

- Determination of thermal conductivity and specific heat capacity (needle probes, hot discs) (on undisturbed and remoulded samples);

- Electrical resistivity; and

- Pore water salinity.

### Ecological Sampling

Ecological soil and water samples are required to be collected to provide base line information at NWWFZ IA and HKWWFZ IA. Specific details and requirements are outlined below.

Soil Sampling - box corer

The objective of the box corer sampling campaign is to collect data to define an ecological T0 (baseline) situation to support an ongoing ecological study.

Locations of the ecological sampling shall be assigned by CLIENT. For the purpose of pricing Tenderer should assume an even distribution of sample locations across the investigation areas.

At least 24 box corer samples at NWWFZ IA and at least 11 box core samples at HKWWFZ IA shall be collected to provide sample material for ecological analyses. Additional samples acquired shall be priced at a rate equal or less than the rate provided in Annex [4a].

No ecological laboratory analyses are requested in this tender. Delivery of samples, under suitable conditions to conserve sample integrity, to a recipient within the Netherlands shall be included in the costs of the proposal.

The samples shall be distributed over the IA to adequately sample the anticipated distribution of seabed sediments and seabed morphology indicated by the geological desk study. A sample location plan shall be proposed by CONTRACTOR and agreed by CLIENT.

Required Elements

The ecological sampling survey must include:

- 24 box corer sediment samples from sites at NWWFZ IA > 1 km apart;

- 11 box corer sediment samples from sites at HKWWFZ IA > 1 km apart;

- USBL positioning of box corer;

- Preliminary field analysis;

- Photographic documentation;

- A total of 3 push cores for each box core sample (105 in total for 24+11 locations), 100mm diameter, full depth of the box core sample;

- Preparation and sieving of sample at 1 mm mesh size; and

- Sample conservation, storage for a minimum period of 2 months and delivery to onshore analysis facility.

Specification

A field evaluation is required to be reported on a field log in an appropriate format for use in geological, chemical and biological investigations.

The box corer shall be designed to extract core with a minimum upper surface area of 0.078 m2, and cores are required to have at least 15cm recovery and if requested by CLIENT REPRESENTATIVE, CONTRACTOR shall undertake a maximum of one (1) re-test per location at no cost to CLIENT. If the re-test recovers less than 15cm it shall be retained for analysis and documented as a low-recovery sample. Samples are to be conserved and stored for onshore analysis using appropriate protocols to be proposed by CONTRACTOR and approved by CLIENT.

Guidance

The preferred sampling equipment is a Reineck box corer. Similar box corer devices with a sample upper-surface-area of ≥0.078 m2 can be proposed by CONTRACTOR and must be approved by CLIENT.

Operation of the box corer must follow the Mapping European Seabed Habitats (MESH) guidelines for operating a box corer.

Excess water on the sample within the box corer needs to be carefully removed with a hose before further samples can be taken. Sample logging shall be performed immediately after a sample has been retrieved, by a qualified
CONTRACTOR’s geologist, and photographed. Each recovered sample shall be photographed with quality, focus, colour and resolution adequate to resolve millimetre scale features.

Prior to sieving the sample to extract ecological sample material, an appropriate push core liner with a diameter of 100mm must sample the box corer sample to its full depth for grain size analyses. Documentation of grain size sub-sampling must include the geographic position, water depth relative to LAT, time and date, sample identification number.

All onshore laboratory testing of the push cores shall be carried out at an approved geotechnical laboratory. Grain size distribution analyses shall follow EN ISO 17892-4. All soil testing shall be carried out, where applicable, respectively to Eurocode EN 1997-2, ISO 19901-8, or CLIENT approved equivalent.

Preparation of the ecological sample shall be documented and follow proper biological sampling practice. CONTRACTOR shall propose a suitable, systematic protocol. The following steps indicate the general method anticipated:

- After retrieval of the box core, the immediately visible biology (Hydrozoa (hydropolises), Anthozoa (anemones) and Nudibranchia (nudibranchs), abbreviated HAN,) shall be removed from the residue and placed in the sample container.

- The remaining box corer sample must be sieved (1mm mesh size) to separate (most) sediments from the ecological sample in the sieve, which is transferred to the sample container.

- The samples will then be fixed in 10% buffered formal saline solution and stored at ambient temperature in preparation for demobilisation.

Documentation of ecological sample must include the geographic position, water depth in LAT, time and date, sample identification number.

Deliverables

The following deliverables and their metadata are required at minimum:

Table 5 Ecological sampling – soil sampling deliverables

| Module s=samples a=analyses | Description | Format |
| --- | --- | --- |
| s | Conserved sample material | n/a |
| s | Sample photographs | .jpg |
| s | Technical Note including sampling protocol | pdf |
| s | Sample location with sampling protocol information | .gbd |

Water Sampling

The objective of the water sampling campaign is to collect data for environmental DNA analyses to allow for defining a T0 (baseline) situation for long term environmental site studies.

Required Elements:

- 24 water samples from sites at NWWFZ IA (one at each box corer sample site, minimum 1 litre);

- 11 water samples from sites at HKWWFZ IA (one at each box corer sample site, minimum 1 liter);

- Sample conservation and frozen storage at or below -15°C for a minimum of 2 months; and

- USBL positioning of sample location.

Specification:

A field evaluation is required to be reported on a field log in an appropriate format for use in chemical and biological investigations.

Water sampling device shall be a sterile Niskin Water Sampler with a sampling volume of min. 1 Litre. Similar sampling devices can be proposed by CONTRACTOR and must be approved by CLIENT.

Guidance

Water samples shall be taken together with box corers or sequentially at the same geographic location. The sterile Niskin Bottle shall be closed at 2-5 m altitude above the seafloor.

Water depth in LAT, altitude, location, date and time must be documented for each sample as a minimum.

A water sample of at least 1 liter must be filtered through a sterile specially designed funnel filters with 0.8μm mesh size. The filter must then be fixed using a DNA shield and freezer (< -15°C) and covered against the influence of light. Interruption of cold chain during sample transport, storage and handling must be avoided.

Special emphasis lies on contamination avoidance. CONTRACTOR shall propose appropriate workflows to minimize sample contamination.

Deliverables

The following deliverables and their metadata are required at minimum:

Table 6 Ecological sampling – water sampling deliverables

| Module s=samples a=analyses | Description | Format |
| --- | --- | --- |
| s | Conserved sample material | n/a |
| s | Technical Note including sampling protocol | pdf |
| s | Sample location with sampling protocol information | .gbd |

### Lost Equipment

CONTRACTOR shall be responsible at his own cost for the marking of the location and recovery of cone rods and other equipment dropped or lost during the execution of the project.  CONTRACTOR shall mark the positions of equipment on or below the seabed with marker buoys if necessary and recover the equipment at the earliest possible opportunity.  All lost equipment above 0.5m below mudline shall be removed.

### Demobilisation

Upon completion of the survey, all CONTRACTORS personnel shall be demobilised from the vessel(s) in accordance with the CONTRACT. CONTRACTOR is responsible for the removal of all equipment, instrumentation and materials from the project area following CLIENT approval of survey completion.

Demobilisation is deemed to commence when all survey operations have been completed to CLIENT satisfaction and after approval by means of a sign-off by the CLIENT OFFSHORE REPRESENTATIVE.

## Data processing and reporting for seabed CPT and vibrocores (Lot 1)

After carrying out the seabed CPT and vibrocore investigation of this Lot 1, CONTRACTOR shall process the acquired data during the field work and prepare a detailed report covering the complete scope of work.

The reporting requirements for the seabed CPT and vibrocore work are detailed below. Quality requirements are described in Annex [6] – Section VI - Quality Requirements & Administrative instructions Geotechnical Survey.

All reports will be written in English and include both an English and Dutch management summary.

Document control requirements, including filename conventions, are included in Starting Points and Assumptions Annex [7].

Reports and deliverables will be delivered by contractors in pdf and original, regular, formats (docx; xlsx; ppt; ASCII; AGS; etc). The data format used for digital deliverables shall remain constant throughout the project. Therefore CLIENT request that the CONTRACTOR prepares and provides a pilot data set for review and acceptance by the CLIENT. Thereafter the digital data format shall not change anymore unless agreed by CLIENT.

### Provision of digital pilot data

The CONTRACTOR will be requested to provide a pilot database which will include an example output of each of the digital deliverables. This data may include, but not limited to:

- AGS 4 format;

- ASCII;

- Excel or cvs; and

- LAS files.

The objective of this deliverable prior to delivery of the factual test results is to agree on the format of the data output as to be applied in a consistent manner throughout the project. This also applies to any interim deliveries of laboratory data prior to provision of the final report.

### Daily & Weekly reporting

The CONTRACTOR is to submit daily reports throughout the period of the fieldwork, providing full details of previous 24 hours’ work and results and projected locations for the forthcoming 24 hour period. Further, CONTRACTOR shall issue a weekly report providing insight in the progress of the WORK on a weekly basis. The formatting of the daily and weekly report is specified in Section VI of this Contract.

### Preliminary CPT results and vibrocore logs

The CONTRACTOR is to provide preliminary (field) results of:

- PCPT plots;

- SCPT plots;

- dissipation test plots;

- thermal conductivity test plots;

- vibrocore logs; and

- ASCII data from PCPT, SCPT, dissipation tests and thermal conductivity tests) (at same time as PDF plots).

These shall be provided within 24 hours of completion of each test/vibrocore.

### Lot 1 Operations Report

The CONTRACTOR shall submit an “Operations Report” for all Lot 1 fieldwork activities, which shall include, but be limited to:

- Daily logs (DPRs);

- CPT and vibrocore operator’s log;

- Location positioning acceptance reports;

- Incident reports; and

- Full details of all lost and damaged equipment.

This report will be for CLIENT internal use only and will not be published on the RVO website.

The CONTRACTOR shall provide one (1) electronic copy of this report.

### Field report Lot 1 Seabed CPT

The field results obtained from seabed in situ testing (PCPT, SCPT, thermal conductivity and dissipation testing) shall be presented as the first version of the “Seabed In Situ Testing Report”, within one (1) week of the completion of the fieldwork.

The CONTRACTOR shall be required to submit a reporting template for the “Seabed In Situ Testing Report” within one week after the Start of the offshore works. One report is required per wind farm site.

Version 1 (Field Report) of the “Seabed In Situ Testing Report” shall include, but is not limited to:

- A statement of the purpose of the investigation;

- A description of the Work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all tests (coordinates shall be with respect to ETRS89 datum, given in degrees and decimal minutes format as well as in eastings and northings using a ETRS89 UTM Zone 31N projection). The coordinates should also be provided in electronic format (xlsx);

- Water depth measurements at the actual investigation locations and frame settlement data (if any);

- Drawings (GIS format or similar as well as PDF) showing the locations of all tests undertaken;

- Any and all calibration certificates;

- Plots of the following PCPT and SCPT results:

  - Measured cone resistance;

  - Measured sleeve friction;

  - Measured pore water pressure;

  - Friction Ratio;

  - Net cone resistance;

  - Pore pressure ratio;

  - Dissipation test plots of cone resistance and pore pressure versus time

  - Interpreted relative density (granular materials), including a description of the type of correlation used for the interpretation;

  - Interpreted undrained shear strength (cohesive materials), inclusive a description of the type of correlation used for the interpretation;

  - Seismic test results including interpreted small-strain shear modulus versus depth inclusive of a description of the calculation method used;

- Plots of thermal conductivity test results i.e. temperature versus time;

- Obstruction list (lost equipment on and below seabed) incl. coordinates and depth;

- ASCII data of PCPT tests inclusive of dissipation, thermal conductivity and thermal heat capacity test results; and

- ASCII data of SCPT tests, including the derived p- and s-wave velocities as well as the individual seismic traces.

The CONTRACTOR shall provide one (1) electronic copy of this report.

### Field report Lot 1 Seabed Sampling (Vibrocores) and ecological sampling

The field results obtained from seabed sampling (vibrocoring and offshore laboratory testing) shall be presented as the first version of the “Seabed Sampling Report”, within one (1) week of the completion of the fieldwork.

The CONTRACTOR shall be required to submit a reporting template for the “Seabed Sampling Report” within one week after the Start of the offshore works.

Version 1 (Field Report) of the “Seabed Sampling Report” shall include, but is not limited to:

- A statement of the purpose of the investigation;

- A description of the Work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all vibrocores and boxcores (coordinates shall be with respect to ETRS89 datum, given in degrees and decimal minutes format as well as in eastings and northings using a ETRS89 UTM Zone 31N projection). The coordinates should also be provided in electronic format (xlsx);

- Water depth measurements at the actual investigation locations;

- Drawings (GIS format or similar as well as PDF) showing the locations of all vibrocores undertaken;

- Any and all calibration certificates;

- Preliminary (field) vibrocore logs;

- Preliminary ecological soil sampling logs; and

- Obstruction list (lost equipment on and below seabed) incl. coordinates and depth.

The CONTRACTOR shall provide one (1) electronic copy of this report.

### Final Report Lot 1 Seabed CPT

The CONTRACTOR shall submit a complete draft (2nd version) of the “Seabed In Situ Testing Report” no later than no later than five (5) weeks following the completion of fieldwork (Section 2.6.5).

This report should include the following (as appropriate):

- A statement of the purpose of the investigation;

- A description of the work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all tests, co-ordinates, water depths. The coordinates should also be provided in electronic format (xlsx);

- Drawings (GIS or similar as well as PDF) showing the locations of the tests undertaken;

- Plots of the following final (quality assured) PCPT and SCPT results:

  - Measured cone resistance;

  - Measured sleeve friction;

  - Measured pore water pressure;

  - Friction Ratio;

  - Net cone resistance;

  - Pore pressure ratio;

  - Dissipation plots of cone resistance and pore pressure versus time including coefficient of radial consolidation of the soil and definition of method used;

  - Interpreted relative density (granular materials), including a description of the type of correlation used for the interpretation

  - Interpreted undrained shear strength (cohesive materials), including a description of the methods of correlation used for the interpretation and any assumptions made during the interpretation

  - Seismic test results including interpreted small-strain shear modulus versus depth inclusive of a description of the calculation method used

- Plots of final (quality assured) thermal conductivity test results i.e. temperature versus time and specific heat capacity results; and

- ASCII data of PCPT and SCPT tests inclusive of dissipation and thermal conductivity test results and specific heat capacity results.

The CONTRACTOR shall provide digital draft reports, which shall be made final after processing of comments and approval by the CLIENT. The draft reports shall contain all information to allow a comprehensive review to be performed by CLIENT.

CONTRACTOR shall provide one (1) electronic copy of the FINAL REPORT and associated digital data.

### Final Report Lot 1 Seabed Sampling (Vibrocores) and ecological sampling

The CONTRACTOR shall submit a complete draft (2nd version) of the “Seabed Sampling Report” no later than twelve (12) weeks following the completion of fieldwork (Section 2.6.6).

This report should include the following (as appropriate):

- A statement of the purpose of the investigation;

- A description of the work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all vibrocores, co-ordinates, water depths as defined in Section 1.6 and 2.4.2. The coordinates should also be provided in electronic format (xlsx);

- Drawings (GIS or similar as well as PDF) showing the locations of the vibrocores undertaken;

- Final (approved) vibrocore logs;

- Final (approved) detailed laboratory test results;

- Summary of Laboratory Test Results;

- Colour photographs of samples/cores both whole and split; and

- Lab test data in AGS format and ASCII format.

The delivery of AGS digital data shall comply with the AGS file format rules and should therefore be validated using the following AGS validator: https://www.ags.org.uk/data-format/ags-validator/

The CONTRACTOR shall provide digital draft reports, which shall be made final after processing of comments and approval by the CLIENT. The draft reports shall contain all information to allow a comprehensive review to be performed by CLIENT.

CONTRACTOR shall provide one (1) electronic copy of the FINAL REPORT and data.

## Execution of Boreholes (Lot 2)

### Executing boreholes

The boring log, a detailed description of the soil types, and the in situ geotechnical properties determined for the boreholes shall be documented to characterise the strata. These shall be performed in accordance with Eurocode EN 1997-2:2007 and ISO 19901-8:2014. The borehole logs shall be compiled under the terms of EN ISO 14688-1 and EN ISO 14688-2.

The general requirements for the boreholes are as follows:

- When the vessel(s) is (are) on station, the position of the vessel(s) and the water depth shall be logged prior to commencing any investigation work at each of the locations. Water depths shall be reduced to LAT; and

- The target depths for the boreholes will generally be between 60m and 80m, depending on the depths of the geological formations of interest at a particular location and the interpreted sub seabed structure. The CLIENT offshore representative may request the depth of boring/testing to be terminated prematurely or extended beyond the target depth to a maximum depth of 80 m, should it be determined by the CLIENT representative that this is appropriate.

The boreholes shall be progressed by a drilling and sampling technique approved by the CLIENT. It is the CLIENT preferred method to use standard straight flush API drilling and associated sampling and testing methods however CLIENT is open to suggestions of equivalent approved and verified methods. The drilling and sampling technique used must be fit for sampling with a minimum of disturbance. The drilling and sampling equipment and procedures are to be designed with the aim of obtaining a high sample quality class (according to Eurocode EN 1997-2:2007 and ISO 19901-8:2014) and good core recovery. For cohesive soil samples, quality class 1 or 2 are mandatory. For non-cohesive soil samples a minimum of quality class 3 or 4 are required.

All drilling parameters during the construction of all boreholes are to be recorded automatically using a CLIENT approved Measurement While Drilling System (such as the Jean Lutz).  Continuous recording of all appropriate parameters shall be made whilst advancing the borehole including but not limited to:

- Depth;

- Drilling rate (length per time unts);

- Torque on bit;

- Bit Weight (force units);

- Mud pressure; and

- Rotary speed (revolutions per minute).

Plots of the “as measured” drilling parameters shall be presented in the borehole and laboratory reports and presented digitally as part of the report deliverables.

The sampling and PCPT requirements will depend on the material type encountered. The following regimes should be applied, unless otherwise agreed by the CLIENT offshore representative on site.

Between the seabed and the final depth of the seabed CPT at that particular location, quasi-continuous sampling should be undertaken at a nominal interval of 1.0m. The spacing between consecutive samples shall not exceed 0.5m. The appropriate type of sampling tool to use will depend on the soil type. In stiff cohesive soils, push sampling shall be used. In granular materials, push sampling shall be used if possible, unless sample recovery is poor, in which case a push sampler with a core catcher or a hammer sampler shall be used instead. Blow counts measured during hammer sampling shall be recorded and presented on the Borehole Logs.

Below the final depth of the deep seabed CPT at that particular location, the following appropriate regime should begin immediately upon encountering a new layer:

Within granular deposits, the boreholes are to be advanced by alternating PCPT (up to 3m stroke) followed by 1 sample (4m repeat cycle). CLIENT OFFSHORE REPRESENTATIVE has the right to change the alternating PCPT/sampling cycle in response to the encountered soil layer without extra charges. Furthermore, CONTRACTOR shall oversample a PCPT stroke where requested in order to provide enough sample material for the subsequent laboratory programme and to verify soil types where uncertainty regarding material type exists or refinement is required on interpretation of soil types.

Within the cohesive deposits, boreholes are to be advanced by PCPT, (up to 3m stroke) followed by two samples (5m repeat cycle). CLIENT OFFSHORE REPRESENTATIVE has the right to change this regime in response to the encountered soil layer without extra charges.

Use of sampling tubes with external diameters other than 76mm shall only be used after consultation with, and the express permission of the CLIENT OFFSHORE REPRESENTATIVE.

The spacing between the end of samples/PCPT and/or start of samples/PCPT shall not exceed 0.5m. A minimum sample recovery of 80% is mandatory for cohesive soil layers and loose to medium dense non-cohesive soil layers. For dense or very dense non-cohesive soil layers, a minimum sample recovery of 50% is acceptable. If the sample recovery is less than 50% in non-cohesive layers or less than 80% in cohesive soil layers, CONTRACTOR shall be required to perform at no cost to CLIENT an additional push sampling stroke to recover the missing soil samples.

The net weight of the seabed frame shall be reduced to a minimum for the first push to avoid shear failure or other disturbance of the uppermost sediments. The penetration of the seabed frame is to be monitored and recorded as stated previously. The first sample shall be taken at seabed level, and be representative of at least the top 0.2m of the seabed.

CLIENT has the right to reject the sampling sequence particularly in the upper section of continuous sampling where quality and/or sample spacing and gaps compromise the aforementioned objectives. CONTRACTOR is to state in their proposal what remedial action they propose in this event at no cost to CLIENT.

### Executing downhole wireline piezocone penetration tests (PCPT)

The down-hole wireline PCPT system shall include a minimum 10 tonne thrust reaction and at least a cone tip capacity of 100kN or 50kN, depending on the cone tip area.  The equipment shall be capable of recording tip resistance values of up to 100MPa.

In soils with a normal range in cone tip resistance, 10 cm² piezocones shall be used. In very dense granular soils where the cone tip resistance is very high, 5 cm² cones with or without a piezometer may be used instead with CLIENT OFFSHORE REPRESENTATIVE approval.

The tests shall be carried out in full accordance with ISSMFE Reference Test Procedures, EN ISO 22476-1, and Eurocode EN 1997-2 2007.

The CONTRACTOR shall provide the calibration certificates for verification before Start of Mobilisation. Calibration dates of all PCPT cones shall not be older than 3 months before Start of Mobilisation. Contractor shall ensure adequate equipment redundancy and spares for all components, approval of which shall be upon inspection by CLIENT OFFSHORE REPRESENTATIVE prior to acceptance of mobilisation and start of the offshore works.

CONTRACTOR is required to produce preliminary CPT plots for measured and derived parameters within 24 hours of the test completion for distribution to CLIENT along with digital (ASCII) data.

### Seismic cone penetration tests (SCPT)

CONTRACTOR shall perform selected seismic cone tests to a depth of up to 60m below sea bed with the vessel(s) in borehole mode. The seismic cone shall be deployed in downhole mode using dual array x, y, z receivers mounted behind a conventional 10cm2 cone.

CLIENT and IGM CONTRACTOR shall select the preferred locations based on the results of the geophysical survey and results of the LOT 1 seabed survey if available. The seismic source shall be mounted on a seabed frame. Acquisition, and processing methods and procedures shall be in accordance with ISO 19901-8:2014, ASTM D7400-08 or equivalent CLIENT approved methods. Full details of the proposed methodology, processing and data presentation shall be presented as part of the CONTRACTOR tender submission.

Seismic tests shall be performed at least 1m from the start of each CPT stroke and at intervals of 1-2m, as directed by the onboard CLIENT OFFSHORE REPRESENTATIVE. The CLIENT OFFSHORE REPRESENTATIVE may request additional seismic test, e.g. if major changes in stratigraphy occur. Signals shall be stacked in order to achieve an acceptable signal to noise ratio to be agreed with the CLIENT OFFSHORE REPRESENTATIVE. CLIENT OFFSHORE REPRESENTATIVE has the right to reject any or all of the stacked signals or components thereof. Drill outs between CPT strokes and hence data gaps shall not exceed 0.5m without the express approval of the CLIENT OFFSHORE REPRESENTATIVE.

Plots shall include CLIENT approved measured and cone resistance based shear wave velocity for presentation as part of the final report.

CONTRACTOR shall allow oversampling in order to verify soil types where uncertainty regarding material exists or refinement is required on interpretation of soil types.

Plots shall include s-wave velocities (and, where available, p-wave) for presentation as part of the final report. CONTRACTOR shall allow for provision of raw and processed digital SCPT data as a deliverable to CLIENT within the proposal.

CONTRACTOR is required to produce preliminary SCPT plots for measured and derived parameters within 24 hours of the test completion for distribution to CLIENT along with digital (ASCII) data.

### P-S Logging

CONTRACTOR shall perform P-S logging following the completion of selected boreholes.

CLIENT and IGM CONTRACTOR shall select the preferred locations based on the results of the geophysical survey and results of the Lot 1 seabed CPT survey.

Full details of the proposed equipment (including full technical specifications), methodology, processing and data presentation shall be presented as part of the CONTRACTOR tender submission.

After completion of the borehole to the required depth, the borehole may have to be deepened by drilling to allow the first test to be carried out at 60m depth.

Depending on the encountered soil conditions and the requirements of the CONTRACTOR engineer and CLIENT OFFSHORE REPRESENTATIVE, the drill pipes are to be pulled to a sufficient distance above the P-S logging tool to avoid a collapse of the borehole, to expose the borehole walls and to enable accurate measurement of the seismic velocities within an open and fluid-filled borehole without any interference from the drill string.

Logging with the P-S tool shall start immediately after removal of the SCPT tool and pulling of the drill string, beginning from the bottom of the hole and continuing upwards, in order to prevent a collapse of the borehole.

The depth intervals between individual measurements shall be approximately 1-2m, as directed by the CLIENT OFFSHORE REPRESENTATIVE.

Plots shall include p-wave and s-wave velocities for presentation as part of the final report.

### Density Logging

CONTRACTOR shall perform density downhole logging following the completion of P-S Logging within the same boreholes. The objective is to acquire a continuous data set of porosity and bulk density of the soils.

CLIENT shall select the preferred locations based on the results of the geophysical survey and results of the Lot 1 seabed CPT survey.

Full details of the proposed equipment (including full technical specifications), methodology, processing and data presentation shall be presented as part of the CONTRACTOR tender submission.

For density logging, a gamma-gamma-probe is to be used. The main components of a Gamma-Gamma-probe are:

- Gamma source (e.g. Cs – 137);

- One or two (compensated log, preferred) detectors detecting the backscattered radiation; and

- A shield between source and detectors to protect direct radiation.

It is preferred to run Gamma-Gamma, Spectral Gamma tests (Natural Gamma Radiation) and Caliper as a combination (one tool). Spectral Gamma tests and Caliper are to be used predominantly for correction of the density of cohesive soils.

A Spectral Gamma test device is to be taken onboard should extra natural gamma measurements be required and directed by the CLIENT OFFSHORE REPRESENTATIVE.

Density downhole logging shall start immediately after removal of the P-S Logging tool beginning from the bottom of the hole and continuing upwards.

CONTRACTOR may propose alternatives to the gamma logging tool however a detailed comparison of any alternative tools shall be made with the gamma tool in order to demonstrate the respective result and level of detail achievable. A detailed summary of the advantages and disadvantages of each respective type of tool shall be presented in the proposal along with justification as to why a particular tool is preferred. Where possible, detailed cost comparisons shall be included for CLIENT review.

Downhole Magnetic Resonance, (DMR) tests shall also be performed following or as part of the Gamma-gamma logging in order to obtain an independent set of soil porosity and hence density values.

DMR logging investigates the response of the spin angular momentum of hydrogen nuclei to a magnetic field perturbation which is generated by the tool. The DMR signal amplitude is proportional to the quantity of hydrogen nuclei present in a geological formation and can be calibrated to determine a value for porosity, free from lithology effects, as well as pore size distribution. The technique can distinguish between mobile, capillary-bound and clay-bound water. DMR directly measures total porosity which can subsequently be used to calculate density.

CONTRACTOR shall provide full details of the proposed equipment (including full technical specifications), methodology, processing and data presentation as part of the CONTRACTOR tender submission.

### Recovery of Samples and Laboratory Testing

General

The following tasks shall be carried out offshore on the vessel(s):

- Sample logging immediately after a sample has been retrieved by a qualified CONTRACTOR’s (engineering) geologist, and photography of both intact and split samples;

- Moisture content and unit weight measurements;

- Pocket penetrometer tests or torvanes if appropriate on cohesive soil samples;

- Thermal conductivity measurement on undisturbed core samples including heat capacity measurement of the soil using thermal needle probe procedure according to ASTM D5334-14 (preferred offshore). These tests only need to be undertaken on the upper 3m to 5m of a borehole;

- Unconsolidated Undrained Triaxial Compression Tests (UU tests);

- Selection and proper preservation of suitable of “undisturbed” cohesive samples to avoid a change of the soil properties (e.g. waxing of and preservation in cardboard tubes or preservation of whole cores) including labelling of core sub-samples for onshore testing; and

- Selection and proper preservation of suitable samples retained in the Shelby tubes without extrusion (to minimise handling and contamination) for onshore MIC testing.

As part of the sub-sampling process CLIENT shall instruct CONTRACTOR to remove appropriate sub-samples from nominated boreholes for dating analysis part of the age assessment.  A full list of the required boreholes, samples and depths shall be provided by CLIENT upon completion of Lot 1.

All onshore laboratory testing shall be carried out at an approved geotechnical laboratory. Any subcontracted testing shall require the approval of CLIENT. CONTRACTOR shall submit a list of subcontracted laboratory tests to RVO experts in advance for internal use only. All core logging and soil testing shall be carried out, where applicable to Eurocode EN 1997-2:2007, ISO 19901-8:2014, BS 5930, and BS 1377 or CLIENT approved equivalent.

Cyclic soil testing shall be carried out in accordance with the relevant ASTM standard (e.g. ASTM D5311-13 & ASTM D 6528-17), where applicable. The CONTRACTOR ensures that all laboratories, including subcontracted laboratories, are accredited for the latest issues of respective standards. If the CONTRACTOR deviates from the latest standards a detailed statement justifying deviation is expected from the CONTRACTOR. The borehole logs shall be compiled under the terms of EN ISO 14688-1 and EN ISO 14688-2. All test data shall be presented in AGS or ASCII format as appropriate for easy manipulation, data transfer, and integration.

The CLIENT requires a regular transport of soil samples to laboratory, typically biweekly, (applies to Lots 1 and 2). In addition, CONTRACTOR shall make use of any periods of weather standby to undertake such port calls to facilitate offload and transport of samples.

Sample Photography

Each recovered sample shall be cleaned of drilling fluid, photographed intact, and after removal of a thin veneer of sample to expose any stratigraphy, surface structure or change in properties shall be photographed again. After subsampling to preserve undisturbed material and testing the remaining core shall be split and photographed again to record the internal structure so that all details are clearly recognisable in accordance with a CLIENT approved standard. As a minimum 15MPX resolution is required in order that quality, focus, colour and resolution shall be adequate to resolve millimetre scale features.

The borehole identification, date of sampling, depth data and top/bottom identification MUST be legible along with the project identification, borehole number, sample identification, sample depth, a graphic length scale and a standard of tints, (greyscale).

CONTRACTOR shall be required to demonstrate a system to prove that every sample is photographed to a standard to be accepted by CLIENT and recorded on to hard storage media and backup.  Examples shall be provided to CLIENT OFFSHORE REPRESENTATIVE for approval prior to photography commencing.

Laboratory Testing

Onshore laboratory testing (both standard and advanced) shall be performed on the preserved samples at an approved laboratory selected by the CONTRACTOR. Any subcontracted testing shall require the approval of CLIENT.

As a general guideline, the following types of standard laboratory tests will normally be required for the different material types expected. The actual testing programme shall be proposed by the CONTRACTOR and approved by the IGM CONTRACTOR and CLIENT.

Granular Soil

- Natural water (moisture) content;

- Bulk density;

- Particle density;

- Particle size analysis (sieve);

- Particle size analysis (using sieve and pipette method for fines fraction);

- Maximum and minimum density;

- Carbonate tests;

- Organic tests (dichromate);

- Organic tests - total carbon (loss on ignition);

- Total Carbon (TIC) (dry air combustion);

- Isotropically consolidated drained (CID) compression triaxial tests;

- Direct simple shear (DSS) tests;

- Ring shear tests (soil/soil);

- Ring shear tests (soil/steel);

- Bender element tests (as part of selected CID or DSS tests);

- Constant Rate of Strain (CRS) compressibility tests;

- Resonant column tests (RC);

- Permeability testing with permeameter;

- Permeability testing in triaxial cell;

- Binocular microscopy tests (where batching of samples is considered);

- Microbially Influenced Corrosion (MIC) tests;

- Thermal Conductivity and heat capacity;

- Electrical resistivity;

- Pore water salinity; and

- Age dating.

Important note for planning and pricing purposes: One CID or DSS “test” on granular soil is defined as a set of three sub-tests on three different test specimens (from the same sample) at three different consolidation pressures or a ‘multi-stage test’ in which one specimen is tested at up to three different consolidation pressures.

Cohesive Soil

- Natural water (moisture) content;

- Bulk density;

- Particle density;

- Particle size analysis (using pipette method for fines and if applicable sieve);

- Atterberg limits (plastic and liquid limits, fall cone test);

- Organic tests (dichromate);

- Organic tests (loss on ignition);

- Total Carbon (TIC) (dry air combustion);

- Unconsolidated undrained (UU) triaxial compression tests on undisturbed samples;

- Unconsolidated undrained (UU) triaxial compression tests on remoulded samples;

- Direct simple shear (DSS) tests;

- Isotropically consolidated undrained triaxial compression test (CIU);

- Incremental Loading (IL) oedometer compressibility tests;

- Constant Rate of Strain (CRS) compressibility tests;

- Permeability testing with permeameter;

- Permeability testing in triaxial cell;

- Anisotropically consolidated undrained triaxial compression test (CAUc);

- Anisotropically consolidated undrained triaxial extension test (CAUe);

- Resonant column tests (RC);

- Ring shear tests (soil/soil);

- Ring shear tests (soil/steel);

- Bender element tests (as part of selected CIU, CAU or DSS tests)

- Thermal Conductivity and heat capacity (on both undisturbed and remoulded samples);

- Electrical resistivity;

- Pore water salinity;

- Microbially Influenced Corrosion (MIC) tests; and

- Age dating.

Sample preparation (e.g. moist-tamped, vibrated, pluviated specimens in sands) is to be stated clearly by the CONTRACTOR within the proposal. Controlled sample preparations, e.g. for ring shear test in non-cohesive soils, which most closely replicates the in situ soil densities and conditions are preferred.

Any results from the above standard lab test programme that are required for specifying the advanced (cyclic/dynamic) shall be prioritised and issued to the CLIENT and IGM CONTRACTOR as soon as they become available, in advance of the draft Geotechnical Borehole Report.

All reporting costs related to the execution of the laboratory tests shall be covered by the unit rates provided in Annex [4a] and [4b].

### Presentation of Borehole Logs

For the avoidance of doubt all borehole logs shall present the following information as a minimum:

- Coordinates;

- Unique borehole identifier;

- Water depth reduced to LAT and final borehole depth;

- Date of construction and drilling method;

- Major and minor stratigraphic units (soil layering; soil profiles and associated strata descriptions) including depths to CONTRACTOR defined boundaries;

- Inclusions where of engineering significance along with depths;

- Full geotechnical description including strength / consistency / density / structure / inclusions / discontinuities of the units;

- Depth in borehole of samples/no recoveries/CPT tests along with test/sample numbers;

- Cone tip resistance (qc) and cone sleeve friction (fs) from both downhole PCPT/SCPT tests and from adjacent seabed PCPT/SCPT tests (as provided by Lot 1 Contractor);

- In-situ Relative Density derived from both the downhole PCPT/SCPT tests and from adjacent seabed PCPT/SCPT tests (as provided by Lot 1 Contractor) (cohesionless soils);

- Undrained Shear Strength determinations for cohesive soils as interpreted from both downhole PCPT/SCPT tests and adjacent seabed PCPT/SCPT tests (as provided by Lot 1 Contractor), and as measured by CIU triaxial, UU triaxial (undisturbed & remoulded), lab vane, torvane, pocket penetrometer, etc.);

- Plasticity Index test results;

- Natural Moisture Content;

- Bulk and Dry Density; and

- Percentage Fines, Carbonate Content and Organic Content.

The RC samples are to be consolidated under either isotropic or anisotropic conditions, as specified by CLIENT. The shearing stages will also be carried out under either drained or undrained conditions, also as specified by the CLIENT.

CONTRACTOR may suggest additional detail to be included in the logs and provide examples as part of their submission.

### Advanced Cyclic Tests

In addition to the standard laboratory testing programme, an advanced laboratory testing programme will be required in order to determine the cyclic and dynamic behaviour of the soils. In addition to the cyclic tests, the advanced test programme may include some classification testing of the selected samples (e.g. if batching is performed) and tests to provide some reference static soil strengths. Additionally the majority of the static reference testing will be executed as part of the Borehole Locations Report. Therefore the execution of the Advanced Cyclic Test programme depends on the completion of those static reference tests.

The following tests are to be considered as comprising the cyclic/dynamic component of the advanced testing programme:

  - Cyclic direct simple shear tests (CSS) with pre-shearing (performed on a limited number of cohesionless soil samples) using undrained conditions – Stage 1: 400 one or two-way load cycles of at relatively low stress ratios (pre-shearing); Stage 2: 1500 one or two-way cycles at slightly higher cyclic stress ratios; Stage 3: Post-cyclic static testing to failure if cyclic failure does not occur in Stage 2.

  - Cyclic direct simple shear tests (CSS) without pre-shearing (performed on both cohesive and cohesionless soil samples) – Stage 1: 1500 one or two-way cycles; Stage 2: Post-cyclic static testing to failure if cyclic failure does not occur in Stage 1.

  - Cyclic triaxial compression tests (CTX), drained and undrained, performed on both cohesive and cohesionless soil samples: – Stage 1: 1500 one or two-way load cycles at relatively low stress ratios; Stage 2: 400 one or two-way cycles at slightly higher cyclic stress ratios; Stage 3: Post-cyclic static testing to failure if cyclic failure does not occur in Stage 2.

In general, the various loading stages of the CSS and CTX tests will be undertaken under fully undrained conditions for both cohesive and cohesionless samples, whereby the sample drains are closed. The application of the average stress in 1-way cyclic loading may have to be applied drained and/or undrained. Detailed specification for these tests will be provided by CLIENT and GM CONTRACTOR.

However, for a number of CTX tests on cohesionless samples, the sample drains should be kept open following consolidation, in order to simulate achieve drained conditions. This may require some limitations on the magnitude and frequency on the applied cyclic loads in order to allow the sample time to drain, depending on the fines content. The Contractor should ensure that the test equipment used can adequately cope with such test conditions, without causing any physical restrictions to the free drainage of the sample, which may be caused, for example, by the diameter of the drainage tubes or the sensitivity and responsiveness of the back-pressure control system.  In the tender submission, the Contractor should preferably provide the specifications of the proposed equipment and documentary evidence showing previous successful performance of drained cyclic triaxial tests with said equipment.

A set of cyclic and dynamic tests will be undertaken on each soil unit or sub-unit of engineering significance across each WFZ.

### Thermal Conductivity Testing

CLIENT wishes to undertake laboratory testing on selected samples to determine the thermal conductivity/resistivity and specific heat capacity properties of the near surface granular and cohesive soils in undisturbed and disturbed state for the purpose of cable design and installation. CONTRACTOR is to detail methods of obtaining, storing and testing undisturbed samples of appropriate size bearing in mind the sampling method available and reconstituting for remoulded tests.

Tests shall be carried out using two different methods, as follows.

- Using the (dual) needle probe method in accordance with ASTM D5334-14.

- ISO 22007-2. 2008. Plastics-Determination of Thermal Conductivity and Thermal Diffusivity—Part 2: Transient Plane Heat Source (Hot Disc) Method.

Tests should be undertaken on fully saturated samples. Two separate specimens should be tested from each sample in order to duplicate the results. For cohesionless soil specimens, tests should be undertaken at three (3) different densities e.g. starting from the loosest state and using a vibration table to progressively increase the specimen density.

### Microbially Influenced Corrosion (MIC)

CLIENT wishes to perform chemical and microbiological laboratory tests testing on selected samples to determine microbial influenced corrosion. The soil samples have to be analysed to determine chemico-physical parameters and also microorganism groups. These are:

  - Nitrate-reducing microorganisms;

  - Nitrogen compounds oxidizing bacteria (nitrification);

  - Neutrophilic ferrous ion oxidizing bacteria;

  - Manganous ion oxidizing bacteria;

  - Ferric ion-reducing bacteria;

  - Manganese IV ion-reducing bacteria;

  - Moderately acidophilic and neutrophilic sulfur compounds oxidizing bacteria; and

  - (Thio-) Sulfate-reducing bacteria.

Regarding the bacteria, the laboratory test should show in particular the metabolic activity of the microorganisms. The microbiological risk potential should be derived from the laboratory results as well as the assessment of a biologically influenced mass loss rate of the steel-based material.

The cell counts of living bacteria shall be determined by the Most-Probable-Number-technique via dilution series using standardized, selective ocean water media (see ASTM D1141). The microbial activity shall be detected by measuring the heat output of sediment samples by microcalorimetry.

In addition, the TOC shall be determined for each MIC sample. CONTRACTORS shall also include the method they plan to use for the assessment (e.g. publication, external experts, own experiences). Furthermore, geotechnical index tests as water content (WC), unit weight (UW), pocket penetrometer test (PP) and torvane tests (TV) shall be carried out 2x in every soil type within the liner sample on cohesive soils of MIC liner samples. The processing of MIC liner samples includes the shipment to laboratory if needed, splitting of liners, sample photograph, sample description and classification, index test as described above, disturbed (double bags) and undisturbed (wax) sub-sampling for further laboratory testing and integration of results in the various report. The processing of MIC samples shall be included in MIC pricing.

CONTRACTOR is to detail methods of designated testing, correlation of risk potential due to metabolic activity of microorganism as well as derivation of a mass loss rate of steel-based material per year for CLIENT’s approval. Upon approval CONTRACTOR shall be required to perform said tasks in accordance with CONTRACT.

CONTRACTOR is to provide full details in his proposal as to how he intends to sample sub-seabed soils for the purpose of MIC testing along with methods of storage whilst on board the survey vessel.  Sub-samples are to be taken with sterile sampling tools and are to be stored in sterile containers/bags. Storage in sample (“Shelby”) tubes is preferred to avoid any contamination from tools or lab personnel during sub-sampling. CONTRACTOR shall detail in their proposal how the material is to be subsampled and what precautions are to be taken to avoid contamination at all stages of the test.

As part of the reporting process CONTRACTOR shall produce an interpretative report which shall include a risk assessment of the results detailing the level of activity of each of the groups analysed and the resultant interpreted risk potential to emplaced infrastructure. The risk assessment should also indicate which of the groups or individual compounds analysed are likely to constitute the most aggressive in the sampled environment with respect to the prospective material types to be used in offshore wind foundation construction. This analysis should be summarised, tabulated and presented in order of increased significance.

### Dating Analysis

CONTRACTOR shall undertake a programme of soil dating (micropalaeontological) analysis on selected samples recovered from selected sample boreholes.  The analysis shall include but not be limited to the following depending on the interpreted palaeo-environment:

  - Palynological analysis, (pollen);

  - Algae;

  - Fungi;

  - Spores;

  - Dinoflagellate Cysts;

  - Foraminifera;

  - Diatoms;

  - Mollucs; and

  - Carbon (C14) Dating.

The report shall detail:

  - Individual analytical techniques;

  - Chronostratigraphic succession;

  - Biostratigraphic Events;

  - Interpreted stratigraphy;

  - Interpreted stratigraphic stage;

  - Extinction markers; and

  - Any issue potentially affecting the stratigraphic interpretation and succession for the area.

The results of these tests shall be interpreted and integrated into the geological ground model by the GM CONTRACTOR. CONTRACTOR shall allow for 2 interface meetings with the GM CONCTRACTOR to discuss and align results.

The age dating test results shall also be delivered by CONTRACTOR in a separate Age Dating Report.

### Storage of Samples

On board the vessel(s), samples shall be stored in a temperature stable environment (5-10°C) with no exposure to direct sunlight and in compliance with the standards as specified above. In the onshore laboratory, samples shall be stored in a temperature (5-10°C) and humidity controlled enclosure and in compliance with the standards as specified. CLIENT shall approve proposed methods and conditions of storage.

The MIC samples shall be stored in a temperature of 5-8°C preferably in sample (“Shelby”) tubes to avoid any contamination during sub-sampling. The samples should not be stored for more than two weeks prior to testing.

The soil samples shall be stored onshore by the CONTRACTOR for a period of thirty six (36) months following the soil samples receipt at the onshore laboratory during which time the CLIENT shall be granted free access to the same. The CONTRACTOR shall store the cores in containers so that they can be retrieved easily. Storage shall be in a temperature (5-20°C) and humidity controlled environment to ensure the samples do not dry out or suffer any other damage and in compliance with the standards as specified.  CONTRACTOR shall confirm and detail the precise method of long-term storage and temperature control for CLIENT approval. CLIENT reserve the right to obtain monthly temperature logs from the sample storage facility.

Following the minimum thirty six (36) months storage period the CLIENT shall instruct the CONTRACTOR of one of the following:

- a further period of storage,

- safe and legal disposal of all samples or

- CLIENT collection of said samples.

The CONTRACT PRICE shall in any case include for the safe and legal disposal of all samples in storage. Option i) shall be at cost to the CLIENT by way of a VARIATION ORDER.

A number of undisturbed samples will be reserved for further advanced testing including cyclic testing. Samples shall be stored at the CONTRACTORS nominated laboratory unless otherwise instructed in writing by CLIENT. Full rights of ownership and access to the samples shall remain with CLIENT for the full storage duration (minimum 36 months).

### Demobilisation

Upon completion of the survey, all CONTRACTORS personnel shall be demobilised from the vessel(s) in accordance with the CONTRACT.

CONTRACTOR is responsible for the removal of all equipment, instrumentation and materials from the project areas following survey completion. Any and all lost equipment whether above, on or below seabed shall be recorded along with co-ordinates and marked with floatation buoys as necessary. Lost equipment shall be detailed in the Field Report. CONTRACTOR is responsible for the recovery of any lost equipment on or above the seabed at the earliest possible convenience at no cost to CLIENT.

Demobilisation is deemed to commence when all survey operations have been completed, the sea bed frame has been recovered, and after approval of the CLIENT OFFSHORE REPRESENTATIVE and CLIENT.

### Lost Equipment

CONTRACTOR shall be responsible at his own cost for the marking the location and recovery of cone rods and other equipment dropped or lost during the execution of the project.  CONTRACTOR shall mark the positions of equipment on or below the seabed with marker buoys if necessary and recover the equipment at the earliest possible opportunity.  All lost equipment above 0.5m below mudline shall be removed.

## Data processing and reporting for boreholes (Lot 2)

After carrying out the borehole investigation, CONTRACTOR shall process the acquired data during the field work, carry out the laboratory tests according to the programme that is agreed with CLIENT and prepare a detailed report covering the total scope of work.

The reporting requirements for the geotechnical borehole work are detailed below. Quality requirements are described in Annex [6] – Section VI - Quality requirements & Administrative instructions Geotechnical Survey.

All reports will be written in English and include both an English and Dutch management summary.

Document control requirements, including filename conventions, are included in Starting Points and Assumptions Annex [7].

Reports and deliverables will be delivered by contractors in pdf and original, regular, formats (docx; xlsx; ppt; etc).

Within one week (seven calendar days) of vessel mobilisation, CONTRACTOR shall produce a reporting template for the “Geotechnical Borehole Report”, to be issued detailing the proposed structure and contents of the report so that CLIENT comments and approval can be communicated as soon as possible.

### Provision of digital pilot data

The CONTRACTOR will be requested to provide a pilot database which will include an example output of each of the digital deliverables. This data may include, but not limited to:

- AGS 4 format;

- ASCII;

- Excel or cvs; and

- LAS files.

The objective of this deliverable prior to delivery of the factual test results is to agree on the format of the data output as to be applied in a consistent manner throughout the project. This also applies to any interim deliveries of laboratory data prior to provision of the final report.

### Daily & Weekly reporting

The CONTRACTOR is to submit daily reports throughout the period of the fieldwork, providing full details of previous 24 hours’ work and results and a projection of the work to be completed over the next 48 hours. Further, CONTRACTOR shall issue a weekly report providing insight in the progress of the WORK. The minimum content of the daily and weekly report is specified in Annex [6] Section VI of this Contract.

### Preliminary Field Borehole Logs and PCPT/SCPT results

The CONTRACTOR is to provide preliminary PCPT/SCPT results within 24 hours of completion of the borehole. The CONTRACTOR is to provide the preliminary (field) borehole logs containing the offshore lab test results within 48 hours of completion of the borehole. Prior to submitting the borehole logs and PCPT/SCPT results, CONTRACTOR’S lead engineer shall review and approve the data for release to the CLIENT. The combined results will be used to complete the onshore laboratory test schedule. CONTRACTOR shall also provide a completed laboratory testing schedule for each borehole within 48 hours of borehole completion for review by the IGM CONTRACTOR and CLIENT.

### Lot 2 Operations Report

The CONTRACTOR shall submit an “Operations Report” for all Lot 2 fieldwork activities, which shall include, but be limited to:

- Daily logs (DPRs);

- Driller’s and CPT operator’s log and recorded drilling parameters (i.e. torque, mud pressure, bit weight);

- Location positioning acceptance reports;

- Incident reports; and

- Full details of all lost and damaged equipment.

This report will be for CLIENT internal use only and will not be published on the RVO web-site.

The CONTRACTOR shall provide one (1) electronic copy of this report.

### Field report Lot 2 (Borehole Campaign)

The field results obtained from borehole campaign shall be presented as the first version of the “Geotechnical Borehole Report”, within two (2) weeks of the completion of the fieldwork.

The CONTRACTOR shall be required to submit a reporting template for the “Geotechnical Borehole Report” within one week after the Start of the offshore works.

Version 1 (Field Report) of the “Geotechnical Borehole Report” shall include, but is not limited to:

- A statement of the purpose of the investigation;

- A description of the work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all boreholes, co-ordinates shall be with respect to ETRS89 datum, given in degree sand decimal-minutes format as well as in metres using an ETRS89 UTM Zone 31N projection. The coordinates should also be provided in electronic format (xlsx);

- Water depth at each downhole location, reduced to LAT (quality assured) and seabed frame settlement data (if any);

- Drawings (GIS format or similar as well as PDF) showing the locations of the boreholes undertaken;

- Preliminary (field) borehole logs as described in Section 2.7.7 (including offshore laboratory tests results);

- Plots of the following final (quality assured) PCPT/SCPT results:

  - Measured cone resistance;

  - Measured sleeve friction;

  - Measured pore water pressure;

  - Friction Ratio;

  - Net cone resistance;

  - Pore pressure ratio;

  - Interpreted relative density (granular materials), inclusive of a description of the type of correlation used for the interpretation;

  - Interpreted undrained shear strength (cohesive materials), inclusive of a description of the type of correlation used for the interpretation;

  - Results of Measurement While Drilling, (MWD) recording;

  - Seismic Cone (SCPT) test results including interpreted small-strain shear modulus versus depth inclusive of a description of the calculation method used

  - Results of in situ thermal conductivity testing including heat capacity and thermal conductivity calculations.

- P-S logging results including interpreted small-strain shear modulus versus depth and a summary of the calculation methods used;

- Gamma logging results including all spectral gamma and caliper results;

- Results of Downhole Magnetic Resonance logging results;

- Calibration report including all on board calibration sheets and calibration certificates of CPT cones used;

- Mobilisation report;

- Positioning data; and

- Obstruction list including full details of all lost and damaged equipment on the seabed and within the soil including coordinates and depth.

### Monthly data deliveries

In order to provide early input into the ground model, Lot 2 CONTRACTOR is required to provide monthly digital data deliveries of the completed and approved test results. The digital data deliveries must be in the agreed data format (refer to Section 2.8.1). The digital data must be accompanied by a brief technical note outlining the content of the delivery (test types, quantities) and any comments or observations relevant to the test results.

### Geotechnical Borehole Report (Lot 2)

CONTRACTOR shall submit an interim (2nd version) of the “Geotechnical Borehole Report” no later than twenty three (23) weeks following the completion of fieldwork. This version includes all items of the previous revision and all available onshore laboratory test results at that time.

CONTRACTOR shall submit a complete draft (3rd version) of the “Geotechnical Borehole Report” no later than thirty five (35) weeks following the completion of fieldwork.

This report shall include:

- A statement of the purpose of the investigation;

- A description of the work carried out, including reference to specification and standards adopted and any deviations from them;

- Exact locations of all boreholes, coordinates shall be with respect to ETRS89 datum, given in degrees and decimal minutes format as well as in metres using an ETRS89 UTM Zone 31N projection. The coordinates should also be provided in electronic format (xlsx);

- Water depth at each downhole location, reduced to LAT. If water depths (LAT) at the same locations differ from each other during the seabed and downhole campaign the CONTRACTOR shall provide an explanation;

- Drawings (GIS or similar as well as PDF) showing the locations of the boreholes undertaken;

- Plots of the following final (quality assured) PCPT/SCPT results:

  - Measured cone resistance;

  - Measured sleeve friction;

  - Measured pore water pressure;

  - Friction Ratio;

  - Net cone resistance;

  - Pore pressure ratio;

  - Seismic Cone (SCPT) test results including interpreted small-strain shear modulus versus depth, inclusive a description of the used calculation;

  - Interpreted relative density (granular materials), inclusive of a description of the type of correlation used for the interpretation;

  - Interpreted undrained shear strength (cohesive materials), inclusive of a description of the type of correlation used for the interpretation.

- Parameter plots to be presented on each borehole are to include the following measured data:

  - Measured Water Content and Atterberg Limits versus depth;

  - Measured Bulk and Dry Unit Weight versus depth;

  - Particle size by mass percentage less than 2, 60 & 2000 μm versus depth;

  - Measured Undrained Shear Strength versus depth;

  - Thermal conductivity/resistivity and heat capacity versus depth;

  - Summary of dissipation test results for the tested units;

  - Organic Content versus depth.

- P-S logging results including interpreted small-strain shear modulus versus depth inclusive of a description of the calculation method used;

- Results of in situ thermal conductivity and specific heat capacity testing;

- Results of the Gamma-gamma and DMR logging;

- Final offshore and onshore and laboratory test results and summaries shall be reported in accordance with the previous requirements;

- Final borehole logs including the measurement while drilling results as set out in Section 2.7.7;

- Summary of Laboratory Test Results by type of tests and for each laboratory test it shall be specified in which laboratory the test was performed;

- Colour photographs of samples and cores;

- ASCII data of PCPTs and P-S logging (including all raw data);

- ASCII data of SCPT tests (including all raw data traces and derived wave velocities);

- ASCII data of density log, gamma ray, DMR and caliper including all raw data;

- Laboratory test data in PDF, AGS and ASCII/Excel format; and

- An overview of the remaining samples that will be stored.

The delivery of AGS digital data shall comply with the AGS file format rules and should therefore be validated using the following AGS validator: https://www.ags.org.uk/data-format/ags-validator/

The CONTRACTOR shall provide a digital copy of this draft report, which shall be made final after processing of comments and approval by the CLIENT. The draft report shall contain all the information which is to be included in the final report. Both draft and final field report shall consist of electronic copies to be provided digitally by web portal transfer. CONTRACTOR shall provide electronic copies of the final geotechnical report and data. Digital data shall be provided for both draft and final reports.

### Advanced Cyclic Laboratory Testing Report

CONTRACTOR shall submit an interim (1st version) of the “Advanced Cyclic Laboratory Testing Report” no later than thirty (30) weeks following the completion of fieldwork. This version includes all available laboratory tests at that time.

The CONTRACTOR shall submit a 2nd version of the "Advanced Cyclic Laboratory Testing Report", which shall include a complete set of results no later than forty-seven (47) weeks following the completion of fieldwork.

The “Advanced Laboratory Testing Report” should include:

- A statement of the purpose of the advanced laboratory tests;

- A description of the advanced laboratory tests carried out, including reference to specification and standards adopted and any deviations from them;

- Results of all advanced laboratory tests results documented in single protocol for each test;

- Summary of advanced laboratory test results by type of tests; for each advanced laboratory test it shall be specified in which laboratory the test was performed;

- Laboratory test data in PDF, AGS and/or ASCII/Excel format (where appropriate);

- Digital data (ASCII) of cyclic tests, including all cycles at full logging frequency; and

- An overview of the remaining samples that will be stored.

The delivery of AGS digital data shall comply with the AGS file format rules and should therefore be validated using the following AGS validator: https://www.ags.org.uk/data-format/ags-validator/

The CONTRACTOR shall provide a digital copy of each version of the report, which shall be revised or made final (as appropriate) after processing of comments and approval by the CLIENT. Each version of the report shall consist of an electronic copy provided digitally by web portal transfer.

The CONTRACTOR shall also provide the digital data for all tests included in each version of the report.  For the 3rd and final versions of the report, the digital data for each test shall be presented in Excel format (well-annotated and user-friendly). For other versions of the report, the digital data can be provided in simple ASCII/CSV format (with explanatory notes).

## BRO Requirements

The Basisregistratie Ondergrond (BRO) or the Key Register for Registry of the Subsurface is a Dutch national database developed and managed by TNO on behalf of the Ministry of Internal affairs.

The objective of the BRO is to consolidate all geotechnical data publicly acquired in a national database available to the public through an online webservice: www.BROloket.nl (Dutch) or https://basisregistratieondergrond.nl/english/ (English). Typically, parties contracted to provide services to the Dutch government are required to provide the geotechnical information into a specified format to the BRO.

CLIENT therefore wishes to move towards providing the acquired geotechnical data for Lot 1 and Lot2 in BRO compatible format in addition to the required deliverables stated in the previous Sections. This implies:

- Executing the (onshore and offshore) laboratory testing to the standards specified by the BRO (compliant with conventional international standards except for carbonate content, organic content testing, pocket penetrometer and torvane testing) with sample descriptions according NEN8991:2020;

- performing PCPT testing according to ISO22476-1;

- Borehole descriptions according to NEN8990:2020 which is the national annex of the ISO14688-1; and

- Provision of all acquired digital data in BRO accepted XML data format.

SCPT testing, PS logging, TCPT and advanced testing is currently not covered by the BRO.

CLIENT prefers that the CONTRACTOR could provide the digital data listed in this section in the BRO XML format in addition to the standard deliverables mentioned above, and develops, in open-source format, the required tools to convert the data to XML.

The BRO is the primary source and custodian of the required data format. The XML file format is specified on the following BRO website (Dutch only):

- https://www.bro-productomgeving.nl/bpo/latest/bodem-en-grondonderzoek

An open source example that can be used as an example implementation for conversion from the GEF file format to BRO is publicly available on GitHUB, here:

- https://github.com/BROprogramma/CPT_GEF_CONVERTER

Note however, that these files are no longer developed by the BRO.

## Documents and Reporting

### Pre-Mobilisation Documents and Reports

CONTRACTOR shall deliver all pre-mobilisation documentation, reports and assessments in accordance with CLIENT’S requirements, (Section 2.3.2 and 2.4.1) a minimum of seven (7) calendar days prior to mobilisation. These shall include but not be limited to:

- Location clearance report for Seabed CPT and Vibrocore locations (Lot 1 CONTRACTOR);

- Location clearance report for Borehole locations (Lot 2 CONTRACTOR);

- CMID vessel audit (if required by CLIENT);

- DP trials and position holding report (if required by CLIENT);

- Positioning acceptance report comprising position check against the proposed target test co-ordinate (see section 2.4.3);

- USBL calibration certificate(s), not older than 1 year and performed in water depth of 100m or larger;

- Project Execution Plan (PEP) (including applicable Method Statements and Risk Assessments), Lot 1 and Lot 2 CONTRACTOR);

- Project Quality Plan/Quality Manual, (PQP, QM), Lot 1 and Lot 2 CONTRACTOR);

- Health and Safety Plan, (HSE), Lot 1 and Lot 2 CONTRACTOR);

- Emergency Response Plans, (ERP), Lot 1 and Lot 2 CONTRACTOR);

- Mobilisation report (per vessel, to be submitted within 2 days after mobilisation is completed); and

- Verification report of the testing of the internet speed upload/download carried out to show that the required internet speed onboard each of the site investigating vessels meets the specification given in 2.12.  This shall form part of the mobilisation report.

### Project and Site Description

The Contractor shall provide a 2 to maximum 5 page summary including the aims, objectives and approach and the main results to be published in the Project and Site Description (PSD). (Example) The summary for the PSD shall be provided as Word file.

## Answering additional questions

It is anticipated that additional questions (from market or CLIENT) regarding this geotechnical survey will be received after delivery of the study results. The CONTRACTOR is requested to support the Contracting Authority in answering these questions.

Time and financial expenditure will be arranged and compensated for by means of a Variation Order.

## Webinar

It is anticipated that the end results will be disclosed through several webinars, one for each windfarm zone. See examples at http://offshorewind.rvo.nl. Contractor is requested to include in their offer following activities:

- Preparation of required presentations, including illustrations;

- Attend the webinars at a studio location in the Netherlands (location to be confirmed) with two experts;

  - One expert (each lot) to present the presentation;

  - One expert (each lot) to participate in the expert panel to support in the answering of questions of the webinar participants during the presentation; and

- Support in the answering of questions after the webinars.

The date of the webinar will be determined in cooperation with end users of the study. The following assumptions serve as a guideline for the planning of the webinar:

- The complete set of certified end products has been published at offshorewind.rvo.nl;

- End users are in a phase when they are potentially using the end product for the preparation for the upcoming permit tender; and

- End users should have sufficient time for a detailed reading between disclosure of certified end product and webinar.

The webinar for the present Scope of Work is anticipated to be held in Q4 2024 for IA IJVWFZ and NWWFZ. For IA HKWWFZ it is anticipated to be held in Q2 2025. Costs associated with the webinars is to be carried by CONTRACTOR. The cost associated with the use of the studio facility for the webinars will be at cost of CLIENT.

## Offshore Representation

The CLIENT may require up to three (3) CLIENT OFFSHORE REPRESENTATIVES per vessel to witness the offshore phase of the surveys works.

The CONTRACTOR is responsible for providing safety induction training for the CLIENT OFFSHORE REPRESENTATIVES who are to work on or visit any vessel in connection with the execution of the work.

The CONTRACTOR shall provide adequate facilities for the CLIENT OFFSHORE REPRESENTATIVES on any vessel to include a private cabin, office space including colour printer, communication systems and messing facilities. The CLIENT cabin shall have an uninterrupted internet connection with a minimum speed of 1024 kbits/sec upload / download.

CONTRACTOR shall provide Personal Protective Equipment (PPE), life jackets and any special offshore PPE for the CLIENT OFFSHORE REPRESENTATIVES for the duration of the project.

The CLIENT requires a regular transport of soil samples to laboratory, typically biweekly, (applies to Lots 1 and 2). In addition, CONTRACTOR shall make use of any periods of weather standby to undertake such port calls to facilitate offload and transport of samples

CONTRACTOR shall make a port call at least every four weeks to allow for rotations of CLIENT OFFSHORE REPRESENTATIVES and CONTRACTORS crew.

## Risk mitigation for COVID 19 and other diseases

CONTRACTOR shall propose suitable measures against transmittable diseases (e.g. COVID-19) that may negatively impact the execution of the investigations, subsequent office work and laboratory testing as part of the required HSE management documentation.

# SCHEDULE OF KEY DATES

The dates specified for the Lot 1 and Lot 2 by CONTRACTOR in Annex [4a] and [4b] – “Cycle Times” and prices/rates will be inserted in a table below at contract award. KEY DATES can only be modified in accordance with the principles specified in Annex [6] - Section VI – Quality Requirements & Administrative Instructions.

Hopkins, A. (2007). Recommended Operating Guidelines (ROG) for box coring. MESH Guidance document https://webarchive.nationalarchives.gov.uk/ukgwa/20101014084857/http:/www.searchmesh.net/PDF/GMHM3_Box_Coring_ROG.pdf