## Sheet1
Type Properties | Voorbeeld | Data
Type Designation | <Armatuur aanduiding in CityTouch>
Nominal Wattage | 15.0 W
Actual Wattage | 15.0 W
Model | <Model>
Type Details | NONE
Manufacturer | <Fabrikant>
Luminous Efficacy | 108.9 lm/W
Color Rendering Index | 70.0
Luminous Flux | 1,634.0 lm
Light Source Luminous Flux
Luminaire Color | RAL 9006
Ambient Temperature Rating | 50.0 C
Luminaire Material | Aluminum
Lamp Technology | LED
Max Burning Hours | 100,000.0 h
Color Temperature | 4,000 K
Light Source Color | White
Optics | L02
Driver Designation | Xi FP 22W 0.3-1.0A SNLDAE 230V S175 sXt
Driver Manufacturer | Philips
Driver Ordering Number | 929000991206
Is Available for Installation | v
Driver Dimming Interface | DALI
Minimal Recommended Dimming | 26.32 %
Power Failure Threshold | 5.52 W