## Brongegevens
SysteemOnderdelen_lijst | omschrijving | Systeem naam_lijst | Systeem cijfer_lijst | Systeem letter_lijst | Type verbinding_lijst | Kenmerk afdeling_lijst | Koppelvlaknaam_lijst | Type Koppelvlak_lijst | Volgletter verbinding_lijst | Status_lijst | Omschrijving |  | Type Kabel_lijst | Label_lijst | Fabrikant_lijst | Type Connector_lijst | omschrijving | Contractvorm_lijst | Label_lijst | SysteemOnderdeel | Type Systeemonderdeel_lijst | Omschrijving | Koppelvlakken_aantal | Label | Versie_datum
2-W | 2-Way splitter | ARC | 1 | A | Data | HF | - | con | A | Actief | A | SysteemOnderdeel is operationeel | D 1-8mm | LBL 1-8 mm | Aaronia | 50p CHAMP | - | C | LBL 1-8 mm | Vs | CR380-C400 | Opitcal Radio Unit | 5 | LBL 12x26 | 2022-12-14
3dB-C | 3 dB Coupler | CBI | 2 | C | FO | ICT | + | Ant | B | Defect | D | SysteemOnderdeel is defect, onderdeel bij reparateur of op transport | FTP | LBL 1-8 mm | ABUS | 7/16 (F) | HF | G | LBL 9-15 mm | Vs | Node A+ | Multi-Band | x | LBL 12x26
3-W | 3-Way splitter | EBS | 3 | E | GND | VTG | 01' | com | C | Passief | P | SysteemOnderdeel is niet operationeel, onderdeel is wel aanwezig in systeem | UTP | LBL 1-8 mm | ActStor | 7/16 (M) | HF | MS | LBL 16-30 mm
3dB | 3dB coax demping | ICT&I | 4 | I | LAN | EV | 02' | in | D | Reserve | R | SysteemOnderdeel is reserve, onderdeel is opgeslagen | 1x4 | LBL 1-8 mm | AEG Eurolec | BNC (F) | HF | GVB | LBL 31-40 mm
4-W | 4-Way splitter | IJT | 5 | IJ | Lf | RIB | 03' | klem | E | Schrot | S | SysteemOnderdeel is afgekeurd, onderdeel niet meer inzetbaar | FCC-68/8 | LBL 1-8 mm | AFL | BNC (M) | HF | - | LBL 8x26
6dB | 6 dB demping | MOBNEXT | 6 | M | PS | - | 10A | LAN | F | Vermist | V | SysteemOnderdeel is vermist of gestolen | USB | LBL 1-8 mm | Aplicom | D15p (F) | - |  | LBL 12x26
10dB | 10 dB demping | NZL | 7 | N | RF |  | 10AB | las | G | - | - | SysteemOnderdeel is onbekend | 25 mm2 | LBL 1-8 mm | Attema | D15p (M) | - |  | LBL 36x86
15dB | 15 dB demping | PHT | 8 | P | RS232 |  | 12VDC | LPT | H |  |  |  | KVM | LBL 1-8 mm | Belkin | D25p (F) | - |  | -
16dB | 16 dB demping | QRM | 9 | Q | RS422 |  | 1A | LSA+ | I |  |  |  | FO duplex | LBL 1-8 mm | BHE | D25p (M) | -
20dB | 20 dB demping | RIB | 10 | R | RS485 |  | 1B | out | J |  |  |  | FO simplex | LBL 1-8 mm | Black Box | D9p (F) | -
50 | 50 Ohm load | TR2000 | 11 | T | Sig |  | 20A | prt | K |  |  |  | 0,5sq | LBL 1-8 mm | Brand-Rex | D9p (M) | -
Air | Airco unit | SVT | 12 | S | - |  | 20AB | - | L |  |  |  | 0,75sq | LBL 1-8 mm | CommScope | DC 3mm | DC
AM | Aard Mof | UNI | 13 | U |  |  | 230VAC |  | M |  |  |  | 1sq | LBL 1-8 mm | Draka | DC 5mm | DC
Ant | Antenne | X | 14 | X |  |  | 3A |  | N |  |  |  | 1,5sq | LBL 1-8 mm | EATON | DC 5mm borg | DC
AR | AardRail | XX | 15 | X |  |  | 3B |  | O |  |  |  | 2,5sq | LBL 1-8 mm | ebm-papst | E2000 | FO
Arm | Armatuur | XX | 16 | X |  |  | 3BB' |  | P |  |  |  | 2x0,75sq | LBL 1-8 mm | Eyecom | EU1-16P | 16A 230V steker
ATS | Automatic Transfer Switch | [5 empty] | 3C |  | Q |  |  |  | 2x2,5sq | LBL 1-8 mm | HIG | EU1-16R | 16A 230V WCD
Batt | Batterij | [5 empty] | 3CC' |  | R |  |  |  | VmVs 3a | LBL 1-8 mm | HP | Fac con 16p | DeTeWe
Bed | Bediening Lf | [5 empty] | 3D' |  | S |  |  |  | RG58 | LBL 1-8 mm | Huawei | Faston | -
BiC | Bi-directionele Coupler | [5 empty] | 5+12-12VDC |  | T |  |  |  | RG59 | LBL 1-8 mm | Kathrein | FC | FO
BMC | BrandMeldCentrale | [5 empty] | 87a |  | U |  |  |  | 10" | LBL 9-15 mm | KPN | FME (F) | HF
BMI | BrandMeld Inrichting | [5 empty] | 9VDC |  | V |  |  |  | 10x4 | LBL 9-15 mm | Krone | FME (M) | HF
BPF | Band Pass Filter | [5 empty] | A |  | W |  |  |  | 25x3 | LBL 9-15 mm | LENA LIGHTING | IEC 10A/C13 | 10A 230V steker
BRB | BRandBlus unit | [5 empty] | Ant |  | X |  |  |  | 1/4" | LBL 9-15 mm | Mascot | IEC 10A/C13+lock | 10A 230V steker+lock
BRD | Brand Rook Detectie-unit | [5 empty] | Audio |  | Y |  |  |  | RG213 | LBL 9-15 mm | Merlin Gerin | IEC 10A/C14 | 10A 230V contra steker
Bs | Basisstation | [5 empty] | B |  | Z |  |  |  | RG214 | LBL 9-15 mm | Minkels | IEC 10A/C14+lock | 10A 230V contra steker+lock
Cam | Camera | [5 empty] | coil |  | AA |  |  |  | H100 | LBL 9-15 mm | Mitsubishi | IEC 16A/C19 | 16A 230V steker
CMU | Cable Monitor Unit | [5 empty] | Data 25p |  | AB |  |  |  | YMVK 3x2,5 | LBL 9-15 mm | Moxa | IEC 16A/C20 | 16A 230V contra steker
Comb | Combiner | [5 empty] | ETH |  | AC |  |  |  | 20x4 | LBL 16-30 mm | NEDCO | IEC 2,5A/C7 | 2,5A 230V steker
Conc | Concentrator | [5 empty] | Ex Lsp |  | AD |  |  |  | 1/2" | LBL 16-30 mm | Ontrak | IEC 2,5A/C8 | 2,5A 230V contra steker
Conv | Converter | [5 empty] | F1 |  | AE |  |  |  | 7/8" | LBL 31-40 mm | PCI Case Group | Jack M 3,5 (F) | Mono
CP | Control Panel | [5 empty] | F1' |  | AF |  |  |  | 1 1/4" | LBL 31-40 mm | Phoenix | Jack M 3,5 (M) | Mono
CWI | CondensWater Installatie | [5 empty] | F2 |  | AG |  |  |  | VMvL 2x0,75 | LBL 1-8 mm | Plenty | Jack St 3,5 (F) | Stereo
D | Display | [5 empty] | F2' |  | AH |  |  |  | VMvL 2x1 | LBL 1-8 mm | Procom | Jack St 3,5 (M) | Stereo
DC-B | DC-Block | [5 empty] | F3 |  | BB |  |  |  | VMvL 2x1,5 | LBL 1-8 mm | Quint Power | Klem | -
DiC | Directionele Coupler | [5 empty] | F3' |  | - |  |  |  | VMvL 3x0,75 | LBL 1-8 mm | RFL | LC/UPC | FO
Dplx | Duplex | [5 empty] | F4 | [5 empty] | VMvL 3x1 | LBL 1-8 mm | Rittal | LSA+ | -
DSP | Delta Pressure Switch | [5 empty] | F4' | [5 empty] | VMvL 3x1,5 | LBL 1-8 mm | RS Technics | M13 | -
DUM | Down- Uplink Monitor | [5 empty] | fac | [5 empty] | VMvL 3x2,5 | LBL 1-8 mm | SAIT | N (F) | HF
F | Fuse | [5 empty] | FCC 10p | [5 empty] | - | - | Schliefenbauer | N (M) | HF
Fan | Ventilator | [5 empty] | FO Rx | [7 empty] | SEE Telecom | PS/2 (F) | -
F-box | Fuse box | [5 empty] | FO Tx | [7 empty] | Siemens | PS/2 (M) | -
FW | Fire Wall | [5 empty] | GND | [7 empty] | Suhner | RJ45 | -
GB | Glas Box | [5 empty] | HF | [7 empty] | Telegartner | SC | FO
GM | Giet Mof | [5 empty] | Ilum | [7 empty] | Traco Power | SMA (F) | HF
HPF | High Pass Filter | [5 empty] | J1 | [7 empty] | Twintronics | SMA (M) | HF
Hub | Hub | [5 empty] | J2 | [7 empty] | Van Lien | ST | FO
IU | Interface Unit | [5 empty] | J3 | [7 empty] | VWT | VGA (F) | Video
Keyb | Keyboard | [5 empty] | K | [7 empty] | - | VGA (M) | Video
KSU | Klimaat Schakel Unit | [5 empty] | PC | [8 empty] | XLR 3P (M) | -
KVM | Keyboard, Video, Mouse switch | [5 empty] | RS232 | [8 empty] | XLR 3P (F) | -
kWh-m | kWh-meter | [5 empty] | RS422 | [8 empty] | IEC C19 | -
LI | Lijn Interface | [5 empty] | Rx1 | [8 empty] | IEC C20 | -
LK | LuchtKlep | [5 empty] | Rx2 | [8 empty] | IEC C13 | -
LPF | Low Pass Filter | [5 empty] | T568B | [8 empty] | CEE 7/3 | -
Lsp | Luidspreker | [5 empty] | TB1 | [8 empty] | CEE 7/4 | -
MTX | Matrix | [5 empty] | Tx1 | [8 empty] | IEC C14 | -
MCU | Monitor & Control Unit | [5 empty] | Tx2 | [8 empty] | - | -
MDT | Mobiele Data Terminal | [5 empty] | Tx On
MDM | MoDeM | [5 empty] | UFH/UFM
Mic | Microfoon | [5 empty] | UFH/UFM
Node | Node | [5 empty] | USB A (M)
OMU | Optical Master Unit | [5 empty] | USB B (M)
ORU | Optical Radio Unit | [5 empty] | XB1
OVK | OnderVerdeelKast | [5 empty] | XB2
OSB | OverSpanningsBeveiliging | [5 empty] | XB3
P | Personal Computer | [5 empty] | X1
PIR | Passieve InfraRood sensor | [5 empty] | X2
PLC | Programmable Logic Array | [5 empty] | X3
PMOB | Bedienplaats/Beheer PC MOB | [5 empty] | X4
PP | Patch Panel | [5 empty] | RF
Prn | Printer | [5 empty] | S1
PSU | Power Supply Unit | [5 empty] | S2
PU | Processor Unit | [5 empty] | AC Power
R | Router | [5 empty] | 24VDC
Rck | Rack | [5 empty] | -
Rel | Relais
RSA | Remote Spectrum Analyzer
Rx | Ontvanger
SBP | Statische By Pass schakelaar
Sw | Switch
SwD | Switch Data
Tem-C | Temperature Controller (thermostat)
TB | Termination Block
Trm | Terminal (data)
TS | Terminal Server
Tx | Zender
U | Unit (kast)
UPS | Uniterruptible Power Supply
V | Verbinding
Vd | Verdeler
VDU | Video Display Unit
VLU | Voice Log Unit
VOIP | Voice Over IP
Vs | Versterker
VTGI | VoerTuiG Interface
WDU | WaterDetectie Unit
WCD | WandContactDoos
Wnnn | Windows server met lokatie aanduiding
Z/O | Zend/Ontvanger
- | -
Note on Q53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Female
Note on Q54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Male
Note on Q55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: female
Note on Q56: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Schuko WCD (female)
Note on Q57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Schuko stekker (male)
Note on Q58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Male

## Blad1
SysteemOnderdelen_lijst | omschrijving | QR code | Blokschema (default) | Spec | CI | GAW | Web
2-W | 2-Way splitter | J | X | X | - | - | -
3dB-C | 3 dB Coupler | J | X | X | - | - | -
3-W | 3-Way splitter | J | X | X | - | - | -
3dB | 3dB coax demping | J | X | X | - | - | -
4-W | 4-Way splitter | J | X | X | - | - | -
6dB | 6 dB demping | J | X | X | - | - | -
10dB | 10 dB demping | J | X | X | - | - | -
15dB | 15 dB demping | J | X | X | - | - | -
16dB | 16 dB demping | N | X | X | - | - | -
20dB | 20 dB demping | J | X | X | X | X | -
50 | 50 Ohm load | N | - | - | - | - | -
Air | Airco unit | N | X | X | - | - | -
AM | Aard Mof | N | - | - | - | - | -
Ant | Antenne | J | - | X | - | - | -
AR | AardRail | N | - | X | - | - | -
Arm | Armatuur | J | X | X | X | X | -
ATS | Automatic Transfer Switch | J | X | X | - | - | -
Batt | Batterij | J | X | X | - | - | -
Bed | Bediening Lf | J | X | X | - | - | -
BiC | Bi-directionele Coupler | J | X | X | - | - | -
BMC | BrandMeldCentrale | J | X | X | - | X | -
BMI | BrandMeld Inrichting | J | X | X | X | - | -
BPF | Band Pass Filter | J | X | X | X | X | -
BRB | BRandBlus unit | J | X | X | - | - | -
BRD | Brand Rook Detectie-unit | J | X | X | - | - | -
Bs | Basisstation | J | X | X | - | - | -
Cam | Camera | J | X | X | X | X | -
CMU | Cable Monitor Unit | J | X | X | X | X | -
Comb | Combiner | J | X | X | - | - | -
Conc | Concentrator | J | X | X | - | - | -
Conv | Converter | J | X | X | - | - | -
CP | Control Panel | J | X | X | - | - | -
CWI | CondensWater Installatie | J | X | X | - | - | -
D | Display | J | X | X | X | - | -
DC-B | DC-Block | J | X | X | X | X | -
DiC | Directionele Coupler | N | - | X | - | - | -
Dplx | Duplex | J | X | X | - | - | -
DSP | Delta Pressure Switch | J | X | X | - | - | -
DUM | Down- Uplink Monitor | J | X | X | - | - | -
F | Fuse | J | X | X | - | - | -
Fan | Ventilator | N | X | X | - | - | -
F-box | Fuse box | J | X | X | - | - | -
FW | Fire Wall | J | X | X | - | - | -
GB | Glas Box | J | X | X | - | - | -
GM | Giet Mof | N | - | - | - | - | -
HPF | High Pass Filter | J | X | X | - | - | -
Hub | Hub | J | X | X | - | - | -
IU | Interface Unit | J | X | X | - | - | -
Keyb | Keyboard | J | X | X | - | - | -
KSU | Klimaat Schakel Unit | J | X | X | - | - | -
KVM | Keyboard, Video, Mouse switch | J | X | X | - | - | -
kWh-m | kWh-meter | J | X | X | - | - | -
LI | Lijn Interface | J | X | X | - | - | -
LK | LuchtKlep | J | X | X | - | - | -
LPF | Low Pass Filter | J | X | X | - | - | -
Lsp | Luidspreker | J | X | X | - | - | -
MTX | Matrix | N | X | X | - | - | -
MCU | Monitor & Control Unit | J | X | X | - | - | -
MDT | Mobiele Data Terminal | J | X | X | - | - | -
MDM | MoDeM | J | X | X | - | - | -
Mic | Microfoon | J | X | X | - | - | -
Node | Node | J | X | X | X | - | -
OMU | Optical Master Unit | J | X | X | - | - | -
OSB | OverSpanningsBeveiliging | J | X | X | - | - | -
P | Personal Computer | J | X | X | - | - | -
PIR | Passieve InfraRood sensor | J | X | X | X | - | -
PLC | Programmable Logic Array | J | X | X | - | - | -
PMOB | Bedienplaats/Beheer PC MOB | J | X | X | X | X | X
PP | Patch Panel | J | X | X | - | - | -
Prn | Printer | J | X | X | - | - | -
PSU | Power Supply Unit | J | X | X | X | X | X
PU | Processor Unit | J | X | X | X | X | -
R | Router | J | X | X | - | X | -
Rck | Rack | J | X | X | - | - | -
Rel | Relais | J | X | X | X | X | X
RSA | Remote Spectrum Analyzer | J | X | X | X | X | -
Rx | Ontvanger | J | X | X | - | - | -
SBP | Statische By Pass schakelaar | J | X | X | - | - | -
Sw | Switch | J | X | X | X | X | X
SwD | Switch Data | J | X | X | X | X | -
Tem-C | Temperature Controller (thermostat) | J | X | X | - | - | -
TB | Termination Block | J | X | X | X | X | X
Trm | Terminal (data) | N | X | X | - | - | -
TS | Terminal Server | J | X | X | X | - | -
Tx | Zender | J | X | X | - | - | -
U | Unit (kast) | J | X | X | X | X | X
UPS | Uniterruptible Power Supply | J | X | X | X | X | X
V | Verbinding | J | X | X | X | X | X
Vd | Verdeler | J | X | X | X | X | X
VDU | Video Display Unit | J | X | X | X | X | -
VLU | Voice Log Unit | J | X | X | - | - | -
VOIP | Voice Over IP | J | X | X | X | X | X
Vs | Versterker | J | X | X | X | X | -
VTGI | VoerTuiG Interface | J | X | X | X | X | -
WDU | WaterDetectie Unit | J | X | X | X | X | -
WCD | WandContactDoos | J | X | X | X | X | -
Wnnn | Windows server met lokatie aanduiding | J | X | X | X | X | -
Z/O | Zend/Ontvanger | J | X | X | X | X | -
- | - | - | - | - | - | - | -
0 | 0 | - | - | - | - | - | -
0 | 0 | - | - | - | - | - | -
0 | 0 | - | - | - | - | - | -
0 | 0 | - | - | - | - | - | -
0 | 0 | - | - | - | - | - | -