## 1. Questions
<Company name>
<Name contact person>
<Email address contact person>
<Phone number contact person>
Market consultation flare system
Gasunie is conducting a market consultation for a European tender with regard to a hydrogen flare. Gasunie wants to get a good picture of the current available possibilities and solutions and appreciates your cooperation. In this Excel document you can answer the questions for the market consultation. This Excel file contains three sheets of information: - Tab 1: Questions - Tab 2: Price indication - Tab 3: Scope The completed file can be sent to A.van.der.Harst@Gasunie.nl. If you are not able to send a response, please let me know. More information about the purpose of the market consultation can be found in the document Market consultation Hystock flare system. Thank you in advance for completing and returning this form. Best regards, Antje van der Harst Senior Buyer N.V. Nederlandse Gasunie
Questions
Question |  | Answer
1 | Have you designed and constructed a Hydrogen flare?
2 | Can you supply examples of these hydrogen flare systems?
3 | What is usually within your scope? (currently we assume that the flare, liquid seal, interconnecting piping, control, safeguarding engineering, procurement and construction . Everything required for a working package is within your scope. Only hydrogen, power, nitrogen and water connections are required))
4 | What were the major technical risks within these projects? And how did you mitigate them?
5 | Have you designed a flare with the peak capacity as indicated in the scope sheet? (preferably for hydrogen application)
6 | Could you engineer, procure the materials and construct a hydrogen flare as specified in the scope sheet?
7 | What would be within your scope of work and what would be outside your scope of work?
8 | What type of contract do you normaly work with? EPC, supplier etc?
9 | Which discipline engineers do you have inhouse ? and which disciplines (knowllege) do you source externally?
10 | Do you manufacture the flare yourself? Where?
11 | What does your supply chain looks like?
12 | Do you supply the whole system including interconnecting piping or just the major components ?
13 | Do you supply the DCS and IPS system or is it possible to integrate that in our system DCS and IPS system?
14 | Would you supply all that is required for the liquid seal including water systems (control safeguarding etc.) ? Where is the battery limit?
15 | EU-Directives nad CE-marking?, how do you deal with it?
16 | Is the foundation design part of your package and something you could do inhouse or would you source this externally or leave it to us?
17 | Are flares and liquid seals your core business?
18 | Are you familiar with European Tenders and the process?
19 | What would a 30" 20 m flare look like ? As we would want minimal visual impact in the surrounding.
20 | Can you provide a price estimate based on the stated scope? | "Tab 2. Price indication' can be used.
Process questions
| Questions | Answer
21 | Would you create a similar design as depicted in the PFS to depressurize and flare 18 Kg/s of hydrogen? What would be different?
22 | What would you advise in the design of a Hydrogen flare with regards to preventing air ingress and potential detonation/ignition: a liquid seal, molecular seal, purge gas, other or a combination? what are the pros and cons?
23 | How would you additionally safeguard the flare and flare header?
24 | Would you also advise a liquid seal for a hydrogen flare-system and why?
25 | What would you advise the maximum gas velocity to be in the flare header and why?
26 | What would you advise the maximum gas velocity to be in the flare and flare tip and why?
27 | Would you advise a pilot operated flare or a direct ignitions system and why?
28 | Would you advise hydrogen fueled pilots or hydrocarbon fueled pilots and why?
29 | What standards are used in hydrogen flare design? API, EN, ISO?
30 | As the flame velocity of hydrogen is high, the flame will stay anchored to the flare tip, does this require special consideration with regards to the tip design?
31 | Are your engineers experienced in taking part in HAZOPs and SIL Assessments?
32 | The noise generated when oxidizing hydrogen may be high are there solutions to lower this noise level?
33 | When in operation the liquid seal could freeze or evaporate how is this managed/controlled/safeguarded?
34 | When depressurized the liquid in the liquid seal would leave via the flare. How and within what time frame would in need to be filled again to prevent air ingress? Do you supply or advise water supply tank to fill the seal quickly?
35 | Is replacing the liquid seal with a rupture disk or valve an option? Or are there alternatives? What are the pros and cons ?
Questions on supply and maintenance
| Questions | Answer
36 | Do you preform maintenance yourself ? Do you have service contracts (maintenance)?
37 | Do you advise a specific maintenance philosophy with reguards to the flare?
38 | What does your service organization look like within the NL (responce time/ location etc?)
39 | The availability of the facility and the flare system will be high how do you preform maintenance? Can this be done without taking the flare out of operation?
40 | Is it possible to maintain the pilots and flame detecors without having personell enter the flare stack or area?
General questions
| Questions | Answer
41 | Are you prepared to enter a European tender process for the hydrogen flare? If not, why not?
42 | Which (quality) standards does your organization comply with? ISO9001, ISO14001, VCA**, etc.
43 | How does your organization contribute to social equality, for example, hiring staff with a larger distance to the labor market?
44 | What expected trends and developments in the market of hydrogen flare design have not yet been mentioned in your answers to our questions?
45 | What comments and advice would you like to give Gasunie in this market consultation?

## 2. Price indication
Price Indication
Can you provide a price estimate based on the stated scope?

## 3. Scope
SCOPE
Requirement | Specification
Type | Hydrogen flare-system
Nominale diameter | 30 inch
Hight | 20 meters
Availability | 99.9%
Design code | Piping EN13480, Pressure vessels EN13445
Design Pressure | 15 bar(e)
Application | · Suitable for 98-100% hydrogen
· Suitable for above-ground setup
· The gas group for hydrogen is 2G IIC T1.
Connection type | Flanged, ASME
Operating pressure during depressurization | 1 to 3 bar(e)
Flow | 0 to 16kg/s (normal peak flow during depressurization 8 Kg/s, remote scenario peak flow during depressurization 16 Kg/s )
Design temperature | -20 / + 80 degrees Celsius
Directives | PED (2014/68/EU)
ATEX 114 directive (2014/34/EU)
EMC (2014/30/EU)
Coating | MSW-11-E
Lifetime | 30 years