## 1. Front page
Appendix A04: Schedule of Prices and Costs
Belongs to the Public Procurement Guidelines for the European public procurement for the delivery of a scanning electron microscope (SEM)
2023 FPL-INK 029
Date:
Tenderer company name:
Name:
Signature:

## 2. Instructions
Instructions | sittingduck
Secur | The white boxes are secur and Tenderer can not change these fields.
Entry box | The light bleu boxes within Tab "price page" Tenderer is requested to enter, and are part of Price (TP) (also the fields on the front page: Date, Tenderer Company Name and Name)
Entry box | The Yellow boxes within Tab "price page" Tenderer is requested to enter, and are NOT part of Price (TP)
Price (TP) | The Light Green box is the price (TP) offered by the Tenderer

## 3. Price page
Appendix A04, Schedule of Prices and Costs
Guidelines for the European Public procurement tender for the delivery of a scanning electron microscope (SEM) Ref. Nr. 2023 FPL-INK 029, date 10-07-2023
Items quoted for price (TP), Tenderer is permitted to add any additional necessary items and price. Priced items quoted in this part of the price sheet will be part of the tender price and purchased by TNO.
Line Number |  | Description | Price each | Quantity | Total amount
1 |  | Price TP 1 - "Scanning Electron Microscope (SEM)” This includes: all the stated requirements and accepted preferences | 0 | 1 | 0
2 |  | Price TP 2 - Basic maintenance/service proposal, whereby Tenderer is requested to provide insight into at least the following elements: | 0 | 5 | 0
Price quotation preference items. Tenderer is requested to quote line numbers 3 till 34 (if the preference doesn't lead to an additional cost for TNO, please enter '0' (zero))
Line Number | Preference ID | Description | Price each | Quantity | Total amount
2 | Preference R-1000-020 | Source lifetime desire The SEM should have a minimum lifetime of 10 years when operated 1000 hours per year. Remark 1: close out of requirement by proof from similar systems and use, or free repair when the source fails before stated requirement. Remark 2: the supplier shall state in the tender document the promised lifetime. Remark 3: lifetime is stated a time before full replacement of source, not tip maintenance or exchange. The supplier shall state the expected time before tip maintenance of tip exchange is needed. | 0 | 1 | 0
3 | Preference R-1000-050 | Beam acceleration voltage on sample between 0.1 keV and 30 keV stepless desire The beam energy on the sample should be able to be controlled stepless, with a resolution of not bigger than 50 V steps, between 0.1 keV and 30 keV. Remark: the supplier shall state the minimum step size in the tender document. | 0 | 1 | 0
4 | Preference R-1000-056 | Horizontal field width at low vacuum, at eucentric height desire The SEM should ideally have a large maximum HFW of 2 mm or more when imaging non-conducting samples, at eucentric height. | 0 | 1 | 0
5 | Preference R-1000-065 | Imaging multiple channels simultaneously desire It is expected that the SEM has several detectors, the SEM should be able to image all detectors simultaneously. Remark 1: the supplier shall state (if not all detectors can be imaged simultaneously) the detectors that can be imaged simultaneously Remark 2: imaging simultaneously is not equal to showing all the images simultaneously, TNO accepts that not all images will be displayed at the same time. | 0 | 1 | 0
6 | Preference R-1000-075 | Use of all detectors without manual hardware changes desire The SEM should be able to use all offered detectors without any manual hardware actions needed. Remark: If not possible for all the detectors, the supplier shall state what is possible. | 0 | 1 | 0
7 | Preference R-1000-080 | Electron energy filtering option desire The SEM should be equipped with a BSE detector where the detected electron energy can be filtered. | 0 | 1 | 0
8 | Preference R-1000-081 | Stage bias desire The SEM should be equipped with stage bias with a tuneable range between at least -250 V to +250 V. Remark: the performance of the stage bias will be stated in the tender document, if applicable. | 0 | 1 | 0
9 | Preference R-2000-020 | Level of integration desire The by the supplier selected EDX should have an as high as possible integration of the EDX control into the SEM control system. Remark 1: The supplier shall provide documentation (up to 10 slides) how the level of integration of the EDX is achieved in the overall SEM control system. Remark 2: the stated level of integration will be validated with demonstration. | 0 | 1 | 0
10 | Preference R-3000-010 | Sample size loading desire The SEM should be able to load samples which are larger than stated in D003, which is explained in Appendix D004. | 0 | 1 | 0
11 | Preference R-3000-020 | Sample measurement area desire The SEM should be able to measure a surface area which is larger than stated in Appendix D003 baseline. This is explained in Appendix D004. Remark 1: it is expected that an XYZ translation of the sample stage will be used to position the sample to measure at the desired measurement spot. It is allowed to also use a rotation to increase the measurement area. If this rotation is used, this shall be fully automated in the software of the SEM. Remark 2: if rotation is used, this shall be stated in the tender documentation. | 0 | 1 | 0
12 | Preference R-3000-035 | Sample measurement at tilt desired The SEM should be able to tilt more than 60 degrees, as stated in Appendix D003. Remark: The supplier shall indicated how the design of the sample stage will prevent the samples from movement during tilting. | 0 | 1 | 0
13 | Preference R-3000-050 | Sample weight desired The SEM should be perform all stated SEM requirements with a sample weight up to 2,5 kg, with the exemption of the tilt motion. Remark 1: this stated sample weight is excluding sample holders weight that are required for normal SEM usage, with the stated sample in Appendix D003, and if applicable Appendix D004, and therefor are in the delivery of the SEM. Remark 2: the supplier shall state the maximum sample weight | 0 | 1 | 0
14 | Preference R-3000-060 | Sample weight including tilt motion desired The SEM should be perform all stated SEM requirements with a sample weight up to 2,5 kg, including the tilt motion. Remark: this stated sample weight is excluding sample holders weight that are required for normal SEM usage, with the stated sample in Appendix D003, and if applicable Appendix D004, and therefor are in the delivery of the SEM. | 0 | 1 | 0
15 | Preference R-3000-066 | Limit of use of carbon tape desire The use of carbon tape for mounting the defined standard samples, see Appendix D003 and D004, should be kept as minimal as possible. | 0 | 1 | 0
16 | Preference R-3000-075 | Mounting of sample time needed desired The SEM should enable the mounting of the sample on the sample stage within 2 minutes for all the samples indicated in Appendix D003 and if applicable Appendix D004. Remark: this is the time without pump down of the system. | 0 | 1 | 0
17 | Preference R-3000-095 | Sample position repeatability desired With the stated sample motions of requirement R-3000-015, and the stated sample weight in requirement R-3000-045, the repeatability of the sample stage position should be better than or equal to 1 um. Remark 1: this requirement direct to the demanded measurement areas and sample weight. Unless indicated differently TNO expects that when a demanded requirement is upgraded to a desired requirement, the stated value of this requirement still applies. If this is not the case, the supplier shall make this clear in the tender document. Remark 2: repeatability is defined as; how well does the sample stage does return back to previous position. Remark 3: this requirement is without unloading the sample Remark 4: this requirement is without tilt of the sample. | 0 | 1 | 0
18 | Preference R-3000-105 | Stage position accuracy desire With the stated sample motions of requirement R-3000-015, and the stated sample weight in requirement R-3000-045. The accuracy of the sample stage should be better than or equal to 1 um over a travel range of 100 mm in either X or Y direction. Remark 1: this requirement direct to the demanded measurement areas and sample weight. Unless indicated differently TNO expects that when a demanded requirement is upgraded to a desired requirement, the stated value of this requirement still applies. If this is not the case, the supplier shall make this clear in the tender document. Remark 2: accuracy is defined as; how well does the sample stage know its absolute position. Remark 3: this requirement is without unloading the sample Remark 4: this requirement is without tilt of the sample. | 0 | 1 | 0
19 | Preference R-4000-010 | Contamination growth desired The SEM should meet the stated values, with the stated method in Appendix D006 with respect to contamination growth. | 0 | 1 | 0
20 | Preference R-4000-030 | Materials in contact with sample desire Unless needed for SEM performance the material(s) that are in contact with the sample should be aluminium. Remark: If there are items in contact with the sample that are made from a different material, the supplier shall state this in the tender document. | 0 | 1 | 0
21 | Preference R-4000-040 | Pump down time with sample desired The SEM should reach the required high vacuum level for SEM operation within 2 minutes after loading a sample as stated in Appendix D003 from atmosphere with a sample that has been exposed to atmospheric conditions for at least 24 hours. | 0 | 1 | 0
22 | Preference R-4000-050 | Venting time desired The venting time, including all internal SEM actions that are required, should be within 2 minutes after giving the venting signal. Remark: Internal SEM actions could be stop and cool down of SEM source. | 0 | 1 | 0
23 | Preference R-4000-055 | Switching time between vacuum modes desire The switching time between high vacuum operation mode and low vacuum operation mode, and vice versa should be within 5 minutes. | 0 | 1 | 0
24 | Preference R-4000-060 | Switching time between vacuum modes manual actions desire The switching time between high vacuum and low vacuum mode, and vice versa should not require manual actions. | 0 | 1 | 0
25 | Preference R-4000-080 | Turbo Molecular Pump (TMP) without oil, desire The SEM should use a TMP without oil. Remark: this may be achieved by using a magnetically levitated TMP. | 0 | 1 | 0
26 | Preference R-6000-020 | Customizable GUI desire The SEM software GUI should be able to be customized and saved per user profile. | 0 | 1 | 0
27 | Preference R-6000-045 | Use external images as navigation image desire The SEM software should be able to load an external image, to be used as navigation image (Requirement R-6000-025). Remark: expected formats are: .JPG, .PNG, .TIFF | 0 | 1 | 0
28 | Preference R-6000-070 | Export and import stage coordinate list desire A list of saved coordinates should be able to be exported and imported, for example in a text format file. Remark: The coordinate list should at least consist of X, Y, Z coordinates. Preferable also rotation and tilt. | 0 | 1 | 0
29 | Preference R-6000-080 | Custom coordinate system desire The SEM system should be able to set-up a custom coordinate system, which can be set-up based on one, two or three positions. Remark: see Appendix D008 for the detailed description on the expected implementation. | 0 | 1 | 0
30 | Preference R-6000-090 | External control of SEM desire The SEM should be able to be controlled by an external programming script using a programming language, such as Python or C++. | 0 | 1 | 0
31 | Preference R-6000-100 | 3D image acquisition desire The system should be able to process micrographs made with a segmented detector, to acquire a 3D reconstruction. Remark: This may be done using external software, which will be supplied with the system. | 0 | 1 | 0
32 | Preference R-6000-120 | Save and load data bar settings desire Users should have the ability to save and recall custom data bar configurations for future use. | 0 | 1 | 0
33 | Preference R-6000-150 | SEM software system logging desire The SEM should ideally log all operations in a system logfile. | 0 | 1 | 0
34 | Preference R-6000-170 | Imaging file name desire The SEM software should enable an easy to program file name, for saving micrograph images, with options like automatically adding relevant imaging information, e.g.: - Magnification - Accelerator voltage - Stage coordinates Remark: The Tender document shall provide the level of easy naming of files, including all options to add to the filename. | 0 | 1 | 0
Total Price (TP) |  |  |  |  | 0
Price quotation optional items. Tenderer is requested to quote line numbers 35 till 51 If dedicated sample holder cannot be offered (line numbers 42 till 51), enter € 0,00 Tenderer is permitted to quote any other optional needed items which are not mentioned by TNO (line numbers 52 till 65).
Line Number |  | Description | Price each | Quantity | Total amount
35 | paragraph 1.3.2 | Basic maintenance/service proposal - Duration two (2) years. | 0 | 1 | 0
36 | paragraph 1.3.2 | Basic maintenance/service proposal - Duration three (3) years. | 0 | 1 | 0
37 | paragraph 1.3.2 | Basic maintenance/service proposal - Duration four (4) years. | 0 | 1 | 0
38 | paragraph 1.3.2 | Basic maintenance/service proposal - Duration five (5) years. | 0 | 1 | 0
39 | paragraph 1.3.3 | Option for TNO, to buy a second SEM, with the same similar requirements, within a period of one (1) year after final acceptance of the SEM. | 0 | 1 | 0
40 | paragraph 1.3.3 | Option for TNO, to buy a second SEM, with the same similar requirements, within a period of two (2) years after final acceptance of the SEM. | 0 | 1 | 0
41 | paragraph 1.3.3 | Option for TNO, to buy a second SEM, with the same similar requirements, within a period of three (3) years after final acceptance of the SEM. | 0 | 1 | 0
42 | Requirement R-0000-140 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 1 | 0 | 1 | 0
43 | Requirement R-0000-141 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 2 | 0 | 1 | 0
44 | Requirement R-0000-142 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 3 | 0 | 1 | 0
45 | Requirement R-0000-143 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 4 | 0 | 1 | 0
46 | Requirement R-0000-144 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 5 | 0 | 1 | 0
47 | Requirement R-0000-145 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 6 | 0 | 1 | 0
48 | Requirement R-0000-146 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 7 | 0 | 1 | 0
49 | Requirement R-0000-147 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 8 | 0 | 1 | 0
50 | Requirement R-0000-148 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 9 | 0 | 1 | 0
51 | Requirement R-0000-149 | Dedicated sample holders to load the stated samples, stated in appendix D003 Sample Holder no. 10 | 0 | 1 | 0
52 |  |  | 0 | 1 | 0
53 |  |  | 0 | 1 | 0
54 |  |  | 0 | 1 | 0
55 |  |  | 0 | 1 | 0
56 |  |  | 0 | 1 | 0
57 |  |  | 0 | 1 | 0
58 |  |  | 0 | 1 | 0
59 |  |  | 0 | 1 | 0
60 |  |  | 0 | 1 | 0
61 |  |  | 0 | 1 | 0
62 |  |  | 0 | 1 | 0
63 |  |  | 0 | 1 | 0
64 |  |  | 0 | 1 | 0
65 |  |  | 0 | 1 | 0

## 4. Maintenance variations page
Appendix A04, Schedule of Prices and Costs (optional maintenance variations)
Guidelines for the European Public procurement tender for the delivery of a scanning electron microscope (SEM) Ref. Nr. 2023 FPL-INK 029, date 07-07-2023
Price quotation optional items for maintenance variations. Tenderer is requested to quote line numbers 66 to 70. If variations in maintenance are not available, enter € 0.00.
Line Number | Related paragraph | Description | Duration one (1) year (if available) | Duration two (2) years (if available) | Duration three (3) years (if available) | Duration four (4) years (if available) | Duration five (5) years (if available)
66 | paragraph 1.3.2 | Maintenance/services - variation no. 1 (if available) | 0 | 0 | 0 | 0 | 0
67 | paragraph 1.3.2 | Maintenance/services - variation no. 2 (if available) | 0 | 0 | 0 | 0 | 0
68 | paragraph 1.3.2 | Maintenance/services - variation no. 3 (if available) | 0 | 0 | 0 | 0 | 0
69 | paragraph 1.3.2 | Maintenance/services - variation no. 4 (if available) | 0 | 0 | 0 | 0 | 0
70 | paragraph 1.3.2 | Maintenance/services - variation no. 5 (if available) | 0 | 0 | 0 | 0 | 0