## Blad1
Respond document Expression of Interest HyStock transformers
Supplier |  |  | Trade register
Signed by |  |  | Contactpersoon
Funtion |  |  | Contact telephone
Adress |  |  | Contact e-mail
Code, place
| Transformer | 1 - 2 | 3 - 4 | 5 - 6 | 7 | 8
| TAG | 0-TR-02E14 - 16 | 0-TR-02E11 - 13 | 0-TR-01C01 - 02C01 | 0-TR-A09 | 0-TR-A10
|  | HV/LV | HV/LV | HV/HV | HV/HV | HV/HV
| Type | ONAN | ONAN | ONAN | ONAN | ONAN
| Power | 1 MVA | 2.5 MVA | 25 MVA | 6.3 MVA | 6.3 MVA
| Primary Voltage | 33,0 kV | 33,0 kV | 33,0 kV | 33,0 kV | 33,0 kV
| Secondary Voltage | 0,42 kV | 0,42 kV | 11,0 kV | 20,0 kV | 11,0 kV
| Uk | 6% | 6% | 10% | 8% | 8%
| Vector group | Dyn5 | Dyn5 | Ynd5 | Ynd5 | Ynd5
| Tapchanger | primary | primary | primary | primary | primary
|  | off-load | off-load | off-load | off-load | off-load
|  | 5 steps 2,5% | 5 steps 2,5% | 7 steps 2,5% | 5 steps 2,5% | 5 steps 2,5%
| Area classification | non-hazardous | non-hazardous | non-hazardous | non-hazardous | non-hazardous
| Protection | DGPT2 | DGPT2 | DGPT2 | DGPT2 | DGPT2
| Temperature elements | PT100 | PT100 | PT100 | PT100 | PT100
| Cable box primary | YES | YES | YES | YES | YES
| Cable box secondary | YES | YES | YES | YES | YES
| Surface treatment / coating | C6H | C6H | C6H | C6H | C6H
| FAT *) | YES | YES | YES | YES | YES
| SAT **) | YES | YES | YES | YES | YES
| Scheduled @ site | End - 2026 | End - 2026 | End - 2026 | Mid - 2025 | Mid - 2025
Questions | Estimated Price
Estimated delivery time
First production slot (PO 1st May 2024)
Typical dimension (in cm)
Typical weight (in 1000 kg)
Amount of oil (liter)
Production location
Price indexation | Core steel GOES Super High grade
Please fill in % | Construction Steel (Hot Steel)
Copper
Oil
Labour
(other components)
| Total indexed | 0% | 0% | 0% | 0% | 0%
Would you participate in an upcoming tender? What are your conditions/considerations for participating?