## Appendix A05
Appendix A04, Conformity list 'Programme of Requirements' Guidelines for the European Public Tender for a HIGH BANDWIDTH OSCILLOSCOPE, ref. TNO 2023 FPL-INK 06 dated 11-12-2023
By the following Programme of Requirements TNO will assess if Tenderer meets the relevant requirements as laid down in Section 6 and 8. The Tenderer must indicate for each item, the conformity for the requirements in the table below.
If to any of the requirements, as stated in section 8, are not met by Tenderer, he will be excluded for any further assessment. By answering a question with “compliant” will mean that in the event of awarding the contract, non-conformity to the requirement shall count as failure to meet an obligation from the Agreement to be concluded.
Requirement | Decription | Tenderer is compliant to the requirement | Reference in Tenderer's documentation where compliances with the requirement is described | Remark
Requirement 8.1 | Delivery time is at most 3 months after placement of the order. | Click the drop-down box to select
Requirement R-0000-005 | Meet all requirements. | Click the drop-down box to select
Requirement R-0000-010 | Human, machine and sample safety. | Click the drop-down box to select
Requirement R-0000-015 | Operational lifetime. | Click the drop-down box to select
Requirement R-0000-020 | The oscilloscope comes with a calibration and maintenance contract. | Click the drop-down box to select
Requirement R-0000-025 | Software will be delivered, including all components. | Click the drop-down box to select
Requirement R-0000-030 | Free software updates and upgrades within the period of the extended warranty. | Click the drop-down box to select
Requirement R-0000-035 | Electrical connection & Power supply according to European standards. | Click the drop-down box to select
Requirement R-1000-005 | Trigger jitter below 250 fs RMS. | Click the drop-down box to select
Requirement R-1000-015 | The jitter between channels is lower than 200fs rms. | Click the drop-down box to select
Requirement R-1000-020 | The jitter on the sample clock is below 150fs rms. | Click the drop-down box to select
Requirement R-1000-025 | Acquisition is possible with an interval of 5µs or less. | Click the drop-down box to select
Requirement R-2000-005 | The oscilloscope is a real-time oscilloscope with a minimum analog bandwidth of 30GHz on at least 2 input channels. | Click the drop-down box to select
Requirement R-2000-010 | The real-time oscilloscope is capable of measuring signals with an analog bandwidth of 60GHz on at least 1 input channel. | Click the drop-down box to select
Requirement R-2000-020 | The oscilloscope has a sample rate of at least 150 GSa/s. | Click the drop-down box to select
Requirement R-2000-025 | The effective number of bits (ENOB) is at least 4.0 at 60GHz. | Click the drop-down box to select
Requirement R-2000-035 | The input noise floor is below 2.5mV rms. | Click the drop-down box to select
Requirement R-3000-005 | The oscilloscope has a SCPI command interface. | Click the drop-down box to select
Requirement R-3000-010 | The oscilloscope comes with MATLAB and Python interfacing scripts. | Click the drop-down box to select
Requirement R-4000-005 | The amount of memory per channel is at least 1 Gpts. | Click the drop-down box to select
Requirement R-4000-010 | The recorded data can be transferred to an (internal) hard drive with a speed of 400 waveforms of 1000 points per second. | Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select
Click the drop-down box to select

## validatie (hidden)
Click the drop-down box to select
Yes, compliant to requirement
No, not compliant to requirement
note: dit blad 'verbergen' indien je dit gaat delen intern/extern (behoudens aan inkoop collega's)