## Appendix A06
Appendix A05, Prescribed format for notification of preferences Guidelines for the European Public Tender for a HIGH BANDWIDTH OSCILLOSCOPE, ref. TNO 2023 FPL-INK 096 11-12-2023
The Tenderer demonstrates the ability to meet the preferences by means of his answers to the various preferences, which must be structured in accordance with the instructions given in Chapter 6 and 8.
Preference | Decription | Tenderer declares that he is able to meet the Preference | Reference in Tenderer's documentation where Tenderer indicates in which way he can fulfil the preference | Remark
Preference R-1000-010 | Trigger jitter below 250 fs RMS. | Click the drop-down box to select
Preference R-1000-030 | Trigger repetition interval lower than 5µs. | Click the drop-down box to select
Preferences R-2000-015 | Higher bandwidth than 60GHz. | Click the drop-down box to select
Preferences R-2000-030 | The ENOB is higher than 4.0 at 60GHz. | Click the drop-down box to select
Preferences R-3000-015 | Custom scripts can be run on the oscilloscope. | Click the drop-down box to select
Preference R-4000-015 | Transfer speed higher than 400 waveforms of 1000 samples per second. | Click the drop-down box to select
Preference R-5000-010 | Extended warranty. | Click the drop-down box to select

## validatie (hidden)
Click the drop-down box to select
Yes, Tenderer is able to meet Preference
No, Tenderer is not able to meet Preference
note: dit blad 'verbergen' indien je dit gaat delen intern/extern (behoudens aan inkoop collega's)