Annex 7 – Technical Information Form

The Tenderer must complete the following table. This allows the Client to assess whether the requirements have been met and the technical characteristics of the Tender Application are established for later use during the term of the Agreement. Note: by submitting a Tender Application, the Tenderer is bound to meet the entire Tender Specification.

Documents to accompany this form must please include the Product leaflets or Specifications sheets of at least the radar and any additional electronic components.

| Reference | Instruction | For requirement | To be completed by the Tenderer |
| --- | --- | --- | --- |
| System offered | State the brand, type number and model of all the components of the system offered. Include specifications sheet of radar and any additional components. | D01 |  |
| Sample frequency | State the exact sample frequency or sampling timeframe. | F03 |  |
| Output frequency | State the exact output frequency. | F16 |  |
| Transmission frequency | State the transmission frequency and bandwidth of the radar wave. | F04 |  |
| Measuring range | State the measuring range. | F05 |  |
| Blanking | State the blanking. | F06 + Best price-quality ratio |  |
| Beam width | State the beam width. | F07 |  |
| Modulation technique | State the modulation technique. | F08 |  |
| Doppler correction | Indicate whether or not Doppler correction is applied and, if possible, in what way. | F09 |  |
| Chirp rate (only Lot 2) | State the chirp rate only if no Doppler correction is applied. | Lot 2 Best price-quality ratio |  |
| Measurement uncertainty | State the measurement uncertainty for a stationary surface, including uncertainty in the reference plane, for one standard deviation. | F13 |  |
| Resolution | State the resolution. | F18 |  |
| Weight | State the weight of the radar (without mounting frame or any electronic unit). | A08 |  |
| Power | State the power input of the total system (the total of all components) for the required sampling frequency. | R04 + Lot 1 Best price-quality ratio |  |
| Physical datacom | State the type of serial output and which component of the system it serves. | R06 |  |
| Communications protocol | State the communications protocol for communication with the sensor on the serial line. | R07 |  |
| Baud rate | State the baud rate of the digital serial output. | R08 |  |
| RMI message and dual output | Indicate whether the system provides an RMI message and dual output, and which part of the system provides it. | Best price-quality ratio |  |
| Configuration and monitoring via data port. | Indicate whether the system is accessible for configuration and monitoring through the data port. | Best price-quality ratio |  |
| Business address | State the business address and country for the provision of services. | Best price-quality ratio Lot 1 |  |
| Service in Dutch | Indicate whether the communication will be in Dutch. | Best price-quality ratio Lot 1 |  |