Annex 1 Question Form


1. Does your company have Compact US Flowmeters which comply with the scope as described in section 1.4? If not, please specify which requirements cannot be met.


2. Can your company proof that “no straight length upstream” has no influence on the accuracy and function of the meter and still comply with MID class 1? If yes, can the proof be shared with Gasunie?


3. Is your company manufacturer of the US Flowmeters (OEM)? If not please elaborate further.


4. In the context of proven technology (life cycles/proven technology): when did your company first deliver a compact US Flowmeter in compliance with the scope to the market? 


5. Does your company have a service department in the Netherlands?


6. Which USM sizes can your company offer? Please state for all sizes the flow measuring range and turn down.


7. Did your company deliver, in the past three years, Flowmeters in compliance with the scope for city gate stations of Transportation Service Operator (TSO)? If yes, please supply a reference customer list.


8. Does your company offer training courses for technicians and engineers on how to operate and maintain the Flowmeters?


9. Is it possible to change batteries of the US Flowmeters without jeopardizing the MID certificate? Please indicate if there are any additional requirements.


10. The dimensions shown in table 1 are our preference installation length, can you supply meters with this installation length per size?


11. In case of no straight length, does the US flowmeter comply with MID? Please indicate if there are any specific requirements.


12. How does your company guarantee that the US Flowmeter is protected against weather conditions and corrosion? 


13. What are the principles here in terms of durability and corrosivity according to ISO 12944?


14. What is the delivery time of the requested US Flowmeter?


15. Are there diagnostic tools for service available and will this be delivered with the meter? Or sold separately?


16. What are the terms and conditions, also guarantee terms?


17. Do you have any additional information you would like to share?

