## Form
Appendix Question Form For the public European tender procedure 'Precipitation gauges and 3rd line maintenance'
Tenderer is asked to submit questions with the use of this question form.
Instruction of use: Column A states the question number. Column B states the document that the question regards, and if possible, please also state the paragraph. Column C states the question.
Question number | Document | Question | Answers
1 | 1 Mandatory Grounds for Exclusion 2 Facultative Grounds for Exclusion | We have attached the ESPD just once, but that covers both demands. Should we attach the ESPD on both requests? | It is sufficient to attach the ESPD once.
2 | 3. Financial and Economic Capacity | What is exactly meant by this: "Approved Annual Report/ Audit Certificate / assessment or compilation report within 10 working days of a request to that effect, that does not include a ‘continuity section’ that expresses doubt concerning the viability of the organisation. For companies that are not required to produce an annual statement of accounts, an assessment or compilation report will suffice. Can our accountant deliver a statement you need? | If you are not required to produce an annual statement of accounts your accountant can deliver an assessment or compilation report.
3 | Sub-Award criteria quality | There are a number of test documents/manuals accpetance test/reporst etc. available that give the answers to most of the specific quality criteria clarifications. A perfect example of one of these documents (also attached to email) is; WMO LABORATORY INTERCOMPARISON OF RAINFALL INTENSITY GAUGES De Bilt (The Netherlands), Genoa (Italy), Trappes (France),September 2004-September 2005 The rain gauge we offer is part of the tests described in this document. To meet the tender specifications we have to write new documentation using the information that is already a long time available and known at KNMI. It does not make sense to copy and paste from these documents. Can we simply add these documents without rewriting them in the specific text format and number of pages just to meet the tender specs? | You can certainly provide these types of documents to substantiate a response. However, for requirements that need a response (i.e., yes/no, specific value, etc.), we expect that you will fill in the Program of Requirements as indicated. For substantiations, it will be helpful to the evaluation team if you could cross-reference the relevant pages in the reference document to the requirement number. Also, while the document you provided as an example is relevant, it is also quite old (~20 years). Submitting other tests or reports that are more recent is advantageous.
4 | Pricing sheet, annex 9 | It's not possible to enter data on the pricing sheet Annex 9 | Please read the instructions carefully on how to enter data. Please note that in order to enter information in some cells another cell needs a choice. For example, in order to enter the Price per unit in cell F14, you must choose an option in C12 first.
5 | Pricing sheet, annex 9 | Do we need to offer the pedestal/stand as part of the rain gauge or just the rain gauge in part A of the pricing sheet. When gauge is installed in an English pit a pedestal is not needed. | The additional text in cells A14 and A15 (i.e., "incl. mounting materials or mast, (digital) documentation") was included as an oversight. In part A, we only need pricing information on the precipitation gauge and the materials that come with it to site it properly (i.e., bolts, nuts, washers, etc.) If there are additional specialty parts (i.e., stand-pole) required for installation, please provide that information in part B. Regarding, stand-pole, mast or pedestal, please refer to req 67, which is a desirable. Standpoles can be offered, but if they are, the dimensions shall be based on the height needed to install the offered gauge at the appropriate height per set-up (see req 65 for dimensions). KNMI will maintain the set-ups (as is) as much as possible, so if standpoles are offered they must comply with KNMI's site restrictions. For the English pit this means that if the gauge is smaller than 615 mm, a standpole will be used to install the gauge at the height needed so that the orifice of the gauge is flush with height of the pit wall.
6 | Annex 11 - Questions total NvI 1 | 7: Time Schedule: Remark to agree on the time schedule remark and holiday period. Period with the Qty of documents and questions is not long. | We have evaluated the schedule and are willing to extend the deadlines to the following*: Deadline handing in offers: September 11, 2024 at 11AM Sending the preliminary award decision: October 22, 2024 Expiry of the objection period: November 12, 2024 Additionally, we decided to add a third round of questioning. The deadlines for this are as follows: Submitting questions for Question round 3: August 12, 2024 at 11AM Publishing answers to Question round 3: August 22, 2024 *Please note: this is a preliminary schedule and no rights can be derived from it.
7 | Annex 11 - Questions total NvI 1 & Annex 1B Verification Phase and Delivery (4.6) | Question, after receipt of the offers (14th of august currently) , what timeperiod or date is scheduled for placing the order? | The order will be placed as quick as possible after the commencement date of the agreement.
8 | Annex 11 - Questions total NvI 1 & Annex 1B Verification Phase and Delivery (4.6) | The delivery is T + 4 weeks after signing the contract, is this with or without the 20 days stand still period? | The contract is signed after the 20 days stand still period. T is therefore after the 20 days stand still period.
9 | Annex 4 Program of Requirements final version 2 | Some questions can be answered as partly yes or no, which automatically excludes you when you fill in no from the Tender. There for some questions should be "M I" instead of "M C". Example is the question (also asked in the 1st round (question 2)) to accumulate rain and derive duration and intensity (annex 4 item 3). This can be done by a logger, but the answer is no, so your excluded. | Requirement 3 indicates that the precipitation gauge should be capable of measuring and reporting sums of precipitation over a specified time. From that information, both precipitation intensity and duration can be derived. It does not matter where this processing occurs (i.e., at the gauge level, the datalogger, or elsewhere). The requirements were written in such a way as to avoid the situation you described.
10 | Annex 4 Program of Requirements final version 2 item 1 | What is mentioned with off the shelf, since algorithems can change/be programmed seperately. So is only Hardware mentioned here and a firmware/software update is not? | Off the shelf simply means a commercially available, non-custom made, mass-produced solution that is manufactured outside of KNMI and includes all the necessary components to immediately start measuring precipitation in the field. KNMI understands that some configurations will be necessary and additional firmware/software updates may be required.
11 | Annex 4 Program of Requirements final version 2 item 6 | NEN-IEC norms are mentioned, some NEN-IEC norms are (partly) integrated and others are overlapping. We have to check this, but what kind of bodies does KNMI recognize as proof. (example DEKRA in holland or DKD in germany) | Any accredited notified body is acceptable. KNMI is familiar with Kiwa Dare. If a choice has to be made between the 2 proposed, we would advise using the first.
12 | Annex 4 Program of Requirements final version 2 item 24 | Question is do you need reference/standard from in the field or lab. 2nd what is the commonly accepted reference/standard. | A commonly accepted reference in the field would include placing the offered gauge in a WMO recommended pit set-up. For field measurement uncertainty, KNMI would like information from studies performed with the gauge, either by the manufacturer of the gauge, users of the gauge, or by other national meteorological offices. With respect to lab tests, subjecting the gauge to constant flow rates would serve as an appropriate reference.
13 | Annex 4 Program of Requirements final version 2 item 54 | See question 11 | See our answer to question 11.
14 | Annex 4 Program of Requirements final version 2 item 55 | See question 11 | See our answer to question 11.
15 | Annex 4 Program of Requirements final version 2 item 74 | NO one can assure 100 % that a sensor can withstand a lightning. | Requirement 74 indicates that lightning and or major wind events are "exempt" which means that you will not be held responsible if damages occur due to these extreme phenomena.
16 | Annex 4 Program of Requirements final version 2 item 80 | This is experience over the years, from many weather services. This is company secret. Some studies van be discussed, but Algorithmes are company secret. | Please note that requirement number 80 is a desirable and we are not necessarily asking for algorithms. The list of suitable substantiations that descibe how the precipitation gauge handles known errors (such as vibrations and high-intensity precipitation) includes recommendations on set-up, comparison studies in the field, and lab tests.
17 | Annex 4 Program of Requirements final version 2 item 84 | Why should KNMI be able to change settings in the worlwide algorithm of the product. Based on the experience we have implemented the "best" algorithm. This is also company secret/knowledge. | Based on the research conducted on automatic precipitation gauges, some gauges offer different modes or customizable settings for operation of the heating control. KNMI would like to know which modes/settings are available (if any) to optimize the heating control (i.e., running time, target temperature, etc.) to the corresponding environmental conditions. Please note, this is a "desirable".
18 | Annex 4 Program of Requirements final version 2 item 93 | Helpdesk and reaction time are not a problem. However depending on the "bug" the mentioned period can be a problem. Next to that is when it is a "bug", all rain gauges should be checked (possibly), is this in the same time frame for the solution, to implement it on each rain gauge. | KNMI would like to enter into a cooperative relationship with the supplier of the new gauge. Therefore, KNMI plans to have ongoing conversations with the supplier in order to address any problems experienced with the gauge as quickly as possible. While KNMI has indicated how quickly we expect a "fix", it is also understood that some issues may be more complex than others and will therefore require more time to diagnose. In this case, a feasible, mutually agreed upon time-frame will be determined. The motivation for this requirement is to avoid long periods with disruptions in data collection. (Note: The requirement has been modified to reflect this and an updated version of the Program of Requirements will be published.) With respect to the last part of the question: this requirement is only about response time (i.e., the time needed to diagnose and provide a solution/fix.) However, implementing the fix is out of scope for the supplier and not included in the given timeframe.
19 | Annex 4 Program of Requirements final version 2 item 98 | How many days, on site. Each opportunity is one training? I've read 5 opportunities. How detailed /what subjects are inthe training. (engineering on-site, calibration, how to interpret data with our software etc.) | Given that your question in cell c21 is identical to your question in c22, perhaps an error was made. The question posed does not correspond to the requirement sited, therefore, no response is given. Please note, requirement number 98 focuses on frequency of Preventative Maintenance Frequency.
20 | Annex 4 Program of Requirements final version 2 item 112/113 | How many days, on site. Each opportunity is one training? I've read 5 opportunities. How detailed /what subjects are inthe training. (engineering on-site, calibration, how to interpret data with our software etc.) | The details of the training are listed in requirement numbers 110 - 112 with specific topics in requirement number 110. In the pricing sheet, the number of training sessions is identified as five (5) independent sessions to provide all relevant personnel the opportunity to participate (taking into account availability of staff.) The amount of time needed to cover all the topics will be detemined by the supplier. For example, it may be the case that one (1) of the five independent sessions lasts two (2) days, resulting in five (5) independent sessions lasting 10 days.
21 | Annex 4 Program of Requirements final version 2 item 71 | Current network uses the connector which is also used by competitive products. Is the current network also having other rain gauges, next to own KNMI Products? | KNMI intends to update the automatic precipitation gauge found at its automated weather stations. Only during the verification phase will the new gauge be installed next to the current gauge. Once the new gauge has passed the verification phase, the roll-out will begin. The existing KNMI gauges will be removed from each automated weather station and the new gauge will be installed. Please note that this requirement is a desirable. The reason for this requirement is that KNMI's current gauges uses this type of connector, therefore, it would make the installation of the new gauge in its network as easy as possible.