Annex 8A – Technical Information Form – ADM Lot

The Tenderer must complete the following table. This allows the Client to assess whether the requirements have been met and the technical characteristics of the Tender Application are then established for later use during the term of the Agreement. Note: by submitting a Tender Application, the Tenderer undertakes to comply with the entire Tender Specification.

Also append the Product Brochures and/or Specifications Sheets of at least the Flow Measurement Instrument and any additional electronic components to this form.

| Description | Instruction | For requirement | To be completed by the Tenderer |
| --- | --- | --- | --- |
| System offered | State the make, type number and model(s) of all the components of the system offered. Include specifications sheet of the Flow Measurement Instrument and any additional components, such as the transponder, the cables and any digital-analogue converter. | ADM.001 ADM.020 ADM.230 |  |
| Acoustic frequency | State the acoustic frequencies of the transducers offered for the Flow Measurement Instrument and the river width at which they can be used. | ADM.020 BPQR 1.3 |  |
| Cable lengths of the ground signal cable | Specify the cable length range of the ground signal cables to be supplied. | ADM.020 |  |
| Calculation method | Describe the method used to calculate the Current Velocity and Flow Rate. | ADM.043 |  |
| Content of data message | State the issued parameters and append the specification for the Flow Measurement Instrument data message. | ADM.044 |  |
| Error codes at Measuring Site | State the error codes displayed on the computing unit and append a description of these error codes. Reference can be made here to an enclosed manual of the Flow Measurement Instrument. | ADM.020 |  |
| Error codes of data message | State the error codes issued in the data message and append a description of these error codes. | ADM.122 |  |
| Physical datacom | State the type of serial output. | ADM.200 |  |
| Communication protocol | State the communication protocol for communication with the sensor on the serial line. | ADM.220 |  |
| Baud rate | State the baud rate of the digital serial output. | ADM.200 |  |
| Remote alignment | State whether the transducers can be aligned remotely when applied to a sloping wall without raising them above water (yes/no). If yes, also state whether this is part of the delivered system or will be achieved by providing a structural design. | BPQR 1.1 |  |
| Configuration and monitoring through the data port. | State whether the system is accessible for configuration (yes/no) and monitoring (yes/no) through the data port. | BPQR 1.2 |  |
| Reusing the bamboo coaxial cable | State which type of ground signal cable the offered system uses (cable type), and whether the existing ground signal cables can be reused for the offered system (yes/no). | BPQR 2.1 |  |