## 1. Frontpage
Appendix A04: Schedule of Prices and Costs
Belongs to the Public Procurement Guidelines for the European public procurement for the delivery of a High Frequency Fatique Test Rig (HFFTR)
WS2368340468
Date:
Tenderer company name:
Name:
Signature:

## 2. Instructions
Instructions | sittingduck
Secur | The white boxes are secur and Tenderer can not change these fields.
Entry box | The light bleu boxes within Tab "price page" Tenderer is requested to enter, and are part of Price (TP) (also the fields on the front page: Date, Tenderer Company Name and Name)
Entry box | The Yellow boxes within Tab "price page" Tenderer is requested to enter, and are NOT part of Price (TP)
Price (TP) | The Light Green box is the price (TP) offered by the Tenderer

## 3. Costs
Appendix A04, Schedule of Prices and Costs
Guidelines for the European Public procurement tender for the delivery of a Hig Frequency Fatique Test Rig (HFFTR) Ref. Nr. WS2368340468, date Feb 11 2025
Items quoted for price (TP), Tenderer is permitted to add any additional necessary items and price. Priced items quoted in this part of the price sheet will be part of the tender price and purchased by TNO.
Line Number |  | Description | Price each | Quantity | Total amount
1 |  | Price TP 1 - "HFFTR” This includes: 1 Two year warranty; 1 (Critical) Design review; 1 Factory and Site Acceptance Test (FAT & SAT); 1 Installation on site; 1 Operator & (basic) maintenance training; 1 Delivery according Incoterms Delivered Duty Paid (DDP), 2020 (location TNO Delft, the Netherlands |  | 1 | 0
Price quotation preference items. Tenderer is requested to quote line numbers 2 till 8 (if the preference doesn't lead to an additional cost for TNO, please enter '0' (zero) for price each)
Line Number | Preference ID | Description | Price each | Quantity | Total amount
2 | Preference 8.1.1.4 | The test frame can exert an absolute maximum (nominal) axial load of 1200 kN, a maximum static axial load of ±1200 kN, and a dynamic axial load amplitude of ±600 kN on the clamped specimen. |  | 1 | 0
3 | Preference 8.1.1.6 | The absolute accuracy of the applied axial force on the specimen is smaller than or equal to 0.5% of the maximum axial load. |  | 1 | 0
4 | Preference 8.1.1.15 | The test frame can facilitate dynamic elongations of ≥±3 mm due to application of dynamic loads during testing. |  | 1 | 0
5 | Preference 8.1.2.2 | The test frame can mount test specimens with a maximum free length (excluding clamping length) of 750 mm or more. |  | 1 | 0
6 | Preference 8.1.2.3 | The distance between the clamp heads can be easily changed making it possible to efficiently perform tests on specimens with varying lengths directly after each other. The supplier describes the procedure to perform a test on a rectangular specimen of 700 mm free length after having performed a test on a rectangular specimen with a free length of 100 mm but equal width and thickness. |  | 1 | 0
7 | Preference 8.1.3.11 | The supplier describes to what extent the HFFTR and clamping device together can perform tests on specimens with angular misalignment due to for instance welding and the effect on the lifetime of the machine. The supplier also states the maximum angular misalignment of specimens the HFFTR and clamping device together can handle including the definition of the angular misalignment used. |  | 1 | 0
8 | Preference 8.5.8 | The supplier provides an advanced maintenance contract for the HFFTR for 5 and 10 years after approved SAT which states the maintenance activities and costs. Maintenance performed by a third party appointed by the supplier is allowed. The supplier describes its calamity procedure within and outside the warranty period including response time and complaint registration. The supplier clearly describes the differences between the advanced maintenance contract and the standard maintenance contract as mentioned in requirement 1.5.7. |  | 1 | 0
|  |  |  | 1 | 0
Price (TP) |  |  |  |  | 0
Price quotation optional items. Tenderer is requested to quote line numbers 40 till 49 Tenderer is permitted to quote any other opptional needed items which are not mentioned by TNO.
Line Number |  | Description | Price each | Quantity | Total amount
40 |  | All-Inclusive maintenance/services - 3 Years | 0 | 1 | 0
41 |  | All-Inclusive maintenance/services - 5 Years | 0 | 1 | 0
42 |  | All-Inclusive maintenance/services - >6 Years | 0 | 1 | 0
43 |  | Basic maintenance/services - 3 Years | 0 | 1 | 0
44 |  | Basic maintenance/services - 5 Years | 0 | 1 | 0
45 |  | Basic maintenance/services - >6 Years | 0 | 1 | 0
46 |  | Option for TNO, to buy a second HFFTR with the same requirements/preferences, within a period of one (1) year | 0 | 1 | 0
47 |  | Option for TNO, to buy a second HFFTR with the same requirements/preferences, within a period of two (2) years | 0 | 1 | 0
48 |  | Option for TNO, to buy a second HFFTR with the same requirements/preferences, within a period of three (3) years | 0 | 1 | 0
49 |  | Current HFFTR (sub-section 1.3.2) | 0 | 1 | 0
50 |  |  | 0 |  | 0
51 |  |  | 0 |  | 0
52 |  |  | 0 |  | 0
53 |  |  | 0 |  | 0
54 |  |  | 0 |  | 0
55 |  |  | 0 |  | 0
56 |  |  | 0 |  | 0
57 |  |  | 0 |  | 0