## NvI vragenbestand
Nota van Inlichtingen Opslagsysteem voor verpakt celmateriaal ten behoeve van het NFI. Kenmerk IUC/DJI/IENEA/2025-1 NFI-OPSLAGSYSTEEM-23
Datum publicatie NvI 19-03-2025
Het IUC DJI heeft de vragen in het kader van de Nota van Inlichtingen 1 ontvangen. De inhoud van deze Nota van Inlichtingen is bindend en maakt deel uit van de Aanbestedingsstukken. Deze Nota van Inlichtingen is gepubliceerd op www.tenderned.nl en is daarmee beschikbaar gesteld voor alle belangstellenden van deze aanbesteding.
Houd u rekening met het tijdig aanvragen van de Gedragsverklaring aanbesteden (GVA) ook voor eventuele derde(n) en/of leden in het kader van een samenwerkingsverband. Voor meer informatie: paragraaf 4.3.1, Uniform Europees Aanbestedingsdocument in de Selectieleidraad.
Vraagnr | Over welk document gaat uw vraag? | Paragraafnummer, artikelnummer | Paginanummer | Vraag | Antwoord
1 |  |  |  | Please supply form a in English | Attached you will find the UEA form A and the registration form B in English.
2 | Bijlage 1 Programma van Eisen | 33 | 5 | Intake time of 20 secs per package, please expand on this request. Is this the time taken by personnel to put onto/into the system (into secure area) or for the system to put into storage. If to put into storage please advise why this is required as storage is at Room Temp/Pressure so the samples are not effected in any way by time taking longer. | The intake time refers to the time required to place the envelope in a (temporary) location in the storage system so that the next envelope can be submitted/offered to the system immediately. It does not refers to the time to place the envelope in its final storage location.
3 |  |  |  | Can the NFI supply the PC hardware that we can then upload our software to. This ensures all the internal NFI PC requirements are met and there is no conflicts or missed components | Yes the NFI can supply the PC hardware. Astech must indicate which software is used en which operating system is required. Astech must indicate what the NFI needs. Or the NFI can check what it needs so that the Astech software can run. Of course everything is done in consultation.
4 |  |  |  | Can NFI ensure the floor area be level with max incline of 5% at any point – current floor has “rails” with chains in which will need to be removed and made level | Yes, NFI will ensure that the floor will be leveled.
5 |  |  |  | Can you confirm standard mains power will be available at requested points on wall and “fence” to our specified locations | Yes, NFI can confirm this. NFI would like to see a drawing in which these matters are included. Please describe adjustments for the main powers at the requested points in Wish (Wens) 2.2.
6 | Bijlage 6 Inkoopvoorwaarden Arbit 2022 | 6.1 | 10 | Can shipping be made in 3 or 4 shipments. As our offering is modular it allows us to construct and test at Astech before shipping to you for final assembly. This allows a faster process and minimises our time on site at NFI. Also if problems were encountered they can be rectified before shipping rather than any need to return them to UK for rework | NFI prefers 1 total delivery. It is allowed to deliver in 3 to 4 partial deliveries. The risks are in that case for the contractor, i.e. something get lost or damage at the NFI before the approved SAT. After the approved SAT see requirement 88, the ownership will be transferred to the NFI.
7 |  |  |  | On Form D price sheet C-2 (advisory work on logistical design issues) this should be outside or removed from the price cap as it is an unknown quantity and can only be an estimated cost | We understand your request. C-2 concerns optional activities for support with logistical issues. An estimated / fictitious number of hours is included here. The contracting authority will move this passage to section D-10 in the price sheet. In the attachment you will see the revised price sheet, Prijzenblad (HERZIEN).
8 |  |  |  | On Form D price sheet C-3 (Training for 4 people) is this expected to be all at the same time or multiple sessions? If multiple please advise how many sessions are required | All 4 key users will join the training at the same time. For clarity, the text of this passage has been adjusted in the revised price sheet.
9 |  |  |  | Form D price sheet D7 – What does “so-called bulk intake” actually mean? | Bulk intake means submitting/presenting multiple samples (50 or more) at the same time to the system, which then have to be processed automatically by the system without the intervention of an employee.
10 |  |  |  | Form D price sheet - Maintenance and service of any “additional” future options D1-D9 is not covered in part D | Yes, correct. When additional options will be added to the system in the future costs for maintenance and service will discussed between the contractor and the contract manager of the NFI.
11 | Bijlage 1 Programma van Eisen | 68 | 8 | Can the payment terms be changed | No, the contracting authority adheres to the payment terms set out in requirement 68
12 | Bijlage 2 programma van Wensen | sg1 | 5 | Can we extend the max pages for the wishes sections | No, the contracting authority adheres to the specified pages for the wishes.
13 | Bijlage 1 Programma van Eisen | 7 | 4 | Can NFI dispose of packaging/shipping materials | No, the contracting authority adheres to requirement 7.
14 | Bijlage 1 Programma van Eisen | 20 | 4 | Do we need to supply a separate fire system or is this included in the storage area by NFI | No, a complete fire system is not needed. The Storage System must (only) have a fire detection system and temperature and humidity monitoring which must be connected to the Building Management System (Johnson Controls) of the NFI.
15 | Bijlage 1 Programma van Eisen | 42 | 6 | can this be changed to “Any update to software must be fully discussed including reasons for change and if agreed to upgrade minimal costs will apply if on site work is required” | No, this passage will not be changed in requirement 42. We don't understand your question. This requirement is about having a back-up when after an upgrade the software doesn't work properly and we have to go back to the previous version.
16 | Bijlage 1 Programma van Eisen | 67 | 7 | In the event of a 12 month delay pre purchase of materials, we are exposed to risk of price increase beyond our control (eg Aluminium extrusion pricing). Can we have wording to allow price increase based on new material pricing if evidence is provided. We would also be exposed to hardware warranty eg RLA2 mobile robot | No, this passage will not be changed in requirement 67. In these cases, the contractor has the right to submit a request for indexation to the contracting authority. See requirement 61 indexation clause.
17 | Bijlage 1 Programma van Eisen | 68 | 8 | Can the terms and conditions be amended in any way | No, this passage about the payment terms will not be changed in requirement 68.
18 | Bijlage 1 Programma van Eisen | 74 | 8 | What response times are indicated in EIS 94 – please supply EIS 94 | The response time is 4 hours. According requirement 99.6.
19 | Bijlage 1 Programma van Eisen | 79 | 9 | Any further training above the initial 4 as noted on Form D price sheet will be billable – pricing on request – Is this correct? | Yes, this is possible for future trainings.
20 | Bijlage 1 Programma van Eisen | 85 | 9 | Due to the modular nature of our solution is it acceptable for the FAT to be a partial representation of the total system (eg 6 or 8 modules from a total of 44) proving the modular expandability of each individual module | Yes, this is agreed on condition that the contracting authority has confidence in the total modular solution offered.
21 | Bijlage 1 Programma van Eisen | 99 | 11 | can Point 3 be adapted to ASTECH’s normal working days which are Monday to Friday and our normal working hours (GMT, BST (GMT +1)) are 8.30 am to 4.30 pm Monday to Friday. In the interests of efficiency ASTECH operates a shutdown period from 24 December to 01 January (inclusive). This period is classified as ‘non-working days’ and may be adjusted to accommodate bank holiday substitute days in England and Wales. | The mentioned working hours are those of the NFI and will not be adjusted. Adjusting the timeframe has no impact on the stated requirement, as it refers to a period between two time points. A shutdown period is not accepted because necessary corrective maintenance may still be required in the period between 24 December to 01 January (inclusive)
22 | Bijlage 1 Programma van Eisen |  | 11 | Can point 6 be modified so that SLA is agreed at point of contract and will be active from the hour its raised during astech normal working hours. | No, this passage will not be changed in requirement 99. The response time is calculated from the moment the NFI has made the notification, based on what is described in point 3 of requirement 99.
23 | Bijlage 1 Programma van Eisen |  | 11 | Point 8 - This should not be included but can be requested to done at an additional cost depending on the number of tests. | After performing maintenance, standard procedures should be followed to demonstrate that the system is fully operational again. If a full Acceptance Test is requested, a price quotation from the supplier is expected beforehand, followed by a written confirmation from the NFI.
24 | Bijlage 1 Programma van Eisen |  | 11 | Point 9, Point 10, Point 11 and Point 12 – Please supply Additional information/clarity if possible. | These articles outline the required system reliability (9), availability shortfall credit policy (10), method used to calculate the reliability (11) and incident limits and penalty policy (12).
25 | Bijlage 6 Inkoopvoorwaarden Arbit 2022 | 12.4 | 13 | “Client may claim damages resulting from Defects in the first 12 months”. Damages are not clearly defined and therefore open to interpretation – please expand | The term ‘Damage’ is defined in article 1.9 on page 7 of the ARBIT-2022.
26 |  |  |  | Form D price sheet – Can you change points D4 and D5 to Yellow (cells B32 and B33) to allow explanations to be added | No, the price list will not be adjusted for these matters. In the cells C 31 and 32 you can add text and price.
27 |  |  |  | Can Form D price sheet part C-1 be removed from the price cap and total amount as this is an annual cost post warranty period | No, the price list will not be adjusted for these matters, as the contracting authority deliberately wants to include these costs in the Total Cost of ownership (TCO).

## Bron
Beschrijvend document
Bijlage 1 Programma van Eisen
Bijlage 2 programma van Wensen
Bijlage 3 Checklist Inschrijving
Bijlage 4 Uitleg Inschrijvingsvormen en invulling bijlagen
Bijlage 5 concept OVK (Model Arbit 2022)
Bijlage 6 Inkoopvoorwaarden Arbit 2022
Bijlage 7 Bijsluiter e-factureren aan de Rijksoverheid
Bijlage 8 Iternationale Sociale Voorwaarden
Bijlage 9 Handreiking due diligence voor bedrijven
Bijlage 10 BIO 1.0
Bijlage 11 Handreiking BIO 2.0 op maat
Bijlage 12 Afmeting van de ruimte voor plaatsing Opslagsysteem
Bijlage 13 Voorlichtingsbrochure Eliminatiedatabank
Bijlage 14 Huisregels NFI
Bijlage 15 Model Kredietinstellingsgarantie Arbit 2022