## MC Wisselverwarming
Bijlage 1: Vragen Marktconsultatie - Standaardisatie Wisselverwarming TN518315
Versie 1.0
Nummer conform Hfst. MC document | Vraag | Antwoord geïnteresseerde | Opmerking
1 | Algemene bedrijfsinformatie
1.1 | Naam van de organisatie
1.2 | Adres van de organisatie
1.3 | Contactpersoon (naam, functie, e-mail en telefoonnummer)
1.4 | Heeft u ervaring met de Nederlandse spoorbranche en zo ja, welke?
1.5 | Wat is de doelstelling van de organisatie? En hoe speelt wisselverwarming daarin een rol?
1.6 | Op welke wijze geeft uw organisatie invulling aan Maatschappelijk Verantwoord Ondernemen (MVO)?
1.7 | Heeft u ervaring met de levering van wisselverwarming in Nederland en/of Europa? Zo ja, in welke landen?
1.8 | Vertegenwoordigt u een zelfstandig opererend bedrijf of opereert uw bedrijf in een ander verband?
1.9 | Wat is uw aantoonbare jaarlijkse omzet in verkoop van wisselverwarmingssytemen (kasten en volledige systemen)?
1.10 | Wat is uw aantoonbare jaarlijkse omzet in onderhoud van wisselverwarmingssytemen?
1.11 | Waarin onderscheidt uw bedrijf zich van andere aanbieders in de markt?
2 | Ervaring met vergelijkbare uitdagingen en aanbestedingen
2.1 | Wat is uw ervaring op het gebied van wisselverwarming in Europa? Hoeveel systemen levert u, gemiddeld, jaarlijks in Europa?
2.2 | Welke producten of diensten levert u die van meerwaarde kunnen zijn voor de beschreven opgaven?
3 | Werkbaarheid
3.1 | Indien u niet bekend bent met het Nederlandse spoor hoe denk u dan het ontwerpen, certificeren, aanbrengen en onderhoud van de systemen te realiseren?
4 | Techniek
4.1 | Grofweg kennen we twee oplossingen voor (elektrische) wisselverwarming in Europa: 1) zelfregulerende linten en 2) conventionele verwarmingselementen. In welke categorie valt uw systeem?
4.2 | Als uw systeem niet in één van deze categorieën valt: hoe zou u uw systeem categoriseren? En hoe ziet die techniek er globaal uit en wat zijn de voor en nadelen?
4.3 | ProRail maakt gebruik van conventionele verwarmingselementen. Bent u bekend met de huidige oplossing die nu gevraagd wordt in Nederland m.b.t. wisselverwarming? Hoe verhoudt uw systeem zich hier toe? Wat doet u beter of kunt u beter dan de huidige systemen die in Nederland gebruikt worden? En waar blijkt dat uit?
4.4 | Heeft u een schets/tekening en/of een brochure van uw oplossing? Indien ja, ontvangen wij deze graag.
4.5 | Heeft u testrapporten met de te testen specificaties van uw systeem welke door een onafhankelijk instantie zijn uitgevoerd? Indien ja, ontvangen wij deze graag.
4.6 | Heeft u een eigen ontwerpafdeling die ervaring heeft met het ontwerpen van wisselverwarmingssystemen of wordt dit uitbesteed?
4.7 | Bent u bekend met het bouwen van elektrische laagspanningsinstallaties volgens de Nederlandse normering voor elektrische laagspanningsinstallaties zoals de NEN 1010 en NEN 3140? Zo niet, volgens welke (Europese) elektrotechnische normering heeft u laagspanningsinstallaties ontworpen en gebouwd?
4.8 | Heeft u ervaring met een wisselverwarmingssysteem waarvan de elektrische verwarmingslinten gemonteerd aan een niet geaarde spoorstaaf die onderdeel uitmaakt: -van een 1500V tractie-retoursysteem; -van een spoorgebonden treindetectiesysteem (GRS, Jade).
4.9 | Weet u wat de grenzen van uw systeem zijn? Met welke weersomstandigheden kan u systeem nog omgaan?
5 | Toekomst
5.1 | Wat is uw verwachting en de ontwikkeling van wisselverwarming in de toekomst?
6 | Innovatie
6.1 | Indien u bekend bent met het huidige ProRail wisselverwarming systeem: ziet u verbeteringen? Zo ja, welke?
6.2 | Welke innovaties heeft u toegepast om energie te besparen?
6.3 | ProRail verwarmt op dit moment alleen de aanslagspoorstaaf. Zou ProRail moeten overwegen om ook de tong te verwarmen? En hoe ziet u het verwarmen van glijstoelen?
6.4 | ProRail kent voor de tongen verschillende wattages (500 en 700 Watt per meter). Wat voor wattages zou u aanhouden?
6.5 | Een van de grootste uitdagingen bij elektrische systemen op dit moment is de netcongestie van de stroom. Wisselverwarming speelt hier een grote rol in, omdat wisselverwarming veel stroom verbruikt. Welke slimmigheden heeft u in uw systeem wat kan helpen bijdragen aan het mitigeren van dit probleem?
6.6 | Welke nieuwe ontwikkelingen ziet u op wisselverwarming gebied en zou u bij voorkeur willen introduceren en waarom?
6.7 | In de toekomst willen we onze installaties aan gaan sluiten op een App. Daarmee willen we onze installaties gaan monitoren en besturen. Nu beperkt zich de besturing tot een paar basale zaken. Wat zouden uw adviezen zijn om op te nemen in deze app?
6.8 | ProRail maakt gebruik van scheidingstransformatoren. Aan de secundaire kant (richting de lintelementen) is een IT-aardingstelsel, welke beveiligd wordt door isolatiebewaking. Het ingrijpen van deze bewaking is een van de meest voorkomende storingen. Er zijn verschillende oorzaken hiervoor (degeneratie, kwaliteit van de lintelementen, vocht, verkeerd geplaatste bevestigingsmiddelen, algehele kwaliteit). Waar ziet u de grootste verbeteringsmogelijkheden hier?
7 | Onderhoud en garantie
7.1 | Wat is uw visie, na einde technische levensduur, op het hergebruik van wisselverwarming artikelen en hoe zou u dit aanpakken?
7.2 | Op dit moment vraagt ProRail om een MTBF van elk los component van 100.000 uur. De MTBF van een complete installatie is 50.000 uur (exclusief de lintelementen). Is dit realistisch? Wat is jullie ervaring hierin
7.3 | Op dit moment is het onderhoud uitbesteed aan onderhoudspartijen. Een wisselverwarming leverancier wordt, indien nodig, ingeroepen door de onderhoudspartij om te assisteren. Dat betekent dat de onderhoudsaannemer kleine wijzigingen of reparaties niet met de wisselverwarming leverancier en/of ProRail bespreekt. Hoe zou u dit idealiter vormgeven?
7.4 | Bij aanleg: Op dit moment is er geen contract tussen ProRail en wisselverwarming leverancier. Wel tussen hoofdaannemer en leverancier en tussen hoofdaannemer en ProRail. Het aanspraak maken op garantie is dus altijd moeilijk voor ProRail. Hoe zou ProRail garantie moeten opnemen in de contracten met de opdrachtnemer?
7.5 | Wat is uw standaard garantietermijn van uw installatie?
7.6 | De gebruikte PLC heeft een gemiddelde technische levensduur tussen 10-15 jaar, wat is uw ervaring en als deze termijn bereikt is wat zijn dan de consequenties? De voorgestelde eis is nu een levensduur van 25 jaar voor de gehele installatie, maar is dit realistisch?
7.7 | Hoe zien de preventieve onderhoudstermijnen eruit uit en welke componenten dienen dan vervangen te worden om de technische levensduur van 25 jaar te halen?
8 | Overig
8.1 | Waar dient ProRail rekening mee te houden als zij bovenliggende scope in de markt zet in haar uitvraag? Heeft u tips? Welke aanpak beveelt u ons aan?
8.2 | Heeft u suggesties aan ProRail omtrent deze marktconsultatie? Zo ja, welke?
8.3 | Welke vragen/ontwerpen/risico’s/kansen vindt u van belang, maar vindt u niet terug in dit hoofdstuk? En waarom vindt u deze van belang.
8.4 | Indien er op grond van deze marktconsultatie, op basis van dit document, nog vragen zijn die voor uw antwoord essentieel zijn: kunt u deze, kort en bondig, puntsgewijs weergeven? Hierbij niet alleen de vraag, maar tevens een toelichting waaruit blijkt dat de vraag noodzakelijk is voor uw beantwoording.

## MC Switch heating
Attachement 1: Questions Tender - Standardization of Switch Heating V1.0’ TN
Versie 1.0 , Definitief.
Number according chapter 10 MC document | Question | Answer interested party | Remark
1 | Company information
1.1 | Name of the organisation
1.2 | Adress of the organisation
1.3 | Contact person (name, position, email and phone number)
1.4 | Do you have experience in the railway industry, and if so, what kind?
1.5 | What is the organization's objective? And what part does has switch heating?
1.6 | In what way does your organization implement Corporate Social Responsibility (CSR)?
1.7 | Do you have experience with the delivery of switch heating in the Netherlands and/or Europe? If so, in which countries?
1.8 | Do you represent an independently operating company or does your company operate in another capacity?
1.9 | What is your demonstrable annual turnover in sales of switch heating systems (cabinets and complete systems)?
1.10 | What is your demonstrable annual turnover in maintenance of switch heating systems?
1.11 | What sets your company apart from other providers in the market?
2 | Experience with similar challenges and tenders
2.1 | What is your experience in the field of switch heating in Europe? How many systems do you deliver, on average, annually in Europe?
2.2 | What products or services do you provide that can add value to the tasks described?
3 | Feasibility
3.1 | If you are not familiar with the Dutch railways, how do you plan to design, certify, install and maintain the systems?
4 | Technology
4.1 | Roughly speaking, we know two solutions for (electrical) switch heating in Europe: 1) self-regulating ribbons and 2) conventional heating elements. In which category does your system fall?
4.2 | If your system does not fall into one of these categories: how would you categorize your system? And what does that technology look like in general and what are the advantages and disadvantages?
4.3 | ProRail uses conventional heating elements. Are you familiar with the current solution that is now being requested in the Netherlands with regard to switch heating? How does your system compare to this? What do you do better or can you do better than the current systems that are used in the Netherlands? And where is that evident?
4.4 | Do you have a sketch/drawing and/or a brochure of your solution? If so, we would like to receive it.
4.5 | Do you have test reports with the specifications of your system to be tested that have been carried out by an independent body? If so, we would like to receive them.
4.6 | Do you have your own design department that has experience with designing switch heating systems or is this outsourced?
4.7 | Are you familiar with building low-voltage electrical installations according to the Dutch standards for low-voltage electrical installations such as NEN 1010 and NEN 3140? If not, according to which (European) electrical standards have you designed and built low-voltage installations?
4.8 | Do you have experience with a switch heating system where the electrical heating tapes are mounted on an unearthed rail that is part of: -a 1500V traction return system; -a track-bound train detection system (GRS, Jade).
4.9 | Do you know what the limits of your system are? What weather conditions can your system still handle?
5 | Future
5.1 | What is your expectation and the development of switch heating in the future?
6 | Innovation
6.1 | If you are familiar with the current ProRail switch heating system: do you see any improvements? If so, which ones?
6.2 | What innovations have you implemented to save energy?
6.3 | ProRail currently only heats the strike rail. Should ProRail consider heating the tongue as well? And how do you see heating slide chairs?
6.4 | ProRail has different wattages for the tongues (500 and 700 Watts per meter). What wattages would you use?
6.5 | One of the biggest challenges in electrical systems at the moment is the grid congestion of the power. Switch heating plays a major role in this, because switch heating consumes a lot of power. What smart features do you have in your system that can help mitigate this problem?
6.6 | What new developments do you see in the area of ​​switch heating and would you prefer to introduce and why?
6.7 | In the future, we want to connect our installations to an App. We want to use this to monitor and control our installations. At the moment, the control is limited to a few basic things. What would be your advice to include in this app?
6.8 | ProRail uses isolation transformers. On the secondary side (towards the ribbon elements) there is an IT earthing system, which is protected by insulation monitoring. The intervention of this monitoring is one of the most common malfunctions. There are various causes for this (degeneration, quality of the ribbon elements, moisture, incorrectly placed fasteners, overall quality). Where do you see the greatest improvement opportunities here?
7 | Maintenance and warranty
7.1 | What is your vision, after the end of the technical lifespan, on the reuse of switch heating items and how would you approach this?
7.2 | At the moment, ProRail asks for an MTBF of 100,000 hours for each individual component. The MTBF of a complete installation is 50,000 hours (excluding the ribbon elements). Is this realistic? What is your experience in this and how do you think you can demonstrate this?
7.3 | At the moment, maintenance is outsourced to maintenance parties. A switch heating supplier is called in by the maintenance party to assist if necessary. This means that the maintenance contractor does not discuss minor changes or repairs with the switch heating supplier and/or ProRail. How would you ideally shape this?
7.4 | During construction: At the moment, there is no contract between ProRail and the switch heating supplier. There is between the main contractor and the supplier and between the main contractor and ProRail. Claiming a guarantee is therefore always difficult for ProRail. How should ProRail include a guarantee in the contracts with the contractor?
7.5 | What is your standard guarantee period for your installation?
7.6 | The PLC used has an average technical lifespan of 10-15 years, what is your experience and if this period is reached what are the consequences? The proposed requirement is now a lifespan of 25 years for the entire installation, but is this realistic?
7.7 | What do the preventive maintenance periods look like and which components should be replaced to achieve the technical lifespan of 25 years?
8 | Other questions
8.1 | What should ProRail take into account when putting the overarching scope to the market in its request? Do you have any tips? What approach do you recommend?
8.2 | Do you have any suggestions for ProRail regarding this market consultation? If so, what are they?
8.3 | What questions/designs/risks/opportunities do you consider important but are not covered in this chapter? And why do you consider them important?
8.4 | If there are any questions based on this market consultation document that are essential for your response, could you list them briefly and concisely? Please include not only the question but also an explanation showing why the question is necessary for your response.