## Requirements
Annex A04 - Compliance to Requirements - Answers to Preferences Applicable to the European public Procurement Procedure for the design, delivery and deployment of 4 borehole monitoring strings, reference number WS2429850681
The Tenderer demonstrates the ability to meet the requirements by answering Yes/No to the questions, which must be structured in accordance with the requirements given in Chapter 8. Tenders that are incomplete and/or fail to meet all the formal requirements will be declared invalid by TNO and discarded. Missing answers, documents, or data will result in exclusion if there is no rectifiable omission. TNO assesses the Tenders against the Programme of Requirements and Preferences. The Programme of Requirements and Preferences includes Minimum Requirements, Performance Requirements and Preferences. The Minimum Requirements must be met on penalty of invalidity at the time of submission of the Tender, the Performance Requirements only at the time of performance of the Contract and the Preferences must be worked out by Tenderers as part of the award of the Contract.
Requirement | Aspect | Requirement description | Confirmation of fullfillment of requirement Yes/No | Remarks
8.1 Requirements for Tool string 1 – MDM-GT-03-S2
8.1.1 Base request - Tool String 1A
Table 2 Requirements for geophones and cabling in MDM-GT-03-S2 (Base Request)
8.1.1.1 | Number | Five geophones at 200, 1500, 2100, 2250, and 2350 m along hole depth.
8.1.1.2 | Components | The provided geophones must be 3 component geophones
8.1.1.3 | Bandwidth | The bandwidth of the provided geophones must be 15 - 500 Hz, suitable for recording microseismicity down to ~M -1.5
8.1.1.4 | Logging rate | Signal should be such that it can be sampled at a logging rate of 500 Hz
8.1.1.5 | Dynamic range | > 145 dB
8.1.1.6 | Sensitivity | > 70 V/m/s
8.1.1.7 | Resonance freq. | < 5 Hz
8.1.1.8 | Max. diameter | The provided geophones must fit within the 13 3/8”, 9 5/8”, 7”, and 5 1/2” casings or liners, depending on the geophone depth. (see well completion diagram in section 1.1 of Annex C02)
8.1.1.9 | Formation coupling | A good stabilization must be provided so the geophones do not rotate, and a good coupling must be provided between the geophones and the borehole casing (see chapter 1 of Annex C02), e.g. like anchoring the geophones to the borehole wall.
8.1.1.10 | Removability & redeployability | The design of the tool string and coupling of the geophones to the borehole casing should be such that the string is removable and be able to be placed back in the well, e.g. in case of equipment failure or the obligatory well integrity logging (once every 5 years), without failure of the string.
8.1.1.11 | Deviation | The provided geophones and cabling must be able to handle at least 33 degrees tilt of the wellbore (this is the deviation at the deepest part of the wellbore, see 1.3 of Annex C02)
8.1.1.12 | Fluids | The provided geophones and cabling must be able to function in the fluid composition as found within MDM-GT-03-S2, for >5 years (see section 1.3 of Annex C02). Geophone seals should hold under these conditions, and the effect of potential dissolved gases and biocide on the geophone seals must be taken into account for the geophone design.
8.1.1.13 | Temperature | The provided geophones and cabling must operate at least within the temperature range 0 - 80 degrees C
8.1.1.14 | Pressure | The provided geophones and cabling must be able to withstand fluid pressures up to 25 MPa
8.1.1.15 | Output | The provided geophones must output analog signals. Downhole digitization is not preferred.
8.1.1.16 | Lifetime | Lifetime of the tool string in the well must be >5 years, preferable >10 years
8.1.1.17 | Redundancy | High value is attached to redundancy. If one instrument fails, the other one should keep functioning.
8.1.1.18 | Cabling | The cable/wireline on which the geophones are deployed must be strong and durable enough to last at least 5 years at the downhole pressures, temperatures and brine chemistry. The cable must be strong enough to maintain integrity during removal of the toolstring for logging and subsequent redeployment, with an ample safety margin.
8.1.1.19 | Feed-through | Supplier (or third party working for supplier) ensures feed-through port through the wellhead, in consultation with TNO and operator Ennatuurlijk Aardwarmte. See also Annex C02
8.1.1.20 | Installation | Supplier (or third party working for supplier) installs the tool string in the well and ensure surface installation, in consultation with the operator Ennatuurlijk Aardwarmte. Supplier performs testing and calibration of the instruments.
8.1.1.21 | Datasheet | Full datasheet of the geophones must be submitted by supplier
1.1.1 Extension 1 – Tool String 1B
8.1.2.1 | Characteristics | Plug at ~2429 m AH depth ( = 2209 TVD m)
8.1.2.2 | Pressure | The plug/packer should isolate the reservoir section below, and be able to withstand a differential pressure of 2.5 MPa with respect to the ambient pressure at 2209 m TVD (0.106 bar/m).
8.1.2.3 | Max. diameter | The provided plug must fit within the 5 1/2” liner (see section 1.2 of Annex C02)
8.1.2.4 | Removability | The plug should be removable and be able to be placed back in the well, e.g. in case of equipment failure or during the obligatory well integrity logging every 5 years.
8.1.2.5 | Deviation | The provided plug must be able to be placed in a cased section tilting up to 33° from vertical (see 1.3 of Annex C02)
8.1.2.6 | Fluids | The provided plug must be able to function in the fluid composition as found within MDM-GT-03-S2, for >5 years (see section 1.3 of Annex C02). The effect of potential dissolved gases and biocide on the plug must be taken into account.
8.1.2.7 | Temperature | The provided plug must operate at least within the temperature range -5 to 95 degrees C
8.1.2.8 | Compatibility | The plug should be compatible with the Tool String 1A, and allow through-put for pressure and temperature gauges below. It could either be installed disconnected from the Tool String, or be part of the tool string.
8.1.2.9 | Lifetime | Lifetime must be >5 years, preferable >10 years.
8.1.2.10 | Deployment | Supplier arranges deployment of the plug.
8.1.2.11 | Datasheet | Full datasheet of the pressure gauge must be submitted by supplier
8.1.2.12 | Number & depth | One pressure gauge in the reservoir interval (between 2480 – 2690 m AH depth, preferable in the middle of the reservoir)
8.1.2.13 | Resolution | The gauge should be able to record pressure change to a resolution down to at least 0.05 MPa.
8.1.2.14 | Max. diameter | The provided pressure gauge must fit within the 5 1/2” screens (see section 1.2 of Annex C02)
8.1.2.15 | Removability | The pressure gauge should be removable and be able to be placed back in the well, e.g. in case of equipment failure or during the obligatory well integrity logging every 5 years.
8.1.2.16 | Deviation | The provided pressure gauge must be able to handle at least 33° tilt at 1900 m depth (see 1.3 of Annex C02)
8.1.2.17 | Fluids | The provided pressure gauge must be able to function in the fluid composition as found within MDM-GT-03-S2, for >5 years (see section 1.3 of Annex C02). The effect of potential dissolved gases and biocide on the instrument must be taken into account.
8.1.2.18 | Temperature | The provided pressure gauge must operate at least within the temperature range 15 to 95 degrees C
8.1.2.19 | Pressure | The provided pressure gauge must be able to withstand fluid pressures of at least 28 MPa
8.1.2.20 | Compatibility | The temperature gauge should be compatible with Tool String 1A and the plug, which is located above the temperature gauge.
8.1.2.21 | Output | The provided pressure gauge must preferably output analog signals, in (near-) real time.
8.1.2.22 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.1.2.23 | Datasheet | Full datasheet of the pressure gauge must be submitted by supplier
8.1.2.24 | Compatibility | The temperature gauge should be deployed beneath the plug of Table 3.
8.1.2.25 | Number & depth | One temperature gauge in the reservoir interval (between 2480 – 2690 m AH depth, preferable in the middle of the reservoir)
8.1.2.26 | Resolution | The gauge should be able to record temperature changes to a resolution down to at least 0.05 °C.
8.1.2.27 | Max. diameter | The provided temperature gauge must fit within the 5 1/2” screens (see section 1.2 of Annex C02)
8.1.2.28 | Removability | The temperature gauge should be removable and be able to be placed back in the well, e.g. in case of equipment failure or during the obligatory well integrity logging every 5 years.
8.1.2.29 | Deviation | The provided temperature gauge must be able to handle at least 40° tilt at 1900 m depth (see 1.3 of Annex C02)
8.1.2.30 | Fluids | The provided temperature gauge must be able to function in the fluid composition as found within MDM-GT-03-S2, for >5 years (see section 1.3 of Annex C02). The effect of potential dissolved gases and biocide on the instrument must be taken into account.
8.1.2.31 | Temperature | The provided temperature gauge must operate at least within the temperature range 15 to 95 degrees C
8.1.2.32 | Pressure | The provided temperature gauge must be able to withstand fluid pressures of at least 28 MPa
8.1.2.33 | Output | The provided temperature gauge must preferably output analog signals, in (near-) real time.
8.1.2.34 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.1.2.35 | Datasheet | Full datasheet of the temperature gauge must be submitted by supplier
8.1.2.36 | Compatibility | The temperature gauge should be deployed beneath the squeeze plug (Table 3)
1.1.1 Extension 2 – Tool String 1C with DAS/DTS cable and DAS interrogator
8.1.3.1 | Measurements | The DAS interrogator is capable of conducting DAS measurements for the purpose of recording microseismicity.
8.1.3.2 | Compatibility | The DAS interrogator must be compatible both with single-mode and multi-mode fiber optic cables.
8.1.3.3 | Health | Interrogator includes a field computer with software that can control the recording parameters of the hardware and that allows a system health check.
8.1.3.4 | System | The DAS interrogator must include all components that are required to make the system fully functional and operational.
8.1.3.5 | Recording | The system is capable of recording passive seismic data continuously, including being able to time stamp the data.
8.1.3.6 | Triggering | The system is capable of recording active seismic data by using an external trigger to start recordings. It should be able to accept a closure as wells as a TTL pulse as external trigger. The record length and sampling rate should be adjustable in the software.
8.1.3.7 | GPS | A GPS receiver is part of the acquisition system for accurate time synchronization of the DAS data.
8.1.3.8 | Cable length | The system allows acquisition of DAS measurements up to a fiber optic cable length of 50 km or more.
8.1.3.9 | Frequency | The measurements should cover a frequency range of at least down to 0.1 Hz and up to at least 32 kHz.
8.1.3.10 | Strain rate | The recording hardware (combination of interrogator with fibre-optic cable) is able to measure strain rate data equivalent to a seismic particle velocity down to 10-8 m/s.
8.1.3.11 | Connection | The system allows remote data access via an ethernet connection.
8.1.3.12 | Data storage | Data should also be transferrable by physically exchanging storage media.
8.1.3.13 | Course | The system should be offered including an Introduction course for operating the delivered equipment.
8.1.3.14 | Gauge length | The DAS interrogator must provide flexibility in gauge length ranging from 2m up to 30 meter.
8.1.3.15 | Data format | Data should be stored or convertible in to a SEG-conform file format (e.g. SEGY), including relevant file headers.
8.1.3.16 | Price | The total price should be below EUR 215.000 (in accordance with the EU threshold that are applied from 1 January 2022).
8.1.3.17 | Price | The (total price of the) DAS interrogator includes Freight and shipping cost (DDP incoterms 2020) and Operating manuals.
8.1.3.18 | Delivery | The DAS interrogator will be delivered with and placed in a flight cases to safely transport and store and protect all equipment.
8.1.3.19 | Number of fibers | 2 single mode fibers. At least 2 multimode fibers, preferably 4.
8.1.3.20 | Temperature | The cable outer materials must protect the fibers up to a temperature of 85 degrees.
8.1.3.21 | Pressure | The cable must be able to withstand fluid pressures of at least 25 MPa
8.1.3.22 | Fluids | The provided cable must be able to function in the fluid composition as found within MDM-GT-03-S2, for >5 years (see section 1.3 of Annex C02). The effect of potential dissolved gases and biocide on the cable must be taken into account.
8.1.3.23 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.1.3.24 | Datasheet | Full datasheet of the temperature gauge must be submitted by supplier
8.1.3.25 | Compatibility | DAS cable should be combined with Toolstring 1A in such a way both geophones and DAS cable remain functional.
8.1.3.26 | Calibration & testing | Supplier ensures the fiber optic system is calibrated, and co-location points with geophones are known, prior to deployment.
Question 8.1.1 | Compatibility | Include a description on how the fiber optic cable could be optimally combined with the geophone string (i.e. how Requirement 8.1.7.7 is fulfilled) | Reference in Tenderer's documentation where Tenderer indicates the answer to this question:
Question 8.1.2 | Coupling | Include a note on the feasibility of recording microseismic with a cable that is lying loose inside a cased (deviated) well. | Reference in Tenderer's documentation where Tenderer indicates the answer to this question:
1.2 Requirements for Tool String 2 – VDB-GT-01-S1 at Bleiswijk
8.2.1 | Number | Two geophones at 30 and 350 m along-hole depth
8.2.2 | Components | The provided geophones must be 3 component geophones
8.2.3 | Bandwidth | The bandwidth of the provided geophones must be 15 - 500 Hz, suitable for recording microseismicity down to ~M -1.0
8.2.4 | Logging rate | Signal should be such that it can be sampled at a logging rate of 500 Hz
8.2.5 | Dynamic range | > 145 dB
8.2.6 | Sensitivity | > 70 V/m/s
8.2.7 | Resonance freq. | < 5 Hz
8.2.8 | Max. diameter | The provided geophones must fit within the 9 5/8” liner (see section 2.1 of Annex C02)
8.2.9 | Formation coupling | A good stabilization must be provided so the geophones do not rotate, and a good coupling must be provided between the geophones and the borehole casing (see chapter 1 of Annex C02), e.g. like anchoring the geophones to the borehole wall.
8.2.10 | Removability | The mechanical coupling of the geophones to the borehole casing should be such that the string is removable at the end of the monitoring period.
8.2.11 | Deviation | The provided geophones and cabling must be able to handle at least a few degrees of tilt of the wellbore (see chapter 2 of Annex C02)
8.2.12 | Fluids | The provided geophones and cabling must be able to function in the fluid composition as found within VDB-GT-01-S1, for >5 years (see section 2.4 of Annex C02) – i.e. a brine of 1.06 sg. Geophone seals should hold under these conditions, and the effect of potential dissolved gases and biocide on the geophone seals must be taken into account for the geophone design.
8.2.13 | Temperature | The provided geophones and cabling must operate at least within the temperature range -5 to 30 degrees C
8.2.14 | Pressure | The provided geophones and cabling must be able to withstand fluid pressures of at least 5 MPa
8.2.15 | Output | The provided geophones must output analog signals. Downhole digitization is not preferred.
8.2.16 | Lifetime | Lifetime of geophones and cabling must be >5 years, preferable >10 years
8.2.17 | Redundancy | High value is attached to redundancy. If one instrument fails, the other one should keep functioning.
8.2.18 | Cabling | Cabling must be strong enough to hold geophones and its own weight, and to be pulled out of the wellbore at the end of the monitoring period.
8.2.19 | Feed-through | Supplier (or third party working for supplier) ensures feed-through port through the wellhead if not already available, in consultation with operator GAIA Energy and TNO. See also Annex C02
8.2.19 | Installation | Supplier (or third party working for supplier) installs the tool string in consultation with the operator GAIA Energy. Supplier performs testing and calibration of the instruments.
8.2.20 | Datasheet | Full datasheet of the geophones must be submitted by supplier
1.3 Requirements for Tool String 3 – VDB-GT-03-S1
1.3.1 Base request - Tool String 3
8.3.1.1 | Number | Two geophones at 490 and 700 m along-hole depth
8.3.1.2 | Components | The provided geophones must be 3 component geophones
8.3.1.3 | Bandwidth | The bandwidth of the provided geophones must be 15 - 500 Hz, suitable for recording microseismicity down to ~M -1.5
8.3.1.4 | Logging rate | Signal should be such that it can be sampled at a logging rate of 500 Hz
8.3.1.5 | Dynamic range | > 145 dB
8.3.1.6 | Sensitivity | > 70 V/m/s
8.3.1.7 | Resonance freq. | < 5 Hz
8.3.1.8 | Max. diameter | The provided geophones must fit within the 9 5/8” casing (see section 2.1 of Annex C02)
8.3.1.9 | Formation coupling | A good stabilization must be provided so the geophones do not rotate, and a good coupling must be provided between the geophones and the borehole casing (see chapter 1 of Annex C02), e.g. like anchoring the geophones to the borehole wall.
8.3.1.10 | Removability | The design of the geophone tool string should be such that the string is removable at the end of the monitoring period.
8.3.1.11 | Deviation | The provided geophones and cabling must be able to handle at least a few degrees of tilt of the wellbore (see chapter 2 of Annex C02)
8.3.1.12 | Fluids | The provided geophones and cabling must be able to function in the fluid composition as found within VDB-GT-03-S1, for >5 years (see section 2.4 of Annex C02) – i.e. a brine of 1.06 sg. Geophone seals should hold under these conditions, and the effect of potential dissolved gases and biocide on the geophone seals must be taken into account for the geophone design.
8.3.1.13 | Temperature | The provided geophones and cabling must operate at least within the temperature range -5 to 45 degrees C
8.3.1.14 | Pressure | The provided geophones and cabling must be able to withstand fluid pressures of at least 10 MPa
8.3.1.15 | Output | The provided geophones must output analog signals. Downhole digitization is not preferred.
8.3.1.16 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.3.1.17 | Redundancy | High value is attached to redundancy. If one instrument fails, the other one(s) should keep functioning.
8.3.1.18 | Cabling | Cabling must be strong and resilient enough to keep functioning under the fluid, temperature and pressure conditions specified above, and to be pulled out of the hole intact after prolonged periods of time.
8.3.1.19 | Feed-through | Supplier (or third party working for supplier) ensures feed-through port through the wellhead, in consultation with operator GAIA Energy and TNO. See also Annex C02
8.3.1.20 | Installation | Supplier (or third party working for supplier) installs the tool string in consultation with the operator GAIA Energy. Supplier performs testing and calibration of the instruments.
8.3.1.21 | Datasheet | Full datasheet of the geophones must be submitted by supplier
1.3.2 Extension 3 – Tool String 3B with extra geophone
8.3.2.1 | Number | An extra geophone on string 3A at 200 m
8.3.2.2 | Compatibility | Included on Tool String 3A, same Requirements for all other settings
1.4 8.4 Requirements for Tool String 4 - VDB-GT-04
1.4.1 Base request - Tool String 4
8.4.1.1 | Number | Two geophones at 750 and 1800 m along-hole (AH) depth
8.4.1.2 | Components | The provided geophones must be 3 component geophones
8.4.1.3 | Bandwidth | The bandwidth of the provided geophones must be 15 - 500 Hz, suitable for recording microseismicity down to ~M -1.5
8.4.1.4 | Logging rate | Signal should be such that it can be sampled at a logging rate of 500 Hz
8.4.1.5 | Dynamic range | > 145 dB
8.4.1.6 | Sensitivity | > 70 V/m/s
8.4.1.7 | Resonance freq. | < 5 Hz
8.4.1.8 | Max. diameter | The provided geophones must fit within the 9 5/8” casing and 7” liner (see section 2.1 of Annex C02)
8.4.1.9 | Formation coupling | A good stabilization must be provided so the geophones do not rotate, and a good coupling must be provided between the geophones and the borehole casing (see chapter 1 of Annex C02), e.g. like anchoring the geophones to the borehole wall.
8.4.1.10 | Removability & redeployability | The design of the tool string and coupling of the geophones to the borehole casing should be such that the string is removable and be able to be placed back in the well, e.g. in case of equipment failure or the obligatory well integrity logging (once every 5 years), without failure of the string.
8.4.1.11 | Deviation | The provided geophones and cabling must be able to handle at least 5° tilt of the wellbore at 750 m depth and at least 45° tilt at 1800 m AH depth (see chapter 2 of Annex C02)
8.4.1.12 | Fluids | The provided geophones and cabling must be able to function in the fluid composition as found within VDB-GT-04, for >5 years (see section 2.4 of Annex C02). Geophone seals should hold under these conditions, and the effect of potential dissolved gases and biocide on the geophone seals must be taken into account for the geophone design.
8.4.1.13 | Temperature | The provided geophones and cabling must operate at least within the temperature range -5 to 70 degrees C
8.4.1.14 | Pressure | The provided geophones and cabling must be able to withstand fluid pressures of at least 20 MPa
8.4.1.15 | Output | The provided geophones must output analog signals. Downhole digitization is not preferred.
8.4.1.16 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.4.1.17 | Redundancy | High value is attached to redundancy. If one instrument fails, the others should keep functioning.
8.4.1.18 | Cabling | Cabling must retain integrity and strength under the pressure and temperature conditions specified above. Cable must be strong enough to allow pulling out the tool string during mandatory logging operations, with a safe margin.
8.4.1.19 | Feed-through | Supplier (or third party working for supplier) ensures feed-through port through the wellhead, in consultation with operator GAIA Energy and TNO. See also Annex C02
8.4.1.20 | Installation | Supplier (or third party working for supplier) installs the tool string in consultation with the operator GAIA Energy and TNO. Supplier performs testing and calibration of the instruments.
8.4.1.21 | Datasheet | Full datasheet of the geophones must be submitted by supplier
8.4.1.22 | Number | One pressure gauge in the center of the reservoir interval
8.4.1.23 | Resolution | The gauge should be able to record pressure change to a resolution down to at least 0.05 MPa or ≤0.05%.
8.4.1.24 | Max. diameter | The provided pressure gauge must fit within the 5 1/2” screens (see section 2.1 of Annex C02)
8.4.1.25 | Removability | The pressure gauge should be removable and be able to be placed back in the well, e.g. in case of equipment failure or during the obligatory well integrity logging every 5 years.
8.4.1.26 | Deviation | The provided pressure gauge must be able to handle at least 45° tilt at 1900 m AH depth (see chapter 2 of Annex C02)
8.4.1.27 | Fluids | The provided pressure gauge must be able to function in the fluid composition as found within VDB-GT-04, for >5 years (see section 2.4 of Annex C02). The effect of potential dissolved gases and biocide on the instrument must be taken into account.
8.4.1.28 | Temperature | The provided pressure gauge must operate at least within the temperature range -5 to 85 degrees C
8.4.1.29 | Pressure | The provided pressure gauge must be able to withstand fluid pressures of at least 25 MPa
8.4.1.30 | Lifetime | Lifetime must be >5 years
8.4.1.31 | Datasheet | Full datasheet of the pressure gauge must be submitted by supplier
8.4.1.32 | Number | One temperature gauge in the reservoir
8.4.1.33 | Resolution | The gauge should be able to record temperature changes to a resolution down to at least 0.05 °C.
8.4.1.34 | Max. diameter | The provided temperature gauge must fit within the 5 1/2” screens (see section 2.1 of Annex C02)
8.4.1.35 | Removability | The temperature gauge should be removable and be able to be placed back in the well, e.g. in case of equipment failure or during the obligatory well integrity logging every 5 years.
8.4.1.36 | Deviation | The provided temperature gauge must be able to handle at least 45° tilt at 1900 m depth (see chapter 2 of Annex C02)
8.4.1.37 | Fluids | The provided temperature gauge must be able to function in the fluid composition as found within VDB-GT-04, for >5 years (see section 2.4 of Annex C02). The effect of potential dissolved gases and biocide on the instrument must be taken into account.
8.4.1.38 | Temperature | The provided temperature gauge must operate at least within the temperature range -5 to 85 degrees C
8.4.1.39 | Pressure | The provided temperature gauge must be able to withstand fluid pressures of at least 25 MPa
8.4.1.40 | Lifetime | Lifetime must be >5 years
8.4.1.41 | Datasheet | Full datasheet of the temperature gauge must be submitted by supplier
1.4.2 Extension 4 – Tool String 4B with DAS/DTS
8.4.2.1 | Number of fibers | 2 single mode fibers
At least 4 multimode fibers
8.4.2.2 | Temperature | The cable outer materials must protect the fibers up to a temperature of 70 degrees.
8.4.2.3 | Pressure | The cable must be able to withstand fluid pressures of at least 20 MPa
8.4.2.4 | Fluids | The provided cable must be able to function in the fluid composition as found within VDB-GT-04, for >5 years (see section 2.4 of Annex C02). The effect of potential dissolved gases and biocide on the cable must be taken into account.
8.4.2.5 | Lifetime | Lifetime must be >5 years, preferable >10 years
8.4.2.6 | Compatibility | The cable must be compatible with tool string 4 of the Base Request, with both the geophones and the fiber optic cable functioning.
8.4.2.7 | Datasheet | Full datasheet of the temperature gauge must be submitted by supplier
8.4.2.8 | General | The DTS interrogator can acquire DTS measurements along fiber optic cables
8.4.2.9 | Compatibility | The DTS interrogator must be compatible both with single-mode and multi-mode fibers
8.4.2.10 | General | A field computer with software that can control the recording parameters of the hardware and that allows a system health check
8.4.2.11 | General | The DTS interrogator must include all components that are required to make the system fully functional and operational.
8.4.2.12 | General | The system is capable of recording continuously, including being able to time stamp the data.
8.4.2.13 | Sampling rate | The sampling rate should be adjustable in the software. A maximum pulse repetition rate of at least 5kHz for a distance of fiber of 10 km.
8.4.2.14 | GPS | A GPS receiver is part of the acquisition system for accurate time synchronization the recorded DTS data
8.4.2.15 | Sampling length | The system allows acquisition of DTS measurements along optical fibers with a length up to 10 km or more
8.4.2.16 | General | The measurements should cover a frequency range of
8.4.2.17 | General | The DTS interrogator must be based on Raman scattering
8.4.2.18 | Temperature resolution | The DTS interrogator combined with an fiber optic cable (Table 15) form a DTS system that has the potential to measure temperature with a resolution of less than 1.0 degree at a distance up to 6 km along the fiber.
8.4.2.19 | Temporal resolution | The DTS system can achieve a temporal resolution as high as 1 second.
8.4.2.20 | Spatial resolution | The DTS system can reach a spatial resolution as high as 1 meter.
8.4.2.21 | Accuracy | The DTS system has the potential to provide a temperature accuracy up to 0.1 degrees, and at least less than 1 degree.
8.4.2.22 | Connectivity | The system allows remote data access via an ethernet connection
8.4.2.23 | Data transfer | Data should be also transferrable by physically exchanging storage media
8.4.2.24 | Gauge length | The DTS interrogator must provide flexibility in gauge length
8.4.2.25 | Averaging | The DTS interrogator must provide flexibility in the parameters for time-domain averaging and for space-domain averaging.
8.4.2.26 | Power | Connect to power point in consultation with operator GAIA. Ensure backup power in case of power outage.
8.4.2.27 | Installation | Supplier helps set up the fiber optic monitoring system.
1.4.3 Extension 5 – Tool String 4C with additional geophones
8.4.3.1 | Number | Three additional geophones on Tool string 4 at 1000, 1300 and 1600 m along-hole depth
8.4.3.2 | Dimension | The 1000, 1300 m and 1600 m geophones must fit in the 7” liner
1.5 Requirements for deployment, testing, maintenance for each of the four tool strings
8.5.1 | Coordination | Supplier consults with TNO and operators on the tool string design and actions for deployment
8.5.2 | Deployment | Supplier handles deployment and installation of the tool strings in the wells, as well as the design of the surface infrastructure required for a working setup, e.g. the suspension of the tool strings, connection to the dataloggers, etc..
8.5.3 | Testing | After installation, supplier checks all components of the tool string and ensures the tool string is fully functional
8.5.4 | Calibration | Supplier handles any required calibration of instruments on the tool strings. Supplier determines the orientation of geophones where needed.
8.5.5 | Maintenance | Supplier handles maintenance of the tool strings and surface equipment for 3 years from the installation.
8.5.6 | Wellhead | Supplier arranges for providing feedthrough through wellhead in consultation with operator, allowing the cable of the tool strings to pass through the wellhead (see chapter 2 of Annex C02).
1.6 Requirements for datalogger and station design for each of the four tool strings
8.6.1 | Sampling | Simultaneous sampling in time over all channels
8.6.2 | Resolution | Resolution of at least 24 bit at 200 samples/second
8.6.3 | Format | Continuous acquisition supporting MiniSeed
8.6.4 | Datastream | Continuous datastream (seismic and state of health) conform SeedLink protocol
8.6.5 | Backfill | Automatic data backfill in case of communication failure
8.6.6 | Resolution in time | Precision in time less than 5 μs through internal GNSS antenna or external antenna
8.6.7 | Dimension | Maximum dimension 30 x 30 x 20 cm (length x width x height)
8.6.8 | Storage | Internal storage of at least 8 GB
8.6.9 | Internet | Supports (incidental) data transfer over the internet
8.6.10 | Remote control | Can be controlled or read out remotely, in combination with sensor, for diagnostics, configuration, testing and calibrations
8.6.11 | Temperature | Operating temperature at least within -20 °C to 60 °C
8.6.12 | Cabling | Internal and/or external cabling of IP67 or higher
8.6.13 | Compatibility | Compatible with the geophones or other instruments on the toolstring
8.6.14 | Specification sheet | Full specification sheet delivered with geophone. Contains at least the instrument response as measured in the factory and the instrument noise curves.
8.6.15 | Remote control | Remote power control unit is present (EPC or comparable)
8.6.16 | Internet | Internet connection is present, with a Vodafone modem (compatible with integration into the KNMI network), or in case of no Vodafone coverage, another provider in consultation with TNO.
8.6.17 | Lightning | Protection against lightning Is present
8.6.18 | Protection | Residual-current operated circuit breaker is present
8.6.19 | Monitoring | It is possible to monitor remotely the health of the instruments, including error codes in case of instrument failures.
8.6.20 | Cabinet | Provide electricity cabinet
8.6.21 | Electricity | Provide reliable power supply, in consultation with operator at each site. A power connection is available.
8.6.22 | Station floor: | Place electricity cabinet on suitable substrate, e.g. a small concrete slab, in consultation with the operator.
1.7 General Requirements
8.7.1 | Extensions | The suppliers must at least be able to design, deliver and deploy the items in the Base Request, and be able to design, deliver, and deploy Extension 2, 3, 4, and 5.
8.7.2 | Compatibility | Any Extension should be compatible with the Base Request.
8.7.3 | Warranty | Warranty and service should be transferable to a new future owner of the tool strings.
8.7.4 | Warranty | Warranty should include all hardware components and the costs needed to demobilize and redeploy the tool strings in case of failure or necessary repairs.
8.7.5 | Code of Conduct | TNO expects its suppliers to endorse the TNO Supplier Code of Conduct (Annex C04). Therefore, Tenderers must also endorse these.
8.7.6 | Documentation | The tool strings shall be delivered with all relevant documentation. This documentation must include at least the following: • Installation documentation • Design Package • List of components/equipment • Instruction manuals of the components and equipment where applicable • Maintenance manual including all required technical documentation for Preventive and Corrective Maintenance of the components and equipment where applicable. • Certificates and manuals of all third-party hardware that is part of the system. All the documents should be delivered digitally in English.
8.7.7 | Delivery | TNO expects its suppliers to at least deliver fully functional monitoring systems (from design to final testing and calibration) no later than week 18 2026.

## Preferences
Annex A04 - Compliance to Requirements - Answers to Preferences Applicable to the European open tender for the design, delivery and deployment of 4 borehole monitoring strings, reference number WS2429850681
The Tenderer demonstrates the ability to meet the requirements by answering Yes/No to the questions, which must be structured in accordance with the requirements given in Chapter 8. Tenders that are incomplete and/or fail to meet all the formal requirements will be declared invalid by TNO and discarded. Missing answers, documents, or data will result in exclusion if there is no rectifiable omission. TNO assesses the Tenders against the Programme of Requirements and Preferences. The Programme of Requirements and Preferences includes Minimum Requirements, Performance Requirements and Preferences. The Minimum Requirements must be met on penalty of invalidity at the time of submission of the Tender, the Performance Requirements only at the time of performance of the Contract and the Preferences must be worked out by Tenderers as part of the award of the Contract.
Preference | Description | Confirmation of fullfillment of preference Yes/No | Reference in Tenderer's documentation where Tenderer indicates in which way he can fulfil the preference | Remarks
Preference 8.8.1 | Delivery & Planning | Fill in: Yes or No
Preference 8.8.2 | Warranty & Service | Fill in: Yes or No
Preference 8.8.3 | Innovation & Environment | Fill in: Yes or No
Preference 8.8.4 | Quality & Durability | Fill in: Yes or No

## Sheet1 (hidden)
Click the drop-down box to select
Yes, Tenderer meets the Preference
No, Tenderer does not meet the Preference
Click the drop-down box to select
Yes, Tenderer meets the Requirement
No, Tenderer does not meet the Requirement

## Blad2 (hidden)
Yes
No