## Appendix A06
Appendix A06, Prescribed format for answering questions_notification of preferences Guidelines for the European Public Tender for 2024 FPL-INK 086 X-ray CT Scanner dated 11-September-2024
The Tenderer demonstrates the ability to meet the preferences by means of his answers to the various questions/preferences, which must be structured in accordance with the instructions given in Chapter 6 and 8.
Preference | Decription | Tenderer declares that he is able to meet the Preference | Reference in Tenderer's documentation where Tenderer indicates in which way he can fulfil the preference | Remark
Preference 8.4.1 | Grid in front of the detector to reduce scattering. | Click the drop-down box to select
Preference 8.5.1 | 3D resolution better than 0.4 mm. | Click the drop-down box to select
Preference 8.6.1 | TNO values the ability to use the X-ray CT scanner broadly for other building materials such as concrete and asphalt. The capability to scan heavier specimens can support this. | Click the drop-down box to select
Preference 8.6.2 | TNO values the broad applicability of the X-ray CT scanner. The ability to scan specimens with larger cross-sections can support this. | Click the drop-down box to select
Preference 8.6.3 | TNO values the broad applicability of the X-ray CT scanner. The ability to scan specimens with larger cross-sections can support this. | Click the drop-down box to select
Preference 8.6.4 | TNO values the broad applicability of the X-ray CT scanner. The capability to scan longer specimens can support this. | Click the drop-down box to select
Preference 8.6.5 | TNO values the ability to scan large volumes in a short time without reduction of scan quality. Faster scanning is therefore desirable. | Click the drop-down box to select
Preference 8.6.6 | The ability to scan with non-translating scanner and/or specimen. | Click the drop-down box to select
Preference 8.7.1 | Visual output files must be exportable to videos with at least one of the following file extensions: “.avi”, “.mp4”, “.wmv” or similar. | Click the drop-down box to select
Preference 8.7.2 | Post-processing options, including various scan filter options such as “Gaussian” or “Adaptive Gaussian” filtering. | Click the drop-down box to select
Preference 8.7.3 | Post-processing options, including artifact correction algorithms for (metal, ring, beam hardening) artifacts. | Click the drop-down box to select
Preference 8.7.4 | Option for timber strength classification | Click the drop-down box to select
Preference 8.7.5 | Automatic detection of metal components in timber. | Click the drop-down box to select
Preference 8.8.1 | TNO places great importance on delivery, placement, and installation before the required maximum of 12 months after the award of the contract. For delivery, placement, and installation from the date of contract confirmation, the scores mentioned here can be achieved. | Click the drop-down box to select

## validatie (hidden)
Click the drop-down box to select
Yes, Tenderer is able to meet Preference
No, Tenderer is not able to meet Preference