## Instructions and Explanations
Instructions regarding the Programme of Requirements and Desirables - Lightning data
Introduction
This Program of Requirements and Desirables forms an integral part of the tender for lightning data. It details the technical Requirements and Desirables of the lightning detection KNMI intends to buy. Every Requirement and Desirable is of a specific type, where the possible types are listed below in the Requirement and Desirable Types section. Every type has a specific answer format that must be adhered to. Some types are associated with a substantiation that will be given a score by the assessment team. Every Desirable can receive a score between 0 and 5. This score will be multiplied by the weight of the particular Desirable to yield the points awarded to the Tenderer for that specific Desirable. For more information on the award criteria, see the Descriptive Document. In general, the assessment is done using the guidelines described in the Descriptive Document. Additional focus points are mentioned in the Evaluation Criteria next to each Desirable, indicating the specific aspects that are of interest to the KNMI assessment team.
Fill-in instructions IMPORTANT INFORMATION
This document also functions as the formal declaration of the Tenderer to comply with the Requirements and to indicate in what extent the Tenderer complies with the Desirables. For this purpose, fill in the Requirements and Desirables sheet of this excel file for all yellow cells. These cells typically contain a drop-down menu that can be used to select the proper option. Tenderer may not change any other cells within this excel file even if technically possible. For the purpose of answering the open Desirables with a substantiation, Annex 08 is provided with a numbering of the Desirables that require substantiations. Tenderer may use this annex to structure the substantiations. Tenderer may also use an own template or file to structure the substantiations. In all cases, the text in this Program of Requirements is leading for all Requirements. The amount of space available for the substantiations is given in terms of A4 pages. This is done deliberately to allow for the inclusion of figures & graphs which tenderer may use to support the substantiation. The text in these substantiations must be in "Calibri" font with font size 11pt or larger. Any text within graphics must be of similar (or larger) size and readable. Any substantiation text or graphics which are outside the allowed size will be ignored during the assessment.
Requirement and Desirable Types
Every Requirement and Desirable in this Program of Requirements and Desirables is of a specific type. These types are listed here and includes an explanation of what is expected for each type.
Type | Sub-type | Abbreviation | Desired answer | Explanation | Scoring
Mandatory | Closed | M C | Yes or No | A singular Yes or No answer is requested, without any extra information. | None*
Mandatory | Information | M I | Yes or No with extra information | A singular Yes or No answer is requested that is supplemented with particular objective information (such as a number or list). | None*
Desirable | Closed | D C | Yes or No | A singular Yes or No answer is requested. Any additional information may be asked for. | Scoring according to the criteria given.
Desirable | Scale | D S | Information | A specific piece of objective information is requested (such as a number or list). | Scoring according to the criteria given.
Desirable | Open | D O | Substantiation | A substantiation for the Desirable is requested, in accordance with the guidelines given. | Scoring by assessment team based on Assessment table (see below).
Option | Open | OPT | Information | Outcome has no weight; no points are given. | None
* M C & M I (Scoring) > if you comply with ALL Mandatory requirements set out in this sheet, you will receive a baseline of 700 point. No points will be awarded for separate Mandatory Requirements.
Assessment levels
Level | Description/Valuation |  |  |  | Score
Excellent | The consideration and implementation of the sub-award criterion: • fully addresses what was requested; • meets all required aspects; • provides IenW with additional added value that is specifically substantiated. |  |  |  | 100%
Good | The consideration and implementation of the sub-award criterion: • is well suited to what was requested; • meets all required aspects; • provides IenW with no additional added value beyond what was requested. |  |  |  | 75%
Satisfactory | The consideration and implementation of the sub-award criterion: • adequately meets what was requested; • only scarcely or largely meets the required aspects; • scantily accommodates the needs and wishes of IenW. |  |  |  | 50%
Insufficient | The consideration and implementation of the sub-award criterion: • does not sufficiently address what was requested; • does not consider all aspects; • has not been considered and implemented in sufficient detail and/or does not give a realistic impression. |  |  |  | 25%
Not submitted | The sub-award criterion was not adequately defined/submitted or the specification was not relevant or does not tie in with what was requested. |  |  |  | 0
Definitions
Short | Definition
WMO requirements | WMO-No. 8, Guide to Instruments and Methods of Observation, 2018 Edition
ICAO requirements | ICAO Annex 3, Meteorological Service for International Air Navigation, Twentieth Edition, July 2018
Measurement uncertainty | 1 standard deviation of the measurement error where the measurements are averages over a period of no more than 3 seconds.

## Requirements and Desirables
Lightning data - Mandatory and Desirable Requirements plus Options | [6 empty] | Notice: Not all mandatories are completed.
# | M/D | Description | Score Type | Maximum points | Evaluation Criteria | Answer | Outcome | Points
1 Functional Requirements
1.1 System Availability and Uptime
1 | <M> | System availability and uptime The lightning detection network must maintain a minimum annual data availability of 99.8%, including time for maintenance, software updates, or repairs. The system must not experience any continuous outage longer than 6 hours at any given time. Compliance with this requirement during the operational phase will be based on documented system performance, with outage durations and overall availability verified through annual reports. See Annex 03 - Agreement ARBIT: KPI's for detailed specifications." | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
2 | <M> | Real-time lightning event data distribution The tenderer's system must deliver data to KNMI with a maximum delay between the closing of a time interval to reception at KNMI of 15 seconds. This requirement applies consistently under all operational conditions, including during high-activity periods. The tenderer must provide during the operational phase historical latency benchmarks to demonstrate compliance. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
1.2 General Coverage Requirements
3 | <M> | Coverage NL25, Benelux The tenderer's lightning detection network must provide full coverage of the NL25 region, which includes the Netherlands, Belgium, and Luxembourg. Detailed coverage maps must be provided to confirm compliance with this requirement. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
4 | <M> | Coverage NL23, Western Europe (WEU) The tenderer's lightning detection network must provide full coverage of the LGT_NL23 region, as detailed in Annex 04, which includes the Netherlands, Belgium, Luxembourg, France, Germany, Switzerland, the United Kingdom, Denmark, and a portion of the continental shelf. Detailed coverage maps must be provided to confirm compliance with this requirement. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
5 | <M> | Coverage BES Islands, Caribbean Netherlands (BES) The tenderer's system must provide complete coverage for the BES Islands (Bonaire, Sint Eustatius, and Saba) within the Caribbean Netherlands. See Annex 04 for more details. Detailed coverage maps must be provided to confirm compliance with this requirement. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
6 | <D> | Extended coverage BES Islands, Caribbean Netherlands to include Suriname (BESS) The tenderer's system should provide coverage for the BESS region, including the islands of Bonaire, Sint Eustatius, Saba, and Suriname. See Annex 04 for detailed coverage boundaries. Detailed coverage maps must be provided to confirm compliance with this requirement. | D C | 50 | Yes = Score of 50 No = Score of 0 The tenderer must provide detailed coverage maps to confirm compliance with this requirement. | Select your answer: | No answer selected. | No answer selected.
1.3 Data Quality Requirements NL25, Benelux and NL23 Western Europe (WEU)
7 | <M> | Detection Efficiency in Benelux and WEU The tenderer's system must achieve a detection efficiency of at least 90% for cloud-to-ground (CG) lightning flashes in the NL23 and NL25 areas of Western Europe, where each flash includes at least one stroke with a current exceeding 5 kA. For further details on these areas, refer to Annex 04. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
8 | <M> | Enhanced Detection Efficiency in Areas Near Airports in The Netherlands The tenderer's system must achieve a detection efficiency (DE) of at least 95% for lightning flashes within a 30 km radius of the controlled airports EHAM, EHRD, EHGG, EHBK, EHLE, EHKD and EHEH, and militairy airports EHVK,EHGR,EHWO,EHLW and EHDP where each flash includes at least one stroke with a current exceeding 5 kA. For further details on these airport locations, refer to Annex 05 This also applies to (future) (helicopter) airports EHMZ and location 'Maasvlakte'. Future airports or heliports can be added. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
9 | <D> | Enhanced Detection Efficiency in the North Sea area Amsterdam The tenderer's system achieves a detection efficiency (DE) of at least 95% for lightning flashes with at least one stroke exceeding 5 kA in the North Sea area Amsterdam, containing the Amsterdam Flight Information Region (FIR) (EHAA) including North Sea Area V, with extended borders of 30km outside these areas. See Annex 04 for details. This is required for the production of AUTO METARs to support intense helicopter traffic. Points will be awarded if this requirement is met. | D O | 90 | Points will be awarded for the offered solution(s). The substantiation will be assessed and a score is given between 0 to 90 points. The tenderer must provide sufficient information to evaluate this item, limited to 6 pages (A4 size, 11-point font, single-spaced lines, including figures). Valuation % of maximum number of points Excellent 100 Good 75 Satisfactory 50 Insufficient 25 Not submitted 0 | Select your answer: | The score will be assigned by the KNMI assessment team based on the provided substantiation. | #VALUE!
10 | <M> | False Alarm Rate (FAR) for Benelux and WEU The tenderer's system must maintain a false alarm rate of less than 1% in the NL23 and NL25 areas of Western Europe. The false alarm rate is defined as the percentage of reported lightning events that cannot be attributed to an actual lightning flash. For further details on these areas, refer to Annex 04. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
11 | <M> | Location Accuracy in Benelux and WEU The tenderer's system must be able to locate cloud-to-ground (CG) lightning strikes with an accuracy of 1.0 km in the NL23 and NL25 areas of Western Europe. For further details on these areas, refer to Annex 04. The following requirements must both be met: 1. At least 70% of detected CG lightning events must be located within 1.0 km of the origin of the strike. 2. At least 95% of detected CG lightning events must be located within 2.0 km of the origin of the strike. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
12 | <M> | Cloud-to-Cloud Detection Capabilities for Benelux and WEU The tenderer's system must detect cloud-to-cloud (CC) discharges in the NL23 and NL25 areas of Western Europe. For further details on these areas, refer to Annex 04. Lightning events must be classified into cloud-to-ground (CG) and cloud-to-cloud (CC) categories, with a classification accuracy of more than 80% of recorded cases. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
13 | <M> | Spurious Response in Benelux and WEU The tenderer's system must not display lightning events when no actual lightning is present. Spurious responses, which may be caused by non-lightning signals such as radio transmissions, railroad traffic, or electric fences, must be minimized. The system must have a spurious response rate of less than 1 lightning event per 100,000 km² of covered area per 24 hours. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
14 | <M> | Data Quality in Benelux and WEU The tenderer must explain how the lightning detection network meets the quality requirements for (a) detection efficiency (DE), (b) false alarm rate (FAR), (c) location accuracy (LA), and (d) spurious response (SR) (as set out in resp. requirements #7 to #10, #11, #13 and #14) for the Benelux and WEU areas based on scientific evaluations. The explanation must include information on (e) the spatial variation of quality across the covered area. Additionally, the tenderer should clearly describe (f) the relationship between network characteristics (e.g., number and distribution of sensors, sensor quality) and system performance. The explanation should include references to scientific, peer-reviewed publications, where proof is given of the system's performance. | M I | n/a | The tenderer must provide sufficient information to evaluate this item, limited to 6 pages (A4 size, 11-point font, single-spaced lines, including figures). | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a
1.4 Data Quality Requirements BES + Suriname
15 | <M> | Detection Efficiency for BES(S) The tenderer's system must achieve a detection efficiency of 80% or higher for cloud-to-ground (CG) flashes in the defined areas of the BES(S) region, where each flash includes at least one stroke with a current exceeding 5 kA. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
16 | <O> | (Future) Enhanced Detection Efficiency in BES(S) Airport Areas Within the foreseeable future (within 3 years after the effective date of the contract), or already available, the tenderer's system must achieve a detection efficiency (DE) of 95% for cloud-to-ground (CG) flashes within a 30 km radius of the controlled airports TNCB, TNCS, and TNCE. Each flash must include at least one stroke with a current exceeding 5 kA. Points will be awarded if this requirement is met. See Annex 05 for location details. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | OPT | n/a | Yes=Compliant to Option No=Failure to comply | Select your answer: | If possible, state your intentions to compy with this option in Annex 08 - Desirables Substantiation template. Since this is an option, it will not be assesed nor points will be given. Please note the involved cost in the Pricing Sheet, Annex 02. The assesment team will weigh the benefits against the stated cost to decide if this option will be chosen. | n/a
17 | <M> | False Alarm Rate (FAR) for BES(S) The false alarm rate, defined as the percentage of reported lightning events that cannot be attributed to an actual lightning flash, must be less than 1%. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
18 | <M> | Location Accuracy in BES(S) The tenderer's system must be able to locate cloud-to-ground (CG) lightning strokes with an accuracy of 2.0 km. The following requirements must both be met: 1. At least 70% of detected CG lightning events must be located within 2.0 km of the origin of the strike. 2. At least 95% of detected CG lightning events must be located within 4.0 km of the origin of the strike. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
19 | <D> | Cloud-to-Cloud Detection Capabilities for BES(S) The tenderer's system must detect cloud-to-cloud (CC) lightning discharges. Lightning events must be classified into cloud-to-ground (CG) and cloud-to-cloud (CC) groups, with a classification accuracy of more than 80% of recorded cases. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | D C | 20 | Yes = Score of 20 No = Score of 0 Sufficient information to evaluate this item should be provided but no more than 2 pages (A4 size, 11-point font, single-spaced lines, including figures). | Select your answer: | No answer selected. | No answer selected.
20 | <M> | Spurious Response in BES(S) The tenderer's system must not report lightning events when no actual lightning is present. Spurious responses may be caused by non-lightning signals, such as radio transmissions, railroad traffic, or electric fences. The system must have a spurious response rate of less than 1 lightning event per 100,000 km² of covered area per 24 hours. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
21 | <M> | Data Quality in BES(S) The tenderer must explain how the lightning detection network meets the quality requirements for (a) detection efficiency (DE), (b) false alarm rate (FAR), (c) location accuracy (LA), and (d) spurious response (SR) (as set out in resp. requirements #15 to #17, #18, #20, and #21) for the BES(S) area based on scientific evaluations. The explanation must include information on the (e) spatial variation of quality across the covered area. Additionally, the tenderer should clearly describe (f) the relationship between network characteristics (e.g., number and distribution of sensors, sensor quality) and system performance. The explanation should include references to scientific, peer-reviewed publications, where proof is given of the system's performance. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M I | n/a | The tenderer must provide sufficient information to evaluate this item, limited to 6 pages (A4 size, 11-point font, single-spaced lines, including figures). | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a
1.5 General Data Quality Requirements
22 | <M> | Uptime The tenderer must explain how the required uptime of 99.8% annual availability is achieved while maintaining the necessary data quality, and how the maximum continuous outage is limited to 6 hours, as specified in the System Availability and Uptime requirement (#1). The tenderer must demonstrate that the system is designed to meet these criteria and provide detailed information on the redundancy measures in place to ensure compliance with this uptime requirement. Documentation verifying the system’s performance, including outage durations and overall availability, should be provided through annual reports. This applies to BESS if desirable # 6 is answered with 'yes', otherwise it applies to BES. | M I | n/a | The tenderer must provide sufficient information to evaluate this item, limited to 6 pages (A4 size, 11-point font, single-spaced lines, including figures). | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a
23 | <M> | Explanation of Long-Term Analysis and Reports It is essential for KNMI to monitor the long-term performance of the system over extended periods to ensure that the capabilities meet the specified requirements. The tenderer must explain which tools and reporting systems are available to monitor and assess the long-term performance of the system, providing assurance that the system continues to perform in line with the requirements. | M I | n/a | The tenderer must provide sufficient information to evaluate this item, limited to 6 pages (A4 size, 11-point font, single-spaced lines, including figures). | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a
24 | <M> | Products from the Tenderer's System The tenderer's system must provide accumulations of recorded lightning events. These products should include arrays of data related to lightning strikes, such as lightning registration, images, and status information. The accumulation periods for these data products must be 1 minute, 5 minutes, and 24 hours, with all accumulations running simultaneously. The tenderer must confirm that their system can provide these products in accordance with the requirements outlined in the KNMI Lightning Data Model. For detailed requirements, refer to the section on the KNMI Lightning Data Model | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
25 | <M> | Intervals and Timing The tenderer's system must provide data products at intervals of 1 minute (01M), 5 minutes (05M), and 24 hours (24H). The 01M series must start at the beginning of each whole minute. The 05M series must start at each multiple of 5 minutes. The 24H series must start at 00:00 UTC each day. Data must be available within 15 seconds after the closing of the 1-minute and 5-minute intervals. The 24-hour data must be available within 60 seconds after the closing of the interval. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
26 | <M> | System Alive Signaling The tenderer's system must continuously deliver product files under all circumstances, including when no lightning activity is present. This will allow KNMI to confirm that the system remains operational, even in the absence of lightning events. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
27 | <M> | Delivery of Products The delivery of each product must be file-based, transferred using both SFTP and Amazon S3. KNMI will offer both an SFTP server and an Amazon S3 bucket for delivery of the products. A mechanism must be in place to ensure that files are not read before transmission is fully completed. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
28 | <D> | Streaming of Data The tenderer may offer a solution for streaming lightning data. For streaming data, lightning events should be delivered to KNMI within a maximum of 15 seconds after the event occurs. The proposed streaming method(s) must be clearly described. Points will be awarded based on the quality and effectiveness of the proposed solution(s). | D O | 90 | Points will be awarded for the offered solution(s). Evaluation criteria are described in detail in Annex 15: Streaming Data Evaluation Criteria The substantiation will be assessed and a score is given between 0 to 90 points. Sufficient information to evaluate this item should be provided but no more than 3 pages (A4 size, 11-point font, single-spaced lines, including figures). Valuation % of maximum number of points Excellent 100 Good 75 Satisfactory 50 Insufficient 25 Not submitted 0 | Select your answer: | The score will be assigned by the KNMI assessment team based on the provided substantiation. | #VALUE!
29 | <M> | Recovery In the event of a production or delivery failure, the recovery of all data products must be automatic. A mechanism must be in place to ensure that the recovery of the most recent data takes priority over the recovery of older data. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
30 | <M> | Dual Destination The tenderer's system must be configurable to deliver data to at least two receptors simultaneously. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
31 | <D> | Enhanced Recovery In the event of a production or delivery failure, the recovery must be automatic. Additionally, the 24-hour accumulation must be stored on the tenderer’s servers for 6 months to ensure availability for KNMI in case of disruptions in normal data delivery. | D C | 20 | Yes = Score of 20 No = Score of 0 The tenderer must provide sufficient information to evaluate this item, limited to 2 pages (A4 size, 11-point font, single-spaced lines, including figures); | Select your answer: | No answer selected. | No answer selected.
32 | <M> | Status Messages The tenderer's system must issue process status messages and error messages in both human-readable and machine-readable formats to KNMI systems. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
33 | <M> | Conformity with KLiDIM The data delivered to KNMI must be in the HDF5 format and strictly conform to KLiDIM, the KNMI Lightning Data Information Model. The data model is described in detail in Annex 06, but the main aspects are summarized below for clarity. The tenderer's system must provide the following: 1. Header data, showing time, area covered, etc. 2. Image data, including: - An image containing all events (ALL) - An image containing ground strokes only (CG) - An image showing simulated Detection Efficiency based on the current status of the system 3. Arrays containing time series of recorded lightning events, including time, position, IC-CG classification, polarity, and estimated current. 4. Arrays containing the status of all the Lightning Sensors in use by the tenderer's system. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
34 | <M> | File Name Convention The file names delivered to the Receptor must adhere to the following conventions: - LGT_CCXX_LAP_01M_YYYYMMDDhhmm.H5 for the 1-minute accumulation. - LGT_CCXX_LAP_05M_YYYYMMDDhhmm.H5 for the 5-minute accumulation. - LGT_CCXX_LAP_24H_YYYYMMDDhhmm.H5 for the 24-hour accumulation. Where CC is one of NL or BI, XX is one of 22, 23, or 25, and YYYYMMDDhhmm is a placeholder for date and time. For example, the file LGT_CCXX_LAP_01M_202412312359.h5 holds the data of the last minute of 2024. Note that NL23 is WEU coverage, NL25 is BeNeLux coverage, and BI22 is BES(S) coverage. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
35 | <M> | Time Series of Lightning Events The tenderer's system must provide time series of recorded lightning events. These time series must contain at least the following data: time, position, CG-CC classification, polarity, and estimated current. It must also indicate whether the lightning event is the first stroke or a return stroke in the case of CG lightning. See also Annex 06- HDF5 Data Format Specification for details. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
2. Data Provider Requirements General Data Quality Requirements
2.1 Provider specific requirements
36 | <M> | Delivery of Data to (Semi-) Governmental Parties KNMI, as a governmental institute, must be granted the right to distribute real-time data from the tenderer's system to other (semi-) governmental parties. These parties include, but are not limited to, Aviation, Militairy, Harbour, Road, Rail and Waterboard Authorities. There must be no restrictions on such distribution. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
37 | <M> | Delivery of Near-Realtime Data to the General Public KNMI is allowed to display lightning imagery, for example, but not exclusively, as a complement to the free radar display on the KNMI public website and mobile application. Such lightning imagery must match the space and time resolutions of the radar data displayed (i.e., 1 km and 5 minutes). Lightning flashes can be presented with symbols indicating the localization. Details of the lightning data, such as polarity and current, will not be accessible (e.g., by clicking on a symbol). Such detailed information will not be sent to the browser, and the space and time resolution will be degraded to match the radar resolution. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
38 | <M> | Delivery of Historical Display to the General Public KNMI is allowed to display historical lightning imagery (such as symbols) on the KNMI public website and mobile application. Such lightning imagery must match the spatial resolution of the radar data displayed (i.e., 1 km) and be provided in a daily overview, e.g. from 0:00h UTC to 24:00h UTC. See Annex 05 for an example. Lightning imagery can be presented with symbols indicating the localization. Details of the lightning data, such as polarity and current, will not be accessible (e.g., by clicking on a symbol). Such detailed information will not be sent to the browser. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
39 | <O> | Delivery of Historical Display to the general public with Time Resolution KNMI is allowed to display historical lightning imagery (such as symbols) on the KNMI public website and application for (mobile) devices in the daily overview using the time indication of the lightning event. Such lightning imagery shall match the spatial resolution of the radar data displayed on screen (i.e., 1 km), in a daily overview, e.g. from 0:00h UTC to 24:00h UTC. Two time options are souhght-after: 1 hour or 5 minutes. Lightning imagery can be presented with symbols like arrows or coloured dots showing the localization, see Annex 05 for an example. Details of the lightning data, such as polarity, current, etc. will not be accessible (by clicking on a symbol or by any other means). Such detailed information on the lightning events will not be sent to the browser. | OPT | n/a | Yes=Compliant to Option No=Failure to comply | Select your answer: | If possible, state your intentions to compy with this option in Annex 08 - Desirables Substantiation template. Since this is an option, it will not be assesed nor points will be given. Please note the involved cost in the Pricing Sheet, Annex 02. The assesment team will weigh the benefits against the stated cost to decide if this option will be chosen. | n/a
40 | <M> | Secure Connection As data will be sent from outside the KNMI network to the inside of the KNMI network with minimal delay, the delivery entry point of the data will be a system within the KNMI firewall. Security measures shall guarantee this connection is secure to avoid compromising the integrity of KNMI. The connection must use TLS 1.2+ where applicable, and the vendor must apply ISO 27002:2022. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
41 | <D> | Access to Raw Data For purposes of scientific research, KNMI shall have access to the raw unprocessed data, gathered by all the lightning sensors, delivering data for the described covered areas. KNMI shall be granted delivery/access to raw data, with less than 24-hour delay, in the format of the tenderer. The format of the raw data shall be disclosed to KNMI. KNMI will use this data only for scientific use within KNMI exclusively. Note: KNMI did not use this option in the last 10 years. | D C | 15 | Yes = Score of 15 No = Score of 0 | Select your answer: | No answer selected. | No answer selected.
3 Supporting Requirements
3.1 Provider specific requirements
42 | <M> | Helpdesk A helpdesk with skilled personnel fluent in at least Dutch or English shall be available and reachable via both telephone and e-mail. The helpdesk must respond to inquiries within two working days via e-mail and within one hour by telephone during normal working hours. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
43 | <M> | Startup Assistance During the startup phase of data ingestion at KNMI, a qualified representative of the tendering party must be available for assistance and troubleshooting. Their assistance shall remain in place until the system is fully operational and running according to KNMI’s expectations and requirements. | M C | n/a | Yes=Compliant to Requirement No=Failure to comply | Select your answer: | No answer selected. | n/a
44 | <D> | Human Rights Risk Planning The Contracting Authority seeks to stimulate tenderers in their effort to identify and assess human rights risks; to prevent or mitigate them; to remedy their effects, if they already occurred; to monitor the effectiveness of their measures, and to improve them; and to report to the public on their performance in this respect. For this purpose, the Contracting Authority requires tenderers to submit a Human Rights Risk Planning, in which they explain the current status and their approach in this field, with special regard to circumstances of labour and the environment in their supply chain and in their own operations. They should also explain their view on the supply chain and disposal of measurement equipment and on the use of electricity for their ICT, especially in relation to data processing/storage. | D O | 15 | Points will be awarded for the offered replies. The substantiation will be assessed and a score is given between 0 to 15 points. The tenderer must provide sufficient information to evaluate this item, limited to 4 pages (A4 size, 11-point font, single-spaced lines, including figures). The Planning must comprise the following elements: • Description of the system that tenderer has in place to monitor and manage risks related to human rights, including the environment (pollution, nature/biodiversity), in the supply chain and in own operations; especially regarding supply chain and disposal of measurement equipment and the use of electricity for their ICT, especially in relation to data processing/storage. • Description of the current status – identified risks • Description of executed and planned measures to prevent or mitigate the risks; to remedy their effects, if they already occurred; to monitor the effectiveness of the measures, and to improve them; and to report to the public on their performance in this respect. Valuation % of maximum number of points Excellent 100 Good 75 Satisfactory 50 Insufficient 25 Not submitted 0 | Select your answer: | The score will be assigned by the KNMI assessment team based on the provided substantiation. | #VALUE!
3.2 Documentation Requirements
45 | <M> | Technical documentation The tenderer must provide complete technical documentation in English, containing: Sensor Locations and Types: Details of sensor locations and types used for lightning detection in the WEU and BES(S) regions. Explain how these meet the required Detection Efficiency (DE), Location Accuracy (LA), and False Alarm Rate (FAR) metrics. Sensor Maintenance Plan: A maintenance plan outlining the frequency and scope of maintenance activities. Include redundancy measures to ensure compliance with the System Availability and Uptime requirements. | M I | n/a | The documentation will be assessed for completeness, technical accuracy, and alignment with KNMI’s performance and sustainability requirements. | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a
46 | <M> | Documentation and Manuals Tenderer shall include a comprehensive and complete set of manuals and technical documentation written in Dutch or English with instructions for operation, installation, maintenance and verification of the offered system This set shall at least include as much information as possible on: • Technical data/specifications; • Data output description incl. measurement examples; • Status information output description; • Data communication options; • Installation instructions; • Troubleshooting; • Security; • Monitoring and Reporting. | M I | n/a | The documentation will be assessed for completeness, technical accuracy, and alignment with KNMI’s performance and sustainability requirements. | Select your answer: | The KNMI assessment team will judge whether this explanation is sufficient based on its quality, clarity and supporting data. | n/a

## Technical Area
This sheet contains technical structures to assist with Excel Data Validation. Tenderers do not need to take any actions with respect to this sheet.
For all Mandatory Closed & Desirable Closed
Select your answer:
Yes
No
Substantiations Yes/No
Select your answer:
Yes, Substantiation is provided.
No, Substantiation is not submitted.
Option
Select your answer:
Yes, an option is given
No, an option is not given
Puntentotaal:
#VALUE!
Punten Desirables