## Consultation
Contactperson
Email
Telephone
Located
Market consultation Chiller HyStock
Please fill in your contact details above and the answers on the questions below. You can send the completed file to h.h.gels-veenstra@gasunie.nl.
Gasunie is conductin a market consultation for a possible European tender regarding the delivery of a chiller. Gasunie wants to get a good insight into the current solutions and appreciates your participation. In this Excel document you can answer the questions in this market consultation. More information on the purpose of the market consultation for the delivery of a chiller can be found in the document "Market consultation delivery of a chiller". Thank you in advance for completing and returning this form. Kind regards, Hilde Gels Senior buyer N.V. Nederlandse Gasunie
Technical/Engineering | Answer
What configuration would you propose for the attached Heat&Mass Balance?
Could you tell us the utilities requirement for this chiller?
Could you tell the size of the required footprint? And what will be the required space in the E&I building?
Have you built chillers with a high capacity? With comparable cooling capacity?
Do you have experience with manufacturing a chiller? And are these comparable with our project?
Do you have examples where you have installed a chiller? Can you share some information on these references?
What was the lead time for this project?
Do you engineer/design the chiller unit yourself (inhouse) ? (Which engineering disciplines do you have inhouse?)
Do you supply the major components with or without interconnecting piping?
Are chiller units your core buisness or do you mainly sell other products?
Process | Answer
Do you see challenges in meeting the temperature specs? (30C at 70 bar )
Would it be possible to achive the indicated turndown (40 to 4 Ton/hr) with a 3 x 50% design?
Do you have a standard solution/design for the chiller unit DCS and IPS system?
Would it be possible to build the control and safeguarding system in our overall DCS and IPS system?
In the basic design we have indicated that we will operate at 70 barg downstream of the contactor as this is below the lowest cavern pressure (76bara) and above the maximum hydrogen network pressure of 30-66,2 barg. Have you built a heat exchanger suitable for these high operational pressures in the past? Do you foresee any challenges with regards to these high operational pressures?.
Does your design or have coolant storage vessels. What would the design pressure?
Maintenance/Installation | Answer
Do you preform maintenance yourself ? Do you have service contracts (maintenance)?
What does the Test-procedure looks like?
What does your service organization look like within the NL (responce time/ location etc?)
Commercial/General | Answer
Wat would the delivery time be for a chiller unit at this capacity?
What kind of ISO-Certificates do you have?
Do you have any additional remarks?
Are you familiar with European Tenders and the process?