## Preferences
Answers to Preferences
Surplus on minimum requirement R-1000-40
Pref. nr. | Fictitious deduction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-005 | 4% | The presence of the following analysis methods: - Bossung fitting (1%) - Process window plots (1%) - Exposure latitude vs. depth of focus (DOF) plots (1%) - Reporting of best energy and best focus (1%) | select | <name of document> <finding place>
Condition for granting the deduction: the analysis method as asked, is present and the fit for purpose is convincingly demonstrated.
Pref. nr. | Fictitious deduction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-010 | 3% | The capability of the equipment to support measurement of curved structures commonly found in photonic applications. The equipment shall be capable to apply analysis methods to determine the critical dimension of curved structures and preferably also advanced analysis such as line-edge roughness | select
Condition for granting the deduction: the support of the measurement and analysis methods as asked, is present and the fit for purpose is convincingly demonstrated.
Pref. nr. | Fictitious deduction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-015 | 2% | The equipment supports a large Field Of View (> 10 μm) in the direction of a photonic waveguide with a high resolution (< 10 nm) in the direction perpendicular to the waveguide. | select
Condition for granting the deduction: the large Field of View and high resolution as asked, is present and the fit for purpose is convincingly demonstrated.
Pref. nr. | Fictitious decuction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-020 | 1% | The equipment supports the Analysis of waveguide roughness. | select
Condition for granting the deduction: A roughness of < 5 nm can be detected and reported and the fit for purpose is convincingly demonstrated.
Pref. nr. | Fictitious decuction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-025 | 2% | The equipment supports the import of GDS mask layout files | select
Condition for granting the deduction: the capability of importing GDS files is present and can be used in data analysis in a convincingly adequate manner.
Pref. nr. | Fictitious decuction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-030 | 1% | The equipment supports the creation of custom wafer-layout maps with non-constant pitch between measurement locations | select
Condition for granting the deduction: The non-constant pitch between measurement locations is present and the fit for purpose is convincingly demonstrated
Pref. nr. | Fictitious decuction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-035 | 4% | External Code Integration: Inline execution of external image processing scripts (e.g. Python or other script language) | select
Condition for granting the deduction: execution of scripts for image analysis demonstrated
Pref. nr. | Fictitious deduction | Description | Offered | Document submitted Finding place: pages/paragraph /figures/tables
P-040 | 3% | Conditional recipe order/programming such as: if some feature is detected, zoom in to take another picture | select
Condition for granting the deduction: conditional recipe order/programming is present and convincingly demonstrated.

## legenda (hidden)
select
yes
no