## Read this first
Information Notice
Introduction
- This Information Notice forms part of the European open Tender procedure for Evaporation System, published on 03-12-2025 under TNO reference
number WS2568660434.
- This Information Notice provides a record of the questions submitted by the Tenderers up to and including the date of publishment of this Informaton Notice
with the answers provided by TNO.
- If Tenderers have asked questions of similar nature, all such questions have nevertheless been included in this Information Notice and answered
separately. This may result in repetition of information.
- Where a company name was mentioned in a question, it has been replaced by another word or term to anonymize the questions.
- TNO advises you to read the entire Information Notice.
- All information in the Information Notice is classified as Confidential and may only be used for the purpose of submitting a Tender for this procurement.
-The Information Notice will be made available on TenderNed through publication at www.tenderned.nl and added as a document.
The Information Notice serves to provide any additions/changes to the Tender Documents and to communicate announcements from TNO.
Where further clarification of the requirements is provided, this must be taken into account when answering Annex A04 at the time of when compiling the tender. If, for example an alternative is accepted in the Information Notice, Annex A04 will not be revised. The tenderer can answer the question for compliancy with "yes" in both cases (compliancy to the original requirement or compliancy to the alternative). In case a requirement no longer applies, leave the check box in Annex A04 on " select".

## Questions and Anwers
Nr | Subject | Question | Answer
1 | Annex A03 | In the price sheet (Annex 03) for the maintenance and services, under sheet 3.Price P1 it is not completely clear why Maintenance and Service is included (line 1 point b), as the description of the price TP1 listed in PR guide 6.1 does not include the Maintenance Service. From our understanding, this should only be covered by pricing in P2. Can you clarify if this is a mistake? | Section 6.1 of the procuirement guide states Price TP 1 – equipment, this includes: -Two-year warranty including maintenance and services; There is no mistake. We expect maintenance and services, as outlined in tab 4 Price P2, to be part of the warranty period.
2 | Annex A03 | Additionally, in requirement R-4000-015 in Annex A04 it is states in lines c.1 and c2. that the equipment shall be delivered with basic training and advanced training. Can it then be accepted to write "€ 0" in Annex A03 sheet 4 Price P2, as training is included in system delivery? | That is not possible for two reasons: - Price P2 of the price sheet needs to be complete for future use when the maintenance and services contract will take effect; - For the purpose of equal treatment when assessing all tenders we cannot allow deviations.
3 | Annex A03 | Lastly, is the pricing for corrective maintenance expected to be just an hourly rate? It is difficult to determine the hours needed for corrective maintenance, as it depends on the extent of the system failure. In points 3, 4 and 4, are the quantity cells supposed to be filled out or should it be understood as the formatting of point 2, which makes more sense? | ln principle you are right with the remark concerning the extend of failures. However, the indication we give in terms of impact level should help you to consult the maintenance history of your equipment.

## WS (hidden)
SELECT
Reference: WS2547513509 Photo-luminescence tool (EPI)/PL mapper
Reference: WS2568624677 DUV photoresist coating & developer Track
Reference: WS2568642064 DUV Lithography scanner
Reference: WS2568647453 I-line lithography scanner
Reference: WS2568652543 I-line and polymer backend track
Reference: WS2568657247 Metal / Backend-Sputter tool
Reference: WS2568660434 Metal / Backend-Evaporation system
Reference: WS2640003647 Metal / Backend-PLATING
Reference: WS2640007433 Metal / Backend-RTA
Reference: WS2656065810 (HE) Metal / Backend-THERMO Oven
Reference: WS2640011620 Metrology-CD-SEM
Reference: WS2640013718 Metrology-SEM+FIB
Reference: WS2656065894 Metrology-Step height Profiler
Reference: WS2656066879 Metrology-MICROSCOPE
Reference: WS2640018497 Plasma Set-up 1 - PECVD, Hard Mask etch
Reference: WS2640025684 Plasma Set-up 2 - InP ICP etch
Reference: WS2653955521 Plasma Set-up 3 - Polymer RIE
Reference: WS2653962508 Plasma Set-up 4 - TiAu RIE
Reference: WS2653962593 Plasma-Ashing (Stripper)
Reference: WS2653965979 Auto wet bench
Reference: WS2656068464 Microscope (Computer Numerical Control)
Reference: WS2656071350 4 Point probe
Reference: WS2656075404 Ellipsometer
Reference: WS2653979166 XRD
Reference: WS2656077408 Contact angle meter
Reference: WS2656077492 CV PROFILER
Reference: WS2653987452 Patterned defectivity detection
Reference: WS2653998542 Stepheight meter (cassette based)
Reference: WS2654114485 Non patterned defectivity detection (particle detection)
Reference: WS2656077977 Cassette cleaner
Reference: WS2656079147 Mask cleaner
Reference: WS2656075402 Mask storage
Reference: WS2654151772 Scrubber
Reference: WS2654160462 I-line and polymer front end track
Reference: WS2654163656 Lift off METAL
Reference: WS2656078662 Dishwasher
Reference: WS2640031371 Single wafer surface clean
Reference: WS2547519825 Wetbench fumehood
Reference: WS2656063824 Litho-Mask Aligner