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[bookmark: _Toc218593273]ANNEX 7: AWARD CRITERIA AC2 WISHES  “REFURBISHED 3T MRI SCANNER” 

This Annex 7 describe the Wishes for this Tender. For Wishes 3 to 6 tenderer has to show if the offered system meets the requested Wish. Yes or No.
Wishes 1 and 2 will be judged based on the comment given for these two wishes by Tenderer. 

	
	
Wish
	
Comment


	1.
	See for this wish number in Chapter 6 of the Request for Proposal:

Tenderer ensures the availability of the spare parts.

The tenderer adds to the offer the commitment to ensure the system will be up and running for a maximum of  (ten) 10 years. The tenderer must describe how they can keep the system operational for this period by the availability of the spare parts.

This wish will be judged based on the quality in which the tenderer has described and show us clearly how they will keep the system operational during the maximum period of ten (10) years and how he has organized the service organization to achieve this.
	Answer: 

	2.
	See for this wish number 1.10 in Chapter 6 of this Request for Proposal:
10-Year Service Contract
The tenderer can offer a basic service contract that ensures the system remains safe and within CE-label requirements throughout its lifetime.

The tenderer can score a maximum of ten (10) points for this wish , where one (1) point per one (1) year service contract duration can be scored:

Score for wish 2 = 1 * duration of the offered service contract period.

Tenderer has to explain in written how he will be sure that for a maximum of ten (10) years the basic service contract will be achieved.


	Answer:

	3.
	See for this wish number 1.11 in Chapter 6 of this Request for Proposal:

Service contract includes cold head service.

If the tenderer can provide an additional option for maintaining the cold head during the service contract period, five (5) points will be given for this wish. If not, no points shall be given for this wish.  
(Yes or No).
	Yes or No ?

Answer:

	4.
	See for this wish number 1.3 in Chapter 6 of this Request for Proposal:
Exchanging with the 1,5 T Philips Intera system.
Currently, we have the 1,5T Philips Intera system in the Darcy Lab. 

If it is possible to exchange the offered 3T MRI Scanner with the 1,5 T Philips Intera system five (5) will be given for this wish. If not, no points shall be given for this wish.  (Yes or No).
	Yes or No ?

Answer:

	5.
	See for this wish number 2.9 in Chapter 6 of this Request for Proposal:

Possibility to upgrade the system with multi-nuclei option.

For our research, we want to measure other nuclei besides the proton. We would like to know, in writing, whether the system can be upgraded with an additional multi-nuclei option to measure other nuclei with the CE-labelled MRI scanner, and what would be required to enable this.

If the tenderer can confirm in writing that this option is available, five (5) will be given for this wish. If not, no points shall be given for this wish.  (Yes or No).
	Yes or No? 

Answer:

	6.
	See for this wish number 2.8  in Chapter 6 of this Request for Proposal:

Interface for analogue RF receive coils.

Some modern MR scanners use digital MR receive coils instead of analogue coils. Since our researchers make their own receive coils, we need an analogous connection/interface box between our MR receive coils and the CE-labelled MRI scanner.

If the tenderer offers an MRI scanner with a digital connection and an additional interface box to connect analogue MR receive coils, five (5) points will be given for this wish. If not, no points shall be given for this wish added to the score. If not, no points will be given for this wish (Yes or No).
	Yes or No?

Answer:
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