## Sheet1
Section | Item | Content | C/NC
A. General
A. General | A.1 | All Contractor personnel who will communicate with Naturalis employees during the contract, including project managers, support engineers, and any other client-facing roles, must possess fluent professional proficiency in English or Dutch.
A. General | A.2 | The Tenderer must provide a clear and proven project management methodology for the onboarding and design and migration phases. This methodology should align with industry best practices and with the methodology used by the Naturalis IT infra team (Scrum) and detail how project scope, timelines, resources, risks, and communication will be managed effectively.
A. General | A.3 | The Contractor must ensure dedicated and effective management for both project execution and long-term strategic partnership with Naturalis. Specifically, Naturalis requires: • Project Leadership: A single, clearly identifiable point of contact responsible for the day-to-day execution and timely delivery of milestones across the onboarding, design, and migration phases. This individual will drive project progress, manage scope, and ensure operational efficiency. • Strategic Relationship Management: A single, clearly identifiable point of contact who will serve as the primary strategic interface for the entire contract duration. This individual will be accountable for overall relationship management, proactively understanding Naturalis's evolving needs, and ensuring long-term satisfaction and value from the partnership.
A. General | A.4 | The Contractor must ensure that all engineers assigned to this contract who are involved in the administration and operation of the OpenStack environment possess the Certified OpenStack Administrator (COA) certification or a demonstrably equivalent, recognized professional certification for OpenStack.
A. General | A.5 | The Contractor assigns engineers to this contract that possess expert-level proficiency across all core OpenStack services. This includes, but is not limited to: • Nova (Compute): Advanced skills in managing compute instances, hypervisors (KVM), resource scheduling, and understanding instance lifecycles. • Neutron (Networking): Deep knowledge of virtual networking components, network topologies (VLANs, VXLANs), routing, security groups, and troubleshooting network connectivity issues. • Cinder (Block Storage): Expertise in managing block storage volumes, connecting to various backend storage systems (e.g., Ceph), snapshot management, and volume lifecycle operations. • Glance (Image Service): Proficiency in managing virtual machine images, image formats, and image repositories. • Keystone (Identity): Strong understanding of identity management, role-based access control (RBAC), user authentication, and multi-tenancy. • Horizon (Dashboard): Ability to leverage and troubleshoot the OpenStack dashboard for administrative and user-facing tasks.
A. General | A.6 | Contractor assigns engineers to this contract that have expert-level proficiency in OpenStack networking (Neutron), encompassing both theoretical knowledge and practical experience in complex, production environments, including SDN solutions, network topologies, VLANs, VXLANs, and advanced services like LBaaS and FWaaS.
A. General | A.7 | Contractor assigns engineers to this contract that possess advanced troubleshooting skills for OpenStack components, including API issues, service failures, resource contention, and performance bottlenecks, enabling efficient resolution of critical issues and proactive problem identification.
A. General | A.8 | The Contractor must possess a robust, proven methodology for performing in-place and rolling upgrades, applying patches, and managing security updates across all OpenStack components, with a strong emphasis on achieving minimal or zero downtime for critical services and workloads. This methodology must be fundamentally based on Infrastructure as Code (IaC) best practices, ensuring: • Automation: Extensive automation for all deployment, configuration, and upgrade tasks. • Version Control: All configurations, scripts, and playbooks are managed under version control. • Idempotency: Operations can be safely re-run without unintended side effects. • Reproducibility: The ability to consistently replicate environments and changes. • Automated Testing: Integration of automated testing workflows for validation before and after changes.
A. General | A.9 | Contractor assigns engineers to this contract that have a thorough understanding of Ceph's architecture, including Monitors (MONs), Managers (MGRs), Object Storage Daemons (OSDs), Metadata Servers (MDSs), and gateways (CephFS, RGW, iSCSI Gateway).
A. General | A.10 | The Contractor assigns engineers to this contract that possess comprehensive and practical expertise in diagnosing and resolving complex Ceph performance issues, including OSD tuning, network optimization, and crush map adjustments.
A. General | A.11 | Contractor assigns engineers to this contract that are proficient in Ceph data protection mechanisms (replication, erasure coding) and disaster recovery procedures, including OSD recovery, cluster rebalancing, and data restoration.
A. General | A.12 | Contractor assigns engineers to this contract that have expertise in how Ceph integrates with OpenStack services (Cinder, Glance, Nova ephemeral disks, Manila for CephFS, RadosGW for Swift).
A. General | A.13 | Contractor assigns engineers to this contract that have expert-level experience with the administration of Linux distributions commonly used for OpenStack/Ceph (e.g., RHEL, Ubuntu, CentOS), including kernel tuning, file system management, and networking.
A. General | A.14 | Contractor assigns engineers to this contract that have a strong understanding of KVM/QEMU for virtual machine management and libvirt for virtualization orchestration.
A. General | A.15 | The Contractor must, by default, utilize and adhere to open standards for all documentation and data exchange related to the design, implementation, and ongoing management of Naturalis's private cloud infrastructure. Specifically, the Contractor shall comply with the "Pas toe of leg uit" (Comply or Explain) standards listed on www.forumstandaardisatie.nl, prioritizing those relevant to: • Documentation: Formats for architectural designs, operational manuals, configuration guides, and reports (e.g., PDF/A, ODF). • Data Exchange: Protocols and formats for interoperability, API definitions, and data sharing (e.g., OpenAPI Specification, JSON, XML, REST API Design Rules). • Security & Identity: Standards for secure communication, authentication, and authorization. In cases where a listed "Comply or Explain" standard is not utilized, the Contractor must provide a clear and compelling justification (the "explain" principle) in their relevant deliverables. The Contractor's proposal should demonstrate their familiarity and experience with these standards.
A. General | A.16 | The Contractor must exclusively utilize open-source software components for the entire deployment and ongoing operational management of Naturalis's private cloud infrastructure. This includes, but is not limited to, all: • Operating Systems • Virtualization layers • Cloud management platforms (OpenStack) • Container orchestration platforms (Kubernetes) • Distributed storage systems (Ceph) • Monitoring and alerting tools • Logging and analytics solutions • Automation and orchestration frameworks • Databases and message queues • Load balancers and networking overlays • And any other software required for the functional operation of the private cloud. The only permissible exceptions to this requirement are: • Firmware: (e.g., BIOS, UEFI, BMC firmware) • Hardware drivers: Required for the correct functioning of the underlying server hardware.
A. General | A.17 | The Contractor is obliged to actively contribute back improvements to the upstream OpenStack, Ceph, and Kubernetes open-source projects. This includes, but is not limited to: • Code contributions: Bug fixes, new features, and performance enhancements. • Documentation: Improving existing documentation or contributing new content. • Bug reporting and triaging: Active participation in identifying and resolving issues. • Code reviews: Contributing to the quality assurance of upstream development. • Community engagement: Participation in special interest groups (SIGs), working groups, and developer forums. Furthermore, the Contractor must demonstrate a commitment to the OpenInfra ecosystem by being an active member of the OpenInfra Foundation for the duration of the contract. The Contractor must annually report on their overall contributions (both in-kind and financial or otherwise) to the OpenStack, Ceph, and Kubernetes projects, as well as to any other significant open-source projects that are integral to the deployed private cloud solution. This report should detail the nature, volume, and impact of their contributions, demonstrating their commitment to the sustainability and evolution of the open-source ecosystem upon which Naturalis's infrastructure relies.
A. General | A.18 | All data pertaining to the private cloud infrastructure and its operation, with the explicit exception of documentation and deployment/configuration code, must remain exclusively on the hardware and infrastructure provided by Naturalis. This includes, but is not limited to, logs, metrics, monitoring data, operational data, configuration snapshots, and any other data generated or processed by the Contractor in the course of managing the private cloud. For any deviation from this default data residency requirement, explicit and written approval by Naturalis is strictly required prior to any data being stored or processed outside of Naturalis's designated infrastructure.
B. Onboarding
B. Onboarding | B.1 | Contractor will offer remote management and support for the existing OpenStack and Ceph cluster, with the specifications detailed in Appendix B - Technical description, up until the time this cluster has been migrated to the natively supported solution used and offered by Contractor.
B. Onboarding | B.2 | Contractor will provide an Onboarding plan as detailed in the Invitation to Tender.
B. Onboarding | B.3 | The Contractor must propose a clear methodology and a defined milestone for the formal commencement of their remote management and support service for the existing cluster. This milestone will explicitly mark the point when Service Level Agreement (SLA) responsibilities transfer from the incumbent supplier to the Contractor, ensuring no gap in critical support coverage. Crucially, this entire onboarding process, culminating in the formal transfer of SLA responsibilities, must be completed within a maximum duration of three (3) months from the contract start date. Furthermore, costs for remote management and support for the nodes in the current hyperconverged cluster will commence only after this formal transfer of SLA responsibilities has occurred. The Contractor's methodology should clearly outline how this timeline will be met.
B. Onboarding | B.4 | During the onboarding period, the Contractor must establish a clear process for reporting and resolving incidents on the existing cluster, ensuring seamless cooperation with Naturalis's currently contracted supplier. This includes providing Naturalis with a dedicated emergency contact and an explicit escalation matrix specifically for critical incidents. This ensures rapid communication and response for any high-severity issues encountered during the transition and initial management of the existing cluster, leveraging the combined efforts of both the incoming and incumbent support teams to minimize disruption.
B. Onboarding | B.5 | In order to fully understand our current architecture, configurations, and dependencies, Contractor will conduct a comprehensive technical deep-dive into the existing OpenStack (versions, services, network topology) and Ceph (cluster health, crush map, pool configurations), & environment and will deliver a detailed assessment report identifying current state, dependencies, and immediate risks.
B. Onboarding | B.6 | Contractor will establish role-based remote access (e.g., via secure jump hosts, VPNs) to all management planes, underlying OS, and hardware (BMC) for the existing cluster, adhering strictly to client's security policies.
B. Onboarding | B.7 | The Contractor must conduct a joint validation exercise with Naturalis's teams to confirm the full functionality and security of all established remote access, monitoring integrations, and communication channels. This validation ensures that the Contractor is fully equipped to manage and support the existing cluster from day one of taking over responsibility.
B. Onboarding | B.8 | Contractor will integrate their monitoring and alerting systems with our OpenStack and Ceph cluster, so that they have continuous visibility into the health and performance of the cluster from the day that take over the management of the cluster.
B. Onboarding | B.9 | Contractor either inherits existing documentation or collaboratively develops comprehensive, version-controlled runbooks, architecture diagrams, and operational procedures specific to hyperconverged OpenStack and Ceph cluster and ensures thorough knowledge transfer to their dedicated support team.
B. Onboarding | B.10 | Contractor assigns engineers that have experience with onboarding Canonical OpenStack cluster and Juju based deployments and the ability to understand and adapt to the existing cluster's configuration.
B. Onboarding | B.11 | Contractor will provide a project manager or someone fulfilling a similar role, that has extensive experience with onboarding existing OpenStack and Ceph clusters.
B. Onboarding | B.12 | The Contractor must actively collaborate and cooperate fully with Naturalis's currently contracted private cloud support supplier to ensure a smooth, seamless, and undisrupted transition of services and responsibilities. This collaboration is critical to facilitate efficient knowledge transfer, synchronize operational procedures, and minimize any potential service interruptions during the onboarding and migration phases.
C. Design and migration
C. Design and migration | C.1 | Tenderer will provide a Migration plan as detailed in the Invitiation to Tender.
C. Design and migration | C.2 | The Contractor assigns architects and engineers to the design and migration phase that possess the following senior-level expertise and proven experience. While a single individual may fulfill multiple areas of expertise, the Contractor will ensure comprehensive coverage of all listed skill sets: • Cloud Architecture & Design: Expert-level proficiency in designing scalable, secure, and resilient private cloud architectures, specifically for OpenStack and Ceph environments. This includes experience with high availability, performance optimization, and integration strategies. • Advanced Ceph Storage: Deep knowledge and practical experience in designing and optimizing Ceph for diverse workloads, including advanced data tiering, performance tuning, and resilience strategies. • Workload & Data Migration Strategy: Proven experience in planning and executing complex, low-risk workload and data migrations between cloud environments, with a strong focus on minimizing downtime and ensuring data integrity. • Cloud Security Design: Expertise in embedding security best practices and compliance requirements into cloud infrastructure designs, covering network segmentation, access control, data protection, and incident response planning. • Automation & Orchestration: Senior-level skills in designing and implementing automated deployment, configuration management, and orchestration solutions for complex cloud stacks, adhering to Infrastructure as Code (IaC) principles.
C. Design and migration | C.3 | The Contractor must establish and adhere to an iterative design process that includes regular review cycles and formal sign-off points by Naturalis for key architectural components and migration strategies. This ensures Naturalis's continuous involvement and approval at critical decision points during the design and migration phases.
C. Design and migration | C.4 | Contractor acknowledges and accepts that the server hardware for hosting the private cloud has been pre-selected by Naturalis, primarily based on the specifications detailed in Appendix B - Technical Description. Furthermore, the Contractor confirms their unequivocal willingness and ability to: • Support the deployment of OpenStack: This includes all necessary components to establish a functional OpenStack environment on the specified hardware. • Support the deployment of either one or two Ceph clusters: Depending on Naturalis's final design, the Contractor must be prepared to deploy the specified number of Ceph clusters on the provided hardware. • Provide full remote management and support: This encompasses comprehensive ongoing management and support for both the OpenStack instance and the deployed Ceph cluster(s) on the pre-selected hardware for the entire contract duration.
C. Design and migration | C.5 | The Tenderer must submit a comprehensive and detailed Plan for Energy Efficiency, as specified in the Invitation to Tender. This plan must take into account the pre-selected server hardware specifications provided by Naturalis.
C. Design and migration | C.6 | Contractor must provide a robust, automated, and fully reproducible method for deploying operating systems on all server hardware for the private cloud clusters. This method must be scalable and compatible with Naturalis's pre-selected hardware. As part of the Design and Migration phase, the Contractor will: • Specify hardware requirements for this bare-metal provisioning facility (e.g., PXE server). • Collaborate with Naturalis to integrate this facility into our infrastructure. Naturalis will provide, if applicable, the required hardware for this provisioning facility.
C. Design and migration | C.7 | The Contractor will be responsible for configuring the required BIOS, UEFI, BMC, and other firmware settings for all provided hardware. Naturalis will ensure that consistent versions of BIOS, UEFI, BMC, and other firmware are installed across all server hardware before initial deployment. The Contractor must validate and confirm this consistency as part of the deployment process.
C. Design and migration | C.8 | The Contractor must collaborate with Naturalis's internal and subcontractor network engineers to specify requirements and design the network setup for the OpenStack and Ceph clusters. This co-design must fully account for the existing Naturalis network architecture (Appendix B - Technical Description), prioritizing security, high availability, and performance considerations.
C. Design and migration | C.9 | The Contractor must provide a detailed architectural recommendation for Naturalis's Ceph deployment: whether to use two separate clusters (fast/slow tiers) or a single combined cluster. This recommendation must be comprehensively justified based on: • Naturalis's specific server hardware (including disk types). • Deployment and management overhead. • Performance implications (IOPS, latency, throughput) for both fast and slow workloads. • The effectiveness of (automatic) storage tiering mechanisms. • Scalability and cost implications (TCO). The Contractor's response should clearly state their recommended approach with supporting technical and operational arguments.
C. Design and migration | C.10 | The Contractor must provide a detailed design for the Ceph cluster(s) ensuring comprehensive access to object, block, and file storage from clients within the Naturalis network. The design must specifically cover: • Object Storage: A functional S3 API endpoint via Ceph Object Gateway (RGW) and details on authentication, authorization and bucket/object lifecycle management. • Block Storage: Seamless integration with OpenStack (Cinder and Glance). • File Storage: Highly available CephFS, with robust CIFS (SMB) and NFS gateways for diverse client access and details on authentication and permissions management for file shares. The design should detail network topology, scalability, high availability, performance characteristics, and security considerations for each access method. The Contractor should justify their chosen technologies and demonstrate relevant experience.
C. Design and migration | C.11 | The Contractor must explicitly consider and account for the physical rack layout of the server hardware, both during and after migration. For the Ceph cluster(s), this requires the incorporation of rack awareness into the CRUSH map. This design choice is critical to ensure: • Optimal data distribution: Spreading data across different racks to prevent data loss from a single rack failure. • Enhanced fault tolerance: Allowing the cluster to withstand the loss of an entire rack without data unavailability. • Improved performance: By influencing data placement to minimize cross-rack network traffic where beneficial. The Contractor's design for the Ceph cluster(s) must clearly articulate how rack awareness will be implemented and managed within the CRUSH map to meet Naturalis's resilience and performance objectives.
C. Design and migration | C.12 | The Contractor must provide a comprehensive, resilient, and scalable design for Naturalis's new OpenStack cluster. This design must effectively meet current and future operational, performance, security, and integration requirements. The design document must explicitly detail the architecture, configuration, and deployment strategy for all core OpenStack services, including but not limited to: • Keystone (Identity): HA, authentication, RBAC, and integration with Naturalis's identity providers. • Nova (Compute): Node architecture, hypervisor (KVM), instance scheduling (Placement), live migration, and resource allocation. • Neutron (Networking): Network topology (VLANs, VXLANs), network services (DHCP, DNS, Routing). • Cinder (Block Storage): Integration with Ceph backend, volume types, snapshot/clone. • Glance (Image Service): Integration with Ceph (RBD) for image storage. • Horizon (Dashboard): HA and user experience. • Placement (Resource Inventory): Integration for optimal scheduling. • Octavia (LBaaS): Design for highly available load balancing. The design must also address: • High Availability & Resiliency: Mechanisms for fault tolerance across control plane and compute nodes. • Scalability: How the cluster will scale horizontally for future demands. • Security Integration: Incorporating security best practices, secure communication, and access controls. • Integration Points: Explicitly outlining integration with Ceph, Naturalis network, and existing monitoring/logging/identity systems. • Performance Optimization: Configurations to optimize performance for various workloads. • Maintainability & Upgradeability: Facilitating easy maintenance, patching, and future upgrades with minimal disruption.
C. Design and migration | C.13 | Contractor will incorporate security best practices and relevant industry security standards into all designs proposals and migration steps, so that our clusters remain and new clusters will be secure and compliant. Key expectations include: • Security by Design (Shift Left): Security considerations must be integrated from the earliest phases of design and planning, not as an afterthought. • Adherence to Industry Standards: All designs and implementations shall reference and align with recognized security frameworks such as NIST Cybersecurity Framework, ISO 27001, and CIS Benchmarks (for OS, OpenStack, Ceph, and Kubernetes). • Identity & Access Management: Apply least privilege, strong authentication, and effective RBAC. • Network Security: Ensure strict segmentation and secure communication (TLS 1.2+). • OS Hardening: Securely configure all nodes (including enabling secure boot) and apply OS hardening guidelines.
C. Design and migration | C.14 | The Contractor's migration plan should consider the possibility of physically relocating existing hyperconverged server hardware from current to other available racks. This consideration should include: • Logistics and sequencing: How physical moves would be safely and efficiently managed. • Downtime minimization: Strategies to lessen service impact during relocation. • Post-relocation verification: Steps to ensure operational integrity in new rack locations.
C. Design and migration | C.15 | The Contractor's migration plan must include specific contingency measures and response protocols for potential hardware failures (both existing and newly deployed) that may occur during the intense migration period. This includes strategies for rapid replacement, data recovery, and minimizing migration impact in such scenarios.
C. Design and migration | C.16 | The Contractor must provide expert assistance in developing a comprehensive and detailed plan for migrating existing workloads from Naturalis's current OpenStack cluster to the new environment. This plan must explicitly evaluate and detail your migration strategy. This can be a direct migration to a new, separate cluster (moving workloads from the existing cluster to a completely new, independently deployed OpenStack environment), a migration within an extended cluster (adding new server hardware (nodes) to the existing OpenStack cluster, followed by the movement of workloads to these new nodes utilizing standard OpenStack migration methods), or another type of migration or combination of types. The plan must clearly articulate the reasoning for the chosen strategy, including Naturalis's specific needs and constraints and the strategy's benefits and any trade-offs compared to alternatives. In addition, the plan must cover: • Migration Methodology: Proposing suitable methodologies (e.g., phased, lift-and-shift, re-platforming, in-cluster live migration/evacuation) tailored to Naturalis's specific workloads and requirements. • Workload Assessment: Support in assessing workload compatibility, dependencies, and resource requirements on the target (new or extended) environment. • Risk Identification & Mitigation: Identification of potential risks associated with each migration strategy and development of robust mitigation strategies. • Tooling & Techniques: Recommendations and guidance on appropriate migration tools and techniques (both external and OpenStack-native) to ensure efficiency, data integrity, and reliability. • Downtime Minimization: Strategies and procedures to minimize service disruption and ensure data integrity during the entire migration lifecycle. • Validation & Rollback: Planning for post-migration validation and clear rollback procedures in case of unforeseen issues.
C. Design and migration | C.17 | The Contractor must provide and execute a comprehensive Validation Plan for the implemented OpenStack and Ceph clusters. This plan, requiring Naturalis's approval, must include tests for: • Functional validation: Verifying all core services and APIs work as designed. • Performance validation: Benchmarking against agreed-upon KPIs. • Stability & Resilience testing: Ensuring cluster stability under load and recovery from failures. • Security validation: Confirming correct implementation of security controls. • Monitoring & Alerting verification: Confirming data collection and alert triggering. The Contractor will provide a detailed Validation Report based on executed tests. Naturalis's joint sign-off on this report is required for final cluster acceptance and readiness.
C. Design and migration | C.18 | The Contractor must create and maintain shared documentation for Naturalis's private cloud infrastructure. This documentation should ideally: • Align with the Contractor's own standard documentation tooling and internal standards, ensuring consistency and efficiency and • Be version controlled (e.g. Git-based documentation workflows) • Be based on open standards and open source tooling. This commitment ensures effective knowledge transfer and long-term manageability of the cloud environment.
D. Remote management and support
D. Remote management and support | D.1 | The Contractor's quoted costs in Appendix D - Price sheet for remote management and support must provide full and comprehensive coverage for all software components essential to the operational integrity and correct functioning of the private cloud clusters. This includes, without additional charges, all tasks related to the complete software lifecycle management of: • OpenStack (all core and integrated services) • Ceph (all components and associated gateways) • Kubernetes (control plane, nodes, and core components) • And any other underlying or supporting software required for their proper operation (e.g., operating system maintenance, hypervisor management, databases, message queues). Specifically, these costs must encompass: • Proactive Maintenance: Routine health checks, performance tuning, and optimization. • Software Updates & Upgrades: Application of patches, security fixes, and minor/major version upgrades. • Incident & Problem Management: Diagnosis, troubleshooting, and resolution of all software-related issues and problems.
D. Remote management and support | D.2 | The Contractor's support service must provide expert-level engineers, accessible via telephone and online channels, to deliver comprehensive assistance for: • Incident Management: Proactive monitoring, rapid diagnosis, and effective resolution of all incidents affecting OpenStack, Ceph, and Kubernetes clusters. • Change Management: Expert guidance, planning, and execution for both standard and non-standard changes to the cloud infrastructure, adhering to mutually agreed-upon change management procedures.
D. Remote management and support | D.3 | The Contractor must provide a central telephone number for support inquiries. During agreed-upon support windows, this number must be answered by a qualified support employee within five minutes.
D. Remote management and support | D.4 | The Contractor must provide an online ticketing system for reporting incidents and requesting support for changes. This system must offer real-time, up-to-date status information on the progress of all submitted tickets.
D. Remote management and support | D.5 | The Contractor's operational support service must be available for 16 hours on Mondays and 10 hours on all other days of the week. Specifically, this means support coverage from 8:00 AM to 6:00 PM CET on Tuesday through Sunday, and extended coverage from 8:00 AM to 12:00 AM (midnight) CET on Mondays.
D. Remote management and support | D.6 | The Contractor must be able to extend the operational support service to 24 hours a day, 7 days a week (24/7), should Naturalis require it in the future. This extension can be for either a continuous, ongoing period or a defined, limited duration to support specific critical events or projects.
D. Remote management and support | D.7 | The lifecycle management of all server hardware firmware, encompassing BIOS, UEFI, BMC (Baseboard Management Controller), and any other embedded firmware components, is the responsibility of Naturalis. However, the Contractor can be optionally requested to perform firmware maintenance (including identification, assessment, and application of necessary updates) as an extra service. The requirements for any changes and updates of firmware will be determined as part of a dialogue between Naturalis and the Contractor, ensuring the security, stability, performance, and compatibility of the private cloud clusters.
D. Remote management and support | D.8 | The Contractor is fully responsible for the proactive lifecycle management and continuous security hardening of the operating system deployed on all Naturalis server hardware participating in the private cloud clusters. This responsibility includes: • Timely Patch Management: Regularly applying all relevant security patches, bug fixes, and critical updates to the operating system components to ensure continuous security and stability. • Version Upgrades: Proactively upgrading the operating system to supported versions that receive the latest security patches and essential updates from their respective upstream vendors and projects. This ensures that all production servers remain within a vendor-supported lifecycle throughout the duration of the contract. • Automation & Reproducibility: Implementing an automated and reproducible process for OS updates and upgrades to minimize human error and ensure consistency across the environment. • Minimal Disruption: Performing all OS maintenance, including updates and upgrades, with a robust change management process designed to achieve minimal or zero downtime for the running cloud services. • Compatibility Assurance: Ensuring that all OS updates and upgrades maintain full compatibility and optimal performance with the deployed OpenStack, Ceph, and Kubernetes components.
D. Remote management and support | D.9 | The Contractor is solely responsible for the proactive, continuous lifecycle management and security hardening of all private cloud software components deployed on Naturalis's server hardware. This encompasses: • OpenStack: All core services, integrated projects, and their dependencies. • Ceph: All components and associated gateways/libraries. • Kubernetes: Control plane, nodes, and essential components. • All critical software dependencies: Including databases, message queues, load balancers, and any other open-source or proprietary software required for the correct and reliable functioning of the clusters. This commitment to "up-to-date" status explicitly means: • Timely Security Patching: Rapidly identifying, assessing, and applying all relevant security patches and vulnerability fixes for all listed software components. • Upstream Support Assurance: Ensuring that all deployed software components, including their specific versions, continuously receive official upstream vendor or community security support throughout the entire production lifecycle of the server hardware on which they run. The Contractor must actively manage and plan for version upgrades to maintain this support. • Regular Updates & Upgrades: Proactively managing and executing minor version updates. Furthermore, the Contractor must plan for and perform at least an annual major version upgrade of private cloud software components (OpenStack, Ceph, Kubernetes, and key dependencies), if applicable and feasible, aiming for stability, performance improvements, and access to new features relevant to Naturalis's operations. The Contractor's methodology for achieving this must include: • Comprehensive Assessment: Regular review of upstream releases, security advisories, and compatibility matrices. • Rigorous Testing: Validating all updates and upgrades in a controlled environment before deployment to production. • Robust Change Management: Implementing a structured process to minimize downtime and mitigate risks during updates and upgrades. • Automated & Reproducible Deployment: Utilizing automation to ensure consistency and efficiency in applying updates across the environment.
D. Remote management and support | D.10 | The Contractor must implement and maintain extensive, proactive monitoring and alerting for all components of the private cloud, encompassing: • OpenStack: All core services, APIs, and resource utilization. • Ceph: Cluster health, OSD/pool performance, and capacity. • Kubernetes: Control plane, node, pod, and application health/performance. • Underlying Server Hardware & OS: System resources (CPU, memory, disk I/O, network), health, and stability. This monitoring solution must be capable of providing real-time insights and historical data. Crucially, the Contractor must provide Naturalis with read-only access to all collected monitoring data, dashboards, and alerts. The solution should either leverage OpenTelemetry standards or be directly compatible with Grafana data sources (e.g., Prometheus, Loki, InfluxDB) to facilitate seamless integration and data analysis by Naturalis.
D. Remote management and support | D.11 | The Contractor must provide regular monthly performance reports detailing the health, utilization, and key performance indicators (KPIs) of the private cloud clusters. These reports shall form the basis for regular service review meetings with Naturalis, discussing operational performance, service quality, and addressing any emerging trends or concerns. Ideally, these indicators are visible in real time in the monitoring solution described above.
D. Remote management and support | D.12 | The Contractor is responsible for the ongoing management, monitoring, and validation of all backup and disaster recovery (DR) mechanisms specifically for the private cloud's core operational assets. This includes, but is not limited to, the control plane, metadata, configuration data, and essential operational components of OpenStack, Ceph, and Kubernetes. The Contractor must ensure the data integrity of these operational assets, regularly test recovery procedures for the cloud infrastructure itself, and provide clear documentation of backup schedules, retention policies, and recovery point/time objectives (RPO/RTO) specific to the cloud's operational state. This requirement does not extend to the backup and recovery of tenant application data or user data residing within VMs, volumes, or applications running on the private cloud.
D. Remote management and support | D.13 | The Contractor must provide a clear and efficient process for handling security incidents specific to the private cloud infrastructure. This includes rapid detection, analysis, containment, eradication, and post-incident reporting. Crucially, this process must allow Naturalis's designated Security Operations Center (SOC) subcontractor to directly file security-related tickets with the Contractor's support system. The Contractor must ensure immediate prioritization and response to these directly filed security tickets. Furthermore, the Contractor must cooperate fully with Naturalis and its SOC subcontractor to enable comprehensive security monitoring of the private cloud environment. This cooperation includes either: • Running SOC Subcontractor Provided Security Tools: Facilitating the deployment and operation of security monitoring tools provided by Naturalis's SOC subcontractor directly on all private cloud nodes, provided these tools adhere to the Contractor's operational and security standards. • Providing Relevant Security Data: If direct tool deployment is not feasible or agreed upon, providing all necessary logs, metrics, and event data from the private cloud infrastructure components (OS, hypervisor, OpenStack, Ceph, Kubernetes, and other relevant software) in a format suitable for integration into the SOC subcontractor's security monitoring platforms.
E. Advice and future development
E. Advice and future development | E.1 | The Contractor must act as a strategic partner, providing proactive insights and expert guidance on emerging technologies, industry best practices, and future trends within the OpenStack, Ceph, and Kubernetes ecosystems. This partnership should enable Naturalis to: • Maintain a robust and efficient cloud infrastructure. • Make informed strategic decisions regarding technology adoption, upgrades, and future investments. • Proactively adapt to evolving cloud-native landscapes in a sustainable and controlled manner.
E. Advice and future development | E.2 | The Contractor must actively engage in capacity management for the private cloud clusters. This involves regularly analyzing resource consumption trends, forecasting future capacity needs based on Naturalis's projections, and providing recommendations for timely hardware or software scaling to prevent resource bottlenecks and ensure optimal performance.
E. Advice and future development | E.3 | The Contractor must provide expert guidance and collaborative support to Naturalis for the strategic decision-making and planning involved in the adoption, initial design, and future development of a new Kubernetes cluster. This strategic support includes, but is not limited to: • Initial Design & Architecture Recommendations: Advising on optimal Kubernetes distributions, initial cluster sizing, networking models, security postures, and crucially, the strategic decision of how Kubernetes will be deployed – including the option to leverage OpenStack's capabilities to run Kubernetes clusters on OpenStack. This also covers integration points with Ceph, and Naturalis's existing infrastructure. • Use Case Alignment: Guiding Naturalis in identifying and aligning specific use cases and application workloads that would benefit most from Kubernetes adoption. • Roadmap for Phased Adoption: Assisting in the creation of a phased roadmap for Kubernetes implementation, from initial pilot deployments to full production rollout. • Feature Adoption & Ecosystem Integration: Providing insights and recommendations on the adoption of key Kubernetes features, APIs, and the integration of complementary ecosystem tools and projects (e.g., service mesh, advanced ingress, CI/CD tools) relevant to Naturalis's evolving needs, with specific consideration for how these integrate with an OpenStack-based Kubernetes deployment. • Architectural Evolution & Scalability: Advising on potential architectural changes for enhanced scalability, resilience, or performance of the Kubernetes cluster as it grows, including considerations for optimizing Kubernetes deployments running on OpenStack.
E. Advice and future development | E.4 | The Contractor's support costs for physical Kubernetes Control Plane nodes must be equivalent to the support costs for OpenStack Controller nodes and the support costs for physical Kubernetes Worker nodes must be equivalent to the support costs for OpenStack Compute nodes. Specifically, the unit pricing and scope of support for any server hardware acting as a Kubernetes node shall be identical to that of an OpenStack node, as detailed in Appendix D - Price Sheet.
E. Advice and future development | E.5 | The Contractor must actively participate in regular workshops with Naturalis's stakeholders to align on the future roadmap of the private cloud. The frequency of these workshops is to be mutually agreed upon between Naturalis and the Contractor. These workshops should focus on prioritizing upcoming features, strategic initiatives, and major upgrades, ensuring the cloud's evolution directly supports Naturalis's long-term business objectives and application needs.
E. Advice and future development | E.6 | The Contractor must provide ongoing strategic advice regarding the evolution of the private cloud's security posture. This includes proactive recommendations on adapting security controls to emerging threats, leveraging new security features in OpenStack, Ceph, and Kubernetes releases, and integrating with broader industry security intelligence to keep Naturalis's infrastructure robust against evolving cyber risks.
E. Advice and future development | E.7 | The hourly rate for all consultancy services, as specified in the Appendix D - Price Sheet, shall not exceed 150 EUR per hour. If you submit an hourly rate of more than 150 EUR you will be excluded from further participation in this tender procedure.
E. Advice and future development | E.8 | The hourly rate for consultancy that you specify in your Bid applies to all consultancy services you provide under this Contract.
E. Advice and future development | E.9 | The specified hourly rate (fee) for consultancy services shall only be applicable for work explicitly agreed upon and formally approved by Naturalis in advance. This hourly rate does not apply to services already covered by the fixed costs for remote management and support, including but not limited to: proactive maintenance, software lifecycle management (updates, upgrades, patching), incident and problem resolution, or other services deemed essential for the ongoing operational integrity and security of the private cloud as per the contract.
F. Retransition
F. Retransition | F.1 | The Contractor must commit to full and seamless cooperation during any future retransition period, ensuring the uninterrupted stability and operational continuity of Naturalis's private cloud infrastructure throughout the entire handover process. This includes, but is not limited to: • Knowledge Transfer: Actively participating in comprehensive knowledge transfer to Naturalis or a successor provider. • Documentation Handover: Providing complete and up-to-date documentation for all deployed systems and configurations. • Joint Operations: Collaborating on operational tasks during the retransition phase to prevent service disruption. • Issue Resolution: Promptly assisting in the resolution of any issues that arise during the handover.
F. Retransition | F.2 | In the event of a retransition to a successor provider, the Contractor must ensure that the designated successor is granted full and unimpeded access to, and permission to utilize, all deployment, configuration, and operational tools specifically used for the management and maintenance of Naturalis's private cloud infrastructure. This access and usage right is exclusively for the purpose of enabling the successor provider to: • Take over maintenance of the private cloud seamlessly. • Facilitate a smooth and effective retransition of all services and operations.
F. Retransition | F.3 | Upon formal completion of the retransition and handover, the Contractor must commit to providing a defined period of limited, advisory-only support (e.g., 30 days) to Naturalis or the successor provider. This period is intended for addressing urgent queries, clarifying documentation, or assisting with minor issues that may arise directly from the handover, ensuring immediate post-transition stability. This advisory support will be billable at the agreed-upon hourly rate for consultancy (see Appendix D - Price Sheet). Naturalis's explicit approval will be required for any advisory hours exceeding 8 hours.
F. Retransition | F.4 | The Contractor is obliged to ensure the secure handling, return, or verifiable deletion of any Naturalis data, logs, or operational information (including backups) that were under the Contractor's control or stored on the Contractor's systems during the contract. The Contractor's procedures for this process must adhere strictly to Naturalis's data privacy and security policies.
Tenderer's name:
Signatory's name:
Signatory's position:
Signature: