## 1.Invul Blad
| ID | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 43Ca (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 82Se (STD) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 126Te (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb
1 | RO-01
2 | RO-02
3 | MO-01
4 | MO-02
5 | MO-03
6 | MO-04
7 | MO-05
8 | MO-06
9 | MO-07
10 | RO-03
11 | RO-04
12 | MO-08
13 | MO-09
14 | MO-10
15 | MO-11
16 | MO-12
17 | MO-13
18 | MO-14
19 | BS-01
20 | BS-02
21 | BS-BL
22 | BS-03
23 | BS-04
24 | BS-05
25 | BS-06
26 | BS-07
27 | BS-08
28 | BS-09
29 | BS-10
30 | -
|  | 1000 | 1000 | 1000 | 1 | 1000 | 1000 | 1000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
19 | BS-01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
20 | BS-02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
21 | BS-BL | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
22 | BS-03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
23 | BS-04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
24 | BS-05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
25 | BS-06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
26 | BS-07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
27 | BS-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
28 | BS-09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg
29 | BS-10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DS
Inweeg

## 2.Std Vergelijking
Monster 30: BL_A
Std per Element
Inschrijvers | Li μg/L | Be μg/L | B μg/L | Na μg/L | Mg μg/L | Al μg/L | K μg/L | Ca μg/L | V μg/L | Cr μg/L | Fe μg/L | Mn μg/L | Co μg/L | Ni μg/L | Cu μg/L | Zn μg/L | As μg/L | Se μg/L | Sr μg/L | Mo μg/L | Ag μg/L | Cd μg/L | Sn μg/L | Sb μg/L | Te μg/L | Ba μg/L | Hg μg/L | Tl μg/L | Pb μg/L | Bi μg/L | Th μg/L | U μg/L
a
b
c
d
e
f
g
h
Punten Max | 100
Elementen | 32
Punten per Element | 3.125
a
b
c
d
e
f
g
h

## 3.ID-Matrix
ID
RO-01 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
RO-02 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-01 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-02 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-03 | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb
MO-04 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-05 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-06 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-07 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
RO-03 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
RO-04 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-08 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-09 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-10 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-11 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-12 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
MO-13 | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb
MO-14 | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
BS-01 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-02 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-BL | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-03 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-04 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-05 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-06 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-07 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-08 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-09 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
BS-10 | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb

## 4.Score & Vergelijking
[5 empty] | Samples |  |  |  | Interferenties
Aantal Samples | 29 |  |  |  | 0.8 | <80% | 0.7 |  | 0.9 | <90% | 0.85
Totaal Punten | 200 |  |  |  | 0.9 | <90% | 0.8 |  | 0.95 | <95% | 0.9
Max punten/Sample | 6.8966 |  |  |  | 1.1 | 90% - 110% | 0.9 |  | 1.05 | 95% - 105% | 0.95
[5 empty] | 1.2 | >110% | 1.1 |  | 1.1 | >105% | 1.05
<80% / >120% Point Multiplier | 0.2 |  |  |  | 1.3 | >120% | 1.2 |  | 1.15 | >110% | 1.1
<90% / >110% Point Multiplier | 0.6
90% - 110% Point Multiplier | 1
|  |  | Punten | TOTAAL: | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 1 | Sample | RO-01
<80%
<90%
90% - 110%
>110%
>120%
*<70% of >130% verdient geen punten |  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 2 | Sample | RO-02
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 3 | Sample | MO-01
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 4 | Sample | MO-02
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 5 | Sample | MO-03
<90%
<95%
95% - 105%
>105%
>110%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 6 | Sample | MO-04
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 7 | Sample | MO-05
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 8 | Sample | MO-06
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 9 | Sample | MO-07
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 10 | Sample | RO-03
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 11 | Sample | RO-04
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 12 | Sample | MO-08
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 13 | Sample | MO-09
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 14 | Sample | MO-10
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 15 | Sample | MO-11
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 16 | Sample | MO-12
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 17 | Sample | MO-13
<90%
<95%
95% - 105%
>105%
>110%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 18 | Sample | MO-14
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 19 | Sample | BS-01
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 20 | Sample | BS-02
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 21 | Sample | BS-BL
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 22 | Sample | BS-03
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 23 | Sample | BS-04
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 24 | Sample | BS-05
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 25 | Sample | BS-06
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 26 | Sample | BS-07
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 27 | Sample | BS-08
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 28 | Sample | BS-09
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  |  | ID
Max punten/Element/Sample | #DIV/0! | 29 | Sample | BS-10
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0
Elementen | 0 |  | Selecteer Matrix | ID
Max punten/Element/Sample | #DIV/0! | 30 | Sample | - | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
<80%
<90%
90% - 110%
>110%
>120%
|  |  |  | SOM | 0

## Verwachte Resultaten (hidden)
| ID | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 43Ca (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 82Se (STD) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 126Te (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb
1 | RO-01
2 | RO-02
3 | MO-01
4 | MO-02
5 | MO-03
6 | MO-04
7 | MO-05
8 | MO-06
9 | MO-07
10 | RO-03
11 | RO-04
12 | MO-08
13 | MO-09
14 | MO-10
15 | MO-11
16 | MO-12
17 | MO-13
18 | MO-14
19 | BS-01
20 | BS-02
21 | BS-BL
22 | BS-03
23 | BS-04
24 | BS-05
25 | BS-06
26 | BS-07
27 | BS-08
28 | BS-09
29 | BS-10
30
|  | 1000 | 1000 | 1000 | 1 | 1000 | 1000 | 1000 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
19 | BS-01
DS
Inweeg
20 | BS-02
DS
Inweeg
21 | BS-BL
DS
Inweeg
22 | BS-03
DS
Inweeg
23 | BS-04
DS
Inweeg
24 | BS-05
DS
Inweeg
25 | BS-06
DS
Inweeg
26 | BS-07
DS
Inweeg
27 | BS-08
DS
Inweeg
28 | BS-09
DS
Inweeg
29 | BS-10
DS
Inweeg

## Matrix (hidden)
ALL | 7Li (STD) | 9Be (STD) | 10B (STD) | 23Na (KED) | 23Na (STD) | 24Mg (STD) | 27Al (STD) | 27Al (KED) | 31P (STD) | 34S (KED) | 39K (STD) | 43Ca (STD) | 44Ca (STD) | 51V (KED) | 52Cr (KED) | 53Cr (KED) | 54Fe (KED) | 55Mn (KED) | 56Fe (KED) | 59Co (KED) | 60Ni (KED) | 63Cu (KED) | 64Zn (KED) | 65Cu (KED) | 66Zn (KED) | 75As (KED) | 78Se (KED) | 82Se (STD) | 88Sr (KED) | 89Y (KED) | 95Mo (KED) | 98Mo (KED) | 107Ag (KED) | 111Cd (KED) | 114Cd (KED) | 118Sn (KED) | 120Sn (KED) | 121Sb (KED) | 123Sb (KED) | 126Te (KED) | 137Ba (KED) | 138Ba (KED) | 195Pt (KED) | 197Au (KED) | 200Hg (KED) | 201Hg (KED) | 202Hg (KED) | 205Tl (KED) | 206Pb (KED) | 207Pb (KED) | 208Pb (KED) | 209Bi (KED) | 232Th (KED) | 238U (KED)
Eenheid | ppb | ppb | ppb | ppm | ppm | ppm | ppb | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppb | ppb | ppm | ppb | ppm | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb | ppb
OW/AW | 7Li (STD) | 9Be (STD) | 10B (STD) | 23Na (KED) |  | 24Mg (STD) | 27Al (STD) |  |  |  | 39K (STD) | 43Ca (STD) |  | 51V (KED) | 52Cr (KED) |  | 54Fe (KED) | 55Mn (KED) | 56Fe (KED) | 59Co (KED) | 60Ni (KED) | 63Cu (KED) | 64Zn (KED) | 65Cu (KED) | 66Zn (KED) | 75As (KED) | 78Se (KED) |  | 88Sr (KED) | 89Y (KED) |  | 98Mo (KED) | 107Ag (KED) | 111Cd (KED) | 114Cd (KED) | 118Sn (KED) |  | 121Sb (KED) |  | 126Te (KED) |  | 138Ba (KED) |  |  | 200Hg (KED) | 201Hg (KED) | 202Hg (KED) | 205Tl (KED) |  |  | 208Pb (KED) | 209Bi (KED) | 232Th (KED) | 238U (KED)
ZB/BS |  |  |  |  | 23Na (STD) | 24Mg (STD) |  | 27Al (KED) | 31P (STD) | 34S (KED) | 39K (STD) |  | 44Ca (STD) | 51V (KED) | 52Cr (KED) | 53Cr (KED) | 54Fe (KED) | 55Mn (KED) | 56Fe (KED) | 59Co (KED) | 60Ni (KED) | 63Cu (KED) | 64Zn (KED) | 65Cu (KED) | 66Zn (KED) | 75As (KED) |  | 82Se (STD) |  |  | 95Mo (KED) | 98Mo (KED) | 107Ag (KED) | 111Cd (KED) | 114Cd (KED) | 118Sn (KED) | 120Sn (KED) | 121Sb (KED) | 123Sb (KED) |  | 137Ba (KED) | 138Ba (KED) | 195Pt (KED) | 197Au (KED) | 200Hg (KED) | 201Hg (KED) | 202Hg (KED) | 205Tl (KED) | 206Pb (KED) | 207Pb (KED) | 208Pb (KED) |  |  | 238U (KED)
ALL-eenheid | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 43Ca (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 82Se (STD) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 126Te (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb
OW/AW-eenheid | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm |  | 24Mg (STD) ppm | 27Al (STD) ppb |  |  |  | 39K (STD) ppm | 43Ca (STD) ppm |  | 51V (KED) ppb | 52Cr (KED) ppb |  | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb |  | 88Sr (KED) ppb | 89Y (KED) ppb |  | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb |  | 121Sb (KED) ppb |  | 126Te (KED) ppb |  | 138Ba (KED) ppb |  |  | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb |  |  | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
ZB/BS-eenheid |  |  |  |  | 23Na (STD) ppm | 24Mg (STD) ppm |  | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm |  | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb |  | 82Se (STD) ppb |  |  | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb |  | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb |  |  | 238U (KED) ppb
| 7Li | 9Be | 10B | 23Na | 23Na | 24Mg | 27Al | 27Al | 31P | 34S | 39K | 43Ca | 44Ca | 51V | 52Cr | 53Cr | 54Fe | 55Mn | 56Fe | 59Co | 60Ni | 63Cu | 64Zn | 65Cu | 66Zn | 75As | 78Se | 82Se | 88Sr | 89Y | 95Mo | 98Mo | 107Ag | 111Cd | 114Cd | 118Sn | 120Sn | 121Sb | 123Sb | 126Te | 137Ba | 138Ba | 195Pt | 197Au | 200Hg | 201Hg | 202Hg | 205Tl | 206Pb | 207Pb | 208Pb | 209Bi | 232Th | 238U
Selecteer Matrix
Oppervlaktewater / Afvalwater | 7Li (STD) ppb | 9Be (STD) ppb | 10B (STD) ppb | 23Na (KED) ppm | 24Mg (STD) ppm | 27Al (STD) ppb | 39K (STD) ppm | 43Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 78Se (KED) ppb | 88Sr (KED) ppb | 89Y (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 121Sb (KED) ppb | 126Te (KED) ppb | 138Ba (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 208Pb (KED) ppb | 209Bi (KED) ppb | 232Th (KED) ppb | 238U (KED) ppb
Slib / Waterbodem | 23Na (STD) ppm | 24Mg (STD) ppm | 27Al (KED) ppm | 31P (STD) ppm | 34S (KED) ppm | 39K (STD) ppm | 44Ca (STD) ppm | 51V (KED) ppb | 52Cr (KED) ppb | 53Cr (KED) ppb | 54Fe (KED) ppm | 55Mn (KED) ppb | 56Fe (KED) ppm | 59Co (KED) ppb | 60Ni (KED) ppb | 63Cu (KED) ppb | 64Zn (KED) ppb | 65Cu (KED) ppb | 66Zn (KED) ppb | 75As (KED) ppb | 82Se (STD) ppb | 95Mo (KED) ppb | 98Mo (KED) ppb | 107Ag (KED) ppb | 111Cd (KED) ppb | 114Cd (KED) ppb | 118Sn (KED) ppb | 120Sn (KED) ppb | 121Sb (KED) ppb | 123Sb (KED) ppb | 137Ba (KED) ppb | 138Ba (KED) ppb | 195Pt (KED) ppb | 197Au (KED) ppb | 200Hg (KED) ppb | 201Hg (KED) ppb | 202Hg (KED) ppb | 205Tl (KED) ppb | 206Pb (KED) ppb | 207Pb (KED) ppb | 208Pb (KED) ppb | 238U (KED) ppb
interferentie | 43Ca ppm | 44Ca ppm | 64Zn ppb | 66Zn ppb | 88Sr ppb | 95Mo ppb | 98Mo ppb | 111Cd ppb | 114Cd ppb | 118Sn ppb | 120Sn ppb | 137Ba ppb | 138Ba ppb | 200Hg ppb | 201Hg ppb | 202Hg ppb