| BID COMPLIANCE MATRIX |  |
| --- | --- |
| Subject: | WARMTENET MUIDERBERG version 3.0 |
| Recipient: | Tenders |
| Date: | 27 August 2026 |
| Project no.: | 25-031 |
| Prepared by: | THN |
| Quality-assured by: | MR |

# Administrative & Commercial Compliance

| Ref. | Requirement | Scource | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| AC 0 | Signed Letter of Tender submitted by legally authorised representative | 0.3 TC chapter 6 | Yes | Signed Letter of Tender and authority documentation where relevant |  |  |
| AC 1 | Tender submitted in English | 0.3 TC chapter 6 | Yes | All tender documents in English, except permitted datasheets with translated key parts |  |  |
| AC 2 | Tender validity ≥ 90 calendar days from BAFO submission deadline | 0.3 TC chapter 6 | Yes | Explicit confirmation in Letter of Tender |  |  |
| AC 3 | Acceptance of UAV-GC 2025 contract framework | 0.3 TC chapter 6 | Yes | Signed declarations / no conflicting reservations |  |  |
| AC 4 | Pricing using prescribed tender lists | 0.3 TC chapter 7.1 | Yes | Fully completed pricing schedules incl. options |  |  |
| AC 5 | All stipulated services priced | 0.3 TC chapter 6 | Yes | Included in pricing schedules |  |  |
| AC 6 | All evaluated and non-evaluated options priced | 0.3 TC chapter 6 | Yes | Option pricing tables |  |  |
| AC 7 | Reservations listed exclusively in Reservation List | 0.3 TC chapter 6 | Yes | Separate Reservation List document, or statement “no reservations” |  |  |
| AC 8 | No alternative or variant tender submitted | 0.3 TC chapter 6 | Yes | Statement of full compliance with Tender Dossier |  |  |

# General Technical Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| GT 1 | Compliance with Document 3.1 | Yes | Compliance matrix / narrative |  |  |
| GT 2 | Compliance with applicable SR documents | Yes | Lot-specific compliance statements |  |  |
| GT 3 | Conceptual / early functional design provided | Yes | Technical descriptions |  |  |
| GT 4 | Systems Engineering traceability | Yes | Structured documentation with traceability |  |  |
| GT 5 | Interface management between Lots and parallel works | Yes | Interface description and responsibilities |  |  |
| GT 6 | Testing and commissioning approach aligned with UAV-GC 2025 and Document 3.1 | Yes | Testing and commissioning methodology |  |  |
| GT 7 | Environmental and permitting compliance addressed | Yes | Compliance narrative |  |  |
| GT 8 | Compliance with AP2.1 Demarcation Document | Yes | Interface compliance statement |  |  |

# Drawings & Integration

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| DR 1 | Process Flow Diagrams | Yes | Preliminary diagrams |  |  |
| DR 2 | P&IDs | Yes | Preliminary P&IDs |  |  |
| DR 3 | System layout drawings | Yes | Layouts showing access and maintainability |  |  |
| DR 4 | Site layout, where relevant | Yes | Site plans for WKO, TEO, TTES and Heating Central interfaces |  |  |
| DR 5 | Interface and integration drawings | Yes | Integration drawings between Lots |  |  |

# Lot A – Heating Central Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| A 1 | Heat pump system concept and redundancy | Yes | Technical description and layouts |  |  |
| A 2 | Heat pump component datasheets | Yes | Manufacturer datasheets |  |  |
| A 3 | Natural refrigerants only | Yes | Refrigerant declaration |  |  |
| A 4 | Heat pump operational modes and control logic | Yes | Control philosophy description |  |  |
| A 5 | Acoustic performance and mitigation | Yes | Noise data and mitigation measures |  |  |
| A 6 | Gas boiler system | Yes | Technical description and emissions data |  |  |
| A 7 | DH-CSCS / SCS concept | Yes | Architecture and interface description |  |  |
| A 8 | Water treatment and internal hydraulics | Yes | Description and preliminary P&IDs |  |  |
| A 9 | Design lifetime ≥ 25 years where required | Yes | Lifetime and corrosion protection strategy |  |  |
| A 10 | Completed warranty/performance data sheet where applicable | Yes | HP01 |  |  |

# Lot B – WKO / TEO Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| B 1 | WKO/TEO system design basis | Yes | Design assumptions and calculations |  |  |
| B 2 | Compliance with Dutch groundwater, surface water and environmental regulations | Yes | Regulatory compliance narrative |  |  |
| B 3 | WKO well engineering and drilling method | Yes | Well design and execution plan |  |  |
| B 4 | Long-term aquifer thermal balance | Yes | Calculations and justification |  |  |
| B 5 | TEO intake/outlet design for IJmeer | Yes | Technical description and drawings |  |  |
| B 6 | Ice, biofouling and corrosion mitigation | Yes | Design measures description |  |  |
| B 7 | Integration with Heating Central and SR-CSCS | Yes | Interface and control description |  |  |
| B 8 | Noise and environmental impact mitigation | Yes | Noise data and mitigation plan |  |  |
| B 9 | Required permits, certifications and qualifications identified | Yes | Permit and certification overview |  |  |

# Lot C – TTES Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| C 1 | Compliance with EN 14015, Eurocodes and Dutch requirements | Yes | Design basis and standards list |  |  |
| C 2 | Tank geometry and classification | Yes | Engineering description |  |  |
| C 3 | Corrosion protection and insulation | Yes | Technical description |  |  |
| C 4 | Design lifetime ≥ 25 years | Yes | Lifetime strategy |  |  |
| C 5 | Structural and civil integration | Yes | Structural concept drawings and load data |  |  |
| C 6 | Hydraulic and thermal stratification concept | Yes | Hydraulic description |  |  |
| C 7 | Inspection and maintenance strategy | Yes | Maintenance and inspection plan |  |  |
| C 8 | Access systems, platforms, ladders and safety equipment | Yes | Technical description / drawings |  |  |

# Organisation, Quality & Personnel

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| ORG 1 | Project organisation defined | Yes | Organisation chart |  |  |
| ORG 2 | Key personnel identified for the Lot tendered | Yes | CVs / role descriptions |  |  |
| ORG 3 | Project Manager with relevant experience | Yes | CV |  |  |
| ORG 4 | Technical leads relevant to the Lot identified | Yes | CVs / competence matrix |  |  |
| ORG 5 | Construction / site management role identified where relevant | Yes | CV / role description |  |  |
| ORG 6 | Quality management system described | Yes | Certificate and QA description |  |  |
| ORG 7 | Interface and coordination approach | Yes | Interface management plan |  |  |
| ORG 8 | Construction Planning, confirmation feasibility operation schedule | Yes | Guant chart |  |  |

# Service & Warranty Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| SW 1 | Minimum warranty per contract | Yes | Warranty statement |  |  |
| SW 2 | Extended warranty if offered | Optional / scored | Warranty proposal / EMVI promise |  |  |
| SW 3 | Five-year service agreement included in main tender sum | Yes | Service agreement proposal and confirmation included in price |  |  |
| SW 4 | Optional extension years 6–10 priced | Yes | Option pricing and scope |  |  |
| SW 5 | Service and maintenance plan submitted | Yes | Five-year maintenance plan / MJOP where relevant |  |  |
| SW 6 | Response times and preventive maintenance described | Yes | Service methodology |  |  |
| SW 7 | Improvements beyond minimum service requirements submitted as EMVI promises | Optional / scored | EMVI promises |  |  |

# Criterion B / EMVI Compliance

| Ref. | Requirement | Mandatory | Evidence to be Submitted | Compliant Y/N | Remarks |
| --- | --- | --- | --- | --- | --- |
| CB 1 | Plans of Approach submitted for all required dimensions | Yes | Plans of Approach per Lot and dimension |  |  |
| CB 2 | Plans of Approach comply with page limits | Yes | PDF documents within page limits |  |  |
| CB 3 | Required number of EMVI promises submitted | Yes | EMVI promise forms / descriptions |  |  |
| CB 4 | EMVI promises structured according to required format | Yes | Structured EMVI promise template |  |  |
| CB 5 | EMVI promises are SMART and verifiable | Yes | KPIs and verification method |  |  |
| CB 6 | Appendices used only for supporting documentation | Yes | Appendices clearly referenced |  |  |