## Pricing Schedule
|  | Date: | 27.08.2026
The undersigned contractor hereby offers the establishment of the complete Heating Central for Lot A — including heat pump system, gas boiler, common technical systems, electrical installation, DH-CSCS and building interface works — for Warmtebedrijf Muiderberg B.V. in Muiderberg, on a design-and-build basis (UAV-GC 2025), and hereby confirms that there are no reservations other than those described in this tender list.
Warmtenet Muiderberg — Lot A: Heating Central
Contractor name:
Registration number:
Address:
Telephone:
Date:
Signature:
Reservations / qualifications (if any):
Total tender sum |  |  | 0
COP-value in operation point 1 per Guarantee Sheet HP01 (cell E47)
Net Present Value (NPV) — HP01 heat pump system (per Guarantee Sheet HP01, cell D59):
Yellow cells to be filled in manually
All part prices must include all services, materials, transport, taxes and profit required for complete delivery.
Part prices and unit rates are binding for settlement of additional works and work order agreements.
Pos. | Ref. Document | 0. Main tender — General services and Maintenance first 5 years | Sum (EUR) excl. VAT
1 | 0.3 | Five-year service agreement for Lot A systems, including statutory inspections, planned preventive maintenance, reporting, remote support and service organisation — including service organisation, response time obligations, availability of qualified service personnel, special tools, measuring equipment and spare parts (total = sum of items 2+3+4) | 0
2 | 0.3 | Heat pump system: Planned service and preventive maintenance during the initial five-year service period, including consumables, wear parts, refrigerant and oil (4,200 hr/year)
3 | 0.3 | Gas boiler system: Planned service and preventive maintenance during the initial five-year service period, including statutory inspections, burner adjustment and consumables (100 hr/year)
4 | 0.3 | DH-CSCS and system integration: Service and support for HP-SCS, GB-SCS and DH-CSCS interfaces during the initial five-year service period, including remote support, minor software adjustments and reporting — all technical components in Lot A: pumps, water treatment etc.
SUM |  | Total sum, 0. General services and Maintenance, excl. VAT | 0
Pos. | Ref. Document | A. Main tender — General services for Lot A Heating Central | Sum (EUR) excl. VAT
1 | 1 / 3.1 | Project management and contract management
2 | 1 / 3.1 | Coordination with other Lots, Project Owner, DSO and authorities
3 | 3.1 | Technical documentation for permits, authority processing, noise documentation and compliance with permit conditions
4 | 3.1 | Start-up, commissioning, performance verification and handover
5 | 3.1 | Operational optimisation and training of operating personnel
6 | 3.1 | CE marking, documentation and quality assurance
7 | 3.2 | Site conditions, health and safety coordination within Lot A scope
8 | AP2.1 | Interface management and coordination with Lot B, Lot C and Lot H
9 | 3.1 | As-built documentation, operation and maintenance manuals
10 |  | Other general services, state nature:
SUM |  | Total sum, A. Main tender — General services, excl. VAT | 0
Pos. | Ref. Document | B. Main tender — Heat pump system | Sum (EUR) excl. VAT
11 | 4.1 | Heat pump system, equipment supply
12 | 4.1 | Refrigerant and oil
13 | 4.1 | Heat pump auxiliary pumps including electric motors
14 | 4.1 | Piping and mechanical installation within heat pump system
15 | 4.1 | Vibration damping measures, base frames and equipment-related supports
16 | 4.1 | Heat exchangers within the heat pump system
17 | 4.1 | Surface protection
18 | 4.1 | Insulation and cladding of heat pump equipment and piping
19 | 4.1 | Instrumentation including flow, temperature, pressure and energy meters
20 | 4.1 / 4.5 | Heat Pump SCADA and Control System (HP-SCS), including PLC, HMI and local control functions
21 | 4.1 | Refrigerant leak detection system and emergency ventilation
22 | 4.1 | Electrical installations and cabling within heat pump system scope
23 | 4.1 | Other mechanical installations for heat pump system, state nature:
24 | 4.1 | Other heat pump works, state nature:
SUM |  | Total sum, B. Main tender — Heat pump system, excl. VAT | 0
Pos. | Ref. Document | C. Main tender — Intermediate circuit and WKO/TEO interface | Sum (EUR) excl. VAT
25 | 4.1 / AP2.1 | Intermediate circuit between heat pump evaporator and WKO/TEO interface
26 | 4.1 / 4.4 | Intermediate circuit pumps, valves, filters and associated equipment
27 | 4.1 / 4.4 | Pressure holding, filling, expansion and water quality provisions for intermediate circuit
28 | 4.1 / AP2.1 | Hydraulic connections to WKO/TEO heat exchangers at defined interface points
29 | 4.1 / 4.5 | Instrumentation, alarms and signal exchange for intermediate circuit
30 | AP2.1 | Interface testing and coordination with Lot B WKO/TEO systems
31 |  | Other intermediate circuit/interface works, state nature:
SUM |  | Total sum, C. Main tender — Intermediate circuit and WKO/TEO interface, excl. VAT | 0
Pos. | Ref. Document | D. Main tender — Gas boiler system | Sum (EUR) excl. VAT
32 | 4.2 | Gas boiler including burner and gas train
33 | 4.2 / AP2.1 | Gas connection from defined gas interface point to gas boiler system
34 | 4.2 | Boiler shunt system, pumps, valves and associated pipework
35 | 4.2 | Flue gas system within Lot A scope and chimney interface coordination
36 | 4.2 | Combustion air system and gas boiler safety ventilation within Lot A scope
37 | 4.2 | Insulation and cladding of gas boiler pipework and equipment
38 | 4.2 | Vibration damping measures and equipment-related supports
39 | 4.2 | Instrumentation, emission measurement ports and gas consumption metering
40 | 4.2 / 4.5 | Gas Boiler SCADA and Control System (GB-SCS), including PLC, HMI and local control functions
41 | 4.2 | Commissioning, burner adjustment and accredited emission measurements
42 | 4.2 | Other gas boiler works, state nature:
SUM |  | Total sum, D. Main tender — Gas boiler system, excl. VAT | 0
Pos. | Ref. Document | E. Main tender — TTES hydraulic integration | Sum (EUR) excl. VAT
43 | AP2.1 / 4.4 | Piping between TTES interface and heating central system
44 | AP2.1 / 4.4 | Valves, actuators and fittings for TTES charge/discharge circuits within Lot A scope
45 | AP2.1 / 4.4 | Hydraulic integration of TTES with heat pump, gas boiler and district heating circuits
46 | AP2.1 / 4.5 | Signal integration from TTES terminal cabinet to DH-CSCS
47 | AP2.1 / 4.4 | Filling and draining provisions for TTES circuits within Lot A scope
48 | AP2.1 | Interface testing and coordination with Lot C
49 |  | Other TTES integration works, state nature:
SUM |  | Total sum, E. Main tender — TTES hydraulic integration, excl. VAT | 0
Pos. | Ref. Document | F. Main tender — Common Technical Systems and water treatment | Sum (EUR) excl. VAT
50 | 4.4 | District heating water treatment system
51 | 4.4 | Common pipework, headers, valves, filters and fittings within Lot A scope
52 | 4.4 | District heating pumps / circulation pumps within Lot A scope
53 | 4.4 | Filling, flushing, draining and venting systems
54 | 4.4 | Water quality monitoring and documentation
55 | 4.4 | Insulation and cladding of common pipework
56 | 4.4 | Instrumentation and energy metering for common technical systems
57 |  | Other common technical systems, state nature:
SUM |  | Total sum, F. Main tender — Common Technical Systems, excl. VAT | 0
Pos. | Ref. Document | G. Main tender — Electrical supply, 10 kV and low-voltage systems | Sum (EUR) excl. VAT
58 | 4.1 / AP2.1 | Coordination with DSO/Liander regarding grid connection, protection, metering and power quality
59 | 4.1 / AP2.1 | Internal 10 kV interconnection from DSO RMU/customer bay to Lot A 10 kV installation
60 | 4.1 | 10 kV switchgear installation including incoming feeder, outgoing feeders, protection and metering
61 | 4.1 | Transformer(s), including monitoring and protection
62 | 4.1 | Main low-voltage distribution board including sub-meters
63 | 4.1 | Outgoing feeders and sub-metering for heat pump, gas boiler, heat source equipment and shared systems
64 | 4.1 | Internal LV power distribution within Lot A scope
65 | 4.1 | Power supply and signal cabling to Lot A sub-distribution boards and control panels
66 | 4.1 | Power quality mitigation measures, including harmonic filtering and power factor correction where required
67 | 4.1 / 4.5 | UPS and surge protection for control and communication systems
68 |  | Other electrical works, state nature:
SUM |  | Total sum, G. Main tender — Electrical supply, excl. VAT | 0
Pos. | Ref. Document | H. Main tender — DH-CSCS and system integration | Sum (EUR) excl. VAT
69 | 4.5 | DH-CSCS software, configuration and programming
70 | 4.5 | DH-CSCS hardware, servers, workstations, HMIs and installation
71 | 4.5 | Integration of HP-SCS into DH-CSCS
72 | 4.5 | Integration of GB-SCS into DH-CSCS
73 | 4.5 | Integration of WKO/TEO-SCS signals into DH-CSCS
74 | 4.5 / AP2.1 | Integration of TTES signals into DH-CSCS
75 | 4.5 | Network segmentation, cybersecurity and NIS2 compliance measures
76 | 4.5 | Remote access, logging, backup and recovery functions
77 | 4.5 | Time synchronisation, alarm handling and historical data logging
78 | 4.5 | Manual operating mode and cybersecurity resilience
79 | 4.5 | FAT, SAT and commissioning of DH-CSCS and signal interfaces
80 |  | Other DH-CSCS and system integration works, state nature:
SUM |  | Total sum, H. Main tender — DH-CSCS and system integration, excl. VAT | 0
Pos. | Ref. Document | I. Main tender — Building interface works within Lot A scope | Sum (EUR) excl. VAT
81 | AP2.1 | Technical coordination with Lot H regarding equipment layout, loads and penetrations
82 | AP2.1 | Core drilling, openings and reinstatement for Lot A installations, where assigned to Lot A
83 | AP2.1 | Fire sealing of penetrations for Lot A installations, where assigned to Lot A
84 | AP2.1 | Technical ventilation and emergency ventilation for heat pump room, switchgear room and transformer room, where assigned to Lot A
85 | AP2.1 | Internal water supply from building connection to Lot A taps / emergency shower, where assigned to Lot A
86 | AP2.1 | Lighting fixtures in heat pump room, where assigned to Lot A
87 |  | Other Lot A building interface works, state nature:
SUM |  | Total sum, I. Main tender — Building interface works, excl. VAT | 0
Pos. | Ref. | K. Option prices — not included in total main tender sum | Sum (EUR) excl. VAT
O1 | 4.1 | Extension of heat pump service agreement after the initial five-year period, price per year (based on 4,200 operating hours/year)
O2 | 4.1 | Additional price per 100 heat pump operating hours beyond 4,200 operating hours/year during the service period
O3 | 4.1 | Additional refrigerant safety measures beyond base requirements, state nature:
O4 | 4.2 | Extension of gas boiler service agreement after the initial five-year period, price per year
O5 | 4.2 | Additional price per 100 operating hours beyond the assumed annual gas boiler operating hours
O6 | 4.2 | Additional / deduction price per running metre of chimney, including ladder/access and associated installations where applicable
O7 | 4.2 | Additional price for gas boiler system with economizer, including condensate neutralisation and all associated installations
O8 | 4.2 | Additional price for ultra-low NOx burner with flue gas recirculation, if required
O9 | 4.4 | Mobile water treatment unit, if required
O10 | 4.1 | Additional price for future electrical expansion capacity, if required by the Client
O11 | 4.5 | Additional DH-CSCS functionality beyond base requirements, state nature:
O12 | 0.2 | Extension of full Lot A service agreement for years 6–10, including heat pump, gas boiler, local SCS systems and all relevant Lot A auxiliary systems
O13 | 4.1 / AP2.1 | Option A: Lot A heat pump and intermediate circuit designed for operation without WKO/ATES. The option shall include direct TEO/lake operation with lake outlet temperature down to 1 °C, glycol in the intermediate circuit, all required heat exchangers, pumps, valves, controls, frost protection, safety measures and interfaces. State the option price and all effects on capacity, COP, electrical demand, gas consumption, NPV, maintenance and operational limitations.
O14 | 3.1 / AP2.1 | Option B: Phased implementation of Lot A. Provide an itemised price and programme for each proposed phase, including the minimum viable first phase, installed capacity and redundancy per phase, temporary works, Day-1 provisions for later expansion, interfaces, warranty/service consequences and any additional or avoided costs compared with the main tender.
SUM |  | Total sum, K. Option prices, excl. VAT | 0
Pos. | Ref. | L. Unit rates — prices per unit for settlement of additional and contingent works; not included in total tender sum | Sum (EUR) excl. VAT
S1 | 3.1 | Technician hours after handover (50 hours; state rate per hour)
S2 | 4.5 | Programmer hours after handover (25 hours; state rate per hour)
S3 | 3.1 / 4.5 | Additional pressure and temperature sensors installed and integrated with DH-CSCS, 3 pcs, DN15, PN10
S4 | 3.1 | Service call-outs, total cost for 10 call-outs of 2 hours each
S5 | 4.5 | Additional analogue input in DH-CSCS (per input)
S6 | 4.5 | Additional digital input in DH-CSCS (per input)
S7 | 4.5 | Additional analogue output in DH-CSCS (per output)
S8 | 4.5 | Additional digital output in DH-CSCS (per output)
S9 | 4.5 | Additional DH-CSCS screen display (per display)
S10 | 4.1 | Additional internal power cable route within Lot A scope, per 50 m
S11 | 4.1 | Additional signal/fibre cable route within Lot A scope, per 50 m
S12 | 4.1 | Additional sub-meter integrated into DH-CSCS (per meter)
S13 | 4.4 | Additional valve including actuator and DH-CSCS integration, state size/class (per unit)
S14 | 4.4 | Additional flow meter including DH-CSCS integration, state size/class (per unit)
S15 | 4.4 | Additional pipework within Lot A scope, per metre, state DN/class
S16 | 4.4 | Additional insulation and cladding of pipework, per metre, state DN/class
S17 | AP2.1 | Additional penetration including fire sealing for Lot A installation, per item
S18 | AP2.1 | Additional core drilling/opening for Lot A installation, per item
SUM |  | L. Unit rates, excl. VAT | 0
|  | Total tender sum — Lot A: Heating Central | Sum (EUR) excl. VAT
0 |  | Main tender: General services and Maintenance | 0
A |  | Main tender: General services for Lot A | 0
B |  | Main tender: Heat pump system | 0
C |  | Main tender: Intermediate circuit and WKO/TEO interface | 0
D |  | Main tender: Gas boiler system | 0
E |  | Main tender: TTES hydraulic integration | 0
F |  | Main tender: Common Technical Systems | 0
G |  | Main tender: Electrical supply, 10 kV and LV | 0
H |  | Main tender: DH-CSCS and system integration | 0
I |  | Main tender: Building interface works | 0
K |  | Optional items | 0
L |  | Unit rates (not included in total) | 0
SUM |  | Total tender sum Lot A (items 0+A+B+C+D+E+F+G+H+I) | 0

## System Data
System Data — to be completed by Tenderer
Complete the gray input cells. Data shall be consistent with heat pump guarantee sheet HP01 and the applicable system requirements.
Parameter | Unit | Tenderer input | Notes / reference
Heat pump system data — water-to-water HP01
Nominal heating capacity | kW |  | To be consistent with HP01 and SR HP
Nominal source-side heat extraction / cooling capacity | kW |  | Thermal power absorbed from intermediate/source circuit
District heating side temperature range — outlet (min./max.) | °C |  | Warm side / supply from HP
District heating side temperature range — inlet (min./max.) | °C |  | Warm side / return to HP
Intermediate/source circuit temperature — inlet to evaporator (min./max.) | °C |  | Cold side / from WKO/TEO interface
Intermediate/source circuit temperature — outlet from evaporator (min./max.) | °C |  | Cold side / to WKO/TEO interface
Applied refrigerant | - |  | Natural refrigerant or as accepted in SR HP
Total refrigerant charge | kg
Compressor / electric motor manufacturer | -
Compressor type | - |  | e.g. screw, piston, turbo or other
Number of compressors | pcs
Compressor speed range (min./max.) | rpm / %
Heat pump heat exchangers — type and manufacturer | - |  | Evaporator and condenser
Minimum capacity control range | %
Start-up time from standby to full load | min
Shutdown time from full load to standby | min
Minimum pause between stop and new start | min
Standstill heating — electrical / thermal | kW / kW |  | If applicable
Required standstill heating period after prolonged stop | min / h |  | If applicable
Weight per unit and largest main components | kg |  | For coordination with Lot H / foundations
Main dimensions per heat pump unit | L×W×H (m) |  | For layout coordination
Intermediate circuit and WKO/TEO interface
Design flow in intermediate/source circuit | m³/h
Design pressure / pressure class | bar / PN
Required differential pressure / available pump head | kPa / mWC
Intermediate circuit medium | - |  | Expected to be water unless otherwise specified
Water quality requirements for intermediate circuit | - |  | To be coordinated with SR-CTS
Interface connection sizes to WKO/TEO heat exchangers | DN / PN |  | To be consistent with AP2.1 and detailed design
Number of intermediate circuit pumps | pcs
Intermediate circuit pump motor power | kW
Gas boiler system data
Nominal heating capacity | kW
Burner capacity | kW
Nominal thermal efficiency | % |  | Full load
District heating side temperature range — outlet (min./max.) | °C |  | Full load
District heating side temperature range — inlet (min./max.) | °C |  | Full load
Nominal thermal efficiency | % |  | 50% Load
District heating side temperature range — outlet (min./max.) | °C |  | 50% Load
District heating side temperature range — inlet (min./max.) | °C |  | 50% Load
Minimum turndown / modulation range | %
NOx emission at reference conditions | mg/Nm³ |  | Dry flue gas, reference O₂ as defined in SR GB / permit
Expected annual NOx emissions | kg/year |  | To be consistent with AERIUS / permit assumptions
Chimney height | m |  | Subject to permit / Lot H interface
Standstill heating | kW
Gas consumption at nominal load | Nm³/h
Weight of boiler and largest components | kg |  | For coordination with Lot H / foundations
Technical building / building interface data
Required heat pump room area | m² |  | Input to Lot H / layout coordination
Required gas boiler room area | m² |  | Input to Lot H / layout coordination
Required transformer room area | m²
Required switchgear room area | m²
Required ventilation room area | m²
Minimum room temperature during standstill | °C |  | Include required duration depending on stop duration
Maximum heat load to rooms from Lot A equipment | kW |  | For ventilation/cooling coordination
Maximum noise emission from main equipment | dB(A) |  | For building/noise coordination
Largest access / replacement opening required | L×W×H (m)
Water treatment and common technical systems
Water treatment plant capacity | m³/h
Required filling rate for DH system / TTES circuits | m³/h |  | If applicable
Required water quality parameters | - |  | pH, conductivity, hardness, oxygen etc.
District heating circulation pump capacity | m³/h / kPa |  | If applicable
Electrical and control data
Maximum electrical power demand — heat pump system | kW / kVA
Maximum electrical power demand — gas boiler system | kW / kVA
Maximum electrical power demand — common systems | kW / kVA
Expected coincident maximum electrical load | kW / kVA |  | For 10 kV and transformer dimensioning
Largest motor starting current / method | A / method |  | DOL, soft starter, VFD etc.
Power factor at relevant operating points | cos φ
Expected harmonic distortion / mitigation concept | - |  | For Liander / power quality coordination
Number of signals to DH-CSCS | pcs |  | Analogue / digital / communication protocol summary
Communication protocol(s) | - |  | e.g. OPC UA, Modbus TCP, Profinet
UPS autonomy for local SCS systems | min |  | If applicable