## Pricing Schedule
|  | Date: | 27.08.2026
The undersigned contractor hereby offers the design, supply and installation of the complete WKO/TEO heat source system — comprising aquifer thermal energy storage (WKO/ATES) and surface water thermal energy extraction (TEO, IJmeer) — for Warmtebedrijf Muiderberg B.V. in Muiderberg, on a design-and-build basis (UAV-GC 2025), and hereby confirms that there are no reservations other than those described in this tender list.
Warmtenet Muiderberg — Lot B: WKO/TEO System
Contractor name:
Registration number:
Address:
Telephone:
Date:
Signature:
Reservations / qualifications (if any):
Total tender sum |  |  | 0
All part prices must include all services, materials, transport, taxes and profit required for complete delivery.
Part prices and unit rates are binding for settlement of additional works and work order agreements.
Pos. | Ref. Document | A. Main tender — General services | Sum (EUR) excl. VAT
1 | 3.1 | Project management, coordination and reporting
2 | 5.1 | Technical documentation for Permitting, regulatory approvals and authority compliance
3 | 5.1 | Design, engineering and as-built documentation
4 | 5.1 | Commissioning, performance testing and handover
5 | 3.2 | Site management and safety coordination
6 |  | Other works (specify in tender description):
SUM |  | Total sum, A. Main tender — General services, excl. VAT | 0
Pos. | Ref. Document | B. Main tender — TEO system (surface water thermal energy, IJmeer) | Sum (EUR) excl. VAT
7 | 5.1 | Intake and discharge structures (2 off) incl. coarse screens, section pumps, backwash, frost protection and civil works
8 | 5.1 | TEO transmission pipelines — supply and return, IJmeer to Heating Central, incl. trenching, burial and reinstatement
9 | 5.1 | Internal TEO installation incl. fine filtration, heat exchangers and anti-fouling / CIP provisions
10 | 5.1 | Insulation, cladding and corrosion protection — TEO pipework and equipment
11 |  | Other works (specify in tender description):
SUM |  | Total sum, B. Main tender — TEO system, excl. VAT | 0
Pos. | Ref. Document | C. Main tender — WKO/ATES system (aquifer thermal energy storage) | Sum (EUR) excl. VAT
12 | 5.1 | Hydrogeological investigation and aquifer testing
13 | 5.1 | Well drilling, casing, development and testing — 2 doublets (4 wells, ~220 m depth)
14 | 5.1 | Wellhead assemblies incl. submersible pumps, manifold, isolation valves and per-well instrumentation
15 | 5.1 | WKO transmission pipelines — supply and return, Heating Central to well field, incl. trenching and reinstatement (200 m piping)
16 | 5.1 | WKO heat exchanger station incl. above-ground pipework, insulation and cladding
17 |  | Other works (specify in tender description):
SUM |  | Total sum, C. Main tender — WKO/ATES system, excl. VAT | 0
Pos. | Ref. Document | D. Main tender — Electrical installation, control and SCADA | Sum (EUR) excl. VAT
18 | 4.4 | Power supply, switchgear, distribution and earthing
19 | 4.5/5.1 | WKO/TEO local control system (WKO/TEO-SCS) incl. hardware, software and SCADA integration
20 | 4.4 | Cabling, instrumentation, energy meters and signal ducting
21 |  | Other works (specify in tender description):
SUM |  | Total sum, D. Main tender — Electrical, control and SCADA, excl. VAT | 0
Pos. | Ref. | F. Option prices — included in total tender sum | Sum (EUR) excl. VAT
O1. | 5.1 | Provisions for third WKO doublet (civil works, casing stubs and manifold connections)
O2. | 5.1 | Additional TEO module — second internal installation unit, complete
O3. | 3.1 | Full maintenance service agreement, years 1–5 post-handover
O4. | 5.1 / AP2.1 | Option A: TEO-only heat source system without WKO/ATES. Provide the deduction/additional price compared with the main tender and clearly identify all omitted WKO scope, retained Day-1 provisions, TEO capacity, seasonal operating limits, permitting consequences, future WKO interfaces, energy performance, maintenance and operational risks.
O7. | 5.1 / AP2.1 | Option B: TEO-only heat source system without WKO/ATES, sized at twice the TEO capacity of the main tender. Provide the deduction/additional price compared with the main tender and clearly identify the proposed TEO capacity, intake and discharge capacity, transmission pipelines, internal installation, electrical and control requirements, seasonal operating limits, permitting consequences, omitted WKO scope, retained Day-1 provisions, future WKO interfaces, energy performance, maintenance and operational risks.
SUM |  | Total sum, F. Options, excl. VAT | 0
Pos. | Ref. | G. Unit rates — prices per unit for settlement of additional and contingent works; not included in total tender sum | Sum (EUR) excl. VAT
S1 | 5.1 | 50 engineer / technician hours, post-handover (rate per hour)
S2 | 4.5 | 25 WKO/TEO-SCS programmer hours, post-handover (rate per hour)
S3 | 5.1 | CIP cleaning service — TEO heat exchanger(s), complete (per cleaning campaign)
S4 | 5.1 | Replacement of TEO fine-filter element or screen, complete (per unit)
S5 | 5.1 | Replacement of WKO submersible pump set, complete (per unit)
S6 | 5.1 | Additional groundwater monitoring well, drilled and completed (per well)
S7 | 5.1 | Groundwater quality sampling and laboratory analysis campaign (per campaign)
S8 | 5.1 | Annual thermal balance and permit compliance report preparation (per report)
S9 | 3.2 | 50 man-hours civil, piping or earthworks on site (rate per 50 hours)
S10 | 5.1 | Mer-/minderprijs per additional metre of TEO pipeline (per metre)
S11 | 5.1 | Mer-/minderprijs per additional metre of WKO pipeline (per metre)
S12 | 2.5.1 | 15 additional hours required for handover of information for permitting
SUM |  | G. Unit rates, excl. VAT | 0
Pos. |  | Total tender sum — Lot B: WKO/TEO System | Sum (EUR) excl. VAT
A |  | Main tender: General services | 0
B |  | Main tender: TEO system | 0
C |  | Main tender: WKO/ATES system | 0
D |  | D. Main tender — Electrical installation, control and SCADA | 0
F |  | Optional items | 0
G |  | Unit rates (not included in total) | 0
SUM |  | Total tender sum Lot B (items A+B+C+D+F) | 0