## Pricing schedule Lot C
The undersigned contractor hereby offers the design, supply and installation of the complete TTES — for Warmtebedrijf Muiderberg B.V. in Muiderberg, on a design-and-build basis (UAV-GC 2025), and hereby confirms that there are no reservations other than those described in this tender list.
APPLICANT
VERSION
DATE
1'500 m3 tank thermal energy storage - Warmtebedrijf Muiderberg B.V.
PRICING SCHEDULE
|  | Designation | Quantity | Unit price | Total price | Company comment
|  |  |  | € ex-tax | € ex-tax
This table does not constitute a detailed estimate. It is the responsibility of the bidding company to fill in the quantities and justify them by any means it deems appropriate.
1 |  | Studies
| 1 | Studies | 1 |  | 0
| 2 | Plans | 1 |  | 0
| 3 | As-Built Documentation | 1 |  | 0
|  | Subtotal Studies |  |  | 0
2 |  | Construction work
| 1 | Application of asphalt powder to the concrete slab | 1 |  | 0
| 2 | Supply and installation of the tank (EN-14015), including the specifications set out in the technical specifications (anchoring, overflow, drain pipe, manholes, etc.) | 1 |  | 0
| 3 | Platform at the top of the tank for access to the instrumentation | 1 |  | 0
| 4 | DN250 diffusers | 3 |  | 0
| 5 | DN250 ball valves for diffusers | 3 |  | 0
| 6 | NDT (Non-destructive testing) on welds (EN-14015) | 1 |  | 0
| 7 | Steel blasting to achieve surface preparation grade SA 2½, as defined in ISO 8501-1, on the following areas: All internal surfaces, External surfaces: where protective coating will be applied | 1 |  | 0
| 8 | Corrosion protection treatment applied to the lower half of the tank’s external surfaces | 1 |  | 0
| 9 | Insulation on the roof and sides of the tank | 1 |  | 0
| 10 | Metal cladding to protect the insulation | 1 |  | 0
| 11 | Inerting system using a nitrogen or vapour cushion system and its connection to the tank | 1 |  | 0
| 12 | Instrumentation (level gauge, temperature sensors and pressure gauge), including the electrical cabinet | 1 |  | 0
|  | Subtotal Construction work |  |  | 0
|  | Ex-tax Total - Studies & Construction work |  |  | 0
3 |  | OPTION PRICES - NOT INCLUDED IN MAIN TENDER TOTAL
| Option | Designation | Quantity | Unit price | Total price | Company comment / mandatory technical data
| O1 | Option: 200 mm thermal insulation on tank roof and sides, complete with vapour barrier, fixings, thermal-bridge treatment and metal cladding. Tenderer shall state insulation material, declared thermal conductivity (lambda value) and the resulting overall U-value for the complete insulated tank construction. | 1 |  | 0 | Mandatory: state overall U-value [W/m²K], insulation material and lambda value [W/mK].
| O2 | Other voluntary TTES option proposed by the Tenderer, clearly describing scope, technical effect, price and any deviation from the main tender. | 1 |  | 0
|  | Total option prices - not included in main tender total |  |  | 0
The 200 mm insulation option is incomplete unless the resulting overall U-value for the complete tank construction is stated in column H.