Bijlage Marktconsultatie Laser Micro Dissection Microscoop

Wij vragen u de bijgevoegde lijst te beantwoorden.

Eisen LMD Microscoop

| Nr | Eisen | Akkoord bevestigen met “ja” | Eventuele Toelichting |
| --- | --- | --- | --- |
| 1 | Allow contact and contamination free collection of cells from a wide range of sources, including paraffin/steedman’s wax/frozen (cryo) tissue sections, as well as living cells from fresh tissue and cell cultures, suitable for downstream isolation of DNA/RNA/protein and metabolites. |  |  |
| 2 | Especially suitable for isolation of cells from plant tissue. |  |  |
| 3 | Strong and tuneable UV laser to dissect cells (including the ability to focus the laser for ablation or microsurgery) |  |  |
| 4 | Ability to dissect cells from membrane and non-membrane coated glass slides |  |  |
| 5 | Allow easy, reliable and reproducible selection of target areas |  |  |
| 6 | Provide high resolution for target cell selection |  |  |
| 7 | Integrated multichannel fluorescence microscopy (filters for DAPI, FITC, TRITC/PI) |  |  |
| 8 | Optimized Objectives (including 5x, 10x, 20x, 40x and 63x) |  |  |
| 9 | High resolution digital camera |  |  |
| 10 | Allow flexible (and automated) specimen collection |  |  |
| 11 | User friendly software |  |  |
| 12 | Technical and application (expertise) support |  |  |
| 13 | Cost efficient accessoires (membrane slides/frames & petridishes, holders, collection tubes) Give the prices of the accessoires. |  |  |
| 14 | Contact-free isolation of specific cells from (paraffin / steedman wax embedded) fixed tissue and cryosections from plant and animal(insect) tissue; suitable for DNA, RNA, protein and metabolite extraction |  |  |
| 15 | Ability to isolate cells (for subsequent RNA isolation) from plain glass-slides as well as membrane slides |  |  |
| 16 | Adjustable (tuneable) laser settings and high laser power suitable for a wide array of plant tissues and plant species; including (thick) difficult woody plant tissue (please indicate the range of tissue thickness (for example vibratome sections) that can be used, and which aspects of the laser settings can be optimized to the sample) |  |  |
| 17 | Ability to dissect live cells (bacterial cultures and plant/animal cell cultures) |  |  |
| 18 | Ability to dissect fresh (not treated (ie. not embedded/frozen) plant tissue (such as fresh leaf area’s infected with pathogenic fungi, trichomes and root hairs) as well as fresh fungal material (parts of hyphae and nuclei from fresh hyphae) |  |  |
| 19 | Ability to dissect thick (fresh) vibratome sections of plant tissue |  |  |
| 20 | Combine laser dissection with fluorescence imaging (allow multichannel fluorescence microscopy), or use multichannel fluorescence imaging as stand-alone feature |  |  |
| 21 | Perform focussed laser ablation (or laser microsurgery) on living cells and organisms, including plant protoplasts/cell lines and living nematodes (indicate work range for focussing the laser beam) |  |  |
| 22 | Easy calibration of the laser (please give an indication of the time required for calibration, how often etc..) |  |  |
| 23 | Het bevestigen van de gestelde eisen met ja betekent dat het bewezen kan worden. Op verzoek kan Wageningen UR dit, door het (laten) uitvoeren van testen, verifiëren. |  |  |

Wij vragen u onderstaande vragen te beantwoorden.

Vragen LMD Microscoop

| Nr | Vraag | Antwoord |
| --- | --- | --- |
| 1 | Kunt u aangeven op welke punten uw apparatuur zich onderscheid van de apparatuur van uw concurrenten? |  |
| 2 | Aan welke eisen moet de ruimte voldoen waar de LMD Microscoop wordt geïnstalleerd? |  |
| 3 | Welke soorten onderhoudscontracten zijn er en wat is daarvan de prijs? Geef de specificaties van het onderhoud in een bijlage. |  |
| 4 | Welke soort onderhoudscontract adviseert u? |  |
| 5 | Wat zijn de kritieke onderdelen van de LMD Microscoop, wat is daarvan de gemiddelde levensduur en wat is de prijs? |  |
| 6 | Wat is de prijs van de LMD Microscoop, inclusief bedrijfsklare oplevering en training? |  |
| 7 | Geef een specificatie van de training, aantal personen, tijd, dat bij de prijs is inbegrepen |  |
| 8 | Bent u geïnteresseerd in wetenschappelijke samenwerking? Zo ja op welke manier? |  |
| 9 | Geef de gegarandeerde levertijd van de LMD Microscoop |  |
| 10 | Geef de gegarandeerde levertijd van de bedrijfsklare oplevering gerekend vanaf het tijdstip dat de apparatuur geleverd is. |  |

Algemene bedrijfsgegevens

We vragen u hieronder de bedrijfsgegevens in te vullen

.

Naam onderneming		:

Vestigingsadres			:

Postcode en plaats		:

Land				:

Postadres			:

Postcode en plaats		:

Land				:

Rechtsvorm van de onderneming	:

Contactpersoon				:

Functie contactpersoon			: 
Telefoon contactpersoon			:

E-mail contactpersoon			: