## PvE
KWALITEITSBLAD
Versie
v1.0
Betreffende aanbesteding
NGS analyse platform
Ingevuld door
<Naam organisatie>
<Naam contactpersoon>
<Datum>
Invulinstructie
1. Vul alle blauwe ("Required") en groene ("Preferred") velden in. De groene velden kunnen verder uitgewerkt worden in het volgende tabblad |  |  |  | Handtekening:
Overal moet met 'ja' (voldoet wel) of 'nee' (voldoet niet) geantwoord worden.
2. De blauwe velden zijn KO criteria. Waar een toelichting gevraagd wordt, moet deze gegeven worden.
Indien het LUMC beoordeelt dat uw toelichting/onderbouwing niet afdoende of correct is, kan het LUMC uw score aanpassen.
|  | REQUIRED: needed to fulfill quality requirements and/or to provide good diagnostics | PREFERRED | Could you please provide information requested? | Weging
1. Functionele Eisen | Eis
1.1 | The platform must support analysis using VCF files (BAM + additional pipeline files, like QC files (Dragen or other)), including data from captured NGS, short-read NGS and long-read NGS (ONT and PacBio). | x
1.2 | The platform must support SNV, CNV/SV and repeat analysis and filtering from VCF files input. | x
1.3 | The platform must allow Index patient singleton analysis flow. | x
1.4 | The platform must allow Inherited trio analysis flow. | x
1.5 | The platform must allow Inherited duo analysis flow. | x
1.6 | The platform must allow custom analysis flow to support complex family analyses (for example, analysis of multiple sibs). | x
1.7 | The platform must have a family concordance check (trio-check). | x
1.8 | The platform must support a Genetic driven analysis flow based on gene panels. | x
1.9 | The platform must allow to analyse single and multiple (≥1) gene panels in one analysis. | x
1.10 | The platform must support the ability to manually add an extra custom gene list (as a gene panel) to the analysis. | x
1.11 | The platform must allow Disease driven analysis flow based on Human Phenotype Ontology (HPO). | x
1.12 | The platform must support the analysis of variants in the exome/genome based on inheritance pattern. | x
1.13 | The platform must support to Opt-out of secondary findings as a default setting. | x
1.14 | The platform must support uniparental disomy (UPD) calling in trio analysis, including detection of (segmental) heterodisomy. | x
1.15 | The platform must support reanalysis of existing, previously analyzed data without overwriting or erasing the results of the primary analysis. |  | x |  | 8
1.16 | The platform must support analysis of Mobile element insertions (MEI). |  | x |  | 4
1.17 | The platform must support methylation analysis. |  | x |  | 4
1.18 | The platform must support analysis of non-coding genome regions as part of the standard workflow. | x
1.19 | The platform must support ACMG variant classification. |  | x |  | 4
1.20 | The platform must support visualisation of variant databases, including In-house databases (Managed Variant List/...). | x
1.21 | The platform must support visualisation of external variant databases - e.g. HGMD professional (paid) or Clinvar (public) or LOVD (public). | x
1.22 | The platform must support visualisation of National variant classification sharing database incorporation (VKGL datashare). |  | x |  | 4
1.23 | The platform must support Artificial Intelligence for Recognition of patterns for e.g. false positives (artefacts). |  | x |  | 0.5
1.24 | The platform must support Artificial Intelligence for Smart filtering/ranking of variants. |  | x |  | 1
1.25 | The platform must support Artificial Intelligence for Autoclassification. |  | x |  | 4
1.26 | The platform must support Artificial Intelligence for Candidate genetic diagnosis |  | x |  | 4
1.27 | The platform must support literature scraping for published variants and disorders | x
1.28 | The platform must support and include variant prediction tools (including Revel, BayesDel and alphaMissense). | x
1.29 | The platform must support splicing predictors (including Splice AI). | x
1.30 | The platform must support integration of latest version of gnomAD. | x
1.31 | The platform must support datasharing with National and International cooperative efforts (VKGL, SolveRD, etc.). |  | x |  | 4
1.32 | The platform must have a filtertree visualisation. |  | x |  | 4
1.33 | The platform must support filtering based on (previous) in-house annotations. |  | x |  | 8
1.34 | The platform must have the option to classify variants and add additional information. | x
1.35 | The platform must have a preferred transcript list. |  | x |  | 1
1.36 | The platform must be able to handle direct links to external databases (i.e. ClinVar/custom sites) | x
1.37 | The platform must support a viewable and amendable variant database. | x
1.38 | The platform must support copy number visualization within the interface, including B-allele frequency plot. |  | x |  | 8
1.39 | The platform must support (Integrated) visualization of BAM. |  | x |  | 4
1.40 | The platform must support (Integrated) visualization of CRAM. |  | x |  | 4
1.41 | The platform must support customized VCF file upload. |  | x |  | 1
1.42 | The platform must support that custom annotations/previous comments regarding variants are visible during analysis. | x
1.43 | The platform must support opening Alamut Visual Plus links (paid) directly within the interface. |  | x |  | 1
1.44 | The platform must support opening HGMD professional links (paid) directly within the interface. |  | x |  | 8
1.45 | The platform must support opening UCSC links (public) directly within the interface. | x
1.46 | The platform must support opening IGV links directly within the interface. | x
1.47 | The platform must support opening ClinVar links directly within the interface. | x
1.48 | The platform must support opening PubMed links within the same web browser interface, as seperate tab | x
1.49 | The platform must support opening gnomAD links directly within the interface | x
1.50 | The platform must support opening OMIM links directly within the interface | x
1.51 | The platform must support queries within the interface for variants in own data | x
1.52 | The platform must support queries within the interface for variants in certain genes in own data | x
1.53 | The platform must support RNA-seq analysis |  | x |  | 4
1.54 | The platform must support phasing long read data |  | x |  | 8
1.55 | The platform must support to add family members to an existing analysis at a later point |  | x |  | 4
1.56 | The platform must support the ability to manually adjust affected/unaffected parents in trio analysis |  | x |  | 8
1.57 | The platform must incorporate state-of-the-art analysis tools and keep pace with the latest developments in the field. | x
2. Prestatie eisen | Eis
2.1 | The platform must support analysis of samples during upload of other samples (so, for example, an WGS upload does not stand in the way of analysis of urgent cases). | x |  | x
2.2 | The platform must support builds GRCh37 and GRCh38. | x
2.3 | The platform must support genome build T2T in the future? |  | x |  | 8
2.4 | The platform must be able to upload and process the complete dataset of WGS sequencing (>75GB; BAM, VCF etc) within 60 minutes. | x
2.5 | The platform must support automated upload and processing of samples. | x
2.6 | The platform must support parallel upload and processing of multiple samples. |  | x |  | 8
2.7 | The platform must support analysis by >=75 users at the same time. | x
2.8 | Pages or views within the application must load within 3 seconds on a standard broadband connection |  | x |  | 4
2.9 | The platform supports undo/redo functionality or confirmation dialogs for critical actions (such as data deletions). | x
3. Hosting | Eis
3.1 | The server location of the platform is EU based & geographically separated dual or multiple setup. | x |  | x
3.2 | No data may be transferred - not even briefly - to non-European servers. | x
4. Gebruiksvriendelijkheidseisen | Eis
4.1 | The user interface of the platform is Web-based, with no required local installation or browser plug-ins |  | x |  | 1
4.2 | The platform has an automated (or equivalent) build-up of a variant database with cross-talk between GRCh37 and GRCh38. |  | x |  | 4
4.3 | UI elements of the platform must be clearly labeled and logically grouped to support efficient user interaction. | x
4.4 | The software must perform consistently across the latest versions of Chrome, Firefox and Edge. | x
4.5 | The interface is intuitively and consistently designed, featuring familiar navigation elements such as menu structures, breadcrumbs, and clearly labeled back buttons. | x
4.6 | The user interface must be responsive and adapt seamlessly to different screen sizes and devices (desktop, laptop). | x
4.7 | The key functionalities of the platform are accessible within a maximum of three clicks from the main screen. |  | x |  | 8
4.8 | The platform displays Clear error and warning messages in plain, understandable language. | x
4.9 | The workflow in the platform follows the logical steps of variant analysis (import → filtering → classification → reporting). | x
4.10 | Users of the platform can save and reuse analysis templates or settings, either individually and at the team level. | x
4.11 | The platform has inline explanations or help texts are available for complex fields (via tooltips or info buttons). |  | x |  | 0.5
4.12 | Users of the platform can easily switch between different cases or analyses without losing progress. | x
4.13 | The platform supports a fully keyboard navigation. |  | x |  | 0.5
5. Compatibiliteitseisen | Eis
5.1 | The company must have a MVL (with frequency data) data retrieval policy if contract is terminated. | x |  | x
5.2 | The platform must have a possibility to transfer MVL (SNVs and SVs/CNVs) with associated descriptions and classifications from current software to new software. | x
5.3 | The platform must have a possibility for MVL (with frequency data) data retrieval on demand. | x
5.4 | The platform must support full data exportability to supplier-independent formats, e.g. excel, csv, json, txt, DB (specify), for connection with LIMS. | x
5.5 | The platform should support the import of metadata files, such as those containing Human Phenotype Ontology (HPO) terms. | x
6. Beveiligingseisen | Eis
6.1 | The platform/company must have a backup and restore policy. | x
6.2 | The platform must have possibilities for a test environment for testing of (large) updates, validations and development. |  | x |  | 8
6.3 | The company and platform must have state of the art cloud DB security (firewall, ddos protection, VPN, 2FA). | x |  | x
6.4 | The company must offer secure log in and/or SSO access. | x
6.5 | The software must have the ability to selectively, permanently, and tracibly delete data on the level of individual data components. |  | x | x | 4
6.6 | The platform must have different user roles (i.e., admin, analist, student, read-only). | x
6.7 | The platform must support multi-user access to the same analysis record. | x
6.8 | The platform must ensure that only one user can edit an analysis record at the same time. |  | x |  | 8
6.9 | The platform must allow customization of session timeout limits. | x
6.10 | The platform must log all annotations, remarks, and related user inputs for traceability and auditing purposes. | x
6.11 | The platform must log all actions related to analyses, to ensure traceability and accountability. | x
7. Betrouwbaarheids- en Beschikbaarheidseisen | Eis
7.1 | The minimum uptime of the platform during working hours (8AM-6PM CET on weekdays) is 99.5%. |  | x |  | 8
7.2 | The scheduled downtime of the platform is outside working hours (8AM-6PM CET on weekdays). |  | x | x | 8
8. Schaalbaarheidseisen | Eis
8.1 | The system must be able to scale to support at least 100 concurrent users without degradation in performance | x
9. Onderhoudseisen
Eis
9.1 | The vendor must validate updates of the software (version control). | x |  | x
9.2 | The vendor must notify the customer of minor (bug)fixes. | x |  | x
9.3 | The vendor must have a policy (including frequency) for version updates, major impact requires validation. | x |  | x
9.4 | The vendor must notify us of any major version updates at least 4 weeks in advance, to ensure sufficient time for validation activities to be completed before implementation. |  | x |  | 8
10. Regelgevende en Compliance-eisen | Eis
10.1 | The platform is IVDR compliant / CE-IVD marked. |  | x |  | 4
10.2 | The platform is IEC-62304 compliant . |  | x |  | 8
10.3 | The vendor is ISO27001 certified, software and service within scope. | x
10.4 | The vendor is ISO13485 compliant. |  | x |  | 8
10.5 | The vendor must sign a Data Processing Agreement according to the NFU model. | x
11. Test- en Valideringseisen | Eis
11.1 | The vendor must facilitate the testing of at least 10 samples to validate and compare performance and user experience. | x
12. Training- en Ondersteuningseisen | Eis
12.1 | The maximum response time for support on urgent problems with the platform, such as system is down or no analysis possible, within LUMC office hours (8AM-6PM CET on weekdays) is 4 hours. The response is a reaction by an employee and not an automated message. | x
12.2 | Support: response time for support on non-urgent problems within LUMC office hours (8AM-6PM CET on weekdays) is maximum 8 hours. The response is a reaction by an employee and not an automated message. | x
12.3 | The vendor has a dedicated customer support for the platform. | x
12.4 | Vendor must provide initial training sessions for users (planning at the discretion of the buyer) | x
12.5 | The vendor reports actively on platform issues (minimal: incident management, response and resolution time, status on bug reports, uptime reports, roadmap) | x |  | x
12.6 | The platform has a built-in help function or contextual help screens. |  | x |  | 0.5
12.7 | There is a clear user manual and onboarding materials (e.g., videos or tutorials) of the platform. |  | x |  | 0.5
13. Rapportage- en Analyse-eisen | Eis
13.1 | The platform must be able to generate a report where selected variants can be included and overall conclusion can be typed in report. | x
13.2 | The platform must be able to generate a Report which shows which versions of databases and software are used. | x
13.3 | The platform must be able to generate a Report which shows what analysis is performed (HPO, gene panel or exome filters). | x
13.4 | The platform must be able to generate a Report which can be saved as PDF. | x
14. Integratie-eisen | Eis
14.1 | The platform must be able to communicate with local software systems or modules (via APIs) (LIMS, pipelines, etc.) | x
14.2 | The platform must support automated data upload (i.e., from pipeline, with API) | x
15. Juridische en Intellectuele Eigendomseisen | Eis
15.1 | The data is not shared with third parties and third parties have no acces to the data. | x
15.2 | Research data and diagnostic data must be stored in separate databases to ensure data segregation and integrity. |  | x |  | 0.5
200

## PvW
Ja
KWALITEITSBLAD
Versie
v1.0
Betreffende aanbesteding
NGS analyse platform
Ingevuld door
<Naam organisatie>
<Naam contactpersoon>
<Datum>
Invulinstructie
1. Vul alle blauwe velden in.
2. U geeft bij ieder kwaliteitsonderdeel een antwoord bij 'Uw antwoord'.
3. Onder 'Max. # punten' ziet u het maximaal aantal punten dat u bij dat kwaliteitsonderdeel kunt krijgen. Onder 'Uw score' ziet u welke aantal punten u voor uw gegeven antwoord ontvangt.
In geval van vragen met de antwoordmogelijkheden ‘ja-nee’ geldt: ja (voldoet) en nee (voldoet niet).
4. Onder 'Toelichting/onderbouwing' moet bij ieder kwaliteitsonderdeel waar u punten scoort, een toelichting / onderbouwing worden gegeven, waarmee u kunt aantonen dat uw antwoord (en uw score) correct en gerechtvaardigd is.
Indien het LUMC beoordeelt dat uw toelichting/onderbouwing niet afdoende of correct is, kan het LUMC uw score aanpassen.
Indien geen (afdoende) toelichting/onderbouwing is gegeven, worden er geen punten aan dat kwaliteitsonderdeel toegekend.
Omschrijving |  | Max. # punten | Uw antwoord | Uw score | Toelichting/onderbouwing
1.15 | The platform must support reanalysis of existing, previously analyzed data without overwriting or erasing the results of the primary analysis. | 8 |  | -
1.16 | The platform must support analysis of Mobile element insertions (MEI). | 4 |  | -
1.17 | The platform must support methylation analysis. | 4 |  | -
1.19 | The platform must support ACMG variant classification. | 4 |  | -
1.22 | The platform must support visualisation of National variant classification sharing database incorporation (VKGL datashare). | 4 |  | -
1.23 | The platform must support Artificial Intelligence for Recognition of patterns for e.g. false positives (artefacts). | 0.5 |  | -
1.24 | The platform must support Artificial Intelligence for Smart filtering/ranking of variants. | 1 |  | -
1.25 | The platform must support Artificial Intelligence for Autoclassification. | 4
1.26 | The platform must support Artificial Intelligence for Candidate genetic diagnosis | 4 |  | -
1.31 | The platform must support datasharing with National and International cooperative efforts (VKGL, SolveRD, etc.). | 4 |  | -
1.32 | The platform must have a filtertree visualisation. | 4 |  | -
1.33 | The platform must support filtering based on (previous) in-house annotations. | 8 |  | -
1.35 | The platform must have a preferred transcript list. | 1 |  | -
1.38 | The platform must support copy number visualization within the interface, including B-allele frequency plot. | 8 |  | -
1.39 | The platform must support (Integrated) visualization of BAM. | 4 |  | -
1.40 | The platform must support (Integrated) visualization of CRAM. | 4 |  | -
1.41 | The platform must support customized VCF file upload. | 1 |  | -
1.43 | The platform must support opening Alamut Visual Plus links (paid) directly within the interface. | 1 |  | -
1.44 | The platform must support opening HGMD professional links (paid) directly within the interface. | 8 |  | -
1.53 | The platform must support RNA-seq analysis | 4 |  | -
1.54 | The platform must support phasing long read data | 8 |  | -
1.55 | The platform must support to add family members to an existing analysis at a later point | 4 |  | -
1.56 | The platform must support the ability to manually adjust affected/unaffected parents in trio analysis | 8 |  | -
2.3 | The platform must support genome build T2T in the future? | 8 |  | -
2.6 | The platform must support parallel upload and processing of multiple samples. | 8 |  | -
2.8 | Pages or views within the application must load within 3 seconds on a standard broadband connection | 4 |  | -
4.1 | The user interface of the platform is Web-based, with no required local installation or browser plug-ins | 1 |  | -
4.2 | The platform has an automated (or equivalent) build-up of a variant database with cross-talk between GRCh37 and GRCh38. | 4 |  | -
4.7 | The key functionalities of the platform are accessible within a maximum of three clicks from the main screen. | 8 |  | -
4.11 | The platform has inline explanations or help texts are available for complex fields (via tooltips or info buttons). | 0.5 |  | -
4.13 | The platform supports a fully keyboard navigation. | 0.5 |  | -
6.2 | The platform must have possibilities for a test environment for testing of (large) updates, validations and development. | 8 |  | -
6.5 | The software must have the ability to selectively, permanently, and tracibly delete data on the level of individual data components. | 4 |  | -
6.8 | The platform must ensure that only one user can edit an analysis record at the same time. | 8 |  | -
7.1 | The minimum uptime of the platform during working hours (8AM-6PM CET on weekdays) is 99.5%. | 8 |  | -
7.2 | The scheduled downtime of the platform is outside working hours (8AM-6PM CET on weekdays). | 8 |  | -
9.4 | The vendor must notify us of any major version updates at least 4 weeks in advance, to ensure sufficient time for validation activities to be completed before implementation. | 8 |  | -
10.1 | The platform is IVDR compliant / CE-IVD marked. | 4 |  | -
10.2 | The platform is IEC-62304 compliant . | 8 |  | -
10.4 | The vendor is ISO13485 compliant. | 8 |  | -
12.6 | The platform has a built-in help function or contextual help screens. | 0.5 |  | -
12.7 | There is a clear user manual and onboarding materials (e.g., videos or tutorials) of the platform. | 0.5 |  | -
16.2 | Research data and diagnostic data must be stored in separate databases to ensure data segregation and integrity. | 0.5 |  | -
| Beoordeling Accuraatheid/volledigheid: Beoordeling Gebruikersgemak: Beoordeling Extra functionaliteit: Beoordeling Snelheid: | 250 |  | - | Wij vullen deze in en geven een oordeel. U kunt deze wel voor u zelf invullen om te zien wat de consequenties zijn van de diverse mogelijke uitkomsten.
|  | 100 |  | -
|  | 50 |  | -
|  | 100 |  | -
Max. aantal te ontvangen punten: |  | 700 |  | 0 | : uw puntenscore op Kwaliteit