## Vragen_en_antwoorden_576297_all
Ref. Nr. | Inschrijfronde | Vragenronde | Perceel | Onderwerp | Vraag | Antwoord
43 | 1 | 2 | NGS-Analyseplatform | 'Bijlage 3 Kwaliteitsblad-Programma van Eisen NvI1.xlsx' | With regards to file 'Bijlage 3 Kwaliteitsblad-Programma van Eisen NvI1.xlsx', there is an error in the calculation in column H in the tab PvW. Can you please correct this? | The document has been adjusted. The correct version (Bijlage 3 Kwaliteitsblad-Programma van Eisen NvI2) is uploaded to TenderNed.
44 | 1 | 2 | NGS-Analyseplatform | Bijlage 6: I-EU-25-03 Overeenkomst NGS Analyseplatform | As the software will be provided as Research Use Only (RUO) software and is not intended for use in patient care or other clinical applications, we kindly ask whether the reference to “patient care” in the description of LUMC’s intended use can be removed from the contract including article 3.2 and other references , leaving only research and education purposes. | Yes, this is possible. The Software will be used exclusively for research and education purposes.
45 | 1 | 2 | NGS-Analyseplatform | Bijlage 6: I-EU-25-03 Overeenkomst NGS Analyseplatform | Regarding Article 7.2 warranty, considering the nature of the product the article shall be replaced by the following: The contractor warrants that the service will materially function in accordance with the applicable documentation for six months after the effective date. If the service does not so function, the contractor will use commercially reasonable efforts to correct the issue, failing which the customer may terminate and receive a refund of prepaid fees. Except as expressly stated, the services are provided without warranties and are not guaranteed to be error‑free or uninterrupted and the services are not intended or designed for patient care, including diagnosing or treating patients not applicable. Could you please confirm? | No, we cannot agree with the proposal for 6 months of warranty.
46 | 1 | 2 | NGS-Analyseplatform | Bijlage 8:ARBIT 2022 | Regarding ARBIT article 7 , 11 , Considering the tender is for a software product, could you please you confirm that delivery consists of making the software available (including access credentials or installation), rather than physical delivery or completion testing? Regarding ARBIT article 8.1(a) , 8.2, 9.3 , 12.3 , 12.7 : Considering this tender is for a software product, article shall be not applicable. Could you please confirm? Regarding ARBIT Article 12.4 shall be replaced with: “If, when performing the guarantee referred to in article 12.3, the Counterparty makes use of a work‑around solution, it will reimburse any loss or damage up to the contract value suffered by the Contracting Authority as a result.” Could you please confirm? Regarding Article 1.25 Agreed Use; Our company will bid with a RUO product, can you please confirm that the software will be used exclusively for research and education purposes, and not for patient care, diagnosis, treatment, or other clinical decision‑making? | We confirm that for this tender procedure, which concerns a software product, delivery within the meaning of Articles 6 and 7 of the ARBIT‑2022 takes place by making the software available to the contracting authority. This includes providing access credentials, licenses, installation files, or access to a cloud‑based environment, depending on the nature of the product. Acceptance follows after successful delivery. We cannot confirm that the mentioned articles are not applicable. These provisions constitute essential safeguards for the contracting authority and are particularly important in the context of software deliveries. We cannot agree to the proposed amendment to Article 12.4 of the ARBIT. If you have concerns about unlimited liability, we refer you to Article 26 of the ARBIT, which limits liability to direct damage and allows for the inclusion of a maximum cap. However, this should be considered within the context of the liability regime as a whole and not in isolation for Article 12.4. See the answer to question 44.
47 | 1 | 2 | NGS-Analyseplatform | WGS VCF files | Thank you for confirming your WGS VCF files are not pre-filtered. Can you confirm that you will be analyzing the WGS VCF files (containing 5M annotations) as full WGS analysis, ie analyzing all 5M annotations in the software? Or will you add a virtual panel/genepanel on top of the analysis, limiting the analysis to <300.000 variants (virtual WES analysis)? | We do both.
48 | 1 | 2 | NGS-Analyseplatform | Bijlage 6: I-EU-25-03 Overeenkomst NGS Analyseplatform | With reference to Article 6.4, could you please confirm our understanding that the obligation to rectify Defects within ten (10) working days would apply only where the Defect constitutes either (i) a clinical bug requiring a hotfix, or (ii) an implementation or configuration error attributable to the Contractor? Given the nature of the service, we would expect that any Defects identified during Acceptance would not extend beyond issues explicitly committed to be supported under the documentation and warranty framework, and that any such supported Defects would be addressed via a hotfix where appropriate. We would appreciate confirmation that the ten (10) working day remediation period is intended to apply in this limited context. | The obligation to rectify applies to all defects that impair suitability for the agreed use, not only to clinical bugs or implementation errors. This includes all functionalities, specifications, and quality requirements as described in the supplier’s tender submission.
49 | 1 | 2 | NGS-Analyseplatform | Bijlage 7 Verwerkersovereenkomst_DPA | Regarding the Data Processing Agreement, we have reviewed it entirety and have identified a limited number of points for further consideration, namely Clauses 3.5 and 7.5 (restrictions on processing outside the EEA and use of sub‑processors), Clause 4 (security measures), Clauses 5.2 and 5.3 (24‑hour data breach notification requirement), and Clause 8.2 (liability cap). In light of these points, could you please confirm whether it would be possible to discuss and, where appropriate, negotiate the relevant DPA provisions after award? | As a general principle, we do not amend the provisions of our DPA, and any exceptions would require a clear and well-substantiated justification. While we are open to reviewing your points after award, if no sufficient grounds for modification are identified, we will not be able to accommodate changes.
50 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Req 1.31 a) What is the required integration level: manual export in a compatible format, or direct automated submission from within the platform? b) What data is expected to be shared per initiative: variant classifications only, annotations, allele frequencies, or full genomic data? and in what format and standard? | a) manual export is acceptable b) variant information, including classification, annotations and notes (for personal use)
51 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Analysis parameter report: completeness, versioning, and independent export (Req 13.3) Req 13.3 requires a report documenting the analysis parameters used. Please clarify: a) Should the analysis parameter report capture all input parameters as an immutable snapshot at the time of analysis including HPO terms, gene panel(s), inheritance model, variant type filters, and custom filter settings? b) If an analysis is re-run with updated parameters, should both the original and updated parameter sets be stored and independently reportable, or is retaining only the most recent version sufficient? c) Should the analysis parameter report be exportable independently of the clinical variant report for example, as a standalone document for LUMC's ISO 15189 validation or change control records? | a) yes, this is correct b) yes, preferrably both c) This is not necessary
52 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Audit logging of annotations, user inputs, and analysis actions (Req 6.10 + Req 6.11) Req 6.10 and Req 6.11 together require comprehensive audit logging. Please address both requirements: a) Should all variant annotations, ACMG classifications, and free-text remarks be stored with an immutable timestamp and user ID, such that the full interpretation history for any variant is retrievable? b) In addition to content-level changes (Req 6.10), which system-level actions should be logged (Req 6.11) — only destructive actions (delete, modify), or also read access such as viewing an analysis or exporting a report? c) Should the audit log be stored separately from application data and protected against modification even by system administrators (e.g., write-once storage)? d) In what format(s) should the audit log be exportable — structured JSON, CSV, or PDF — and by whom (lab administrator only, or all clinical users)? e) What is the minimum retention period LUMC requires for audit logs, and must this be configurable? | a) preferrably yes b) only destructive actions c) No, not necessarily d) We have no preference e) as long as the analysis result is accessible in the platform
53 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Future genome build T2T support (Req 2.3) Req 2.3 asks for future support of the T2T (Telomere-to-Telomere, CHM13v2.0) genome build. Please clarify: a) Does LUMC have a target timeframe within the contract period by which T2T support is expected to be available? b) When T2T support is introduced, should liftover of existing analyses from GRCh38 to T2T be handled within the platform, or will the laboratory manage liftover independently? c) Does LUMC foresee T2T as a parallel supported genome build alongside GRCh38, or as a future replacement? | a) no target time frame b, c) details will be discussed when applicable
54 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | HGMD Professional direct links from variant viewer (Req 1.44) Req 1.44 requires direct navigation to HGMD Professional entries from within the platform. Please clarify: a) Should the platform generate one-click navigation from a variant entry in the viewer to its corresponding HGMD Professional record? b) Is a direct URL link (requiring the user to be authenticated in HGMD Professional in their own browser) sufficient, or is HGMD content expected to be embedded or proxied within the platform interface? c) Does LUMC hold an institutional HGMD Professional licence that would be used in conjunction with the new platform? | a) preferrable yes b) URL is fine, embedding even better c) yes, LUMC has a licence.
55 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | CRAM visualisation: embedded vs. external, streaming, and performance (Req 1.40) Req 1.40 requires integrated CRAM visualisation. Please clarify the implementation approach expected: a) Should read-level visualisation (IGV-style genome browser) be embedded directly within the platform interface, or is opening a separate external application (e.g., local IGV) acceptable? b) If embedded visualisation is required: should the CRAM file be streamed from the server without requiring a full local download to the user's browser? c) Should CRAM visualisation be available for all variant types reviewable in the platform (SNV, indel, CNV, SV), or only for specific variant types? d) What is the maximum CRAM file size LUMC expects to visualise in clinical practice, and is there a maximum acceptable rendering time? | a) local is acceptable b) - c) genomic location of all variant types should be possible to open d) approx. max. 30GB, no specific demand on rendering time, since this depends on the size of genomic region displayed.
56 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | VKGL datashare integration as annotation source (Req 1.22) Req 1.22 requires integration of the VKGL datashare as an annotation source. Please clarify: a) Is VKGL datashare expected to display classifications inline per variant in the viewer? b) Should VKGL classifications be usable as an active filter criterion in the variant table (e.g., filter to variants with VKGL class ≥ 3)? c) Is read-only access to VKGL classifications sufficient, or does LUMC require bidirectional exchange — both reading incoming classifications from VKGL and submitting the lab's own classifications back to VKGL datashare? d) Is there a minimum update frequency expected for VKGL classification data within the platform? | a) preferrably yes b) not necessarily c) This would be sufficient d) not known but around 4x per year
57 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Methylation analysis: input formats, types, and workflow integration (Req 1.17) Req 1.17 lists methylation analysis as a preferred requirement. Please clarify the expected scope and integration: a) Which input formats are expected for methylation data? (e.g., BAM files with MM/ML modification tags from ONT basecalling, modkit BED output, bisulfite-converted BAM from WGBS, or other) b) Which methylation modification types are expected to be supported? (e.g., 5-methylcytosine (5mC), 5-hydroxymethylcytosine (5hmC), CpG context only or also non-CpG) c) Is methylation analysis intended to be integrated within the germline variant interpretation workflow (e.g., as a functional evidence layer for VUS reclassification), or as a standalone diagnostic module? d) What visualisation output is expected — genome-browser-level per-base methylation view, per-gene or per-region summary, or a quantitative report embedded in the clinical report? e) Is methylation analysis expected to support specific clinically-associated genomic loci (e.g., imprinting disorder regions, disease-associated repeat loci), or is genome-wide methylation profiling the primary intended use case? | unknown yet. Details will be discussed when applicable.
58 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | Long-read NGS input: supported callers and variant types (Req 1.1) Req 1.1 requires support for long-read NGS data from ONT and PacBio. Regarding the variant calling input specifically: a) For ONT long-read data, which variant caller output formats are accepted as valid input? (e.g., Clair3, DeepVariant, Sniffles, PEPPER-Margin-DeepVariant)? b) For PacBio HiFi data, which variant caller output formats are accepted? (e.g., PBSV, DeepVariant HiFi, GATK HaplotypeCaller)? c) For long-read input, which variant types are supported in the tertiary analysis workflow: SNV/indel only, or also structural variants (SV), CNV, and repeat expansions? | unknown yet. Details will be discussed when applicable.
59 | 1 | 2 | NGS-Analyseplatform | Bijlage 3: Kwaliteitsblad-Programma van Eisen | The platform must support RNA-seq analysis (Req 1.53) a) a) Analysis scope and priority. Which RNA-seq analyses are in scope, and for each, is it mandatory from go-live, phased / roadmap-acceptable, or optional / nice-to-have? Please indicate separately for: Gene fusion detection Aberrant splicing detection RNA variant calling (SNV / InDel) Transcript quantification / outlier expression Differential expression (DEA) Other (please specify) b) Is the RNA-seq analysis intended to complement DNA-based germline analysis (e.g., as a functional validation layer for VUS reclassification), or is it a standalone diagnostic workflow? c) What are the expected input file formats for RNA-seq analysis? Specifically, does the workflow start from FASTQ (primary analysis), BAM/CRAM (secondary), or a higher-level input such as a count matrix? d) What are the expected output formats for RNA-seq results (e.g., variant lists in VCF, fusion calls, expression tables in TSV/CSV, integrated clinical reports)? Should RNA findings be included in the same clinical report as DNA germline findings? | Details will be discussed when applicable.
60 |  |  |  | Bijlage 7: Verwerkersovereenkomst | according to the table 8. Uw Offerte in the document 01. Offerteaanvraag NGS-analyseplatform, the Bijlage 7 is not part of the document we have to send back with our first application. However, we understand from Bijlage 3 Kwaliteitsblad-Programma van Eisen NvI1 line 165 “The vendor must sign a Data Processing Agreement according to the NFU model.” that the document Bijlage 7 needs to be filled up, signed up and sent with the application. Can you please confirm? | With regard to Bijlage 3 – Kwaliteitsblad Programma van Eisen NvI1, line 165 (“The vendor must sign a Data Processing Agreement according to the NFU model”), this requirement applies only to the winning party. Consequently, Bijlage 7 (Data Processing Agreement according to the NFU model) does not need to be filled in, signed, or submitted with the initial offer. Only the selected supplier will be required to complete and sign the Data Processing Agreement at a later stage in the procedure.
61 |  |  |  | Arbit 2022 | Please can you clarify the following points: In document: ARBIT 2022 Clause Article 6. Delivery Products are services, (DRYLAB). To what shipments the clause related to if the products affered are services? | See the answer to question 46.