# Questionnaire

### Question 1. Company details

| General information |  |
| --- | --- |
| Name | <fill in> |
| Country of residence(s) | <fill in> |
| Place of business(es) | <fill in> |
| Part of a corporate group or holding company? | <fill in> |
| If yes, please explain | <fill in> |
| Contact person(s) | <fill in> |
| E-mail | <fill in> |
| Phone number | <fill in> |

### Question 2. (Market) developments

We are interested in relevant developments in the field of temperature sensors.

For our current temperature measurements, we use a PT500 sensor element in a 4-wire version. We connect this sensor to our hardware and software application to determine the air temperature.

At land locations, we measure this temperature at both 1,5 meter and 10 centimeter heights (grass temperature). These measurements are placed in so-called radiation shields to limit interference with the measurement. Other locations include offshore platforms and the BES islands.

The sensor properties that are most important to the KNMI are high stability, low uncertainty, high reproducibility, and as linear as possible over the full measurement range.

Question 2a: Taking our application into account, which developments, both market and innovative, are relevant to this assignment in your view?

<fill in>

Question 2b: And in your opinion, how can the Contracting Authority take this into account in a new tender?

<fill in>

Question 2c: In what form would you propose a sensor for the KNMI's questioned objective? Consider the following:

• The sensor technology used;

• Whether processing takes place within the sensor itself or outside of it;

• Commercially available or custom-made;

• Etc.

<fill in>

Question 2d: The KNMI prefers to retain the current setups. What is your view on this?

<fill in>

Question 3. Interest in the assignment

What might be your reasons for participating or not participating in the tendering procedure?

<fill in>

### Question 4. Legislation and regulations

Stakeholders require our monitoring network to be compliant with WMO and ICAO guidelines. Do these guidelines constitute an obstacle to participating in this tender procedure?

<fill in>

### Question 5. Procedure

The Contracting Authority has described a direction for procurement procedures in paragraph 2.5. In your opinion, which procedure suits best with the needs of the Contracting Authority and the market? Or perhaps, do you have other ideas?

<fill in>

### Question 6. (Price)model

Question 6a: Which (pricing) model enables you to make market-compliant offers throughout the entire duration of the agreement? And can you substantiate this and indicate what you expect or need from the Contracting Authority to achieve the above?

<fill in>

Question 6b: For the verification phase, the Contracting Authority intends to have one or more market products placed for the purpose of the assessment. In your opinion, what does a fair tender cost for placing your product look like?

<fill in>

Question 6c: How can the KNMI maintain sufficient flexibility in the contract given the long duration of the agreement?

<fill in>

Question 7. Quality

Suppliers must be able to distinguish themselves based on the quality they deliver.

Which Question could we ask in the tender to highlight distinctive quality aspects? What would you like to be challenged on?

Consider the following:

What is the longest possible period for the sensors to remain stable?

The KNMI periodically calibrates each sensor to monitor deviations due to age degradation. What would you propose as the longest possible calibration period (time between calibrations)?

<fill in>

Question 8.  subcontracting/collaboration

The contracting authority also requires access to specific specialist expertise in the field of temperature sensors.

Is main contracting and subcontracting an appropriate form of collaboration in this industry?

<fill in>

### Question 9.  Delivery time

Within what timeframe can you deliver your market product?

<fill in>

### Question 10.  Corporate social responsibility

What opportunities do you see in the field of Corporate Social Responsibility in relation to this assignment?

<fill in>

### Question 11. Other

In your view, are there other aspects or matters that the Contracting Authority should pay attention to in the proposed tender?

<fill in>