## requirments ICT
Vragen aanbestedende partij Questions contracting party | [6 empty] | Supplier answers
ID | ID (2024) | Paragraph | Subparagraph | Description | Type | Answering type | Answer | Notes
ICT.1.002 | ICT.1.002 | ICT general | General | The System you provide, including all components — including licenses — that are delivered and/or purchased may be used by all users and at all locations of Amsterdam UMC. No exceptions or restrictions apply in terms of user rights, functionality, support, or any other aspect. | Knockout requirment | Yes/No | not yet answered
ICT.1.003 | ICT.1.009 | ICT general | norms and values | The Supplier shall not process personal data, nor allow such data to be processed by itself or by third parties in countries outside the European Economic Area (“EEA”), nor permit the transfer of personal data to a country outside the EEA or grant access to personal data from a country outside the EEA, unless all applicable GDPR requirements for such processing are met and Amsterdam UMC has granted prior contractual approval. | Knockout requirment | Yes/No | not yet answered
ICT.1.005a | ICT.1.011 | ICT general | norms and values | The proposed System must provide functionality that enables Amsterdam UMC to fulfil the “right to be forgotten” in accordance with the relevant guidelines issued by the Dutch Data Protection Authority. | Knockout requirment | Yes/No | not yet answered
ICT.1.006 | ICT.1.014a | ICT Algemeen | norms and values | Uitsluitend bij medische Systemen: Leverancier levert als onderdeel van de inschrijving na gunning een volledig ingevuld ‘Manufacturer Disclosure Statement for Medical Device Security (MDS2)' formulier in, conform Medical Device Regulation (MDR). | Knockout Eis | Ja/ Nee/ N.v.t. Geen medisch systeem vlg MDR | Niet van toepassing
ICT.2.001 | ICT.2.001 | ICT Amsterdam UMC policy | Amsterdam UMC ICT policy | After a potential award, the supplier will commit to the instructions in the “Supplier Self‑Assessment” and will fully complete this additional checklist and provide the requested information where applicable. | Knockout requirment | Yes/No | not yet answered
ICT.2.003 | ICT.2.003 | ICT Amsterdam UMC policy | Amsterdam UMC ICT policy | The supplier has taken note of the ICT “Cloud Applications Policy Framework” and agrees to comply with it | Knockout requirment | Yes/No | not yet answered
ICT.4.004a | ICT.4.005 | ICT Information management | Continuity management | The supplier shall make at least a daily backup in accordance with the agreed availability requirements. The results of the backup shall be recorded. | Knockout requirment | Yes/No | not yet answered
ICT.4.005 | ICT.4.007 | ICT Informations security | Continuity management | The supplier has continuity or disaster‑recovery plans available for the services delivered, to be used in the event of a calamity. These plans are documented and are updated and tested at least every two years. | Knockout requirment | Yes/No | not yet answered
ICT.4.007 | ICT.4.011 | ICT Informations security | Continuity management | The offered System must include the capability to back up the configuration, settings, calculation rules, and (threshold) values of the ICT solution. In the event of a failure, the System must be restorable by reloading this backup, which must be easy to import when needed. | Knockout requirment | Yes/No | not yet answered
ICT.4.012 | ICT.4.021 | ICT Informations security | Logical access control | The login procedures must, given the sensitivity of this data, include strong authentication with at least multi‑factor authentication | Knockout requirment | Yes/No | not yet answered
ICT.4.016 | ICT.4.022 | ICT Informatiebeveiliging | Logical access control | Geef aan welke multi-factor authenticatie methoden het aangeboden Systeem faciliteert. | Verificatie | Toelichting | Niet van toepassing
ICT.4.026 | ICT.4.031b | ICT Informations security | Encryption | End‑to‑end Encryption The supplier encrypts privacy‑sensitive information transmitted over computer networks, at minimum in the following situations: All internet connections Sessions initiated by administrators to perform management tasks on computers over the (internal) network, using encryption mechanisms within management tools (such as SSH) or secure network protocols such as HTTPS Wireless data communication Whenever sensitive information such as passwords is stored or transmitted over the network | Knockout requirment | Yes/No | not yet answered
ICT.4.030 | ICT.4.035 | ICT Informations security | Encryption | The supplier applies a maximum validity period of 1 year for cryptographic keys and certificates. | Knockout requirment | Yes/No | not yet answered
ICT.4.031 | ICT.4.036 | ICT Informations security | Data integrity | Misuse of existing sessions must demonstrably be prevented by implementing session management. This can be achieved by adding security headers when using HTTP. Other protocols such as SMTP, IMAP, HL7, FHIR and SSH must be demonstrably secured using other methods. No outdated (legacy) protocols may be used if they pose a security risk | Knockout requirment | Yes/No | not yet answered
ICT.4.034 | ICT.4.039 | ICT Informations security | Access control and logging | The supplier demonstrably records in log files the activities that users perform on (personal) data and registers both approved and denied attempts to gain access to sources of this data. | Knockout requirment | Yes/No | not yet answered
ICT.4.038 | ICT.4.043 | ICT Informations security | Access control and logging | The supplier shall, upon request, provide the Contracting Authority with a report containing at least the following information. The report shall be submitted as soon as possible, and no later than within 3 working days: -Numbers of successful and unsuccessful login attempts -Dates and times of unsuccessful login attempts -Requested and granted access to shared files/information outside regular usage hours -Administrator activities -Significant user actions (such as changes to authorisations, configuration parameters, and master data; depending on the application) -Detected malware (worms/viruses/spyware, etc.) and service disruptions | Knockout requirment | Yes/No | not yet answered
ICT.4.042 | ICT.4.047 | ICT Informations security | Logging | Integrity: Logging events are protected against unintended modifications, including by administrators with elevated privileges. | Knockout requirment | Yes/No | not yet answered
ICT.4.043 | ICT.4.048 | ICT Informations security | Privacy | he offered System complies with the seven principles of privacy by design: 1. Proactive, not reactive 2. Privacy as the default setting 3. Privacy embedded into the design 4. Full functionality 5. Transparency and the right to information 6. Respect for user privacy 7. End‑to‑end security | Knockout requirment | Yes/No | not yet answered
ICT.4.044 | ICT.4.049 | ICT Informatiebeveiliging | Privacy | Op welke wijze heeft u deze zeven privacy by design principes geïmplementeerd? Lever hiervoor onderbouwende documentatie aan. | Verificatie | Toelichting | Niet van toepassing
ICT.4.045 | ICT.4.050 | ICT Informations security | Architecture | The offered System meets the following security aspects: - Security by design — the supplier takes security aspects into account during the design phase, in addition to the functional requirements needed for proper operation. - Security by default — all default settings are configured to be secure by default. | Knockout requirment | Yes/No | not yet answered
ICT.4.049 | ICT.4.061 | ICT Informations security | Risk alalysis | Risk analysis The supplier demonstrably performs a risk analysis at least once a year to identify threats and vulnerabilities, their potential impact on the organisation, and the likelihood of those impacts. Based on the risk analysis, appropriate security measures are determined and implemented. | Knockout requirment | Yes/No | not yet answered
ICT.4.051 | ICT.4.067 | ICT Informations security | Incident management | Data breach notifications A demonstrable procedure is in place to ensure that the client is informed in a timely and adequate manner about potential data breaches that come to the supplier’s attention (including those occurring at sub‑processors). In the event of an incident, all steps taken in the context of the data‑breach notification obligation are documented. | Knockout requirment | Yes/No | not yet answered
ICT.4.052 | ICT.4.067 | ICT Informations security | Incident management | Security incident reporting A demonstrable procedure is in place to ensure that the client is informed in a timely and adequate manner about potential security incidents that come to the supplier’s attention (including those occurring at its sub‑processors). In the event of an incident, all steps taken in the context of the reporting obligations under the Cybersecurity Act (NIS2) for reporting security incidents are documented. | Knockout requirment | Yes/No | not yet answered
ICT.5.001 | ICT.5.001 | ICT Hosting & Performance | SaaS solution | The offered System is a SaaS solution in which the supplier is responsible for making the service available and managing it (operations, i.e., technical management, including server management and database management) as well as further development (development). The associated costs are included in the offer. | Knockout requirment | Yes/No | not yet answered
ICT.5.003 | ICT.5.003 | ICT Hosting & Performance | SaaS solution | In applicable cases, the Contracting Authority may make use of the exit strategy that the supplier offers as standard. | Knockout requirment | Yes/No | not yet answered
ICT.7.004 | ICT.7.005 | ICT Netwerk | ICT - Netwerk | Leverancier kan van elke component van het aangeboden Systeem, specificeren via welke netwerkpoorten deze communiceert en levert een diagram aan, waarin van alle componenten de intern en extern benodigde communicatiestromen op OSI laag 4 (transportlaag) uitgewerkt zijn. | Verificatie | Toelichting | Niet van toepassing
ICT.8.001 | ICT.8.002 | ICT Applicatie | Applicatie | Amsterdam UMC heeft een op Citrix gebaseerde VDI-omgeving. Geef een overzicht van de voor het aangeboden Systeem vereiste componenten en eventuele plug-ins binnen deze Citrix omgeving. | Verificatie | Toelichting | Niet van toepassing
ICT.8.002a | ICT.8.003a | ICT Application | Application | The web‑based component of the offered System works with the most recent version of the Microsoft Edge internet browser. | Knockout requirment | Yes/No | not yet answered
ICT.8.002b | ICT.8.003b | ICT Applicatie | Applicatie | Het webbased gedeelte van het aangeboden Systeem is bij voorkeur HTML5 compliant, geef op welke webtechnologie wordt gebruikt | Verificatie | Toelichting | Niet van toepassing
ICT.8.006 | ICT.8.009 | ICT Applicatie | Integratie | Beschrijf de mogelijkheden die het aangeboden Systeem biedt voor het customized uitwisselen, zowel importeren als exporteren, van gegevens waarmee bedoeld wordt het kunnen selecteren van deelgegevens. | Verificatie | Toelichting | Niet van toepassing
ICT.8.007 | ICT.8.010 | ICT Applicatie | Integratie | Beschrijf in welke mate het aangeboden Systeem ondersteuning biedt bij het uitvoeren van een harmonisatieslag. Een harmonisatieslag houdt ten minste in, het samenvoegen van afdelingen met hun processen, werkwijzen en inrichting van systemen en datasets. | Gunningscriteria | Toelichting | Niet van toepassing
ICT.8.008 | ICT.8.012 | ICT Applicatie | Integratie | Beschrijf de huidige ontwikkelingen en strategie t.a.v. gegevensuitwisseling met externe partijen, zover relevant voor het aangeboden Systeem. | Verificatie | Toelichting | Niet van toepassing
ICT.8.009 | ICT.8.013 | ICT Applicatie | Integratie | Geef aan in hoeverre het aangeboden Systeem koppelmethodes zoals webservices (API), GRAPH en Src2Stg ondersteunt en hoe daarbij autorisaties in stand blijven. | Verificatie | Toelichting | Niet van toepassing
ICT.8.012 | ICT.4.052 | ICT Applicatie | Logging | Applicatie-beheerders van Amsterdam UMC kunnen zelf direct bij de logging van het aangeboden Systeem. | Gunningscriteria | Ja/Nee + Toelichting | Niet van toepassing
ICT.8.013 | ICT.4.053 | ICT Applicatie | Logging | Het logging level moet instelbaar zijn (voorbeeld van levels: Debug, Info, Warning, Error e.d.). | Verificatie | Ja/Nee + Toelichting | Niet van toepassing
ICT.8.014 | ICT.4.054 | ICT Applicatie | Logging | Voor troubleshooting zijn de logs doorzoekbaar, toegankelijk en te archiveren buiten de applicatie. | Verificatie | Ja/Nee + Toelichting | Niet van toepassing
ICT.8.015 | ICT.4.055 | ICT Application | Logging | The offered System maintains logs on the performance of the equipment as well as any error messages and technical malfunctions. | Knockout requirment | Yes/No | not yet answered
ICT.9.003 | ICT.9.005 | ICT Authentication & Authorization | Authentication & Authorization | The offered System provides system‑specific accounts with strong passwords. These passwords can be configured to comply with the Amsterdam UMC guidelines (including minimum length, required complexity, and lock‑out options). | Knockout requirment | Yes/No | not yet answered
ICT.9.004 | ICT.9.006 | ICT Authenticatie & Autorisatie | Authenticatie & Autorisatie | Geef aan van welk authenticatiemechanisme u gebruik maakt. | Verificatie | Toelichting | Niet van toepassing
ICT.9.006 | ICT.9.009 | ICT Authentication & Authorization | Authentication & Authorization | Passwords are transmitted in encrypted form over the network between client and server. | Knockout requirment | Yes/No | not yet answered
ICT.9.008 | ICT.9.012 | ICT Authentication & Authorization | Authentication & Authorization | Based on the access‑security policy, the supplier implements secure login procedures for systems and applications. These login procedures include at minimum a strong password combined with two‑factor authentication. | Knockout requirment | Yes/No | not yet answered
ICT.9.009 | ICT.9.014 | ICT Authentication & Authorization | Authentication & Authorization | The authority to perform specific actions within the offered System can be configured per individual employee or group of employees by means of privileges. | Knockout requirment | Yes/No | not yet answered
ICT.10.003 | ICT.10.005 | ICT Apparatuur & Werkplekken | Apparatuur | Moeten er andere randapparatuur (peripherals) gekoppeld worden aan het aangeboden Systeem en zijn hier specifieke drivers voor benodigd? | Verificatie | Toelichting | Niet van toepassing
ICT.12.001 | ICT.12.001 | ICT Licenties | Licenties | Licht de licentiestructuur toe van het aangeboden Systeem. Geef hierbij duidelijk aan welke limieten en/of beperkingen aan het aangeboden licentietype zijn verbonden in termen van bijvoorbeeld aantallen gebruikers, typen gebruikers, beschikbare functionaliteit, etc. Geef aan hoe de Aanbestedende dienst de door u gesignaleerde beperkingen kan wegnemen, bijvoorbeeld door extra licenties aan te schaffen, andere types (zo ja, welke) licenties aan te schaffen. | Gunningscriteria | Toelichting | Niet van toepassing
ICT.12.002 | ICT.12.002 | ICT Licenses | Licenses | The offered System includes a site licence for all provided environments (e.g., Acceptance and Test (OTAP)), optionally split per location of the Contracting Authority and regardless of the number of users (for the duration of the contract). | Knockout requirment | Yes/No | not yet answered
ICT.12.004 | ICT.12.004 | ICT Licenses | Licenses | The supplier provides all licences required for the desired and requested functionality, the number of users, and the expected usage, including maintenance and support for the delivered licences. | Knockout requirment | Yes/No | not yet answered
ICT.12.009 | ICT.12.009 | ICT Licenses | Licenses | The supplier supports the use of the offered System or other ICT components belonging to this tender, including updates/fixes/patches/upgrades/new versions for that release version, throughout the entire duration of the contract and any extensions. | Knockout requirment | Yes/No | not yet answered
ICT.12.011 | ICT.12.011 | ICT Licenses | Licenses | At the request of Amsterdam UMC, the Supplier supports the implementation of delivered updates/patches/upgrades/new versions. Support may take place on‑site or off‑site, at the discretion of Amsterdam UMC. The costs for this support are included in the offer. | Knockout requirment | Yes/No | not yet answered
ICT.13.001 | ICT.13.001 | ICT SLA & Changes | Service delivery | The Supplier provides a Service Desk. The Service Desk is staffed with qualified personnel of the Contractor who are capable of handling Amsterdam UMC’s notifications related to the assignment (a so‑called skilled Service Desk) | Knockout requirment | Yes/No | not yet answered
ICT.13.004 | ICT.13.004 | ICT SLA & Changes | Service delivery | The Contractor provides 5×9 support (weekdays Monday–Friday), applying the priorities for incidents as defined in the SLA. Escalation paths are available, including contact and availability information. | Knockout requirment | Yes/No | not yet answered
ICT.13.007 | ICT.13.007 | ICT SLA & Changes | Service delivery | The Contractor provides problem management for the part of the offered System that is managed by the Contractor. Recurrent incidents are prevented by actively identifying structural errors (through root cause analysis) and initiating the necessary changes (through change management) in accordance with the service levels agreed in the SLA. | Knockout requirment | Yes/No | not yet answered
ICT.13.009 | ICT.13.009 | ICT SLA & Changes | Service delivery | The offered System can be used anywhere, 24 hours a day, 7 days a week | Knockout requirment | Yes/No | not yet answered
ICT.13.018 | ICT.13.018 | ICT SLA & Changes | Wijzigingsbeheer | Na een update/aanpassing aan het systeem kan het systeem worden gecontroleerd d.m.v. vooraf opgestelde testprocedure. | Knockout Eis | Ja/Nee | Niet van toepassing
ICT.13.024 | ICT.5.006 | ICT SLA & Changes | Performance | The supplier assumes responsibility, in accordance with a to‑be‑concluded Service Level Agreement (SLA), for its influence on system performance and collaborates constructively whenever performance issues are experienced. | Knockout requirment | Yes/No | not yet answered
ICT.14.001 | ICT.14.001 | ICT Training | training | Training for functional and (when relevant) technical administrators is included in your offer. | Knockout requirment | Yes/No | not yet answered

## Blad2 (hidden)
Yes
No
not yet answered