## Blad1
APPENDIX A – RESPONSE FORM
Market Consultation – Doppler Lidar for Aerosols and Wind
Supplier Information
Supplier Name:
Contact Person:
Position:
Email:
Telephone:
Country:
Date:
Part 1 – Technical Solution
Please describe the proposed Doppler lidar solution and indicate whether the following specifications can be met. If not, please describe your alternative approach or provide comments.
A. Indicative Technical Requirements
Requirement | Compliant (Y/N) | Comments / Alternative Solution
Doppler lidar capable of measuring vertical wind velocity profiles
Doppler lidar capable of measuring attenuated aerosol backscatter profiles
Eye-safe operation
Operation around 1.5 μm wavelength or equivalent technology
Unattended 24/7 operation
Expected operational lifetime ≥ 10 years
Typical measurement range of approximately 10 km or greater
User-configurable range resolution of approximately 30 m or better
Minimum measurement range of approximately 100 m or lower
B. Technical Description
1. Please provide a short description of the proposed system.
2. Which specifications or performance characteristics distinguish your solution from comparable systems?
3. Are there alternative technical configurations that TU Delft should consider?
4. Which technical requirements would you recommend TU Delft include in the future tender?
5. Which technical requirements would you recommend TU Delft not include and why?
Part 2 – Data and Integration
1. Describe the available data products and output formats.
2. Which standard file formats are supported (e.g. NetCDF, HDF5, CSV)?
3. Does the system support automated data transfer and integration with external data infrastructures?
4. Are APIs available? Please describe.
5. How is long-term data accessibility ensured?
Part 3 – Maintenance and Support
1. What preventive maintenance activities are required?
2. What calibration activities are required during the system lifetime?
3. Is local, European-based or remote support available?
4. Please describe your service organisation.
5. What typical response and resolution times can be expected?
6. How are software updates managed?
7. How are hardware upgrades managed?
8. Which components have a limited lifetime and may require replacement?
Part 4 – Delivery and Implementation
TU Delft currently anticipates that the Doppler lidar should be available in Delft by April 2027 to allow for testing, acceptance and preparation activities, and be ready for deployment by September 2027.
1. Please indicate whether this planning is feasible.
2. Please provide the expected delivery lead time following contract award.
3. Please indicate which components, manufacturing constraints, supplier dependencies or supply chain risks may affect delivery times.
4. Please indicate whether accelerated production, delivery or commissioning schedules can be offered and under which conditions.
5. What measures do you have in place to mitigate delivery delays and supply chain disruptions?
Part 5 – Experience and References
1. Please provide examples of comparable installations.
Organisation | Country | Year | Application | Operational? | Reference contact?
1. Please indicate whether the installation is operational and whether a reference contact can be provided.
Part 6 – Commercial and Procurement Considerations
1. Please provide an indicative budget range for the system.
2. Please provide an indicative Total Cost of Ownership (TCO) over a 10-year period, including:
maintenance;
calibration;
service contracts;
software licences;
recommended upgrades.
3. Which award criteria, besides price, would you recommend TU Delft use when selecting a supplier?
4. What weighting would you recommend between:
price;
technical quality;
support and maintenance;
sustainability;
innovation.
Part 7 – Recommendations to TU Delft
1. Are there any additional requirements that TU Delft should consider for the future procurement?
2. Are there risks or market developments TU Delft should take into account?
3. Are there innovations or future developments that may become relevant during the intended system lifetime?
4. Please provide any additional comments or recommendations regarding the procurement strategy, technical specifications, implementation approach, or contract structure.
Declaration
We confirm that the information provided in this response is accurate to the best of our knowledge and is submitted voluntarily as part of this market consultation.
Name:
Position:
Date:
Signature: