## Requirements
ID | Priority | Title | Description | Maximum score | Score | Participant response | Participant remarks | resp_option_1 | resp_option_2 | resp_option_3
A1 | 1. Critical | A1. Solution | The solution shall be a commercial off-the-shelf (COTS) system that is regularly updated and upgraded by the Participant to ensure that the solution adequately performs. | Knock-out |  |  |  | Compliant | Non-compliant
A2 | 1. Critical | A1. Solution | The solution shall have an appropriate, proven, reliable, secure and manageable architecture. | Knock-out |  |  |  | Compliant | Non-compliant
A3 | 1. Critical | A1. Solution | The solution shall be adequate and proportional to Eindhoven Airport's passenger numbers, flight numbers and operational peaks. | Knock-out |  |  |  | Compliant | Non-compliant
A4 | 1. Critical | A1. Solution | The solution shall be user-friendly and intuitive to use. | Knock-out |  |  |  | Compliant | Non-compliant
A5 | 1. Critical | A1. Solution | All central components of the solution, which are critical for the availability of the solution, i.e. a central server used by multiple work stations, shall be high-available and not be a single-point-of-failure. | Knock-out |  |  |  | Compliant | Non-compliant
A6 | 5. Question | A1. Solution | Describe an operating plan that details the operational processes proposed to ensure effective operation of the solution. | N/A |  |  |  | Answered | Not answered
A7 | 5. Question | A1. Solution | Describe any resource requirements and dependencies required from EANV and handlers to operate the solution. | N/A |  |  |  | Answered | Not answered
A8 | 5. Question | A1. Solution | Describe all of the hardware and infrastructure required for the proposed solution, including all engineering design work and integration design work, required to make the solution fully functional and meet all performance requirements. | N/A |  |  |  | Answered | Not answered
A9 | 5. Question | A1. Solution | Provide detailed information and specifications of the hardware you propose, including images, photos and technical specifications. | N/A |  |  |  | Answered | Not answered
A10 | 5. Question | A1. Solution | Describe the technical performance of the proposed solution. At least describe response times, boot times, barcode reading speeds, document reading speeds, print speeds. | N/A |  |  |  | Answered | Not answered
A11 | 5. Question | A1. Solution | Describe what equipment will be located within EANV's core rooms and what cabinet/rack space is necessary to accommodate the system installation, operation, testing and maintenance. | N/A |  |  |  | Answered | Not answered
A12 | 1. Critical | A2. Workstations and peripherals | The check-in workstation shall at least consist of the following components: - PC, monitor, mouse - Swipe keyboard (for passports and ID cards) - Boarding pass printer / receipt printer - Bag tag printer - Barcode scanner / boarding pass scanner | Knock-out |  |  |  | Compliant | Non-compliant
A13 | 1. Critical | A2. Workstations and peripherals | The service desk workstation shall at least consist of the following components: - PC, monitor, mouse - Swipe keyboard (for passports and ID cards) - Boarding pass printer / receipt printer - Barcode scanner / boarding pass scanner - Document printer | Knock-out |  |  |  | Compliant | Non-compliant
A14 | 1. Critical | A2. Workstations and peripherals | The gate workstation shall at least consist of the following components: - PC, monitor, mouse - Swipe keyboard (for passports and ID cards) - Boarding pass printer / receipt printer - 2x Boarding gate reader | Knock-out |  |  |  | Compliant | Non-compliant
A15 | 1. Critical | A2. Workstations and peripherals | The workstation at the baggage control room shall at least consist of the following components: - PC, monitor, mouse and keyboard - Bag tag printing - Document printing | Knock-out |  |  |  | Compliant | Non-compliant
A16 | 1. Critical | A2. Workstations and peripherals | The test workstation shall at least consist of the following components: - PC, monitor, mouse - Swipe keyboard (for passports and ID cards) - Boarding pass printer / receipt printer - Bag tag printer - Barcode scanner / boarding pass scanner | Knock-out |  |  |  | Compliant | Non-compliant
A17 | 1. Critical | A2. Workstations and peripherals | The (virtual) workstations at the back-office shall at least consist of the following components: - Virtual desktop or PC, monitor, mouse and keyboard - Document printing | Knock-out |  |  |  | Compliant | Non-compliant
A18 | 1. Critical | A2. Workstations and peripherals | The solution shall allow users to have multiple PPSs open on a workstation at any time and be able to switch instantly between these applications. All peripherals will be linked to the application that has focus. | Knock-out |  |  |  | Compliant | Non-compliant
A19 | 1. Critical | A2. Workstations and peripherals | The solution shall allow users to lock and unlock a computer and resume their work, without having to re-open/re-login again to applications the user had open before locking. | Knock-out |  |  |  | Compliant | Non-compliant
A20 | 1. Critical | A2. Workstations and peripherals | The workstations, as part of the solution, shall permit users to access additional local applications that are required for daily operation. | Knock-out |  |  |  | Compliant | Non-compliant
A21 | 1. Critical | A2. Workstations and peripherals | The solution shall provide integrated devices required for speedy and accurate identification of passengers. This shall include a document (passport / identity card) reader and barcode scanner, e.g. for boarding passes. | Knock-out |  |  |  | Compliant | Non-compliant
A22 | 1. Critical | A2. Workstations and peripherals | The solution shall support scanning of a barcode from a mobile phone, with a minimum performance of 20 boarding pass scans per minute. | Knock-out |  |  |  | Compliant | Non-compliant
A23 | 1. Critical | A2. Workstations and peripherals | The boarding pass printer shall have an auto cutter. | Knock-out |  |  |  | Compliant | Non-compliant
A24 | 1. Critical | A2. Workstations and peripherals | The bag tag printer shall have an auto cutter. | Knock-out |  |  |  | Compliant | Non-compliant
A25 | 1. Critical | A2. Workstations and peripherals | The workstation monitor is widescreen and has a minimum screen diagonal of 22 inch. | Knock-out |  |  |  | Compliant | Non-compliant
A26 | 2. High | A2. Workstations and peripherals | The solution should allow to access to back office functionality of PPSs through virtual desktop technology, such that (for example) a handling agent can access a PPS from his own corporate PC. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A27 | 2. High | A2. Workstations and peripherals | The virtual desktop setup shall allow for regular document printing from the PPS to a printer connected to the host work station, e.g. load sheets or other files. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A28 | 2. High | A2. Workstations and peripherals | The solution should minimise the amount of printer types required. A printer should be capable of both printing boarding passes and bag tags and can thus be configured to print either boarding passes or bag tags. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A29 | 2. High | A2. Workstations and peripherals | The solution should minimise the amount of printers at a workstation. E.g. a printer at a gate workstation should be capable of printing both boarding passes as receipts. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A30 | 2. High | A2. Workstations and peripherals | The bag tag printer should have a retainer that prevents the bag tag from falling after printing. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A31 | 2. High | A2. Workstations and peripherals | All peripherals should be compact and easily replaceable in case of a failure or upgrade. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A32 | 2. High | A2. Workstations and peripherals | The workstation's physical setup should be compact, secure and have neat cable management. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A33 | 3. Medium | A2. Workstations and peripherals | The gate work station should be expandable in the future, such that it also supports two self-boarding gates (in addition to the two boarding pass scanners / BGRs). | 5 |  |  |  | Standard | Roadmap item | Not compliant
A34 | 3. Medium | A2. Workstations and peripherals | The solution should allow for upgrading local applications without the need for the Participant's intervention or re-certification. | 5 |  |  |  | Standard | Roadmap item | Not compliant
A35 | 3. Medium | A2. Workstations and peripherals | EANV should have elevated permissions on all machines and computers for troubleshooting or analysis purposes. | 5 |  |  |  | Standard | Roadmap item | Not compliant
A36 | 3. Medium | A2. Workstations and peripherals | The solution should allow for opening a local application while passing a computer identifier, e.g. host name, as a startup parameter. | 5 |  |  |  | Standard | Roadmap item | Not compliant
A37 | 3. Medium | A2. Workstations and peripherals | The solution should allow for opening a web application while passing a computer identifier, e.g. host name, as a URL query parameter. | 5 |  |  |  | Standard | Roadmap item | Not compliant
A38 | 3. Medium | A2. Workstations and peripherals | The solution should include document printers that support the ability for several workstations to share the same document printer. | 5 |  |  |  | Standard | Roadmap item | Not compliant
A39 | 5. Question | A2. Workstations and peripherals | Describe the process of replacing a bag tag printer, a boarding pass printer, and a boarding pass scanner. | N/A |  |  |  | Answered | Not answered
A40 | 5. Question | A2. Workstations and peripherals | Describe how the provided printing solution is reliable and economical. This is a necessity as the printer is used in a high-volume, operational environment. | N/A |  |  |  | Answered | Not answered
A41 | 1. Critical | A3. Passenger Processing Systems | The solution shall support, but not limited to, the native Passenger Processing Systems of the following airlines: HV Transavia W6 Wizz Air W4 Wizz Air Malta OR TUI Netherlands TB TUI Belgium FR Ryanair RK Ryanair UK | Knock-out |  |  |  | Compliant | Non-compliant
A42 | 1. Critical | A3. Passenger Processing Systems | The solution shall support the DCS GoNow developed by Navitaire (Amadeus). | Knock-out |  |  |  | Compliant | Non-compliant
A43 | 1. Critical | A3. Passenger Processing Systems | The solution shall support the PPS SkySpeed developed by Navitaire (Amadeus). | Knock-out |  |  |  | Compliant | Non-compliant
A44 | 1. Critical | A3. Passenger Processing Systems | The solution shall support the DCS iPort developed by Res2. | Knock-out |  |  |  | Compliant | Non-compliant
A45 | 2. High | A3. Passenger Processing Systems | The solution should support the DCS eDCS developed by Aerocloud Systems. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A46 | 2. High | A3. Passenger Processing Systems | The solution should be certified to support, but not limited to, the native Passenger Processing Systems of the following airlines: PC Pegasus Airlines XQ Sun Express | 10 |  |  |  | Standard | Roadmap item | Not compliant
A47 | 5. Question | A3. Passenger Processing Systems | Describe which Passenger Processing Systems are supported on your solution. Include details like whether the system is already connected to your solution, the type of connection used and method of access (including versions). | N/A |  |  |  | Answered | Not answered
A48 | 5. Question | A3. Passenger Processing Systems | Describe how you collaborate directly with airlines, e.g. regarding deployment of DCS updates, and how we (as an airport) are actively involved in this collaboration. | N/A |  |  |  | Answered | Not answered
A49 | 2. High | A4. Data, reporting and integration | The solution should have the capability to push a barcoded boarding pass data in real-time everytime when a boarding pass is scanned or printed. For example to an ActiveMQ topic and/or HTTP API. At least the following information is included: Flight date, flight number, booking reference, check-in sequence number, operation (e.g. BoardingPassPrint) and location (e.g. workstation name). | 10 |  |  |  | Standard | Roadmap item | Not compliant
A50 | 2. High | A4. Data, reporting and integration | The solution should have the capability to push bag tag information in real-time everytime when a bag tag is printed. For example push this information to an ActiveMQ topic or HTTP API. At least the following information is included: Flight date, flight number, booking reference, check-in sequence number, bag tag number, bag weight, operation (e.g. BoardingPassPrint) and location (e.g. workstation name). | 10 |  |  |  | Standard | Roadmap item | Not compliant
A51 | 2. High | A4. Data, reporting and integration | The solution should have an API to retrieve historical data in batch, such as platform usage data. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A52 | 2. High | A4. Data, reporting and integration | All log files related to the solution shall have a retention time of at least 30 days. | 10 |  |  |  | Standard | Roadmap item | Not compliant
A53 | 5. Question | A4. Data, reporting and integration | Describe the information available through the standard reports that provide usage and describe the mechanism(s) for producing them. | N/A |  |  |  | Answered | Not answered
A54 | 5. Question | A4. Data, reporting and integration | EANV would like to gather usage and statistical data associated to each PC and peripheral. Describe how this can be achieved. | N/A |  |  |  | Answered | Not answered
A55 | 5. Question | A4. Data, reporting and integration | Describe how reporting data is stored within the system. Include details of how long the data is kept and how archived/historical data can be accessed/reported on. | N/A |  |  |  | Answered | Not answered
A56 | 5. Question | A4. Data, reporting and integration | Describe the raw data available through the extract functionality and describe the mechanism(s) for retrieving this usage data. | N/A |  |  |  | Answered | Not answered
A57 | 5. Question | A4. Data, reporting and integration | Describe the raw data available through the extract functionality and describe the mechanism(s) for retrieving this passenger flow data. | N/A |  |  |  | Answered | Not answered
A58 | 5. Question | A4. Data, reporting and integration | Describe the frequency of how usage data and passenger flow data is available for extraction. Describe how often the data can be retrieved, e.g. the time elapsed from the most recent event. | N/A |  |  |  | Answered | Not answered
B1 | 1. Critical | B1. Standards and compliance | The solution shall be fully CUPPS compliant (IATA RP1797 / ACI RP500A7 / A4A RP30.201). | Knock-out |  |  |  | Compliant | Non-compliant
B2 | 1. Critical | B1. Standards and compliance | The solution shall be compliant to IATA Technical Peripheral Specifications 2007 - 2012(formerly known as AEA). | Knock-out |  |  |  | Compliant | Non-compliant
B3 | 1. Critical | B1. Standards and compliance | The solution shall be fully compliant with the latest version of IATA Resolution 740 (Form of Interline Baggage Tag) and Recommended Practice 1740a (Baggage Tag Media Quality Guidelines). | Knock-out |  |  |  | Compliant | Non-compliant
B4 | 1. Critical | B1. Standards and compliance | The solution shall be fully compliant with the latest version of IATA Resolution 792 (IATA Bar Coded Boarding Passes). | Knock-out |  |  |  | Compliant | Non-compliant
B5 | 1. Critical | B1. Standards and compliance | The solution shall comply to the latest GDPR legislation (Currently General Data Protection Regulation 2016/679). Please describe how the solution conforms to the latest GDPR legislation. | Knock-out |  |  |  | Compliant | Non-compliant
B6 | 1. Critical | B1. Standards and compliance | Any personal data, which potentially is stored in debug files, log files or other data sources, shall be deleted 2 months after storage at the latest. | Knock-out |  |  |  | Compliant | Non-compliant
B7 | 2. High | B1. Standards and compliance | Any personal data, which potentially is stored in debug files, log files or other data sources, should be automatically deleted 2 months after storage at the latest. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B8 | 2. High | B1. Standards and compliance | The Participant is actively involved in the development of the CUPPS standard, by participating in IATA's CUSS & CUPPS task force. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B9 | 1. Critical | B2. IT infrastructure | The solution shall use the Layer 2 networking services provided by EANV. | Knock-out |  |  |  | Compliant | Non-compliant
B10 | 1. Critical | B2. IT infrastructure | The solution shall not contain any network switch provided by Participant. | Knock-out |  |  |  | Compliant | Non-compliant
B11 | 1. Critical | B2. IT infrastructure | The solution shall be able to connect to both local Passenger Processing Systems that are in the cloud or in private airline LANs. | Knock-out |  |  |  | Compliant | Non-compliant
B12 | 1. Critical | B2. IT infrastructure | The solution shall not require Wi-Fi/WLAN connectivity. | Knock-out |  |  |  | Compliant | Non-compliant
B13 | 1. Critical | B2. IT infrastructure | Internet access shall be provided by EANV (99,95% uptime). | Knock-out |  |  |  | Compliant | Non-compliant
B14 | 1. Critical | B2. IT infrastructure | If the Participants' solution requires on-premise servers, these servers shall be deployed on the hypervisor infrastructure of EANV. | Knock-out |  |  |  | Compliant | Non-compliant
B15 | 1. Critical | B2. IT infrastructure | If the Participants' solution requires on-premise virtual servers, these servers shall be within the following resource limits: 12 vCPU, 48GB RAM, 240GB HDD. Participant is allowed to dedicate these resources across one or more virtual machines. | Knock-out |  |  |  | Compliant | Non-compliant
B16 | 1. Critical | B2. IT infrastructure | If the Participants' solution requires on-premise virtual servers, any software license required to operate these virtual servers shall be included in the Participant's offer, including future upgrades and updates. | Knock-out |  |  |  | Compliant | Non-compliant
B17 | 1. Critical | B2. IT infrastructure | If the Participants' solution requires on-premise virtual servers, EANV will ensure these servers are backed up to two locations. | Knock-out |  |  |  | Compliant | Non-compliant
B18 | 2. High | B2. IT infrastructure | The solution should not require any local server at the premises of EANV. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B19 | 3. Medium | B2. IT infrastructure | The solution should provide an architecture that allows for efficiently connecting to the various PPSs. | 5 |  |  |  | Standard | Roadmap item | Not compliant
B20 | 5. Question | B2. IT infrastructure | If the Participants' solution requires on-premise virtual servers, explain how you will manage and update these servers, such that these not become a technical debt over the span of this contract. | N/A |  |  |  | Answered | Not answered
B21 | 5. Question | B2. IT infrastructure | Describe per airline how PPSs are connected to the proposed solution and how that connection is managed. Please provide a network architecture diagram of your proposed solution. | N/A |  |  |  | Answered | Not answered
B22 | 2. High | B3. Performance | A CUPPS workstation is ready for use within 90 seconds after powering on the workstation. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B23 | 5. Question | B3. Performance | Describe expected response times for the solution, including but not limited to, print delay, scanning delay and user input delay. | N/A |  |  |  | Answered | Not answered
B24 | 5. Question | B3. Performance | Describe the expected/estimated capacity of the offered solution in terms of passenger throughput. | N/A |  |  |  | Answered | Not answered
B25 | 2. High | B4. Scalability | The solution should support new PPSs to be added with minimal effort. A new PPS should be added without the need for programmatic changes or a new software release. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B26 | 3. Medium | B4. Scalability | The solution should be capable of responding rapidly and easily to any unusual operations and peaks in passenger flow. | 5 |  |  |  | Standard | Roadmap item | Not compliant
B27 | 5. Question | B4. Scalability | Describe how the system can be easily scaled, e.g. to support an increase of check-in desks or gates. Describe any limits of the proposed solution. | N/A |  |  |  | Answered | Not answered
B28 | 5. Question | B4. Scalability | Describe your process of on-boarding a new PPS and the typical lead times. | N/A |  |  |  | Answered | Not answered
B29 | 5. Question | B4. Scalability | Describe your process for how a new PPS can be connected to the solution. Highlight any costs associated with this process. | N/A |  |  |  | Answered | Not answered
B30 | 5. Question | B4. Scalability | Describe what mobile functionality is available to both speed up and provide a more flexible approach to the check-in and boarding processes. Explain how the proposed solution can do this. | N/A |  |  |  | Answered | Not answered
B31 | 1. Critical | B5. Sustainability | All delivered generic hardware (PC, monitor and document printer) shall be compliant with at least one of these certifications: TCO Certified, EPEAT Gold rating, Blue Angel or similar. | Knock-out |  |  |  | Compliant | Non-compliant
B32 | 1. Critical | B5. Sustainability | The PC monitor complies to energy label guidelines EU/2017/1369 and EU/2019/2013 and has the following energy label: - 21 - 24,5 inch: Energy label D - 24,6 - 27,9 inch: Energy label E - 28 - 30 inch: Energy label E - 30,1 - 32 inch: Energy label F This requirement can be adjusted throughout the term of the Agreement, in case the EU guidelines have been updated. | Knock-out |  |  |  | Compliant | Non-compliant
B33 | 1. Critical | B5. Sustainability | The monitor shall automatically switch off completely within a defined period after the connected computer has been shut down. When switched off, the monitor’s power consumption shall not exceed 0.3 W. | Knock-out |  |  |  | Compliant | Non-compliant
B34 | 1. Critical | B5. Sustainability | The offered PCs shall be certified against the most recent Energy Star standard at the time of product launch. | Knock-out |  |  |  | Compliant | Non-compliant
B35 | 1. Critical | B5. Sustainability | The offered PCs shall be compatible with the most recent version of Advanced Configuration and Power Interface (ACPI) standard. | Knock-out |  |  |  | Compliant | Non-compliant
B36 | 1. Critical | B5. Sustainability | If the PCs have a built-in power supply unit (PSU), this PSU shall comply to 80 PLUS Gold standard or higher, or similar. This requirement does not apply to workstations that have an external PSU, such as micro form factor PCs and laptops. | Knock-out |  |  |  | Compliant | Non-compliant
B37 | 1. Critical | B5. Sustainability | All hardware is optimally configured with regard to power consumption and energy savings upon delivery and throughout the full term of the Agreement. | Knock-out |  |  |  | Compliant | Non-compliant
B38 | 1. Critical | B5. Sustainability | The Participant shall provide clear repair instructions after contract award, covering the recommended repair options for common product defects, whether or not these defects are covered by warranty. | Knock-out |  |  |  | Compliant | Non-compliant
B39 | 2. High | B5. Sustainability | The solution components should automatically switch to a low-power/standby mode when being idle for a configurable amount of time. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B40 | 2. High | B5. Sustainability | Participant should provide, within one month after delivery, a Life Cycle Assessment (LCA) for the delivered boarding pass and bag tag scanners and printers, excluding accessories. The LCA should include at least the product carbon footprint in CO₂ equivalents, based on the GHG Protocol Product Standard or equivalent, broken down by raw materials, production, downstream transport and use phase. Where available, manufacturer LCAs based on ISO 14040/14044 should be used. A product lifetime of 5 years should be used. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B41 | 2. High | B5. Sustainability | The Participant should minimize the amount of packaging upon initial delivery of the hardware. | 10 |  |  |  | Standard | Roadmap item | Not compliant
B42 | 3. Medium | B5. Sustainability | The offered boarding pass printers should be certified against the most recent Energy Star standard at the time of product launch. | 5 |  |  |  | Standard | Roadmap item | Not compliant
B43 | 3. Medium | B5. Sustainability | The offered bag tag printers should be certified against the most recent Energy Star standard at the time of product launch. | 5 |  |  |  | Standard | Roadmap item | Not compliant
B44 | 3. Medium | B5. Sustainability | The offered PCs should be repairable throughout its lifetime. Spare parts should be available for at least five years after its manufacturer stopped producing the PCs. | 5 |  |  |  | Standard | Roadmap item | Not compliant
C1 | 1. Critical | C1. Implementation | The Participant shall appoint a capable project manager to take responsibility for delivering the solution. This Project Manager shall also have overall responsibility for the detailed planning, phasing and coordination of the entirety of the on-site works, including logistics, site-coordination and all associated permits. | Knock-out |  |  |  | Compliant | Non-compliant
C2 | 1. Critical | C1. Implementation | The Participant shall assemble a capable project team that shall have the right set of competences for delivering the solution. | Knock-out |  |  |  | Compliant | Non-compliant
C3 | 1. Critical | C1. Implementation | The Participant's project manager and teams shall collaborate with the EANV appointed project manager, all other consultants, sub-contractors and suppliers as necessary to ensure an integrated approach to the planning and implementation of the works. They shall deliver, install, commission and test the solution in accordance with the EANV project manager’s overall accepted schedule. | Knock-out |  |  |  | Compliant | Non-compliant
C4 | 1. Critical | C1. Implementation | The Participant shall provide their own software in the latest software version at the time of installation. | Knock-out |  |  |  | Compliant | Non-compliant
C5 | 5. Question | C1. Implementation | Describe the implementation plan, including key milestones, timescales, assumptions and risks. | N/A |  |  |  | Answered | Not answered
C6 | 5. Question | C1. Implementation | Describe the organisational structure that will be in place throughout implementation, including a description of the competences of all people involved throughout the implementation. | N/A |  |  |  | Answered | Not answered
C7 | 5. Question | C1. Implementation | Describe any resource requirements and dependencies required from EANV and/or it's handlers to deliver the solution. | N/A |  |  |  | Answered | Not answered
C8 | 5. Question | C1. Implementation | Describe the equipment and tools, if any, required to deliver the solution. | N/A |  |  |  | Answered | Not answered
C9 | 1. Critical | C2. Acceptance and go-live | The Participant shall develop an acceptance plan that is approved by EANV at least 14 days prior to the test date. The plan shall at least address all requirements identified in the Programme of Requirements and test all Participant supplied hardware and software components. | Knock-out |  |  |  | Compliant | Non-compliant
C10 | 1. Critical | C2. Acceptance and go-live | The solution shall be fully delivered, implemented and accepted by 1 June 2027 at the latest. | Knock-out |  |  |  | Compliant | Non-compliant
C11 | 1. Critical | C2. Acceptance and go-live | The Participant will provide all materials and test equipment for carrying out the acceptance plan. | Knock-out |  |  |  | Compliant | Non-compliant
C12 | 1. Critical | C2. Acceptance and go-live | Any specified item that does not satisfy the requirements shall be replaced, upgraded, or added by the Participant as necessary to correct the noted deficiencies. After correction of a noted deficiency, re-testing shall be performed to verify the effectiveness of the corrective action. | Knock-out |  |  |  | Compliant | Non-compliant
C13 | 1. Critical | C2. Acceptance and go-live | The Participant's offered solution shall undergo a penetration test, performed by an independent third party appointed by EANV. The results of this penetration test is part of the acceptance criteria, such that no Critical or High findings may be open for acceptance. | Knock-out |  |  |  | Compliant | Non-compliant
C14 | 1. Critical | C2. Acceptance and go-live | The Participant shall ensure a focused period of support in the first 10 days of operation, in order to address and resolve any question and/or issue promptly and adequately. | Knock-out |  |  |  | Compliant | Non-compliant
C15 | 2. High | C2. Acceptance and go-live | The High Level Design documentation and Low Level Design documentation should be delivered by 1 March 2027 at the latest. | 10 |  |  |  | Standard | Roadmap item | Not compliant
C16 | 2. High | C2. Acceptance and go-live | A single CUPPS workstation, for exploration, testing and pentesting purposes, should be delivered by 1 March 2027 at the latest. | 10 |  |  |  | Standard | Roadmap item | Not compliant
C17 | 5. Question | C2. Acceptance and go-live | Describe how you would ensure this focused period of support during the first 10 days of operation. | N/A |  |  |  | Answered | Not answered
C18 | 5. Question | C2. Acceptance and go-live | Describe the process for testing and accepting new applications and upgrades on the solution prior to deploying it to the live environment. | N/A |  |  |  | Answered | Not answered
C19 | 5. Question | C2. Acceptance and go-live | Describe the process for testing new and replacement hardware on the solution prior to deploying it to the live environment. | N/A |  |  |  | Answered | Not answered
C20 | 1. Critical | C3. Training, materials and manuals | The proposed solution shall include adequate training of key personnel. This should include but not be limited to, field service engineers, system administrators and operational staff. | Knock-out |  |  |  | Compliant | Non-compliant
C21 | 1. Critical | C3. Training, materials and manuals | The Participant shall provide training materials required to operate and maintain the solution prior to acceptance. | Knock-out |  |  |  | Compliant | Non-compliant
C22 | 1. Critical | C3. Training, materials and manuals | The Participant shall provide copies of all operational and maintenance manuals free of charge. These manuals shall be in electronic format. | Knock-out |  |  |  | Compliant | Non-compliant
C23 | 1. Critical | C3. Training, materials and manuals | The Participant shall provide updated versions of all manuals and documentation free of charge and shall actively notify EANV about this update. | Knock-out |  |  |  | Compliant | Non-compliant
C24 | 1. Critical | C3. Training, materials and manuals | The Participant shall provide training to key personnel at the premises of EANV on dates to be mutually agreed. | Knock-out |  |  |  | Compliant | Non-compliant
C25 | 2. High | C3. Training, materials and manuals | The solution shall include initial on-site training prior to system acceptance testing for system administrators and end users. | 10 |  |  |  | Standard | Roadmap item | Not compliant
C26 | 5. Question | C3. Training, materials and manuals | Describe a training plan for the training of all key personnel. | N/A |  |  |  | Answered | Not answered
C27 | 1. Critical | C4. Offering | The solution shall include all the necessary licenses and any third party licenses that are required to make the solution fully operational. | Knock-out |  |  |  | Compliant | Non-compliant
C28 | 2. High | C4. Offering | Virtual desktop based back-office CUPPS should be licensed concurrently, e.g. via a license pool. This should minimize the amount of required licenses as not all back-office virtual desktops are in use at the same time. | 10 |  |  |  | Standard | Roadmap item | Not compliant
C29 | 5. Question | C4. Offering | Provide a detailed breakdown of all options supported by the solution, e.g. peripheral options, and their associated costs. This is to ensure that EANV is able to select the most cost effective configuration of the solution. | N/A |  |  |  | Answered | Not answered
C30 | 5. Question | C4. Offering | Describe any additional costs that may occur with respect to using your proposed solution that are outside of your commercial proposal. | N/A |  |  |  | Answered | Not answered
D1 | 1. Critical | D1. Service Level Agreement | The proposed Service Level Agreement (SLA), as part of the solution, shall include clearly defined, measurable service levels and key performance indicators (KPIs) covering the proposed maintenance and support contract. | Knock-out |  |  |  | Compliant | Non-compliant
D2 | 1. Critical | D1. Service Level Agreement | Any scheduled downtime of the solution shall be fully planned and approved by EANV in advance. | Knock-out |  |  |  | Compliant | Non-compliant
D3 | 1. Critical | D1. Service Level Agreement | The solution shall have a minimum availability of 99.9% per calendar month, with a 24/7 service window excluding agreed maintenance windows. | Knock-out |  |  |  | Compliant | Non-compliant
D4 | 1. Critical | D1. Service Level Agreement | The Service Level Agreement shall define at least the following four incident severity levels: P1 – Critical: A major service disruption or outage affecting business-critical passenger processing operations, multiple operational areas, or a substantial number (3 or more) of workstations or peripherals, with immediate operational impact. P2 – High: A disruption affecting one or more business-critical workstations, peripherals, interfaces, or functions, where operations can continue only through workaround procedures or with reduced capacity. P3 – Medium: Degraded performance, intermittent errors, or a partial loss of functionality that does not have an immediate operational impact and for which normal operations can continue. P4 – Low: General requests, minor issues that do not affect live operations (if handled and resolved in-time) and can be handled through normal planning and prioritisation. | Knock-out |  |  |  | Compliant | Non-compliant
D5 | 1. Critical | D1. Service Level Agreement | The Participant shall meet the following minimum incident response and resolution targets: P1 - Response ≤ 30 minutes, resolution ≤ 4 hours P2 - Response ≤ 1 hour, resolution ≤ 8 hours P3 - Response: ≤ 1 day, resolution ≤ 5 days P4 - Response: ≤ 2 days, resolution ≤ 7 days Service window: 24/7 | Knock-out |  |  |  | Compliant | Non-compliant
D6 | 1. Critical | D1. Service Level Agreement | The Participant shall meet the following minimum service and change request targets: Configuration update: response ≤ 1 business day, resolution ≤ 5 business days Service request: response ≤ 1 business day, resolution ≤ 5 business days Change: response ≤ 2 business day, delivery of plan of approach ≤ 10 business days Participant may include additional/different service request types in its SLA proposal. | Knock-out |  |  |  | Compliant | Non-compliant
D7 | 1. Critical | D1. Service Level Agreement | A certificate update, a URL change, the addition of a browser-based application are all considered configuration updates and shall be handled as such. | Knock-out |  |  |  | Compliant | Non-compliant
D8 | 1. Critical | D1. Service Level Agreement | The Participant shall provide a documented escalation procedure including 24/7 contact details. | Knock-out |  |  |  | Compliant | Non-compliant
D9 | 1. Critical | D1. Service Level Agreement | The Participant shall clearly define responsibilities between the Participant, EANV TS&FM team and EANV D&IT Team for operation, maintenance, security and support. | Knock-out |  |  |  | Compliant | Non-compliant
D10 | 1. Critical | D1. Service Level Agreement | The Participant shall actively support all proposed hardware and peripherals for the full contract period (including extensions). | Knock-out |  |  |  | Compliant | Non-compliant
D11 | 1. Critical | D1. Service Level Agreement | The three lines of support are defined as follows, to which the Participant agrees: 1st line support: The initial support function responsible for receiving, registering, prioritising and coordinating incidents, service requests and questions relating to the CUPPS solution. 1st line support includes first diagnosis, basic troubleshooting, user assis-tance, replacement of easily replaceable peripherals where this is within EANV’s agreed responsibilities, and escalation to 2nd line support where the incident or request cannot be resolved within the agreed scope, skills, access rights or working hours of EANV’s TS&FM and D&IT teams. 2nd line support: The specialist operational and technical support function responsible for incidents, service requests and maintenance activ-ities that cannot be resolved by 1st line support but do not require changes to, or expert development-level intervention in, the CUPPS software platform. 2nd line support includes deeper functional and technical analysis, configuration support, coordination of hardware or peripheral issues, support for integrations and operational workarounds, preventive mainte-nance activities, and escalation to 3rd line support where product-level expertise, software maintenance or development authority is required. 3rd line support: The expert product and platform support function responsible for resolving incidents, problems and changes that require in-depth knowledge of, and direct control over, the CUPPS software platform. 3rd line support includes product-level troubleshooting, software defect analysis and correction, release and patch support, configuration or maintenance actions that affect the core CUPPS platform, and support for structural improvements to the solution. | Knock-out |  |  |  | Compliant | Non-compliant
D12 | 1. Critical | D1. Service Level Agreement | First line of support shall be provided by the local teams of EANV (Department of Technical Services and Facility Management + Department of Digital & IT). | Knock-out |  |  |  | Compliant | Non-compliant
D13 | 1. Critical | D1. Service Level Agreement | The Participant may rely on the performance of local EANV staff for incidents. However, this shall be limited to the working hours of the respective local team, limited to activties that can only be done on-premise, and limited to 4 hours for P1 incidents, and limited to 1 hour for P2/P3/P4 indicents. After this time local staff shall be released from the incident and Participant shall resolve the incident independently. At all times the Participant is responsible for managing and coordinating the incident response. | Knock-out |  |  |  | Compliant | Non-compliant
D14 | 1. Critical | D1. Service Level Agreement | If an incident or service request cannot be resolved remotely, the Participant may request support from local EANV staff to help resolve the issue. Such support is provided on a best-effort basis and does not defer, reduce, or otherwise modify the Participant’s SLA obligations. | Knock-out |  |  |  | Compliant | Non-compliant
D15 | 1. Critical | D1. Service Level Agreement | If an incident or service request cannot be resolved remotely, and EANV is unable to provide local staff support, the Participant shall dispatch suitably qualified personnel to the site. Any costs associated with on-site support required to resolve incidents shall be included in the SLA fees. Costs for on-site support related to service requests shall be agreed in advance between EANV and the Participant. | Knock-out |  |  |  | Compliant | Non-compliant
D16 | 1. Critical | D1. Service Level Agreement | First line of support shall be limited to standard operating procedures and troubleshooting steps for which Participant have shared manuals/instructions with EANV. These procedures shall have a duration of less than 30 minutes and shall not contain tasks that require specific skills or certifications, and can be performed by . Any support task that takes more than 30 minutes or requires specific skills is considered 2nd line support. | Knock-out |  |  |  | Compliant | Non-compliant
D17 | 1. Critical | D1. Service Level Agreement | The SLA shall include a preventive maintenance plan in order to keep all system component in optimal condition and to minimize the amount of corrective maintenance. | Knock-out |  |  |  | Compliant | Non-compliant
D18 | 1. Critical | D1. Service Level Agreement | The Participant may rely on the performance of local EANV staff for easy preventive maintenance tasks that have a daily, weekly, bi-weekly or monthly frequency. The total time required on these tasks shall not exceed 8 hours per month. | Knock-out |  |  |  | Compliant | Non-compliant
D19 | 1. Critical | D1. Service Level Agreement | Any preventive maintenance tasks, with a frequency lower than weekly, shall be performed by Participant's staff. | Knock-out |  |  |  | Compliant | Non-compliant
D20 | 1. Critical | D1. Service Level Agreement | The Participant will perform a full system health check at least once every six months. This health check shall be performed in-person, on-site. | Knock-out |  |  |  | Compliant | Non-compliant
D21 | 1. Critical | D1. Service Level Agreement | The Participant will actively advise EANV on what spare parts to have on stock throughout the full term of the agreement. | Knock-out |  |  |  | Compliant | Non-compliant
D22 | 2. High | D1. Service Level Agreement | The SLA should include a pro-active, remote monitoring service including pro-active intervention in case an issue is detected. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D24 | 5. Question | D1. Service Level Agreement | Describe the support process and the organisational structure of the support (1st, 2nd & 3rd line) supplied. Demonstrate that you incorporate the working hours and expertise of the EANV teams that are involved in 1st line support. | N/A |  |  |  | Answered | Not answered
D25 | 5. Question | D1. Service Level Agreement | Describe how you differentiate the processing of simple service requests and more complex/impactful service requests. | N/A |  |  |  | Answered | Not answered
D26 | 5. Question | D1. Service Level Agreement | Describe the preventive maintenance plan on a detailed level, describing task, frequency and responsibility. The plan should be concise, and proportional. | N/A |  |  |  | Answered | Not answered
D27 | 5. Question | D1. Service Level Agreement | Describe the process for warranty and non-warranty replacements and repairs throughout the contract period (including extensions). | N/A |  |  |  | Answered | Not answered
D28 | 5. Question | D1. Service Level Agreement | Describe the spare part strategy you would advise to EANV for this agreement. | N/A |  |  |  | Answered | Not answered
D29 | 1. Critical | D2. Business Continuity | The solution shall include automated backups of all relevant system data. | Knock-out |  |  |  | Compliant | Non-compliant
D30 | 1. Critical | D2. Business Continuity | The solution shall define and meet the following recovery objectives: Recovery Time Objective (RTO): maximum 4 hours Recovery Point Objective (RPO): maximum 8 hours | Knock-out |  |  |  | Compliant | Non-compliant
D31 | 1. Critical | D2. Business Continuity | The Participant shall define backup retention periods and procedures for restoring historical data. Upon request, these procedures will be shared with EANV. | Knock-out |  |  |  | Compliant | Non-compliant
D32 | 2. High | D2. Business Continuity | The solution should incorporate a proven disaster recovery architecture. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D33 | 5. Question | D2. Business Continuity | Describe your disaster recovery plan that outlines the various processes that will be put in place should a disaster happen. | N/A |  |  |  | Answered | Not answered
D34 | 5. Question | D2. Business Continuity | Describe your incident management process, including governance, escalation and major incident management. | N/A |  |  |  | Answered | Not answered
D35 | 1. Critical | D3. Account Management | The Participant shall appoint a capable account manager that remains engaged throughout the contract period (including extensions), who is responsible for following up on any matter that may require escalation and joint resolution. | Knock-out |  |  |  | Compliant | Non-compliant
D36 | 1. Critical | D3. Account Management | The Participant shall participate in periodic service review meetings. | Knock-out |  |  |  | Compliant | Non-compliant
D37 | 2. High | D3. Account Management | The account manager shall frequently report about (at least) the performance of the contract, SLA KPIs, on-going incidents/problems, software vulnerabilities, every quarter by means of a written report. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D38 | 5. Question | D3. Account Management | Describe the on-going account management, support and service delivery management for the solution. | N/A |  |  |  | Answered | Not answered
D39 | 2. High | D4. Monitoring and alerting | The solution shall send a notification when the toner cartridge of a document printer is almost empty, containing the printer name/location and cartridge model. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D40 | 2. High | D4. Monitoring and alerting | The proposed solution should include real-time, remote monitoring platform that provide insight in the state of the system, including but not limited to, peripheral connection state, paper levels etcetera. This monitoring tooling should be available to EANV and its field support staff. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D41 | 2. High | D4. Monitoring and alerting | The solution should be capable of actively sending notifications for a configurable set of alerts. It should at least be possible to send these notifications via e-mail. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D42 | 2. High | D4. Monitoring and alerting | The proposed solution can be monitored through standard monitoring interfaces, e.g. SNMP or an API, in order to include the solution into EANV's central monitoring and alerting system. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D43 | 3. Medium | D4. Monitoring and alerting | The solution should monitor the validity of client certificates used for authentication for airline systems, and alert when the certificate is about to expire. | 5 |  |  |  | Standard | Roadmap item | Not compliant
D44 | 3. Medium | D4. Monitoring and alerting | All technical texts, e.g. error messages, log texts etcetera, should be in the English language and non-generic, i.e. properly describing the actual occurrence. | 5 |  |  |  | Standard | Roadmap item | Not compliant
D45 | 5. Question | D4. Monitoring and alerting | Describe how support personnel can access real-time monitoring information. | N/A |  |  |  | Answered | Not answered
D46 | 5. Question | D4. Monitoring and alerting | Describe what components of the solution can be monitored through monitoring interfaces like SNMP. | N/A |  |  |  | Answered | Not answered
D47 | 1. Critical | D5. Product life-cycle | When the Participant releases a new version of its software during the contract period (including extensions), this new version shall be made available to EANV as part of on-going support without additional costs. | Knock-out |  |  |  | Compliant | Non-compliant
D48 | 1. Critical | D5. Product life-cycle | The solution, including all its components, shall be actively supported by its respective manufacturer throughout the contract period (including extensions). In case this requires software upgrades throughout the contract period, this is considered as part of on-going support. No additional costs shall be charged. | Knock-out |  |  |  | Compliant | Non-compliant
D49 | 1. Critical | D5. Product life-cycle | The Participant shall follow a formal change management process including impact analysis, rollback procedures and approval by EANV. | Knock-out |  |  |  | Compliant | Non-compliant
D50 | 2. High | D5. Product life-cycle | New generations of the solution hardware should be made available to EANV. EANV should not be limited to the initially provided hardware throughout the contract period (including extensions). EANV should be able to take advantage of new technology innovations. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D51 | 2. High | D5. Product life-cycle | New hardware, which becomes available throughout the contract period (including extensions) should be backwards compatible to the initially proposed solution. For example, new generation printers must be compatible with the originally supplied workstation and related (software) systems. | 10 |  |  |  | Standard | Roadmap item | Not compliant
D52 | 3. Medium | D5. Product life-cycle | Throughout the term of the contract, EANV prefers to buy hardware expansions and spare parts from Participant. However, EANV should be permitted to purchase hardware and peripherals from other vendors. If this hardware is identical to the existing install base, Participant should fully adopt and support this hardware into its solution. | 5 |  |  |  | Standard | Roadmap item | Not compliant
D53 | 5. Question | D5. Product life-cycle | Describe the Participant’s change management and release management processes for the proposed solution. The description should include, where applicable, the governance structure, change advisory or control board, approval process, testing approach, release planning, communication, rollback procedures, and documentation. | N/A |  |  |  | Answered | Not answered
D54 | 5. Question | D5. Product life-cycle | Provide details of how you engage and manage your customer base to input and develop the products included in your solution. | N/A |  |  |  | Answered | Not answered
D55 | 5. Question | D5. Product life-cycle | Describe any formal mechanisms you organize regarding governance, meetings and input as part of product development lifecycle, e.g. user groups. | N/A |  |  |  | Answered | Not answered
D56 | 5. Question | D5. Product life-cycle | Explain the planned life-cycle of the proposed solution and its components, including when it was launched, when its obsolescence is planned, and what the plans are for its replacement. Tailor this explanation to this project. | N/A |  |  |  | Answered | Not answered
D57 | 5. Question | D5. Product life-cycle | Describe the plans to develop the solution over the next 5 years and provide a clearly defined roadmap. This shall include details of how the Participant will guarantee the product has support and does not become obsolete. | N/A |  |  |  | Answered | Not answered
E1 | 1. Critical | E1. Cyber Security | The solution shall comply to the Security Annex of EANV throughout the full contract period including extensions. | Knock-out |  |  |  | Compliant | Non-compliant
E2 | 1. Critical | E1.Cyber Security | Work stations shall have an automatic, configurable time-out function to ensure a computer is automatically locked after a configurable timeout. | Knock-out |  |  |  | Compliant | Non-compliant
E3 | 1. Critical | E1.Cyber Security | The solution shall be designed in accordance to the concepts of zero-trust and least privilege. | Knock-out |  |  |  | Compliant | Non-compliant
E4 | 1. Critical | E1.Cyber Security | The solution shall be segmented into multiple VLANs in accordance to industry best practices, and up to agreement by EANV. Inter-VLAN traffic shall be inspected by a next-generation firewall. | Knock-out |  |  |  | Compliant | Non-compliant
E5 | 1. Critical | E1.Cyber Security | The solution should allow for support the integration of a handler's identity provider, based on common standards (at least Entra ID, OAuth and SAML2.0). This should enable every handler's agent to reuse their corporate credentials for logging in to a workstation. | Knock-out |  |  |  | Compliant | Non-compliant
E6 | 1. Critical | E1.Cyber Security | All network traffic between the local networks at EANV's premises and the Participant's (or third parties acting on behalf of the Participant) external networks shall be encrypted in accordance to modern cryptography standards. | Knock-out |  |  |  | Compliant | Non-compliant
E7 | 1. Critical | E1.Cyber Security | All components of the solution shall be hardened in accordance to industry best practices and benchmarks, e.g. CIS. | Knock-out |  |  |  | Compliant | Non-compliant
E8 | 1. Critical | E1.Cyber Security | The solution should allow for creating multiple user roles that have different access levels. | Knock-out |  |  |  | Compliant | Non-compliant
E9 | 1. Critical | E1.Cyber Security | The solution shall incorporate modern security levels and standards and not rely on outdated or inappropriate security measures. | Knock-out |  |  |  | Compliant | Non-compliant
E10 | 1. Critical | E1.Cyber Security | The solution shall implement encryption-at-rest where possible. At least all hard drives of local PCs shall be encrypted. | Knock-out |  |  |  | Compliant | Non-compliant
E11 | 1. Critical | E1.Cyber Security | The solution shall be monitored 24/7 for (potential) security incidents and/or breaches. Alarms shall be actively acted upon. | Knock-out |  |  |  | Compliant | Non-compliant
E12 | 1. Critical | E1.Cyber Security | The solution shall be frequently scanned for vulnerabilities, using automated tooling. Vulnerabilities will be resolved in accordance to the rquirements as described in the Security Annex. | Knock-out |  |  |  | Compliant | Non-compliant
E13 | 2. High | E1.Cyber Security | The firewall, segmenting the VLANs and handling WAN traffic, should be provided by EANV. Changes in firewall rules will be governed by a change management process. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E14 | 2. High | E1.Cyber Security | Work stations should have an automatic, configurable time-out function to ensure an agent is automatically logged out after a configurable timeout. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E15 | 2. High | E1.Cyber Security | The solution should be integrated with the SIEM platform of EANV. At least syslog and security logs should be integrated. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E16 | 2. High | E1.Cyber Security | All components of the solution should be hardened with a minimum score of 80% according to the CIS benchmark. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E17 | 2. High | E1.Cyber Security | Permanent remote access should be done via an IPSec site-to-site VPN tunnel. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E18 | 2. High | E1.Cyber Security | The Participant should hold a valid ISO/IEC 27001 certification for an information security management system. The certification should be issued by an accredited certification body and should cover the organisational scope relevant to the development, implementation, maintenance and support of the offered CUPPS solution. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E19 | 2. High | E1.Cyber Security | The Participant should have a recent SOC 2 Type II report, or equivalent independent third-party assurance report, covering information security controls relevant to the development, implementation, maintenance and support of the offered CUPPS solution. The report should cover, as a minimum, security, availability and confidentiality controls and should relate to an audit period ending no more than twelve months before the Tender submission deadline. The Participant should provide the report, or an executive summary thereof, as part of its Tender. | 10 |  |  |  | Standard | Roadmap item | Not compliant
E20 | 5. Question | E1.Cyber Security | Please describe how you continuously ensure that the solution has appropriate security levels and in accordance to standards. | N/A |  |  |  | Answered | Not answered
E21 | 5. Question | E1.Cyber Security | Describe how identity management and user security is managed in the proposed solution and how security differs depending on the user role. | N/A |  |  |  | Answered | Not answered
E22 | 5. Question | E1.Cyber Security | Describe how you manage authorizations for employees for accessing the solution at EIN through the site-to-site VPN tunnel. | N/A |  |  |  | Answered | Not answered
E23 | 5. Question | E1.Cyber Security | If the Participant holds a valid ISO27001 certification, explain the scope of this certification. | N/A |  |  |  | Answered | Not answered
E24 | 5. Question | E1.Cyber Security | If the Participant holds a valid SOC 2 report, explain the scope of this report. | N/A |  |  |  | Answered | Not answered
E25 | 5. Question | E1.Cyber Security | Explain what cyber security breaches or significant incidents have happened within the scope of your (product) offering in the past 3 calendar years. | N/A |  |  |  | Answered | Not answered
|  |  |  | 480 | 0