## Blad2
Annex C Price Sheet
European Public Procedure for a Cryogen free dilution refrigerator
Upload this document in Excel-format with your Tender in TenderNed. It is not allowed to upload this document in PDF or any other format than Excel.
Tenderer name:
| Cryogen free dilution refrigerator | Price
| Total costs for a Cryogen free dilution refrigerator according to the tender documents, including the offered quality criteria | 0
| Total (excl. VAT) | 0
| Other | Price
| Price of part to be named by Tenderer - if applicable | 0
| Price of part to be named by Tenderer - if applicable | 0
| Price of part to be named by Tenderer - if applicable | 0
| Total (excl. VAT) | 0
| Total price (excl. VAT) | 0
Optional requirements
Requirement | Description | Ability to fulfil | Price
1 | An additional calibrated RuOx temperature sensor should be included (or equivalent sensor suitable for the mixing-chamber temperature), including casing and cabling to connect at the mixing-chamber plate. | Yes/No | 0
2 | At least 12 twisted pair (phosphorous-bronze or similar resistance) lines with metal shielding from room temperature to the mixing chamber plate should be installed. | Yes/No | 0
3 | At least 12 twisted pair (low resistance, copper or similar) lines with metal shielding from room temperature to the Still plate should be installed. | Yes/No | 0
4 | 32 coaxial semi-rigid cables with SMA connectors as input lines (frequencies up to 18 GHz, SCuNi-CuNi or similar) from room temperature to the mixing chamber plate. The sets should include room temperature vacuum flanges with vacuum sealed SMA connectors and thermal anchoring flanges with SMA bulk heads at all stages of dilution refrigerator: e.g. PT plate 1, PT plate 2, still-, cold- and mixing chamber plate flanges as well as cold attenuators for thermalizing the signal line. Precise values of attenuators can be chosen when ordering. | Yes/No | 0
5 | 16 coaxial semi-rigid cables with SMA connectors as output lines from room temperature to the mixing chamber plate (frequencies up to 18 GHz, SCuNi-CuNi or similar between room temperature and 4K, NbTi between mixing chamber and 4K amplifier). The sets include a room temperature vacuum flange with vacuum sealed SMA connectors and thermal anchoring flanges with SMA bulk heads at all stages of dilution refrigerator. The sets include cold attenuators for thermalizing the signal line. Precise values of attenuators can be chosen when ordering. | Yes/No | 0
6A | Installation sets, to operate 16 microwave low-noise-amplifiers at the 4K plate, including low-resistance DC wiring, feed-throughs from room-temperature, thermalisation at all higher-temperature flanges, and mounting brackets for the amplifiers, should be included. | Yes/No | 0
6B | If, and only if, option a. cannot be fulfilled, the offer should include 2 additional sets of 12 twisted pair lines with low resistance wires (copper or similar) from room temperature to the 4K plate. | Yes/No | 0
| * Tenders containing a total price higher than € 400.000,- without VAT will be discarded and excluded from participating in this tender. (Price for optional requirements not included) * All prices are in euros (€) excluding VAT. * The total price must be comprehensive, i.e., all services offered in this tender are included in the Tender price. * Tenderer should only complete fields highlighted in yellow. * Modifications to and deviations from the format are not allowed and are grounds for exclusion from the tendering procedure. * Submitting negative prices/rates and/or zero rates is not permitted. * Tenderer cannot derive rights from the indicated quantities and is aware that the indicated quantities can be modified or are fictitious and are only used to assess the submitted tenders objectively. | Legally binding signature by Tenderer
Tenderer company name
Name of legal representative
City, date
Signature of legal representative