## Sheet1
Annex D - Quality Criteria Form
Tenderer:
Upload this document in Excel-format with your Tender in TenderNed. It is not allowed to upload this document in PDF or any other format than Excel.
The yellow cells must be filled in by the Tenderer.
Means of proof
Tenders must provide documentation with the quotation to show that the offered solution meets the minimum requirements and/or the indicated level of the quality criteria will be met. The purpose of this table is to avoid misunderstandings in the verification process we carry out on the minimum requirements and the extent to which the quality criteria are offered. For this reason, please fill out the form carefully. Factsheets are preferable to brochures, but this in itself does not affect the result of the verification.
# | Criteria | Description | Evaluation criteria | Max. score | Your offer includes | Your score | Name of the document | Page/Paragraph
Quality Criteria
Q1 | Cooling power | Cooling Power of the system: • >450μW – 20 points • 400μW – 450μW – 17 points • 350μW – 400μW - 14 points • 300μW – 350μW - 10 points • <300μW – rejected | • >450μW – 20 points • 400μW – 450μW – 17 points • 350μW – 400μW - 14 points • 300μW – 350μW - 10 points • <300μW – rejected | 20 |  | 0
Q2 | Base tempareature | Base temperature of the system: • <10 mK – 20 points • 10 – 15 mK – 10 points • 15 – 20 mK - 5 points • >20 mK – rejected | • <10 mK – 20 points • 10 – 15 mK – 10 points • 15 – 20 mK - 5 points • >20 mK – rejected | 20 |  | 0
Q3 | Cooldown time | Cooldown time of the system: • <20 hours – 20 points • 20 - 24 hours – 15 points • 24 - 30 hours – 10 points • >30 hours – rejected | • <20 hours – 20 points • 20 - 24 hours – 15 points • 24 - 30 hours – 10 points • >30 hours – rejected | 20 |  | 0
Q4 | Vibration isolation | Vibration Isolation of the system: • Excellent, better than specified either having lower overall noise, or having no peaks at 1 or 2 frequencies that are above the vibration limit – 20 points • Good, meeting the required specifications – 10 points • Minimum requirements not met – rejected The selection committee will form its judgement based on the vibration spectra at various frequencies. Scores in between 10-20 points can be given by the selection committee. Since stronger vibrations at very particular frequencies with lower overall level of vibrations can be preferred over an overall higher level with lower peaks, the criteria for each score are not further quantified. | • Excellent, better than specified either having lower overall noise, or having no peaks at 1 or 2 frequencies that are above the vibration limit – 20 points • Good, meeting the required specifications – 10 points • Minimum requirements not met – rejected | 20 |  | 0
Q5 | Delivery time | Delivery Time of the system: • (20 – delivery time (months)) points • >9 months – rejected | • (20 – delivery time (months)) points • >9 months – rejected | 20 |  | 0
Q6 | Service interval | Service Interval of the system: • 4 years or more – 15 points • 3 years – 10 points • 2 years – 5 points • <2 years – rejected | • 4 years or more – 15 points • 3 years – 10 points • 2 years – 5 points • <2 years – rejected | 15 |  | 0
Q7 | Warranty period | Warranty Period offered: • > 4 years – 15 points • 4 years – 12 points • 3 years – 10 points • <3 years – rejected | • > 4 years – 15 points • 4 years – 12 points • 3 years – 10 points • <3 years – rejected | 15 |  | 0
Q8 | Environmental management | Tenderer has an externally audited environmental management system, such as the ISO-14001 certificate (or equivalent). | • Tenderer has ISO 14001 certificate (or equivalent) - 5 points • Tenderer does not have ISO 14001 certificate (or equivalent) - 0 points | 5 |  | 0
Q9 | Ability to fulfil the optional requirements | Ability to fulfil the optional requirements: • All optional requirements included – 20 points • Only the optional requirements 1-3 and 6b are included – 5 points • None of the optional requirements fulfilled – 0 points If another subset of the optional requirements is fulfilled in the Tender, the Contract Authority decides on the number of points, in line with the range of points for this criterion. The Contract Authority can decide not to buy the optional items from any vendor. | • All optional requirements included – 20 points • Only the optional requirements 1-3 and 6b are included – 5 points • None of the optional requirements fulfilled – 0 points | 20 |  | 0
|  |  | Total score | 155 |  | 0
|  |  | Price on offer (exl Vat) |  |  | 0
|  |  | Price per quality point |  |  | #DIV/0!

## Sheet2 (hidden)
Q1 | > 450μW | 20
| 400μW – 450μW | 17
| 350μW – 400μW | 14
| 300μW – 350μW | 10
| < 300μW – rejected | 0
Q2 | < 10 mK | 20
| 10 – 15 mK | 10
| 15 – 20 mK | 5
| > 20 mK – rejected | 0
Q3 | < 20 hours | 20
| 20 - 24 hours | 15
| 24 - 30 hours | 10
| > 30 hours – rejected | 0
Q4 | Excellent, better than specified either having lower overall noise, or having no peaks at 1 or 2 frequencies that are above the vibration limit | 20
| Good, meeting the required specifications | 10
| Minimum requirements not met – rejected | 0
Q5 | Delivery in 1 month | 19
| Delivery in 2 months | 18
| Delivery in 3 months | 17
| Delivery in 4 months | 16
| Delivery in 5 months | 15
| Delivery in 6 months | 14
| Delivery in 7 months | 13
| Delivery in 8 months | 12
| Delivery in 9 months | 11
| Delivery in > 9 months – rejected | 0
Q6 | 4 years or more | 15
| 3 years | 10
| 2 years | 5
| < 2 years – rejected | 0
Q7 | > 4 years | 15
| 4 years | 12
| 3 years | 10
| < 3 years – rejected | 0
Q8 | Tenderer has ISO 14001 certificate (or equivalent) | 5
| Tenderer does not have ISO 14001 certificate (or equivalent) | 0
Q9 | All optional requirements included | 20
| Only the optional requirements 1-3 and 6b are included | 5
| None of the optional requirements fulfilled | 0