## Price Sheet
Appenxis 6 - Price Sheet |  |  |  |  | Enexis - Public Procedure
Procedure TN 591875 - NH Fuse Switch Disconnectors |  |  |  |  | Version 1.1
You declare that your price quotation includes all products and services required for the execution of the assignment
Instruction: only fill in the light blue cells
Name Tenderer:
Legally Signed by:
Function:
Date & place:
Important: By signing the ESPD a seperate signature on the Price Sheet is not necessary!
1. LV strip price components to be filled in by Tenderer
Nr. | Type LV Strip | Options | Minimum rated current | Application | Cost per strip (€) | Estimated amounts of strips per year | Total costs LV Strips
1 | NH00 | 1-pole | 160 A | Service strip (Internal Lighting) & outgoing feeder | 0 | 3500 | 0
2 | NH00 | 3-pole | 160 A | Public Lighting (PL) main supply | 0 | 2000 | 0
3 | NH00 | 3-pole, incl. snaplocks | 160 A | Emergency Power Generator (EPG) synchronization strip | 0 | 2000 | 0
4 | NH2 | 1-pole, incl. PL | 400 A | Outgoing feeder, incl. Public Lighting (PL) | 0 | 26000 | 0
5 | NH2 | 1-pole, excl. PL | 400 A | Outgoing feeder, excl. Public Lighting (PL) | 0 | 1500 | 0
6 | NH3 | 3-pole | 630 A | Transformer feeder of max. 400 kVA | 0 | 100 | 0
7 | NH3 | 3-pole | 1000 A | Transformer feeder of max. 630 kVA | 0 | 1900 | 0
2. Additional articles price compoments tot be filled in by Tenderer
Nr. | Article |  |  | Application | Cost per article (€) | Estimated amounts of articles per year | Total costs additional articles
1 | Adapter NH00 strip |  |  | Adapter for placing two NH00 strips in the space of one NH2 strip | 0 | 200 | 0
2 | Strip connection cover |  |  | Isolated protection for touch safety cable lug | 0 | 50 | 0
3 | Rail cover |  |  | Isolated protection for touch safety rail | 0 | 250 | 0
4 | Connection terminal for single outgoing cable - NH2 Strip type |  |  | Assembly of distribution cable on outgoing feeder | 0 | 300 | 0
5 | Connection terminal for double outgoing cable - NH2 Strip type |  |  | Assembly of distribution cable on outgoing feeder | 0 | 200 | 0
Total Bid price | [6 empty] | 0
3. Optional LV strip price components to be filled in by Tenderer
Nr. | Type LV Strip | Options | Minimum rated current | Application | Cost per strip (€)
1 | NH3 | 3-pole, incl. EPG synchronization | 630A | Transformer feeder of max. 400 kVA | 0
2 | NH3 | 3-pole, incl. EPG synchronization | 1000A | Transformer feeder of max. 630 kVA
3 | NH3/NH4* | 3-pole | 1600A | Transformer feeder of max. 1000 kVA | 0
*Dependent of the chosen solution from supplier
4. Optional articles price compoments tot be filled in by Tenderer
Nr. | Article |  |  | Application | Cost per article (€)
1 | Busbar clamp SL00 5-10mm |  |  | Busbar clamp for drill-free mounting of NH00 strip | 0
2 | Busbar clamp SL2 5-10mm |  |  | Busbar clamp for drill-free mounting of NH2 strip | 0
3 | Adaption unit 170 mm fuse strip |  |  | Adaption unit for mounting fuse strip on 170 mm rail spacing | 0